{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":283,"n_cols":19,"rows_kept":283,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":329.46054658385049},{"$f":"AVERAGE(Oxy)","v":12.086944099378865},{"$f":"AVERAGE(CO)","v":817.13664596273293}]
[0,{"$f":"FT","v":233.3},{"$f":"Oxy*10","v":143},{"$f":"CO/100","v":10.66},"2009-02-06T11:24:44",58.4,233.3,14.3,1066,4.91,2.1700000000000001E-2,82.6,87.7,215.4,3362,58.4,null,null,0.33]
[0.5,238.8,140,9.7799999999999994,"2009-02-06T11:25:14",58.7,238.8,14,978,5.13,1.9099999999999999E-2,82.8,87.9,202.1,2954,58.7,null,null,0.28999999999999998]
[1,241.1,142,9.41,"2009-02-06T11:25:44",59,241.1,14.2,941,5.03,1.8700000000000001E-2,82.5,87.6,208.3,2901,59,null,null,0.25]
[1.5,232.9,137,11.65,"2009-02-06T11:26:14",58.9,232.9,13.7,1165,5.37,2.1700000000000001E-2,83.4,88.6,188.4,3360,58.9,null,null,0.23]
[2,233.8,133,13.67,"2009-02-06T11:26:44",58.9,233.8,13.3,1367,5.7,2.4E-2,83.7,88.9,172.1,3720,58.9,null,null,0.21]
[2.5,240.5,133,11.88,"2009-02-06T11:27:14",59,240.5,13.3,1188,5.67,2.1000000000000001E-2,83.5,88.7,173.4,3248,59,null,null,0.2]
[3,238.3,134,9.91,"2009-02-06T11:27:44",59.2,238.3,13.4,991,5.64,1.7600000000000001E-2,83.8,89,174.8,2723,59.2,null,null,0.2]
[3.5,239.1,129,9.67,"2009-02-06T11:28:14",59.4,239.1,12.9,967,5.99,1.6199999999999999E-2,84.3,89.5,158.9,2503,59.4,null,null,0.19]
[4,243,128,8.6300000000000008,"2009-02-06T11:28:44",59.5,243,12.8,863,6.04,1.43E-2,84.3,89.5,156.69999999999999,2215,59.5,null,null,0.15]
[4.5,245.8,125,7.15,"2009-02-06T11:29:14",59.8,245.8,12.5,715,6.27,1.14E-2,84.6,89.9,147.30000000000001,1768,59.8,null,null,0.12]
[5,246.6,126,6.33,"2009-02-06T11:29:44",60.2,246.6,12.6,633,6.22,1.0200000000000001E-2,84.6,89.9,149.1,1577,60.2,null,null,0.1]
[5.5,244.4,124,7.48,"2009-02-06T11:30:14",60.4,244.4,12.4,748,6.34,1.18E-2,84.8,90.1,144.4,1828,60.4,null,null,0.45]
[6,251.7,124,7.13,"2009-02-06T11:30:44",60.6,251.7,12.4,713,6.34,1.12E-2,84.5,89.7,144.5,1743,60.6,null,null,0.45]
[6.5,247.4,126,6.62,"2009-02-06T11:31:14",60.7,247.4,12.6,662,6.2,1.0699999999999999E-2,84.5,89.8,150.19999999999999,1656,60.7,null,null,0.41]
[7,249.3,126,5.0599999999999996,"2009-02-06T11:31:44",61,249.3,12.6,506,6.19,8.2000000000000007E-3,84.6,89.8,150.30000000000001,1266,61,null,null,0.39]
[7.5,249.9,126,4.38,"2009-02-06T11:32:14",61.2,249.9,12.6,438,6.22,7.0000000000000001E-3,84.7,89.9,149.19999999999999,1092,61.2,null,null,0.37]
[8,255.6,128,4.99,"2009-02-06T11:32:44",61.4,255.6,12.8,499,6.02,8.3000000000000001E-3,84.1,89.3,157.30000000000001,1284,61.4,null,null,0.35]
[8.5,254.3,133,5.37,"2009-02-06T11:33:14",61.6,254.3,13.3,537,5.7,9.4000000000000004E-3,83.6,88.8,171.9,1460,61.6,null,null,0.33]
[9,253.7,134,6.24,"2009-02-06T11:33:44",61.8,253.7,13.4,624,5.64,1.11E-2,83.5,88.7,174.6,1713,61.8,null,null,0.31]
[9.5,249.6,134,6.65,"2009-02-06T11:34:14",61.8,249.6,13.4,665,5.62,1.18E-2,83.6,88.8,175.9,1835,61.8,null,null,0.3]
[10,252.2,134,6.58,"2009-02-06T11:34:44",62.1,252.2,13.4,658,5.64,1.17E-2,83.5,88.7,175,1810,62.1,null,null,0.28999999999999998]
[10.5,250.2,131,6.08,"2009-02-06T11:35:14",61.7,250.2,13.1,608,5.79,1.0500000000000001E-2,83.9,89.1,167.5,1626,61.7,null,null,0.31]
[11,239.7,122,3.77,"2009-02-06T11:35:44",61.3,239.7,12.2,377,6.53,5.7999999999999996E-3,85.6,90.9,137.4,895,61.3,null,null,0.33]
[11.5,241.6,120,4.75,"2009-02-06T11:36:14",61.6,241.6,12,475,6.64,7.1999999999999998E-3,85.6,90.9,133.4,1108,61.6,null,null,0.28000000000000003]
[12,245.1,120,4.88,"2009-02-06T11:36:44",61.6,245.1,12,488,6.66,7.3000000000000001E-3,85.4,90.7,132.69999999999999,1136,61.6,null,null,0.27]
[12.5,242.1,120,4.42,"2009-02-06T11:37:14",61.5,242.1,12,442,6.66,6.6E-3,85.6,90.9,132.69999999999999,1029,61.5,null,null,0.24]
[13,242.9,118,4.83,"2009-02-06T11:37:44",61.9,242.9,11.8,483,6.77,7.1000000000000004E-3,85.7,91,129,1106,61.9,null,null,0.22]
[13.5,245,116,4.9000000000000004,"2009-02-06T11:38:14",62.4,245,11.6,490,6.96,7.0000000000000001E-3,85.8,91.1,122.6,1091,62.4,null,null,0.2]
[14,245.3,114,4.1100000000000003,"2009-02-06T11:38:44",62.4,245.3,11.4,411,7.07,5.7999999999999996E-3,85.9,91.3,119.4,902,62.4,null,null,0.2]
[14.5,252.9,107,4.6100000000000003,"2009-02-06T11:39:14",62.6,252.9,10.7,461,7.57,6.1000000000000004E-3,86.1,91.5,104.7,944,62.6,null,null,0.2]
[15,253.4,132,4.54,"2009-02-06T11:39:44",62.8,253.4,13.2,454,5.73,7.9000000000000008E-3,83.8,89,170.7,1229,62.8,null,null,0.19]
[15.5,254.6,102,6.51,"2009-02-06T11:40:14",63.1,254.6,10.199999999999999,651,7.98,8.2000000000000007E-3,86.3,91.7,94.2,1264,63.1,null,null,0.17]
[16,252.1,96,5.61,"2009-02-06T11:40:44",63.1,252.1,9.6,561,8.4,6.7000000000000002E-3,86.8,92.2,84.5,1035,63.1,null,null,0.15]
[16.5,255.4,94,9.11,"2009-02-06T11:41:14",63.1,255.4,9.4,911,8.5299999999999994,1.0699999999999999E-2,86.6,91.9,81.8,1656,63.1,null,null,0.14000000000000001]
[17,256.89999999999998,95,6.74,"2009-02-06T11:41:44",63.6,256.89999999999998,9.5,674,8.52,7.9000000000000008E-3,86.7,92,81.900000000000006,1226,63.6,null,null,0.19]
[17.5,260,90,6.94,"2009-02-06T11:42:14",63.7,260,9,694,8.8800000000000008,7.7999999999999996E-3,86.8,92.2,74.5,1211,63.7,null,null,0.14000000000000001]
[18,260.39999999999998,87,9.51,"2009-02-06T11:42:44",63.4,260.39999999999998,8.6999999999999993,951,9.11,1.04E-2,86.8,92.2,70.099999999999994,1618,63.4,null,null,0.11]
[18.5,260.5,85,9.51,"2009-02-06T11:43:14",63.5,260.5,8.5,951,9.2200000000000006,1.03E-2,86.9,92.3,68,1598,63.5,null,null,0.4]
[19,265.8,88,7.87,"2009-02-06T11:43:44",63.6,265.8,8.8000000000000007,787,9,8.6999999999999994E-3,86.7,92,72.2,1356,63.6,null,null,0.31]
[19.5,262.3,92,7.31,"2009-02-06T11:44:14",63.8,262.3,9.1999999999999993,731,8.69,8.3999999999999995E-3,86.6,92,78.400000000000006,1304,63.8,null,null,0.26]
[20,267.39999999999998,89,8.6199999999999992,"2009-02-06T11:44:44",63.9,267.39999999999998,8.9,862,8.9499999999999993,9.5999999999999992E-3,86.5,91.9,73.099999999999994,1492,63.9,null,null,0.24]
[20.5,265,87,6.08,"2009-02-06T11:45:14",64.099999999999994,265,8.6999999999999993,608,9.1,6.7000000000000002E-3,86.9,92.3,70.2,1035,64.099999999999994,null,null,0.18]
[21,265.39999999999998,82,6.55,"2009-02-06T11:45:44",64.3,265.39999999999998,8.1999999999999993,655,9.4600000000000009,6.8999999999999999E-3,87.1,92.5,63.9,1073,64.3,null,null,0.11]
[21.5,267.60000000000002,80,6.59,"2009-02-06T11:46:14",64.5,267.60000000000002,8,659,9.57,6.8999999999999999E-3,87.1,92.5,62,1067,64.5,null,null,0.04]
[22,266.3,83,5.36,"2009-02-06T11:46:44",64.599999999999994,266.3,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.05]
[22.5,268.24529999999999,83,5.36,"2009-02-06T11:47:14",64.599999999999994,{"$f":"G47+1.9453","v":268.24529999999999},8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.03]
[23,270.19059999999996,83,5.36,"2009-02-06T11:47:44",64.599999999999994,{"$f":"G48+1.9453","v":270.19059999999996},8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.05]
[23.5,272.13589999999994,83,5.36,"2009-02-06T11:48:14",64.599999999999994,272.13589999999994,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.02]
[24,274.08119999999991,83,5.36,"2009-02-06T11:48:44",64.599999999999994,274.08119999999991,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.01]
[24.5,276.02649999999988,83,5.36,"2009-02-06T11:49:14",64.599999999999994,276.02649999999988,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.01]
[25,277.97179999999986,83,5.36,"2009-02-06T11:49:44",64.599999999999994,277.97179999999986,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.4]
[25.5,279.91709999999983,83,5.36,"2009-02-06T11:50:14",64.599999999999994,279.91709999999983,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.1]
[26,281.86239999999981,83,5.36,"2009-02-06T11:50:44",64.599999999999994,281.86239999999981,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.09]
[26.5,283.80769999999978,83,5.36,"2009-02-06T11:51:14",64.599999999999994,283.80769999999978,8.3000000000000007,536,9.3699999999999992,5.7000000000000002E-3,87.1,92.5,65.400000000000006,887,64.599999999999994,null,null,0.1]
[27,285.75299999999976,83.91,5.36,"2009-02-06T11:51:44",null,285.75299999999976,{"$f":"H56+0.091","v":8.391},536,null,null,null,null,null,null,null,null,null,0.37]
[27.5,287.69829999999973,84.82,5.36,"2009-02-06T11:52:14",null,287.69829999999973,{"$f":"H57+0.091","v":8.4819999999999993},536,null,null,null,null,null,null,null,null,null,0.32]
[28,289.64359999999971,85.72999999999999,5.36,"2009-02-06T11:52:44",null,289.64359999999971,{"$f":"H58+0.091","v":8.5729999999999986},536,null,null,null,null,null,null,null,null,null,0.34]
[28.5,291.58889999999968,86.639999999999986,5.36,"2009-02-06T11:53:14",null,291.58889999999968,8.6639999999999979,536,null,null,null,null,null,null,null,null,null,0.42]
[29,293.53419999999966,87.549999999999969,5.36,"2009-02-06T11:53:44",null,293.53419999999966,8.7549999999999972,536,null,null,null,null,null,null,null,null,null,0.39]
[29.5,295.47949999999963,88.459999999999965,5.36,"2009-02-06T11:54:14",null,295.47949999999963,8.8459999999999965,536,null,null,null,null,null,null,null,null,null,0.4]
[30,297.42479999999961,89.369999999999962,5.36,"2009-02-06T11:54:44",null,297.42479999999961,8.9369999999999958,536,null,null,null,null,null,null,null,null,null,0.39]
[30.5,299.37009999999958,90.279999999999944,5.36,"2009-02-06T11:55:14",null,299.37009999999958,9.0279999999999951,536,null,null,null,null,null,null,null,null,null,0.38]
[31,301.31539999999956,91.189999999999941,5.36,"2009-02-06T11:55:44",null,301.31539999999956,9.1189999999999944,536,null,null,null,null,null,null,null,null,null,0.37]
[31.5,303.26069999999953,92.099999999999937,5.36,"2009-02-06T11:56:14",null,303.26069999999953,9.2099999999999937,536,null,null,null,null,null,null,null,null,null,0.37]
[32,{"$f":"FT","v":305.20599999999951},{"$f":"Oxy*10","v":93.009999999999934},{"$f":"CO/100","v":5.36},"2009-02-06T11:56:44",null,305.20599999999951,9.3009999999999931,536,null,null,null,null,null,null,null,null,null,0.52]
[32.5,307.15129999999948,93.919999999999931,5.36,"2009-02-06T11:57:14",null,307.15129999999948,9.3919999999999924,536,null,null,null,null,null,null,null,null,null,0.51]
[33,309.09659999999946,94.829999999999913,5.36,"2009-02-06T11:57:44",null,309.09659999999946,9.4829999999999917,536,null,null,null,null,null,null,null,null,null,0.54]
[33.5,311.04189999999943,95.73999999999991,5.36,"2009-02-06T11:58:14",null,311.04189999999943,9.573999999999991,536,null,null,null,null,null,null,null,null,null,0.54]
[34,312.9871999999994,96.649999999999906,5.36,"2009-02-06T11:58:44",null,312.9871999999994,9.6649999999999903,536,null,null,null,null,null,null,null,null,null,0.53]
[34.5,314.93249999999938,97.559999999999889,5.36,"2009-02-06T11:59:14",null,314.93249999999938,9.7559999999999896,536,null,null,null,null,null,null,null,null,null,0.52]
[35,316.87779999999935,98.469999999999885,5.36,"2009-02-06T11:59:44",null,316.87779999999935,9.8469999999999889,536,null,null,null,null,null,null,null,null,null,0.51]
[35.5,318.82309999999933,99.379999999999882,5.36,"2009-02-06T12:00:14",null,318.82309999999933,9.9379999999999882,536,null,null,null,null,null,null,null,null,null,0.51]
[36,320.7683999999993,100.28999999999988,5.36,"2009-02-06T12:00:44",null,320.7683999999993,10.028999999999987,536,null,null,null,null,null,null,null,null,null,0.5]
[36.5,322.71369999999928,101.19999999999987,5.36,"2009-02-06T12:01:14",null,322.71369999999928,10.119999999999987,536,null,null,null,null,null,null,null,null,null,0.5]
[37,324.65899999999925,102.10999999999986,5.36,"2009-02-06T12:01:44",null,324.65899999999925,10.210999999999986,536,null,null,null,null,null,null,null,null,null,0.5]
[37.5,326.60429999999923,103.01999999999985,5.36,"2009-02-06T12:02:14",null,326.60429999999923,10.301999999999985,536,null,null,null,null,null,null,null,null,null,0.5]
[38,328.5495999999992,103.92999999999985,5.36,"2009-02-06T12:02:44",null,328.5495999999992,10.392999999999985,536,null,null,null,null,null,null,null,null,null,0.49]
[38.5,330.49489999999918,104.83999999999983,5.36,"2009-02-06T12:03:14",null,330.49489999999918,10.483999999999984,536,null,null,null,null,null,null,null,null,null,0.49]
[39,332.44019999999915,105.74999999999983,5.36,"2009-02-06T12:03:44",null,332.44019999999915,10.574999999999983,536,null,null,null,null,null,null,null,null,null,0.49]
[39.5,334.38549999999913,106.65999999999983,5.36,"2009-02-06T12:04:14",null,334.38549999999913,10.665999999999983,536,null,null,null,null,null,null,null,null,null,0.49]
[40,336.3307999999991,107.56999999999982,5.36,"2009-02-06T12:04:44",null,336.3307999999991,10.756999999999982,536,null,null,null,null,null,null,null,null,null,0.49]
[40.5,338.27609999999908,108.47999999999982,5.36,"2009-02-06T12:05:14",null,338.27609999999908,10.847999999999981,536,null,null,null,null,null,null,null,null,null,0.49]
[41,340.22139999999905,109.3899999999998,5.36,"2009-02-06T12:04:21",64.3,340.22139999999905,10.938999999999981,536,null,null,null,null,null,null,64.3,null,null,0.49]
[41.5,342.16669999999903,110.2999999999998,5.36,"2009-02-06T12:04:51",68.099999999999994,342.16669999999903,11.02999999999998,536,null,null,null,null,null,null,68.099999999999994,null,null,0.49]
[42,344.111999999999,111.20999999999979,5.36,"2009-02-06T12:05:21",66.599999999999994,344.111999999999,11.120999999999979,536,null,null,null,null,null,null,66.599999999999994,null,null,0.45]
[42.5,346.05729999999897,112.11999999999978,5.36,"2009-02-06T12:05:51",67.8,346.05729999999897,11.211999999999978,536,null,null,null,null,null,null,67.8,null,null,0.46]
[43,348.00259999999895,113.02999999999977,5.36,"2009-02-06T12:06:21",69,348.00259999999895,11.302999999999978,536,null,null,null,null,null,null,69,null,null,0.46]
[43.5,349.94789999999892,113.93999999999977,5.36,"2009-02-06T12:06:51",69.599999999999994,349.94789999999892,11.393999999999977,536,null,null,null,null,null,null,69.599999999999994,null,null,0.46]
[44,351.8931999999989,114.84999999999977,5.36,"2009-02-06T12:07:21",69.2,351.8931999999989,11.484999999999976,536,0.78,1.2999999999999999E-3,0,0,1877.8,198,69.2,null,null,0.46]
[44.5,353.83849999999887,115.75999999999976,5.36,"2009-02-06T12:07:51",65.3,353.83849999999887,11.575999999999976,536,null,null,null,null,null,null,65.3,null,null,0.46]
[45,355.78379999999885,116.66999999999975,5.36,"2009-02-06T12:09:11",66.8,355.78379999999885,11.666999999999975,536,null,null,null,null,null,null,66.8,null,null,0.46]
[45.5,357.72909999999882,117.57999999999974,5.36,"2009-02-06T12:09:43",67.3,357.72909999999882,11.757999999999974,536,1.38,7.9000000000000008E-3,28.7,30.4,1020.9,1222,67.3,null,null,0.46]
[46,359.6743999999988,118.48999999999974,5.36,"2009-02-06T12:10:15",67.3,359.6743999999988,11.848999999999974,536,1.82,6.6E-3,44.8,47.6,750.3,1020,67.3,null,null,0.45]
[46.5,361.61969999999877,119.39999999999972,5.36,"2009-02-06T12:10:47",67.7,361.61969999999877,11.939999999999973,536,2.15,3.7000000000000002E-3,52.2,55.4,621.79999999999995,577,67.7,null,null,0.45]
[47,363.56499999999875,120.30999999999972,5.36,"2009-02-06T12:11:19",67.900000000000006,363.56499999999875,12.030999999999972,536,2.41,1.5E-3,55.3,58.7,543.79999999999995,232,67.900000000000006,null,null,0.45]
[47.5,365.51029999999872,121.21999999999971,5.36,"2009-02-06T12:11:51",67.7,365.51029999999872,12.121999999999971,536,2.63,1.2999999999999999E-3,59.4,63.1,489.4,206,67.7,null,null,0.45]
[48,367.4555999999987,122.12999999999971,5.36,"2009-02-06T12:12:23",66.900000000000006,367.4555999999987,12.212999999999971,536,2.84,1.1000000000000001E-3,60.4,64.2,446.3,175,66.900000000000006,null,null,0.45]
[48.5,369.40089999999867,123.03999999999971,5.36,"2009-02-06T12:12:55",67.900000000000006,369.40089999999867,12.30399999999997,536,3.04,6.9999999999999999E-4,62.9,66.7,410,112,67.900000000000006,null,null,0.46]
[49,371.34619999999865,123.94999999999969,5.36,"2009-02-06T12:13:27",68.2,371.34619999999865,12.394999999999969,536,3.27,1.4E-3,64.8,68.900000000000006,373.8,213,68.2,null,null,0.45]
[49.5,373.29149999999862,124.85999999999969,5.36,"2009-02-06T12:13:59",68.2,373.29149999999862,12.485999999999969,536,3.54,1.8E-3,67.2,71.400000000000006,338.4,281,68.2,null,null,0.45]
[50,375.2367999999986,125.76999999999968,5.36,"2009-02-06T12:14:31",68.2,375.2367999999986,12.576999999999968,536,3.75,4.7999999999999996E-3,69.2,73.5,313.2,744,68.2,null,null,0.45]
[50.5,377.18209999999857,126.67999999999967,5.36,"2009-02-06T12:15:03",68.5,377.18209999999857,12.667999999999967,536,3.95,1E-3,70.2,74.5,292.3,161,68.5,null,null,0.45]
[51,379.12739999999854,127.58999999999966,5.36,"2009-02-06T12:15:35",68,379.12739999999854,12.758999999999967,536,4.12,4.0000000000000002E-4,70.599999999999994,75,275.8,64,68,null,null,0.45]
[51.5,381.07269999999852,128.49999999999966,5.36,"2009-02-06T12:16:07",68,381.07269999999852,12.849999999999966,536,4.25,8.0000000000000004E-4,71,75.400000000000006,264.8,124,68,null,null,0.46]
[52,383.01799999999849,129.40999999999966,5.36,"2009-02-06T12:16:39",67.900000000000006,383.01799999999849,12.940999999999965,536,4.38,1.4E-3,72.2,76.7,254,212,67.900000000000006,null,null,0.46]
[52.5,384.96329999999847,130.31999999999965,5.36,"2009-02-06T12:17:11",67.8,384.96329999999847,13.031999999999965,536,4.49,1.1000000000000001E-3,71.900000000000006,76.3,245.2,173,67.8,null,null,0.46]
[53,386.90859999999844,131.22999999999965,5.36,"2009-02-06T12:17:43",67.8,386.90859999999844,13.122999999999964,536,4.5999999999999996,1.4E-3,72.400000000000006,76.900000000000006,236.7,219,67.8,null,null,0.48]
[53.5,388.85389999999842,132.13999999999965,5.36,"2009-02-06T12:18:15",67.900000000000006,388.85389999999842,13.213999999999963,536,4.7,1.5E-3,72.599999999999994,77.099999999999994,229.6,234,67.900000000000006,null,null,0.45]
[54,390.79919999999839,133.04999999999961,5.36,"2009-02-06T12:18:47",68.099999999999994,390.79919999999839,13.304999999999962,536,4.79,2.2000000000000001E-3,73.3,77.900000000000006,223.7,337,68.099999999999994,null,null,0.43]
[54.5,392.74449999999837,133.95999999999961,5.36,"2009-02-06T12:19:19",66.900000000000006,392.74449999999837,13.395999999999962,536,4.83,3.7000000000000002E-3,73.2,77.8,221.1,578,66.900000000000006,null,null,0.42]
[55,394.68979999999834,134.86999999999961,5.36,"2009-02-06T12:19:51",66,{"$f":"G112+1.9453","v":394.68979999999834},13.486999999999961,536,4.8499999999999996,4.7999999999999996E-3,73.5,78,219.4,751,66,null,null,0.42]
[55.5,396.63509999999832,135.7799999999996,5.36,"2009-02-06T12:20:23",66.099999999999994,396.63509999999832,13.57799999999996,536,4.8600000000000003,7.3000000000000001E-3,73.2,77.8,219,1136,66.099999999999994,null,null,0.42]
[56,398.58039999999829,136.6899999999996,5.36,"2009-02-06T12:20:55",66.5,398.58039999999829,13.66899999999996,536,4.8499999999999996,8.8999999999999999E-3,72.8,77.3,219.3,1376,66.5,null,null,0.42]
[56.5,400.52569999999827,137.5999999999996,5.36,"2009-02-06T12:21:27",64.2,400.52569999999827,13.759999999999959,536,4.83,9.5999999999999992E-3,72.2,76.7,220.7,1488,64.2,null,null,0.42]
[57,402.47099999999824,138.50999999999959,5.36,"2009-02-06T12:21:59",64.8,402.47099999999824,13.850999999999958,536,4.83,9.1000000000000004E-3,73.099999999999994,77.7,220.8,1408,64.8,null,null,0.42]
[57.5,404.41629999999822,139.41999999999956,5.36,"2009-02-06T12:22:31",65.8,404.41629999999822,13.941999999999958,536,4.84,8.3000000000000001E-3,72.7,77.2,220.4,1291,65.8,null,null,0.42]
[58,406.36159999999819,140.32999999999956,5.36,"2009-02-06T12:23:03",66.900000000000006,406.36159999999819,14.032999999999957,536,4.8499999999999996,7.9000000000000008E-3,73,77.5,219.3,1226,66.900000000000006,null,null,0.41]
[58.5,408.30689999999817,141.23999999999955,5.36,"2009-02-06T12:23:35",67.400000000000006,408.30689999999817,14.123999999999956,536,4.87,9.1000000000000004E-3,73.2,77.7,218.6,1405,67.400000000000006,null,null,0.41]
[59,410.25219999999814,142.14999999999955,5.36,"2009-02-06T12:24:07",67.5,410.25219999999814,14.214999999999955,536,4.88,9.2999999999999992E-3,72.900000000000006,77.400000000000006,217.9,1443,67.5,null,null,0.41]
[59.5,412.19749999999812,143.05999999999955,5.36,"2009-02-06T12:24:39",67.2,412.19749999999812,14.305999999999955,536,4.8899999999999997,9.7000000000000003E-3,72.7,77.2,216.9,1508,67.2,null,null,0.42]
[60,414.14279999999809,143.96999999999954,5.36,"2009-02-06T12:25:11",68.099999999999994,414.14279999999809,14.396999999999954,536,4.9000000000000004,9.7999999999999997E-3,73.400000000000006,78,216.5,1516,68.099999999999994,null,null,0.41]
[60.5,416.08809999999806,144,5.4,"2009-02-06T12:25:43",67.900000000000006,416.08809999999806,14.4,540,4.88,1.11E-2,73.5,78.099999999999994,217.5,1714,67.900000000000006,null,null,0.41]
[61,418.03339999999804,143,4.3899999999999997,"2009-02-06T12:26:15",65.099999999999994,418.03339999999804,14.3,439,4.92,8.8999999999999999E-3,73,77.599999999999994,215.1,1383,65.099999999999994,null,null,0.4]
[61.5,419.97869999999801,143,4.8,"2009-02-06T12:26:47",65.900000000000006,419.97869999999801,14.3,480,4.96,9.7000000000000003E-3,73.5,78.099999999999994,212.7,1501,65.900000000000006,null,null,0.41]
[62,420.1,143,5.05,"2009-02-06T12:27:19",67.2,420.1,14.3,505,4.97,1.0200000000000001E-2,73.2,77.7,212,1575,67.2,null,null,0.4]
[62.5,425.9,143,6.3,"2009-02-06T12:27:51",67.7,425.9,14.3,630,4.95,1.2699999999999999E-2,72.7,77.2,213.3,1974,67.7,null,null,0.41]
[63,416.1,143,7.2,"2009-02-06T12:28:23",66.900000000000006,416.1,14.3,720,4.92,1.46E-2,73,77.5,215.2,2269,66.900000000000006,null,null,0.41]
[63.5,404.2,144,7.95,"2009-02-06T12:28:55",66.8,404.2,14.4,795,4.88,1.6299999999999999E-2,73.400000000000006,78,217.7,2526,66.8,null,null,0.41]
[64,{"$f":"FT","v":405},{"$f":"Oxy*10","v":145},{"$f":"CO/100","v":8.33},"2009-02-06T12:29:27",67.400000000000006,405,14.5,833,4.8,1.7399999999999999E-2,73,77.599999999999994,223,2691,67.400000000000006,null,null,0.41]
[64.5,358.3,146,19.38,"2009-02-06T12:29:59",67.7,358.3,14.6,1938,4.72,4.1000000000000002E-2,74.400000000000006,79,228.1,6358,67.7,null,null,0.41]
[65,381.5,141,33.450000000000003,"2009-02-06T12:30:31",67.900000000000006,381.5,14.1,3345,5.0999999999999996,6.5500000000000003E-2,73.099999999999994,77.7,203.7,10158,67.900000000000006,null,null,0.41]
[65.5,374.9,137,16.350000000000001,"2009-02-06T12:31:03",67.900000000000006,374.9,13.7,1635,5.4,3.0300000000000001E-2,76.099999999999994,80.8,187,4692,67.900000000000006,null,null,0.41]
[66,390.7,134,13.96,"2009-02-06T12:31:35",67.900000000000006,390.7,13.4,1396,5.6,2.4899999999999999E-2,76.099999999999994,80.8,176.7,3863,67.900000000000006,null,null,0.41]
[66.5,393.1,133,25.1,"2009-02-06T12:32:07",66.900000000000006,393.1,13.3,2510,5.7,4.3999999999999997E-2,75.2,79.900000000000006,172,6827,66.900000000000006,null,null,0.41]
[67,407.4,132,15.63,"2009-02-06T12:32:39",68.599999999999994,407.4,13.2,1563,5.79,2.7E-2,75.7,80.400000000000006,167.6,4183,68.599999999999994,null,null,0.42]
[67.5,398,131,18.79,"2009-02-06T12:33:11",65.400000000000006,398,13.1,1879,5.83,3.2199999999999999E-2,75.8,80.5,166,4997,65.400000000000006,null,null,0.41]
[68,400.8,131,16.899999999999999,"2009-02-06T12:33:43",64.2,400.8,13.1,1690,5.83,2.9000000000000001E-2,75.8,80.5,165.7,4490,64.2,null,null,0.41]
[68.5,398.1,131,12.28,"2009-02-06T12:34:15",60.7,398.1,13.1,1228,5.81,2.1100000000000001E-2,76.099999999999994,80.8,166.8,3277,60.7,null,null,0.41]
[69,400.5,132,8.42,"2009-02-06T12:34:47",57.5,400.5,13.2,842,5.77,1.46E-2,76.099999999999994,80.8,168.7,2262,57.5,null,null,0.41]
[69.5,396.2,133,8.41,"2009-02-06T12:35:19",61.3,396.2,13.3,841,5.67,1.4800000000000001E-2,76.2,80.900000000000006,173.2,2298,61.3,null,null,0.41]
[70,393.1,135,11.38,"2009-02-06T12:35:51",63.1,393.1,13.5,1138,5.55,2.0500000000000001E-2,75.8,80.5,179.1,3177,63.1,null,null,0.41]
[70.5,393.9,137,14.02,"2009-02-06T12:36:23",65.3,393.9,13.7,1402,5.41,2.5899999999999999E-2,75.2,79.8,186.6,4018,65.3,null,null,0.41]
[71,398.3,138,15.95,"2009-02-06T12:36:55",63.3,398.3,13.8,1595,5.28,3.0200000000000001E-2,74.2,78.8,193.6,4682,63.3,null,null,0.4]
[71.5,394.8,140,18.12,"2009-02-06T12:37:27",66.400000000000006,394.8,14,1812,5.14,3.5200000000000002E-2,73.900000000000006,78.5,201.4,5462,66.400000000000006,null,null,0.4]
[72,392.9,143,20.010000000000002,"2009-02-06T12:37:59",64.7,392.9,14.3,2001,4.9800000000000004,4.02E-2,73.099999999999994,77.599999999999994,211.4,6231,64.7,null,null,0.4]
[72.5,383.8,145,19.53,"2009-02-06T12:38:31",66.3,383.8,14.5,1953,4.8099999999999996,4.0599999999999997E-2,73.099999999999994,77.599999999999994,222,6288,66.3,null,null,0.4]
[73,394.9,147,20.49,"2009-02-06T12:39:03",66.5,394.9,14.7,2049,4.66,4.3999999999999997E-2,71.7,76.099999999999994,232.8,6819,66.5,null,null,0.4]
[73.5,392.9,149,22.01,"2009-02-06T12:39:35",66,392.9,14.9,2201,4.51,4.8800000000000003E-2,70.900000000000006,75.3,243.9,7569,66,null,null,0.4]
[74,394.6,151,25.77,"2009-02-06T12:40:07",68.2,394.6,15.1,2577,4.34,5.9400000000000001E-2,69.7,74,257,9200,68.2,null,null,0.39]
[74.5,385.4,153,25.78,"2009-02-06T12:40:39",68.900000000000006,385.4,15.3,2578,4.1900000000000004,6.1499999999999999E-2,69.599999999999994,73.900000000000006,269.7,9532,68.900000000000006,null,null,0.39]
[75,393.6,155,26.17,"2009-02-06T12:41:11",68.900000000000006,393.6,15.5,2617,4.05,6.4699999999999994E-2,68.099999999999994,72.3,283.2,10028,68.900000000000006,null,null,0.4]
[75.5,390.4,157,28.17,"2009-02-06T12:41:43",67.400000000000006,390.4,15.7,2817,3.9,7.2300000000000003E-2,67.099999999999994,71.2,297.60000000000002,11201,67.400000000000006,null,null,0.4]
[76,385.7,159,22.28,"2009-02-06T12:42:15",68.7,385.7,15.9,2228,3.74,5.96E-2,67.2,71.3,314.39999999999998,9233,68.7,null,null,0.39]
[76.5,382.3,163,11.55,"2009-02-06T12:42:47",68.599999999999994,382.3,16.3,1155,3.47,3.3300000000000003E-2,67,71.099999999999994,346.9,5162,68.599999999999994,null,null,0.39]
[77,398,165,10.08,"2009-02-06T12:43:19",68.599999999999994,398,16.5,1008,3.35,3.0099999999999998E-2,64.900000000000006,69,362.9,4666,68.599999999999994,null,null,0.39]
[77.5,387.5,166,10.07,"2009-02-06T12:43:51",66.400000000000006,387.5,16.600000000000001,1007,3.28,3.0700000000000002E-2,65.099999999999994,69.099999999999994,372.7,4760,66.400000000000006,null,null,0.39]
[78,399,166,10.26,"2009-02-06T12:44:23",67.099999999999994,399,16.600000000000001,1026,3.22,3.1800000000000002E-2,63.6,67.599999999999994,380.9,4934,67.099999999999994,null,null,0.39]
[78.5,394.4,167,8.98,"2009-02-06T12:44:55",67.7,394.4,16.7,898,3.17,2.8299999999999999E-2,63.8,67.8,388.2,4384,67.7,null,null,0.39]
[79,398.9,168,10.01,"2009-02-06T12:45:27",68.2,398.9,16.8,1001,3.13,3.2000000000000001E-2,62.9,66.8,395.5,4960,68.2,null,null,0.39]
[79.5,389.1,168,10.25,"2009-02-06T12:45:59",67.400000000000006,389.1,16.8,1025,3.07,3.3300000000000003E-2,63.1,67,404.2,5168,67.400000000000006,null,null,0.39]
[80,384.8,169,10.82,"2009-02-06T12:46:31",65.3,384.8,16.899999999999999,1082,3.02,3.5900000000000001E-2,62.7,66.5,414,5562,65.3,null,null,0.38]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.1,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]