{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":242,"n_cols":20,"rows_kept":242,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":391.51666666666665},{"$f":"AVERAGE(Oxy)","v":13.687916666666666},{"$f":"AVERAGE(CO)","v":833.6},{"$f":"AVERAGE(Effg)","v":79.754661016949171}]
[18,{"$f":"FT","v":131.5},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":2.52},{"$f":"Effg","v":0},"2009-02-24T10:20:27",66.3,131.5,21,252,null,null,null,null,null,null,66.3,null,null,0.56999999999999995]
[18.5,135.80000000000001,208,5.6,0,"2009-02-24T10:20:57",66.5,135.80000000000001,20.8,560,null,null,null,null,null,null,66.5,null,null,0.56999999999999995]
[19,137,207,7.69,0,"2009-02-24T10:21:27",67,137,20.7,769,null,null,null,null,null,null,67,null,null,0.59]
[19.5,145.1,203,9.68,0,"2009-02-24T10:21:57",67,145.1,20.3,968,null,null,null,null,null,null,67,null,null,0.59]
[20,154.9,198,13.45,67.400000000000006,"2009-02-24T10:22:27",65.3,154.9,19.8,1345,1.1599999999999999,0.11550000000000001,67.400000000000006,71.599999999999994,1643.6,23451,65.3,null,null,0.56000000000000005]
[20.5,172.8,190,14.85,74.8,"2009-02-24T10:22:57",66,172.8,19,1485,1.93,7.7100000000000002E-2,74.8,79.400000000000006,954.5,15659,66,null,null,0.52]
[21,183,182,13.4,79.5,"2009-02-24T10:23:27",66.400000000000006,183,18.2,1340,2.73,4.9099999999999998E-2,79.5,84.4,643.29999999999995,9961,66.400000000000006,null,null,0.49]
[21.5,193.8,173,11.39,82.2,"2009-02-24T10:23:57",66.400000000000006,193.8,17.3,1139,3.59,3.1699999999999999E-2,82.2,87.3,465.4,6440,66.400000000000006,null,null,0.46]
[22,202.7,168,8.92,83.1,"2009-02-24T10:24:27",66.900000000000006,202.7,16.8,892,4.0199999999999996,2.2200000000000001E-2,83.1,88.3,405.4,4508,66.900000000000006,null,null,0.46]
[22.5,206.2,164,10.36,83.7,"2009-02-24T10:24:57",67.400000000000006,206.2,16.399999999999999,1036,4.43,2.3400000000000001E-2,83.7,88.9,358.5,4750,67.400000000000006,null,null,0.48]
[23,229.7,165,11.36,81.7,"2009-02-24T10:25:27",63.8,229.7,16.5,1136,4.34,2.6200000000000001E-2,81.7,86.7,367.8,5314,63.8,null,null,0.46]
[23.5,225.6,165,9.61,81.8,"2009-02-24T10:25:57",58.9,225.6,16.5,961,4.32,2.2200000000000001E-2,81.8,86.8,369.9,4516,58.9,null,null,0.45]
[24,234.3,164,6.41,81.5,"2009-02-24T10:26:27",53.2,234.3,16.399999999999999,641,4.45,1.44E-2,81.5,86.6,356.3,2925,53.2,null,null,0.5]
[24.5,245,160,7.39,81.7,"2009-02-24T10:26:57",55.1,245,16,739,4.79,1.54E-2,81.7,86.8,323.7,3131,55.1,null,null,0.5]
[25,241.7,159,8.8000000000000007,82.2,"2009-02-24T10:27:27",57.9,241.7,15.9,880,4.9000000000000004,1.7999999999999999E-2,82.2,87.3,314.2,3645,57.9,null,null,0.5]
[25.5,244.4,157,13.2,82.1,"2009-02-24T10:27:57",57.6,244.4,15.7,1320,5.1100000000000003,2.58E-2,82.1,87.1,296.89999999999998,5239,57.6,null,null,0.47]
[26,251,155,14.85,82,"2009-02-24T10:28:27",57.9,251,15.5,1485,5.33,2.7900000000000001E-2,82,87.1,280.89999999999998,5656,57.9,null,null,0.48]
[26.5,252.5,156,14.37,81.8,"2009-02-24T10:28:57",59,252.5,15.6,1437,5.22,2.75E-2,81.8,86.9,289,5589,59,null,null,0.49]
[27,251.8,157,13.76,81.5,"2009-02-24T10:29:27",54.6,251.8,15.7,1376,5.17,2.6599999999999999E-2,81.5,86.6,292.8,5405,54.6,null,null,0.48]
[27.5,245.8,159,10.6,81.5,"2009-02-24T10:29:57",51.6,245.8,15.9,1060,4.93,2.1499999999999998E-2,81.5,86.5,311.89999999999998,4366,51.6,null,null,0.49]
[28,250.1,156,9.7200000000000006,82.4,"2009-02-24T10:30:27",57.2,250.1,15.6,972,5.26,1.8499999999999999E-2,82.4,87.5,286.10000000000002,3753,57.2,null,null,0.49]
[28.5,245.6,159,8.4499999999999993,82.1,"2009-02-24T10:30:57",60.5,245.6,15.9,845,4.8899999999999997,1.7299999999999999E-2,82.1,87.2,315.5,3511,60.5,null,null,0.5]
[29,244.3,162,8.36,81.7,"2009-02-24T10:31:27",60.8,244.3,16.2,836,4.67,1.7899999999999999E-2,81.7,86.8,334.9,3636,60.8,null,null,0.49]
[29.5,249,160,8.65,81.8,"2009-02-24T10:31:57",62.4,249,16,865,4.79,1.8100000000000002E-2,81.8,86.9,323.60000000000002,3664,62.4,null,null,0.49]
[30,249.2,162,7.77,81.7,"2009-02-24T10:32:27",63.8,249.2,16.2,777,4.66,1.67E-2,81.7,86.7,335.4,3383,63.8,null,null,0.49]
[30.5,249.6,162,9.0500000000000007,81.400000000000006,"2009-02-24T10:32:57",63.9,249.6,16.2,905,4.6100000000000003,1.9599999999999999E-2,81.400000000000006,86.4,340.1,3983,63.9,null,null,0.48]
[31,252.5,162,9.82,81.3,"2009-02-24T10:33:27",63.6,252.5,16.2,982,4.67,2.1000000000000001E-2,81.3,86.3,334.8,4270,63.6,null,null,0.47]
[31.5,252.7,160,10.61,81.5,"2009-02-24T10:33:57",63.3,252.7,16,1061,4.83,2.1999999999999999E-2,81.5,86.6,320.3,4460,63.3,null,null,0.47]
[32,{"$f":"FT","v":258},{"$f":"Oxy*10","v":159},{"$f":"CO/100","v":12.22},{"$f":"Effg","v":81.400000000000006},"2009-02-24T10:34:27",64.900000000000006,258,15.9,1222,4.91,2.4899999999999999E-2,81.400000000000006,86.4,313.39999999999998,5051,64.900000000000006,null,null,0.47]
[32.5,258.39999999999998,158,12.28,81.7,"2009-02-24T10:34:57",65.599999999999994,258.39999999999998,15.8,1228,5.03,2.4400000000000002E-2,81.7,86.7,303.3,4952,65.599999999999994,null,null,0.47]
[33,257.89999999999998,159,11.83,81.400000000000006,"2009-02-24T10:35:27",64.2,257.89999999999998,15.9,1183,4.91,2.41E-2,81.400000000000006,86.4,313.8,4896,64.2,null,null,0.46]
[33.5,262.39999999999998,158,13,81.2,"2009-02-24T10:35:57",63.6,262.39999999999998,15.8,1300,5.0199999999999996,2.5899999999999999E-2,81.2,86.3,304,5252,63.6,null,null,0.46]
[34,259.7,158,13.57,81.400000000000006,"2009-02-24T10:36:27",63.5,259.7,15.8,1357,5.07,2.6800000000000001E-2,81.400000000000006,86.5,300.3,5432,63.5,null,null,0.45]
[34.5,259,160,13.96,80.900000000000006,"2009-02-24T10:36:57",63.5,259,16,1396,4.87,2.87E-2,80.900000000000006,85.9,317.2,5823,63.5,null,null,0.46]
[35,257.7,159,14.53,81.2,"2009-02-24T10:37:27",64.400000000000006,257.7,15.9,1453,4.93,2.9499999999999998E-2,81.2,86.2,311.7,5982,64.400000000000006,null,null,0.45]
[35.5,264.2,158,13.75,81.099999999999994,"2009-02-24T10:37:57",65.099999999999994,264.2,15.8,1375,5.03,2.7400000000000001E-2,81.099999999999994,86.2,303.89999999999998,5553,65.099999999999994,null,null,0.45]
[36,267,155,12.8,81.7,"2009-02-24T10:38:27",65,267,15.5,1280,5.28,2.4199999999999999E-2,81.7,86.7,284.10000000000002,4917,65,null,null,0.44]
[36.5,270.5,155,12.63,81.599999999999994,"2009-02-24T10:38:57",65.3,270.5,15.5,1263,5.34,2.3699999999999999E-2,81.599999999999994,86.7,280.10000000000002,4801,65.3,null,null,0.44]
[37,270.5,155,12.86,81.5,"2009-02-24T10:39:27",64.7,270.5,15.5,1286,5.29,2.4299999999999999E-2,81.5,86.5,283.7,4935,64.7,null,null,0.43]
[37.5,276,154,14.17,81.400000000000006,"2009-02-24T10:39:57",64.900000000000006,276,15.4,1417,5.45,2.5999999999999999E-2,81.400000000000006,86.5,272.60000000000002,5279,64.900000000000006,null,null,0.43]
[38,277.8,155,14.5,81,"2009-02-24T10:40:27",65.7,277.8,15.5,1450,5.32,2.7300000000000001E-2,81,86.1,281.60000000000002,5534,65.7,null,null,0.43]
[38.5,273.7,154,16.62,81.400000000000006,"2009-02-24T10:40:57",65.8,273.7,15.4,1662,5.45,3.0499999999999999E-2,81.400000000000006,86.4,272.60000000000002,6192,65.8,null,null,0.43]
[39,273.60000000000002,155,16.55,81.099999999999994,"2009-02-24T10:41:27",66.400000000000006,273.60000000000002,15.5,1655,5.33,3.1E-2,81.099999999999994,86.2,280.7,6300,66.400000000000006,null,null,0.43]
[39.5,282.2,149,12.37,82.2,"2009-02-24T10:41:57",66.8,282.2,14.9,1237,5.85,2.1100000000000001E-2,82.2,87.3,247,4292,66.8,null,null,0.43]
[40,290.39999999999998,139,8.02,83.7,"2009-02-24T10:42:27",66.7,290.39999999999998,13.9,802,6.85,1.17E-2,83.7,88.9,196.5,2378,66.7,null,null,0.43]
[40.5,293.39999999999998,131,9.2799999999999994,84.5,"2009-02-24T10:42:57",66.2,293.39999999999998,13.1,928,7.67,1.21E-2,84.5,89.7,164.7,2456,66.2,null,null,0.43]
[41,303,123,15.45,84.5,"2009-02-24T10:43:27",66,303,12.3,1545,8.41,1.84E-2,84.5,89.8,141.30000000000001,3727,66,null,null,0.43]
[41.5,304.5,128,11.94,84.2,"2009-02-24T10:43:57",65.5,304.5,12.8,1194,7.92,1.5100000000000001E-2,84.2,89.4,156.19999999999999,3060,65.5,null,null,0.42]
[42,307,132,9.19,83.9,"2009-02-24T10:44:27",66.2,307,13.2,919,7.58,1.21E-2,83.9,89.1,167.9,2462,66.2,null,null,0.43]
[42.5,307.39999999999998,132,8.8000000000000007,83.8,"2009-02-24T10:44:57",65.5,307.39999999999998,13.2,880,7.56,1.1599999999999999E-2,83.8,89,168.7,2364,65.5,null,null,0.42]
[43,311.5,133,8.67,83.5,"2009-02-24T10:45:27",65.8,311.5,13.3,867,7.41,1.17E-2,83.5,88.7,173.9,2375,65.8,null,null,0.42]
[43.5,317,126,5.58,84.4,"2009-02-24T10:45:57",67,317,12.6,558,8.11,6.8999999999999999E-3,84.4,89.6,150.4,1397,67,null,null,0.4]
[44,323.39999999999998,114,28.72,84,"2009-02-24T10:46:27",67,323.39999999999998,11.4,2872,9.26,3.1E-2,84,89.2,119.3,6298,67,null,null,0.38]
[44.5,321,116,21.35,84.3,"2009-02-24T10:46:57",66.3,321,11.6,2135,9.11,2.3400000000000001E-2,84.3,89.5,122.9,4758,66.3,null,null,0.37]
[45,319.7,116,10.96,84.8,"2009-02-24T10:47:27",65.400000000000006,319.7,11.6,1096,9.0500000000000007,1.21E-2,84.8,90.1,124.3,2458,65.400000000000006,null,null,0.37]
[45.5,330.1,111,13.56,84.8,"2009-02-24T10:47:57",66.3,330.1,11.1,1356,9.5399999999999991,1.4200000000000001E-2,84.8,90.1,112.8,2885,66.3,null,null,0.34]
[46,335.1,112,16.36,84.5,"2009-02-24T10:48:27",66.7,335.1,11.2,1636,9.4600000000000009,1.7299999999999999E-2,84.5,89.7,114.5,3509,66.7,null,null,0.33]
[46.5,343,108,18.86,84.4,"2009-02-24T10:48:57",66.8,343,10.8,1886,9.83,1.9199999999999998E-2,84.4,89.6,106.4,3893,66.8,null,null,0.31]
[47,342.3,108,19.260000000000002,84.4,"2009-02-24T10:49:27",67,342.3,10.8,1926,9.85,1.9599999999999999E-2,84.4,89.7,106.1,3969,67,null,null,0.32]
[47.5,340.3,103,36.36,84,"2009-02-24T10:49:57",66,340.3,10.3,3636,10.3,3.5299999999999998E-2,84,89.2,97.1,7167,66,null,null,0.27]
[48,345.5,107,24.06,84.1,"2009-02-24T10:50:27",66.3,345.5,10.7,2406,9.91,2.4299999999999999E-2,84.1,89.3,104.8,4928,66.3,null,null,0.26]
[48.5,351.5,109,15.6,84.3,"2009-02-24T10:50:57",66.5,351.5,10.9,1560,9.77,1.6E-2,84.3,89.5,107.7,3241,66.5,null,null,0.24]
[49,346.7,111,10.48,84.5,"2009-02-24T10:51:27",66.5,346.7,11.1,1048,9.6199999999999992,1.09E-2,84.5,89.8,111.1,2212,66.5,null,null,0.23]
[49.5,349.5,111,6.94,84.7,"2009-02-24T10:51:57",66.7,349.5,11.1,694,9.61,7.1999999999999998E-3,84.7,89.9,111.1,1465,66.7,null,null,0.2]
[50,349.6,113,6.44,84.5,"2009-02-24T10:52:27",67,349.6,11.3,644,9.4,6.8999999999999999E-3,84.5,89.7,115.9,1391,67,null,null,0.19]
[50.5,351.1,110,8.27,84.6,"2009-02-24T10:52:57",67.900000000000006,351.1,11,827,9.6300000000000008,8.6E-3,84.6,89.8,110.7,1743,67.900000000000006,null,null,0.15]
[51,348.9,112,6.33,84.7,"2009-02-24T10:53:27",68.099999999999994,348.9,11.2,633,9.5,6.7000000000000002E-3,84.7,89.9,113.6,1352,68.099999999999994,null,null,0.12]
[51.5,349.1,113,5.65,84.6,"2009-02-24T10:53:57",68.400000000000006,349.1,11.3,565,9.36,6.0000000000000001E-3,84.6,89.8,116.9,1226,68.400000000000006,null,null,0.09]
[52,346.1,114,5.29,84.6,"2009-02-24T10:54:27",68.900000000000006,346.1,11.4,529,9.26,5.7000000000000002E-3,84.6,89.9,119.2,1160,68.900000000000006,null,null,0.09]
[52.5,342.4,116,4.24,84.6,"2009-02-24T10:54:57",68.599999999999994,342.4,11.6,424,9.0500000000000007,4.7000000000000002E-3,84.6,89.8,124.3,951,68.599999999999994,null,null,0.08]
[53,345.7,116,4.3099999999999996,84.5,"2009-02-24T10:55:27",69.099999999999994,345.7,11.6,431,9.08,4.7000000000000002E-3,84.5,89.8,123.5,963,69.099999999999994,null,null,0.08]
[53.5,355.6,149,2.56,79.5,"2009-02-24T10:55:57",67.5,355.6,14.9,256,5.85,4.4000000000000003E-3,79.5,84.4,246.9,888,67.5,null,null,0.47]
[54,361.9,109,4.24,84.5,"2009-02-24T10:56:27",66.400000000000006,361.9,10.9,424,9.73,4.4000000000000003E-3,84.5,89.7,108.6,885,66.400000000000006,null,null,0.42]
[54.5,367.4,112,3.88,84.1,"2009-02-24T10:56:57",67.2,367.4,11.2,388,9.44,4.1000000000000003E-3,84.1,89.3,115,834,67.2,null,null,0.37]
[55,378.2,119,3.75,83.2,"2009-02-24T10:57:27",67.599999999999994,378.2,11.9,375,8.82,4.3E-3,83.2,88.3,130.19999999999999,863,67.599999999999994,null,null,0.35]
[55.5,371.6,120,4.26,83.3,"2009-02-24T10:57:57",68.099999999999994,371.6,12,426,8.73,4.8999999999999998E-3,83.3,88.4,132.5,991,68.099999999999994,null,null,0.34]
[56,386.6,119,3.3,82.9,"2009-02-24T10:58:27",68.8,386.6,11.9,330,8.76,3.8E-3,82.9,88,131.6,764,68.8,null,null,0.34]
[56.5,380.4,118,2.62,83.3,"2009-02-24T10:58:57",69.2,380.4,11.8,262,8.85,3.0000000000000001E-3,83.3,88.4,129.4,601,69.2,null,null,0.35]
[57,384.2,119,2.93,83,"2009-02-24T10:59:27",69.599999999999994,384.2,11.9,293,8.76,3.3E-3,83,88.2,131.80000000000001,679,69.599999999999994,null,null,0.34]
[57.5,387.7,120,2.52,82.9,"2009-02-24T10:59:57",70.099999999999994,387.7,12,252,8.7100000000000009,2.8999999999999998E-3,82.9,88,133,587,70.099999999999994,null,null,0.33]
[58,392.2,122,2.61,82.5,"2009-02-24T11:00:27",69.900000000000006,392.2,12.2,261,8.5399999999999991,3.0999999999999999E-3,82.5,87.7,137.6,620,69.900000000000006,null,null,0.32]
[58.5,387.3,121,2.91,82.8,"2009-02-24T11:00:57",69.400000000000006,387.3,12.1,291,8.61,3.3999999999999998E-3,82.8,87.9,135.69999999999999,686,69.400000000000006,null,null,0.32]
[59,379.3,122,2.68,82.8,"2009-02-24T11:01:27",68.7,379.3,12.2,268,8.4700000000000006,3.2000000000000002E-3,82.8,88,139.69999999999999,643,68.7,null,null,0.3]
[59.5,384.8,123,3.33,82.6,"2009-02-24T11:01:57",68.8,384.8,12.3,333,8.4499999999999993,3.8999999999999998E-3,82.6,87.7,140.4,800,68.8,null,null,0.28000000000000003]
[60,388.3,125,3.67,82.2,"2009-02-24T11:02:27",68.099999999999994,388.3,12.5,367,8.26,4.4000000000000003E-3,82.2,87.3,145.80000000000001,902,68.099999999999994,null,null,0.26]
[60.5,388,125,4.1399999999999997,82.1,"2009-02-24T11:02:57",68.8,388,12.5,414,8.19,5.1000000000000004E-3,82.1,87.2,147.9,1026,68.8,null,null,0.26]
[61,385.6,125,4.58,82.2,"2009-02-24T11:03:27",69.400000000000006,385.6,12.5,458,8.17,5.5999999999999999E-3,82.2,87.3,148.5,1138,69.400000000000006,null,null,0.26]
[61.5,391.9,124,4.47,82.1,"2009-02-24T11:03:57",69.900000000000006,391.9,12.4,447,8.27,5.4000000000000003E-3,82.1,87.2,145.6,1098,69.900000000000006,null,null,0.28000000000000003]
[62,389.1,125,4.1500000000000004,82.2,"2009-02-24T11:04:27",70.099999999999994,389.1,12.5,415,8.25,5.0000000000000001E-3,82.2,87.3,146,1021,70.099999999999994,null,null,0.27]
[62.5,400.8,124,4.55,81.900000000000006,"2009-02-24T11:04:57",71.099999999999994,400.8,12.4,455,8.32,5.4999999999999997E-3,81.900000000000006,87,144.1,1111,71.099999999999994,null,null,0.26]
[63,392.6,124,4.16,82.2,"2009-02-24T11:05:27",71.400000000000006,392.6,12.4,416,8.27,5.0000000000000001E-3,82.2,87.2,145.30000000000001,1021,71.400000000000006,null,null,0.25]
[63.5,391.5,125,4.29,82.2,"2009-02-24T11:05:57",71.7,391.5,12.5,429,8.26,5.1999999999999998E-3,82.2,87.3,145.6,1054,71.7,null,null,0.24]
[64,{"$f":"FT","v":401.5},{"$f":"Oxy*10","v":126},{"$f":"CO/100","v":4.22},{"$f":"Effg","v":81.599999999999994},"2009-02-24T11:06:27",70.7,401.5,12.6,422,8.09,5.1999999999999998E-3,81.599999999999994,86.6,150.80000000000001,1058,70.7,null,null,0.22]
[64.5,395.8,125,3.33,82,"2009-02-24T11:06:57",71.3,395.8,12.5,333,8.24,4.0000000000000001E-3,82,87.1,146.4,821,71.3,null,null,0.23]
[65,401.7,122,2.42,82.2,"2009-02-24T11:07:27",71.7,401.7,12.2,242,8.49,2.8E-3,82.2,87.3,139,578,71.7,null,null,0.22]
[65.5,403.3,123,2.4900000000000002,82,"2009-02-24T11:07:57",71.7,403.3,12.3,249,8.36,3.0000000000000001E-3,82,87.1,142.80000000000001,604,71.7,null,null,0.22]
[66,408.4,124,2.94,81.8,"2009-02-24T11:08:27",72.5,408.4,12.4,294,8.33,3.5000000000000001E-3,81.8,86.9,143.6,716,72.5,null,null,0.2]
[66.5,412.4,125,3.96,81.400000000000006,"2009-02-24T11:08:57",72.8,412.4,12.5,396,8.2200000000000006,4.7999999999999996E-3,81.400000000000006,86.5,147,978,72.8,null,null,0.2]
[67,403.6,125,4.1500000000000004,81.7,"2009-02-24T11:09:27",72.8,403.6,12.5,415,8.17,5.1000000000000004E-3,81.7,86.7,148.4,1031,72.8,null,null,0.2]
[67.5,399.6,125,3.49,82,"2009-02-24T11:09:57",73.099999999999994,399.6,12.5,349,8.23,4.1999999999999997E-3,82,87,146.69999999999999,861,73.099999999999994,null,null,0.2]
[68,407.4,125,3.6,81.7,"2009-02-24T11:10:27",73.400000000000006,407.4,12.5,360,8.24,4.4000000000000003E-3,81.7,86.8,146.4,887,73.400000000000006,null,null,0.2]
[68.5,401.5,124,3.58,82,"2009-02-24T11:10:57",73.2,401.5,12.4,358,8.33,4.3E-3,82,87.1,143.69999999999999,872,73.2,null,null,0.19]
[69,404,124,3.12,82,"2009-02-24T11:11:27",74.3,404,12.4,312,8.33,3.7000000000000002E-3,82,87.1,143.6,760,74.3,null,null,0.19]
[69.5,405.8,125,3.34,81.8,"2009-02-24T11:11:57",73.099999999999994,405.8,12.5,334,8.25,4.0000000000000001E-3,81.8,86.8,146,822,73.099999999999994,null,null,0.19]
[70,404.1,125,3.5,81.7,"2009-02-24T11:12:27",72.7,404.1,12.5,350,8.1999999999999993,4.3E-3,81.7,86.8,147.5,866,72.7,null,null,0.19]
[70.5,403.9,127,3.42,81.599999999999994,"2009-02-24T11:12:57",73.3,403.9,12.7,342,8.07,4.1999999999999997E-3,81.599999999999994,86.7,151.5,860,73.3,null,null,0.18]
[71,409.6,127,3.21,81.400000000000006,"2009-02-24T11:13:27",73.8,409.6,12.7,321,8.02,4.0000000000000001E-3,81.400000000000006,86.4,153,812,73.8,null,null,0.18]
[71.5,412.7,127,3.88,81.2,"2009-02-24T11:13:57",73.599999999999994,412.7,12.7,388,8,4.8999999999999998E-3,81.2,86.2,153.80000000000001,985,73.599999999999994,null,null,0.18]
[72,412,128,3.81,81,"2009-02-24T11:14:27",71.599999999999994,412,12.8,381,7.94,4.7999999999999996E-3,81,86.1,155.69999999999999,974,71.599999999999994,null,null,0.16]
[72.5,423.4,128,3.54,80.599999999999994,"2009-02-24T11:14:57",71,423.4,12.8,354,7.92,4.4999999999999997E-3,80.599999999999994,85.6,156.30000000000001,907,71,null,null,0.16]
[73,411.4,128,3.63,81,"2009-02-24T11:15:27",71.3,411.4,12.8,363,7.9,4.5999999999999999E-3,81,86,157.1,933,71.3,null,null,0.15]
[73.5,418.2,131,3.89,80.400000000000006,"2009-02-24T11:15:57",71.900000000000006,418.2,13.1,389,7.65,5.1000000000000004E-3,80.400000000000006,85.3,165.3,1032,71.900000000000006,null,null,0.14000000000000001]
[74,420,130,3.91,80.5,"2009-02-24T11:16:27",73,420,13,391,7.74,5.1000000000000004E-3,80.5,85.5,162.30000000000001,1026,73,null,null,0.13]
[74.5,419.2,130,3.92,80.5,"2009-02-24T11:16:57",72.8,419.2,13,392,7.75,5.1000000000000004E-3,80.5,85.5,161.9,1027,72.8,null,null,0.11]
[75,421.3,129,3.51,80.599999999999994,"2009-02-24T11:17:27",73.8,421.3,12.9,351,7.83,4.4999999999999997E-3,80.599999999999994,85.6,159.19999999999999,910,73.8,null,null,0.11]
[75.5,411.6,129,3.13,81,"2009-02-24T11:17:57",73.099999999999994,411.6,12.9,313,7.86,4.0000000000000001E-3,81,86.1,158.30000000000001,808,73.099999999999994,null,null,0.1]
[76,417.1,130,3.2,80.7,"2009-02-24T11:18:27",73.900000000000006,417.1,13,320,7.74,4.1000000000000003E-3,80.7,85.7,162.1,839,73.900000000000006,null,null,0.11]
[76.5,423.7,132,3.92,80,"2009-02-24T11:18:57",74.599999999999994,423.7,13.2,392,7.5,5.1999999999999998E-3,80,85,170.5,1060,74.599999999999994,null,null,0.12]
[77,418.1,133,4.32,80.099999999999994,"2009-02-24T11:19:27",73.5,418.1,13.3,432,7.45,5.7999999999999996E-3,80.099999999999994,85,172.4,1177,73.5,null,null,0.12]
[77.5,421.2,133,4.7300000000000004,79.900000000000006,"2009-02-24T11:19:57",73.8,421.2,13.3,473,7.43,6.4000000000000003E-3,79.900000000000006,84.8,173.3,1293,73.8,null,null,0.11]
[78,420,136,5.15,79.400000000000006,"2009-02-24T11:20:27",71.8,420,13.6,515,7.17,7.1999999999999998E-3,79.400000000000006,84.3,183,1457,71.8,null,null,0.11]
[78.5,422.7,136,5.21,79.3,"2009-02-24T11:20:57",72,422.7,13.6,521,7.17,7.3000000000000001E-3,79.3,84.2,183.1,1475,72,null,null,0.12]
[79,422.1,135,5.76,79.5,"2009-02-24T11:21:27",71.7,422.1,13.5,576,7.29,7.9000000000000008E-3,79.5,84.4,178.4,1603,71.7,null,null,0.12]
[79.5,419.3,134,5.62,79.7,"2009-02-24T11:21:57",73,419.3,13.4,562,7.35,7.6E-3,79.7,84.7,176.2,1552,73,null,null,0.11]
[80,420.3,132,5.74,79.900000000000006,"2009-02-24T11:22:27",72.900000000000006,420.3,13.2,574,7.49,7.7000000000000002E-3,79.900000000000006,84.9,170.9,1555,72.900000000000006,null,null,0.11]
[80.5,415.6,131,5.08,80.400000000000006,"2009-02-24T11:22:57",73.8,415.6,13.1,508,7.62,6.7000000000000002E-3,80.400000000000006,85.4,166.6,1354,73.8,null,null,0.1]
[81,418,131,4.82,80.400000000000006,"2009-02-24T11:23:27",74.099999999999994,418,13.1,482,7.64,6.3E-3,80.400000000000006,85.4,165.6,1280,74.099999999999994,null,null,0.1]
[81.5,427.6,131,4.1500000000000004,80.099999999999994,"2009-02-24T11:23:57",74.400000000000006,427.6,13.1,415,7.64,5.4000000000000003E-3,80.099999999999994,85,165.8,1103,74.400000000000006,null,null,0.1]
[82,423.8,132,3.98,80,"2009-02-24T11:24:27",74.400000000000006,423.8,13.2,398,7.5,5.3E-3,80,84.9,170.8,1078,74.400000000000006,null,null,0.09]
[82.5,424.5,134,4.5,79.7,"2009-02-24T11:24:57",74.7,424.5,13.4,450,7.38,6.1000000000000004E-3,79.7,84.7,175.2,1238,74.7,null,null,0.11]
[83,428.3,135,5.12,79.3,"2009-02-24T11:25:27",74.599999999999994,428.3,13.5,512,7.25,7.1000000000000004E-3,79.3,84.2,180,1434,74.599999999999994,null,null,0.1]
[83.5,420.4,137,5.73,79.2,"2009-02-24T11:25:57",73,420.4,13.7,573,7.1,8.0999999999999996E-3,79.2,84.1,186.1,1639,73,null,null,0.09]
[84,429,156,4.41,74,"2009-02-24T11:26:27",73.900000000000006,429,15.6,441,5.19,8.5000000000000006E-3,74,78.599999999999994,290.89999999999998,1724,73.900000000000006,null,null,0.63]
[84.5,435.9,137,7.83,78.400000000000006,"2009-02-24T11:26:57",73.8,435.9,13.7,783,7.07,1.11E-2,78.400000000000006,83.3,187.2,2249,73.8,null,null,0.59]
[85,441.8,138,8.1999999999999993,77.900000000000006,"2009-02-24T11:27:27",73.5,441.8,13.8,820,6.96,1.18E-2,77.900000000000006,82.7,191.6,2391,73.5,null,null,0.6]
[85.5,433.2,136,7.99,78.7,"2009-02-24T11:27:57",73.7,433.2,13.6,799,7.18,1.11E-2,78.7,83.6,182.7,2259,73.7,null,null,0.61]
[86,447.5,134,5.59,78.599999999999994,"2009-02-24T11:28:27",73,447.5,13.4,559,7.35,7.6E-3,78.599999999999994,83.5,176,1543,73,null,null,0.6]
[86.5,440.6,131,4.22,79.5,"2009-02-24T11:28:57",73.2,440.6,13.1,422,7.63,5.4999999999999997E-3,79.5,84.4,166,1123,73.2,null,null,0.6]
[87,445.4,130,3.84,79.5,"2009-02-24T11:29:27",72.900000000000006,445.4,13,384,7.72,5.0000000000000001E-3,79.5,84.4,162.80000000000001,1009,72.900000000000006,null,null,0.61]
[87.5,457.1,129,3.69,79.2,"2009-02-24T11:29:57",72.400000000000006,457.1,12.9,369,7.8,4.7000000000000002E-3,79.2,84.1,160.1,960,72.400000000000006,null,null,0.61]
[88,447,128,3.79,79.8,"2009-02-24T11:30:27",72.5,447,12.8,379,7.92,4.7999999999999996E-3,79.8,84.7,156.19999999999999,971,72.5,null,null,0.62]
[88.5,445.4,127,4.8499999999999996,79.900000000000006,"2009-02-24T11:30:57",73.099999999999994,445.4,12.7,485,7.99,6.1000000000000004E-3,79.900000000000006,84.8,154.19999999999999,1233,73.099999999999994,null,null,0.61]
[89,453,129,4.24,79.400000000000006,"2009-02-24T11:31:27",73.7,453,12.9,424,7.84,5.4000000000000003E-3,79.400000000000006,84.3,159,1098,73.7,null,null,0.6]
[89.5,457.6,132,5.27,78.599999999999994,"2009-02-24T11:31:57",74.099999999999994,457.6,13.2,527,7.53,7.0000000000000001E-3,78.599999999999994,83.5,169.5,1420,74.099999999999994,null,null,0.6]
[90,458.8,134,6.19,78.099999999999994,"2009-02-24T11:32:27",73.2,458.8,13.4,619,7.3,8.5000000000000006E-3,78.099999999999994,82.9,177.9,1720,73.2,null,null,0.6]
[90.5,455.8,135,6.9,78,"2009-02-24T11:32:57",73.3,455.8,13.5,690,7.23,9.4999999999999998E-3,78,82.8,180.6,1936,73.3,null,null,0.6]
[91,449.5,135,7.56,78.400000000000006,"2009-02-24T11:33:27",74.3,449.5,13.5,756,7.3,1.04E-2,78.400000000000006,83.2,178.2,2103,74.3,null,null,0.6]
[91.5,450.8,134,7.68,78.400000000000006,"2009-02-24T11:33:57",75.400000000000006,450.8,13.4,768,7.33,1.0500000000000001E-2,78.400000000000006,83.3,176.8,2126,75.400000000000006,null,null,0.59]
[92,450.9,134,7.38,78.400000000000006,"2009-02-24T11:34:27",74.7,450.9,13.4,738,7.31,1.01E-2,78.400000000000006,83.2,177.8,2050,74.7,null,null,0.6]
[92.5,443.8,136,7.89,78.400000000000006,"2009-02-24T11:34:57",75.599999999999994,443.8,13.6,789,7.18,1.0999999999999999E-2,78.400000000000006,83.2,182.8,2231,75.599999999999994,null,null,0.6]
[93,451.8,136,7.49,78.099999999999994,"2009-02-24T11:35:27",75.599999999999994,451.8,13.6,749,7.18,1.04E-2,78.099999999999994,82.9,182.7,2118,75.599999999999994,null,null,0.6]
[93.5,445.8,135,7.71,78.3,"2009-02-24T11:35:57",74.2,445.8,13.5,771,7.22,1.0699999999999999E-2,78.3,83.2,181.2,2168,74.2,null,null,0.57999999999999996]
[94,443.5,137,7.75,78.2,"2009-02-24T11:36:27",73.8,443.5,13.7,775,7.09,1.09E-2,78.2,83,186.2,2218,73.8,null,null,0.57999999999999996]
[94.5,446.4,137,7.74,78,"2009-02-24T11:36:57",74.2,446.4,13.7,774,7.05,1.0999999999999999E-2,78,82.8,188,2229,74.2,null,null,0.57999999999999996]
[95,447.7,137,8.02,78,"2009-02-24T11:37:27",76.2,447.7,13.7,802,7.08,1.1299999999999999E-2,78,82.9,186.8,2300,76.2,null,null,0.56999999999999995]
[95.5,452.8,135,7.96,78.2,"2009-02-24T11:37:57",75.5,452.8,13.5,796,7.27,1.09E-2,78.2,83.1,179.1,2221,75.5,null,null,0.57999999999999996]
[96,{"$f":"FT","v":453},{"$f":"Oxy*10","v":132},{"$f":"CO/100","v":6.35},{"$f":"Effg","v":78.8},"2009-02-24T11:38:27",75.7,453,13.2,635,7.51,8.5000000000000006E-3,78.8,83.6,170.4,1717,75.7,null,null,0.56999999999999995]
[96.5,448.4,133,5.36,79,"2009-02-24T11:38:57",76,448.4,13.3,536,7.48,7.1999999999999998E-3,79,83.9,171.4,1455,76,null,null,0.56999999999999995]
[97,461.2,134,5.48,78.400000000000006,"2009-02-24T11:39:27",77.3,461.2,13.4,548,7.39,7.4000000000000003E-3,78.400000000000006,83.2,174.7,1505,77.3,null,null,0.56000000000000005]
[97.5,458.9,135,5.37,78.099999999999994,"2009-02-24T11:39:57",76.8,458.9,13.5,537,7.22,7.4000000000000003E-3,78.099999999999994,82.9,181.1,1509,76.8,null,null,0.56999999999999995]
[98,455.8,136,5.56,78.099999999999994,"2009-02-24T11:40:27",77.2,455.8,13.6,556,7.17,7.7999999999999996E-3,78.099999999999994,83,183.2,1575,77.2,null,null,0.56999999999999995]
[98.5,452.2,135,6.92,78.2,"2009-02-24T11:40:57",77,452.2,13.5,692,7.2,9.5999999999999992E-3,78.2,83.1,181.8,1950,77,null,null,0.56000000000000005]
[99,456.8,137,6.76,77.599999999999994,"2009-02-24T11:41:27",75.5,456.8,13.7,676,7.03,9.5999999999999992E-3,77.599999999999994,82.4,188.9,1953,75.5,null,null,0.56999999999999995]
[99.5,462.6,138,7.32,77.3,"2009-02-24T11:41:57",76,462.6,13.8,732,6.99,1.0500000000000001E-2,77.3,82.1,190.4,2126,76,null,null,0.57999999999999996]
[100,463.3,137,7.9,77.400000000000006,"2009-02-24T11:42:27",76.2,463.3,13.7,790,7.05,1.12E-2,77.400000000000006,82.1,188,2275,76.2,null,null,0.6]
[100.5,459,135,7.9,77.900000000000006,"2009-02-24T11:42:57",77.2,459,13.5,790,7.22,1.09E-2,77.900000000000006,82.8,181.1,2221,77.2,null,null,0.59]
[101,453.7,137,6.98,78,"2009-02-24T11:43:27",76.900000000000006,453.7,13.7,698,7.1,9.7999999999999997E-3,78,82.8,185.9,1996,76.900000000000006,null,null,0.57999999999999996]
[101.5,461.6,137,6.32,77.5,"2009-02-24T11:43:57",75.3,461.6,13.7,632,7.06,8.8999999999999999E-3,77.5,82.3,187.4,1817,75.3,null,null,0.54]
[102,472.5,134,5.57,77.8,"2009-02-24T11:44:27",76.7,472.5,13.4,557,7.33,7.6E-3,77.8,82.6,176.9,1542,76.7,null,null,0.52]
[102.5,463.2,131,4.01,78.8,"2009-02-24T11:44:57",76.8,463.2,13.1,401,7.65,5.1999999999999998E-3,78.8,83.7,165.4,1064,76.8,null,null,0.51]
[103,456.8,128,3.42,79.599999999999994,"2009-02-24T11:45:27",77.099999999999994,456.8,12.8,342,7.92,4.3E-3,79.599999999999994,84.5,156.19999999999999,876,77.099999999999994,null,null,0.51]
[103.5,459.7,129,3.23,79.3,"2009-02-24T11:45:57",76.099999999999994,459.7,12.9,323,7.82,4.1000000000000003E-3,79.3,84.2,159.6,839,76.099999999999994,null,null,0.51]
[104,462.2,130,3.32,79,"2009-02-24T11:46:27",75.7,462.2,13,332,7.69,4.3E-3,79,83.8,164,876,75.7,null,null,0.51]
[104.5,468.1,133,3.87,78.3,"2009-02-24T11:46:57",76,468.1,13.3,387,7.45,5.1999999999999998E-3,78.3,83.1,172.6,1055,76,null,null,0.51]
[105,456.5,130,4.04,79.2,"2009-02-24T11:47:27",77.7,456.5,13,404,7.71,5.1999999999999998E-3,79.2,84.1,163.4,1064,77.7,null,null,0.5]
[105.5,456.3,128,3.41,79.7,"2009-02-24T11:47:57",78.099999999999994,456.3,12.8,341,7.92,4.3E-3,79.7,84.6,156.4,874,78.099999999999994,null,null,0.5]
[106,461.1,128,3.49,79.400000000000006,"2009-02-24T11:48:27",76.099999999999994,461.1,12.8,349,7.93,4.4000000000000003E-3,79.400000000000006,84.3,156,893,76.099999999999994,null,null,0.5]
[106.5,455.5,124,4.8099999999999996,80.099999999999994,"2009-02-24T11:48:57",76.8,455.5,12.4,481,8.2899999999999991,5.7999999999999996E-3,80.099999999999994,85.1,144.80000000000001,1178,76.8,null,null,0.49]
[107,469.3,121,3.17,80.099999999999994,"2009-02-24T11:49:27",75,469.3,12.1,317,8.59,3.7000000000000002E-3,80.099999999999994,85.1,136.4,749,75,null,null,0.41]
[107.5,469.1,123,3.13,79.900000000000006,"2009-02-24T11:49:57",74.599999999999994,469.1,12.3,313,8.44,3.7000000000000002E-3,79.900000000000006,84.8,140.6,753,74.599999999999994,null,null,0.47]
[108,468.7,121,3.39,80.099999999999994,"2009-02-24T11:50:27",73.900000000000006,468.7,12.1,339,8.6199999999999992,3.8999999999999998E-3,80.099999999999994,85.1,135.4,798,73.900000000000006,null,null,0.43]
[108.5,469.1,123,2.75,79.900000000000006,"2009-02-24T11:50:57",74.5,469.1,12.3,275,8.42,3.3E-3,79.900000000000006,84.8,141,663,74.5,null,null,0.46]
[109,474.5,122,3.34,79.8,"2009-02-24T11:51:27",75.2,474.5,12.2,334,8.52,3.8999999999999998E-3,79.8,84.8,138.30000000000001,796,75.2,null,null,0.44]
[109.5,463.9,121,2.75,80.400000000000006,"2009-02-24T11:51:57",76,463.9,12.1,275,8.61,3.2000000000000002E-3,80.400000000000006,85.4,135.69999999999999,648,76,null,null,0.43]
[110,460.8,125,3.54,79.900000000000006,"2009-02-24T11:52:27",76.400000000000006,460.8,12.5,354,8.2200000000000006,4.3E-3,79.900000000000006,84.9,146.9,874,76.400000000000006,null,null,0.39]
[110.5,473.4,122,4.08,79.900000000000006,"2009-02-24T11:52:57",75.7,473.4,12.2,408,8.52,4.7999999999999996E-3,79.900000000000006,84.8,138.30000000000001,972,75.7,null,null,0.38]
[111,471.5,120,3.72,80.2,"2009-02-24T11:53:27",77.7,471.5,12,372,8.67,4.3E-3,80.2,85.2,134.1,871,77.7,null,null,0.4]
[111.5,468.9,122,4.09,80,"2009-02-24T11:53:57",77.7,468.9,12.2,409,8.49,4.7999999999999996E-3,80,85,139.19999999999999,978,77.7,null,null,0.39]
[112,481.9,126,3.58,79,"2009-02-24T11:54:27",76.400000000000006,481.9,12.6,358,8.14,4.4000000000000003E-3,79,83.9,149.4,893,76.400000000000006,null,null,0.4]
[112.5,473.4,128,3.45,79.099999999999994,"2009-02-24T11:54:57",76.5,473.4,12.8,345,7.97,4.3E-3,79.099999999999994,83.9,154.69999999999999,879,76.5,null,null,0.4]
[113,461.9,129,3.25,79.2,"2009-02-24T11:55:27",75.900000000000006,461.9,12.9,325,7.84,4.1000000000000003E-3,79.2,84.1,159.1,842,75.900000000000006,null,null,0.42]
[113.5,473.6,130,3.8,78.599999999999994,"2009-02-24T11:55:57",75.5,473.6,13,380,7.77,4.8999999999999998E-3,78.599999999999994,83.5,161.30000000000001,993,75.5,null,null,0.4]
[114,470.2,132,4.41,78.2,"2009-02-24T11:56:27",74.5,470.2,13.2,441,7.53,5.8999999999999999E-3,78.2,83.1,169.5,1188,74.5,null,null,0.41]
[114.5,474.2,133,4.2300000000000004,77.900000000000006,"2009-02-24T11:56:57",74.400000000000006,474.2,13.3,423,7.44,5.7000000000000002E-3,77.900000000000006,82.7,172.8,1154,74.400000000000006,null,null,0.44]
[115,470.7,136,6.19,77.2,"2009-02-24T11:57:27",74.599999999999994,470.7,13.6,619,7.11,8.6999999999999994E-3,77.2,82,185.7,1768,74.599999999999994,null,null,0.39]
[115.5,481.6,138,7.28,76.400000000000006,"2009-02-24T11:57:57",75.400000000000006,481.6,13.8,728,6.96,1.0500000000000001E-2,76.400000000000006,81.099999999999994,191.7,2123,75.400000000000006,null,null,0.39]
[116,475.1,142,10.81,75.5,"2009-02-24T11:58:27",74.599999999999994,475.1,14.2,1081,6.6,1.6400000000000001E-2,75.5,80.2,207.6,3325,74.599999999999994,null,null,0.46]
[116.5,473.5,143,10.35,75.2,"2009-02-24T11:58:57",74.7,473.5,14.3,1035,6.44,1.61E-2,75.2,79.8,215.4,3264,74.7,null,null,0.48]
[117,492.2,144,10.36,74.3,"2009-02-24T11:59:27",74.900000000000006,492.2,14.4,1036,6.41,1.6199999999999999E-2,74.3,78.900000000000006,216.5,3279,74.900000000000006,null,null,0.46]
[117.5,467.6,145,11.2,74.900000000000006,"2009-02-24T11:59:57",75.2,467.6,14.5,1120,6.24,1.7899999999999999E-2,74.900000000000006,79.5,225.2,3642,75.2,null,null,0.46]
[118,473,145,14.47,74.5,"2009-02-24T12:00:27",76.8,473,14.5,1447,6.26,2.3099999999999999E-2,74.5,79.099999999999994,224.2,4691,76.8,null,null,0.47]
[118.5,484.8,147,16.420000000000002,73.3,"2009-02-24T12:00:57",76.3,484.8,14.7,1642,6.11,2.69E-2,73.3,77.8,232.2,5455,76.3,null,null,0.42]
[119,505.4,162,14.19,66.400000000000006,"2009-02-24T12:01:27",77.599999999999994,505.4,16.2,1419,4.66,3.04E-2,66.400000000000006,70.5,335.4,6178,77.599999999999994,null,null,0.41]
[119.5,438.2,156,5.1100000000000003,73.8,"2009-02-24T12:01:57",77.5,438.2,15.6,511,5.25,9.7000000000000003E-3,73.8,78.400000000000006,286.89999999999998,1977,77.5,null,null,0.39]
[120,440.1,130,11.23,79.5,"2009-02-24T12:02:27",77.400000000000006,440.1,13,1123,7.77,1.44E-2,79.5,84.4,161.1,2932,77.400000000000006,null,null,0.37]
[120.5,452.4,125,17.649999999999999,79.400000000000006,"2009-02-24T12:02:57",77.599999999999994,452.4,12.5,1765,8.2200000000000006,2.1499999999999998E-2,79.400000000000006,84.3,147.1,4361,77.599999999999994,null,null,0.38]
[121,448,124,12.88,79.900000000000006,"2009-02-24T12:03:27",77,448,12.4,1288,8.2799999999999994,1.5599999999999999E-2,79.900000000000006,84.8,145.30000000000001,3159,77,null,null,0.35]
[121.5,447.6,124,21.24,79.400000000000006,"2009-02-24T12:03:57",78.7,447.6,12.4,2124,8.2799999999999994,2.5700000000000001E-2,79.400000000000006,84.4,145.19999999999999,5209,78.7,null,null,0.33]
[122,460.1,124,20.85,79,"2009-02-24T12:04:27",77.3,460.1,12.4,2085,8.2799999999999994,2.52E-2,79,83.9,145.30000000000001,5115,77.3,null,null,0.34]
[122.5,458.5,124,21.51,79.099999999999994,"2009-02-24T12:04:57",76.599999999999994,458.5,12.4,2151,8.35,2.58E-2,79.099999999999994,84,143.1,5228,76.599999999999994,null,null,0.33]
[123,456.1,126,20.67,78.900000000000006,"2009-02-24T12:05:27",76.5,456.1,12.6,2067,8.16,2.53E-2,78.900000000000006,83.8,148.69999999999999,5140,76.5,null,null,0.34]
[123.5,476.3,128,22.09,77.599999999999994,"2009-02-24T12:05:57",75.2,476.3,12.8,2209,7.91,2.7900000000000001E-2,77.599999999999994,82.4,156.69999999999999,5671,75.2,null,null,0.37]
[124,483.5,132,26.73,76.400000000000006,"2009-02-24T12:06:27",75.599999999999994,483.5,13.2,2673,7.58,3.5299999999999998E-2,76.400000000000006,81.099999999999994,167.9,7161,75.599999999999994,null,null,0.43]
[124.5,487.9,131,24.18,76.599999999999994,"2009-02-24T12:06:57",78.599999999999994,487.9,13.1,2418,7.63,3.1699999999999999E-2,76.599999999999994,81.3,166.2,6436,78.599999999999994,null,null,0.46]
[125,478.5,134,16.899999999999999,76.2,"2009-02-24T12:07:27",62.1,478.5,13.4,1690,7.37,2.29E-2,76.2,80.900000000000006,175.4,4654,62.1,null,null,0.46]
[125.5,481.5,136,14.58,76.2,"2009-02-24T12:07:57",72.400000000000006,481.5,13.6,1458,7.16,2.0400000000000001E-2,76.2,80.900000000000006,183.6,4135,72.400000000000006,null,null,0.44]
[126,496,139,24.23,74,"2009-02-24T12:08:27",67,496,13.9,2423,6.86,3.5299999999999998E-2,74,78.5,195.7,7165,67,null,null,0.44]
[126.5,471,140,19.37,75.2,"2009-02-24T12:08:57",69.599999999999994,471,14,1937,6.76,2.86E-2,75.2,79.900000000000006,200.2,5815,69.599999999999994,null,null,0.46]
[127,482.2,142,14.85,74.400000000000006,"2009-02-24T12:09:27",63.8,482.2,14.2,1485,6.61,2.2499999999999999E-2,74.400000000000006,79,207.3,4563,63.8,null,null,0.46]
[127.5,467.3,145,13.03,74.7,"2009-02-24T12:09:57",71.099999999999994,467.3,14.5,1303,6.31,2.06E-2,74.7,79.400000000000006,221.7,4192,71.099999999999994,null,null,0.46]
[128,{"$f":"FT","v":479.3},{"$f":"Oxy*10","v":147},{"$f":"CO/100","v":12.23},{"$f":"Effg","v":73.7},"2009-02-24T12:10:27",72.400000000000006,479.3,14.7,1223,6.12,0.02,73.7,78.3,231.8,4058,72.400000000000006,null,null,0.45]
[128.5,474.1,148,13.44,73.599999999999994,"2009-02-24T12:10:57",75.7,474.1,14.8,1344,5.98,2.2499999999999999E-2,73.599999999999994,78.2,239.7,4566,75.7,null,null,0.46]
[129,452.5,171,7.74,65.3,"2009-02-24T12:11:27",76.5,452.5,17.100000000000001,774,3.81,2.0299999999999999E-2,65.3,69.3,432.1,4119,76.5,null,null,0.47]
[129.5,448.2,149,7.63,75,"2009-02-24T12:11:57",75.599999999999994,448.2,14.9,763,5.86,1.2999999999999999E-2,75,79.599999999999994,246.3,2642,75.599999999999994,null,null,0.44]
[130,472.2,145,7.89,75.2,"2009-02-24T12:12:27",79.5,472.2,14.5,789,6.27,1.26E-2,75.2,79.900000000000006,223.8,2555,79.5,null,null,0.43]
[130.5,458.4,142,8.14,76.599999999999994,"2009-02-24T12:12:57",79.5,458.4,14.2,814,6.58,1.24E-2,76.599999999999994,81.400000000000006,208.5,2511,79.5,null,null,0.43]
[131,472.8,141,8.23,76.3,"2009-02-24T12:13:27",80.8,472.8,14.1,823,6.68,1.23E-2,76.3,81,203.9,2501,80.8,null,null,0.42]
[131.5,464,139,8.19,77.099999999999994,"2009-02-24T12:13:57",81.3,464,13.9,819,6.85,1.1900000000000001E-2,77.099999999999994,81.900000000000006,196.2,2426,81.3,null,null,0.42]
[132,480.5,140,7.54,76.3,"2009-02-24T12:14:27",81.099999999999994,480.5,14,754,6.8,1.11E-2,76.3,81,198.5,2251,81.099999999999994,null,null,0.41]
[132.5,465.6,142,7.73,76.3,"2009-02-24T12:14:57",78.3,465.6,14.2,773,6.58,1.17E-2,76.3,81,208.3,2383,78.3,null,null,0.42]
[133,480.9,144,9.7899999999999991,74.7,"2009-02-24T12:15:27",71.2,480.9,14.4,979,6.42,1.52E-2,74.7,79.3,216,3094,71.2,null,null,0.42]
[133.5,484.8,147,9.86,73.400000000000006,"2009-02-24T12:15:57",68.3,484.8,14.7,986,6.08,1.6199999999999999E-2,73.400000000000006,77.900000000000006,233.7,3290,68.3,null,null,0.44]
[134,494.8,149,9.9700000000000006,71.900000000000006,"2009-02-24T12:16:27",61,494.8,14.9,997,5.9,1.6899999999999998E-2,71.900000000000006,76.400000000000006,244.1,3430,61,null,null,0.42]
[134.5,478.4,149,9.3800000000000008,72.900000000000006,"2009-02-24T12:16:57",66.400000000000006,478.4,14.9,938,5.85,1.6E-2,72.900000000000006,77.400000000000006,246.8,3253,66.400000000000006,null,null,0.44]
[135,479.4,148,9.2100000000000009,73.5,"2009-02-24T12:17:27",72,479.4,14.8,921,5.97,1.54E-2,73.5,78.099999999999994,239.8,3130,72,null,null,0.46]
[135.5,475.4,150,9.33,73.3,"2009-02-24T12:17:57",74.3,475.4,15,933,5.8,1.61E-2,73.3,77.8,249.8,3263,74.3,null,null,0.45]
[136,493.1,150,10.050000000000001,72.5,"2009-02-24T12:18:27",75.599999999999994,493.1,15,1005,5.82,1.7299999999999999E-2,72.5,76.900000000000006,249,3507,75.599999999999994,null,null,0.45]
[136.5,482.8,150,10.31,72.900000000000006,"2009-02-24T12:18:57",76.900000000000006,482.8,15,1031,5.78,1.78E-2,72.900000000000006,77.400000000000006,250.9,3618,76.900000000000006,null,null,0.44]
[137,475.6,152,10.78,72.7,"2009-02-24T12:19:27",76.8,475.6,15.2,1078,5.63,1.9199999999999998E-2,72.7,77.2,260.60000000000002,3888,76.8,null,null,0.45]
[137.5,486.7,153,11.7,71.400000000000006,"2009-02-24T12:19:57",74.8,486.7,15.3,1170,5.48,2.1299999999999999E-2,71.400000000000006,75.8,270.39999999999998,4334,74.8,null,null,0.44]