{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":282,"n_cols":19,"rows_kept":282,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[0,{"$f":"FT","v":63.6},{"$f":"Oxy*10","v":208},{"$f":"CO/100","v":0.12},"2009-01-08T13:42:59",63,63.6,20.8,12,null,null,null,null,null,null,63,null,null,0.59]
[0.5,73.900000000000006,198,0.75,"2009-01-08T13:43:29",63.1,73.900000000000006,19.8,75,0.92,8.2000000000000007E-3,90.1,95.7,1590.9,1268,63.1,null,null,0.59]
[1,78.2,174,2.66,"2009-01-08T13:43:59",63.1,78.2,17.399999999999999,266,2.65,0.01,91.6,97.3,484.4,1555,63.1,null,null,0.59]
[1.5,80.099999999999994,169,4.7699999999999996,"2009-01-08T13:44:29",63.2,80.099999999999994,16.899999999999999,477,3.03,1.5800000000000002E-2,91.3,97,412.3,2444,63.2,null,null,0.57999999999999996]
[2,85,164,8.3800000000000008,"2009-01-08T13:44:59",63.3,85,16.399999999999999,838,3.38,2.4799999999999999E-2,90.7,96.3,358.4,3841,63.3,null,null,0.57999999999999996]
[2.5,84.7,161,10.58,"2009-01-08T13:45:29",63.4,84.7,16.100000000000001,1058,3.61,2.93E-2,90.6,96.2,329.2,4541,63.4,null,null,0.57999999999999996]
[3,96.9,155,12.31,"2009-01-08T13:45:59",62.6,96.9,15.5,1231,4.03,3.0599999999999999E-2,89.8,95.3,284.7,4736,62.6,null,null,0.57999999999999996]
[3.5,102,168,13.9,"2009-01-08T13:46:29",62.9,102,16.8,1390,3.13,4.4499999999999998E-2,88,93.5,395.8,6891,62.9,null,null,0.59]
[4,105.8,181,13.66,"2009-01-08T13:46:59",63,105.8,18.100000000000001,1366,2.1800000000000002,6.2799999999999995E-2,85.2,90.5,612.29999999999995,9729,63,null,null,0.6]
[4.5,111.3,187,9.83,"2009-01-08T13:47:29",62.9,111.3,18.7,983,1.71,5.7599999999999998E-2,83.1,88.3,807.9,8924,62.9,null,null,0.59]
[5,109.2,183,9.9,"2009-01-08T13:47:59",62.8,109.2,18.3,990,1.98,0.05,84.8,90,683.5,7757,62.8,null,null,0.59]
[5.5,102.7,184,10.66,"2009-01-08T13:48:29",62.7,102.7,18.399999999999999,1066,1.91,5.5800000000000002E-2,85.2,90.5,711.5,8651,62.7,null,null,0.59]
[6,102,189,12.85,"2009-01-08T13:48:59",62.7,102,18.899999999999999,1285,1.55,8.3099999999999993E-2,82.7,87.9,902.9,12887,62.7,null,null,0.6]
[6.5,100,191,13.36,"2009-01-08T13:49:29",62.5,100,19.100000000000001,1336,1.44,9.3100000000000002E-2,82.1,87.2,980,14429,62.5,null,null,0.59]
[7,98.3,192,13.42,"2009-01-08T13:49:59",62.4,98.3,19.2,1342,1.29,0.1037,81.2,86.2,1098.2,16080,62.4,null,null,0.59]
[7.5,97.6,193,13.76,"2009-01-08T13:50:29",62.6,97.6,19.3,1376,1.25,0.11020000000000001,80.900000000000006,85.9,1140.9000000000001,17074,62.6,null,null,0.61]
[8,101.3,191,14.34,"2009-01-08T13:50:59",62.6,101.3,19.100000000000001,1434,1.38,0.10390000000000001,81.099999999999994,86.1,1023.3,16109,62.6,null,null,0.61]
[8.5,110.7,185,13.69,"2009-01-08T13:51:29",62.6,110.7,18.5,1369,1.82,7.5200000000000003E-2,82.8,87.9,751,11651,62.6,null,null,0.61]
[9,123.2,176,12.87,"2009-01-08T13:51:59",62.6,123.2,17.600000000000001,1287,2.52,5.0999999999999997E-2,84.5,89.8,514.70000000000005,7911,62.6,null,null,0.6]
[9.5,128.5,174,13.55,"2009-01-08T13:52:29",62.6,128.5,17.399999999999999,1355,2.68,5.0599999999999999E-2,84.4,89.6,479.1,7847,62.6,null,null,0.6]
[10,131.4,174,16.850000000000001,"2009-01-08T13:52:59",62.6,131.4,17.399999999999999,1685,2.68,6.2799999999999995E-2,83.5,88.7,478.1,9741,62.6,null,null,0.61]
[10.5,143.4,162,20.010000000000002,"2009-01-08T13:53:29",62.6,143.4,16.2,2001,3.51,5.6899999999999999E-2,84.5,89.7,341,8825,62.6,null,null,0.61]
[11,153.6,146,15.63,"2009-01-08T13:53:59",62.4,153.6,14.6,1563,4.75,3.2899999999999999E-2,86.6,92,226,5096,62.4,null,null,0.6]
[11.5,161.80000000000001,137,11.52,"2009-01-08T13:54:29",62.4,161.80000000000001,13.7,1152,5.4,2.1299999999999999E-2,87.4,92.8,187.2,3309,62.4,null,null,0.6]
[12,178.7,134,11.64,"2009-01-08T13:54:59",62.5,178.7,13.4,1164,5.6,2.0799999999999999E-2,86.7,92.1,176.7,3221,62.5,null,null,0.61]
[12.5,189,129,9.89,"2009-01-08T13:55:29",62.2,189,12.9,989,6,1.6500000000000001E-2,86.8,92.2,158.5,2556,62.2,null,null,0.61]
[13,194.7,118,7.42,"2009-01-08T13:55:59",62.3,194.7,11.8,742,6.76,1.0999999999999999E-2,87.5,92.9,129.19999999999999,1701,62.3,null,null,0.61]
[13.5,215.2,112,5.65,"2009-01-08T13:56:29",62.5,215.2,11.2,565,7.22,7.7999999999999996E-3,87.2,92.6,114.8,1214,62.5,null,null,0.61]
[14,225.2,100,8.57,"2009-01-08T13:56:59",62.7,225.2,10,857,8.1199999999999992,1.06E-2,87.3,92.7,90.9,1636,62.7,null,null,0.61]
[14.5,229.8,100,10.06,"2009-01-08T13:57:29",63,229.8,10,1006,8.14,1.24E-2,87.1,92.5,90.4,1915,63,null,null,0.61]
[15,234,102,10.84,"2009-01-08T13:57:59",63.3,234,10.199999999999999,1084,7.94,1.37E-2,86.7,92.1,95.3,2117,63.3,null,null,0.6]
[15.5,237.4,101,14,"2009-01-08T13:58:29",63.4,237.4,10.1,1400,8.01,1.7500000000000002E-2,86.5,91.8,93.5,2710,63.4,null,null,0.59]
[16,251.3,95,25.7,"2009-01-08T13:58:59",63.5,251.3,9.5,2570,8.49,3.0300000000000001E-2,85.7,91,82.6,4693,63.5,null,null,0.59]
[16.5,255.4,84,65,"2009-01-08T13:59:29",63.7,255.4,8.4,6500,9.2899999999999991,7.0000000000000007E-2,84.2,89.4,66.900000000000006,10850,63.7,null,null,0.61]
[17,264.10000000000002,66,95,"2009-01-08T13:59:59",63.2,264.10000000000002,6.6,9500,10.62,8.9399999999999993E-2,83.7,88.9,45.9,13861,63.2,null,null,0.57999999999999996]
[17.5,266.60000000000002,90,50,"2009-01-08T14:00:29",62.7,266.60000000000002,9,5000,8.82,5.67E-2,84.1,89.3,75.7,8786,62.7,null,null,0.57999999999999996]
[18,263.39999999999998,108,9.26,"2009-01-08T14:00:59",61.8,263.39999999999998,10.8,926,7.55,1.23E-2,85.3,90.6,105.3,1901,61.8,null,null,0.54]
[18.5,276.39999999999998,106,7.2,"2009-01-08T14:01:29",62.2,276.39999999999998,10.6,720,7.66,9.4000000000000004E-3,85.1,90.4,102.4,1457,62.2,null,null,0.54]
[19,275.7,102,6.82,"2009-01-08T14:01:59",62.6,275.7,10.199999999999999,682,7.98,8.6E-3,85.5,90.8,94.4,1326,62.6,null,null,0.54]
[19.5,274.7,102,6.16,"2009-01-08T14:02:29",62.2,274.7,10.199999999999999,616,7.98,7.7000000000000002E-3,85.6,90.9,94.1,1196,62.2,null,null,0.53]
[20,283.39999999999998,101,6.65,"2009-01-08T14:02:59",62.1,283.39999999999998,10.1,665,8.0399999999999991,8.3000000000000001E-3,85.3,90.6,92.7,1281,62.1,null,null,0.53]
[20.5,287.39999999999998,93,14.26,"2009-01-08T14:03:29",62.1,287.39999999999998,9.3000000000000007,1426,8.6199999999999992,1.6500000000000001E-2,85.2,90.5,79.8,2563,62.1,null,null,0.52]
[21,293,74,35.74,"2009-01-08T14:03:59",62.5,293,7.4,3574,10.06,3.5499999999999997E-2,85.1,90.4,54.1,5508,62.5,null,null,0.51]
[21.5,291.2,64,90,"2009-01-08T14:04:29",62.3,291.2,6.4,9000,10.75,8.3699999999999997E-2,83.3,88.4,44.1,12971,62.3,null,null,0.49]
[22,298.3,67,50,"2009-01-08T14:04:59",62.9,298.3,6.7,5000,10.57,4.7300000000000002E-2,84.7,89.9,46.7,7334,62.9,null,null,0.44]
[22.5,305.5,79,19.36,"2009-01-08T14:05:29",62.4,305.5,7.9,1936,9.66,0.02,85.2,90.5,60.5,3107,62.4,null,null,0.43]
[23,305.10000000000002,78,25.93,"2009-01-08T14:05:59",62.3,305.10000000000002,7.8,2593,9.77,2.6499999999999999E-2,85,90.2,58.7,4114,62.3,null,null,0.45]
[23.5,319.60000000000002,76,25.69,"2009-01-08T14:06:29",61.9,319.60000000000002,7.6,2569,9.91,2.5899999999999999E-2,84.7,89.9,56.5,4020,61.9,null,null,0.41]
[24,314.2,80,22.01,"2009-01-08T14:06:59",62.9,314.2,8,2201,9.6199999999999992,2.29E-2,84.8,90.1,61,3544,62.9,null,null,0.38]
[24.5,317.10000000000002,73,24.83,"2009-01-08T14:07:29",62.1,317.10000000000002,7.3,2483,10.119999999999999,2.4500000000000001E-2,85,90.2,53.1,3801,62.1,null,null,0.36]
[25,318,78,21.69,"2009-01-08T14:07:59",62.2,318,7.8,2169,9.7200000000000006,2.23E-2,84.8,90,59.4,3458,62.2,null,null,0.39]
[25.5,323.2,76,24.66,"2009-01-08T14:08:29",62.4,323.2,7.6,2466,9.89,2.4899999999999999E-2,84.6,89.8,56.7,3865,62.4,null,null,0.37]
[26,324.39999999999998,75,24.33,"2009-01-08T14:08:59",62.4,324.39999999999998,7.5,2433,9.99,2.4400000000000002E-2,84.7,89.9,55.1,3775,62.4,null,null,0.33]
[26.5,327.10000000000002,77,19.96,"2009-01-08T14:09:29",62.3,327.10000000000002,7.7,1996,9.85,2.0299999999999999E-2,84.7,89.9,57.4,3142,62.3,null,null,0.31]
[27,329.6,79,13.49,"2009-01-08T14:09:59",63,329.6,7.9,1349,9.68,1.3899999999999999E-2,84.8,90.1,60.2,2161,63,null,null,0.31]
[27.5,324.3,85,5.81,"2009-01-08T14:10:29",62.6,324.3,8.5,581,9.26,6.3E-3,85.1,90.3,67.5,973,62.6,null,null,0.3]
[28,333.9,83,5.08,"2009-01-08T14:10:59",63.2,333.9,8.3000000000000007,508,9.35,5.4000000000000003E-3,84.9,90.2,65.8,842,63.2,null,null,0.28000000000000003]
[28.5,339,84,4.8499999999999996,"2009-01-08T14:11:29",63,339,8.4,485,9.3000000000000007,5.1999999999999998E-3,84.7,89.9,66.7,809,63,null,null,0.26]
[29,331.8,85,4.4800000000000004,"2009-01-08T14:11:59",63.1,331.8,8.5,448,9.19,4.8999999999999998E-3,84.9,90.1,68.599999999999994,755,63.1,null,null,0.26]
[29.5,337.2,89,3.95,"2009-01-08T14:12:29",63.6,337.2,8.9,395,8.91,4.4000000000000003E-3,84.5,89.7,74,687,63.6,null,null,0.25]
[30,336.7,92,3.32,"2009-01-08T14:12:59",63.5,336.7,9.1999999999999993,332,8.69,3.8E-3,84.3,89.5,78.400000000000006,592,63.5,null,null,0.25]
[30.5,337.6,93,3.25,"2009-01-08T14:13:29",63.5,337.6,9.3000000000000007,325,8.66,3.8E-3,84.2,89.5,79.099999999999994,582,63.5,null,null,0.28000000000000003]
[31,332,98,2.66,"2009-01-08T14:13:59",63.2,332,9.8000000000000007,266,8.27,3.2000000000000002E-3,84.1,89.3,87.4,498,63.2,null,null,0.27]
[31.5,333.7,98,2.4900000000000002,"2009-01-08T14:14:29",63.6,333.7,9.8000000000000007,249,8.2799999999999994,3.0000000000000001E-3,84,89.3,87.2,466,63.6,null,null,0.26]
[32,{"$f":"FT","v":335},{"$f":"Oxy*10","v":99},{"$f":"CO/100","v":2.5299999999999998},"2009-01-08T14:14:59",63.7,335,9.9,253,8.2100000000000009,3.0999999999999999E-3,83.9,89.1,88.9,478,63.7,null,null,0.25]
[32.5,334.8,100,2.69,"2009-01-08T14:15:29",63.6,334.8,10,269,8.11,3.3E-3,83.8,89,91.1,514,63.6,null,null,0.24]
[33,341.3,97,2.4500000000000002,"2009-01-08T14:15:59",63.1,341.3,9.6999999999999993,245,8.36,2.8999999999999998E-3,83.8,89,85.3,454,63.1,null,null,0.23]
[33.5,344,96,2.19,"2009-01-08T14:16:29",63.9,344,9.6,219,8.43,2.5999999999999999E-3,83.9,89.1,83.9,403,63.9,null,null,0.22]
[34,338.9,98,2.2200000000000002,"2009-01-08T14:16:59",63.7,338.9,9.8000000000000007,222,8.23,2.7000000000000001E-3,83.8,89,88.2,418,63.7,null,null,0.21]
[34.5,341.7,102,2.2000000000000002,"2009-01-08T14:17:29",64.400000000000006,341.7,10.199999999999999,220,7.96,2.8E-3,83.4,88.6,94.7,428,64.400000000000006,null,null,0.21]
[35,337.6,108,2.59,"2009-01-08T14:17:59",64.5,337.6,10.8,259,7.54,3.3999999999999998E-3,83.1,88.2,105.6,532,64.5,null,null,0.21]
[35.5,335.3,111,3.68,"2009-01-08T14:18:29",64.099999999999994,335.3,11.1,368,7.3,5.0000000000000001E-3,82.7,87.8,112.4,782,64.099999999999994,null,null,0.21]
[36,335.7,112,4.96,"2009-01-08T14:18:59",63.7,335.7,11.2,496,7.22,6.8999999999999999E-3,82.5,87.6,114.7,1065,63.7,null,null,0.21]
[36.5,339,116,5.4,"2009-01-08T14:19:29",63.4,339,11.6,540,6.97,7.7000000000000002E-3,81.900000000000006,87,122.4,1201,63.4,null,null,0.21]
[37,327.9,118,5.83,"2009-01-08T14:19:59",63.3,327.9,11.8,583,6.76,8.6E-3,82,87.1,129.1,1336,63.3,null,null,0.21]
[37.5,331.9,121,6.62,"2009-01-08T14:20:29",63.4,331.9,12.1,662,6.55,1.01E-2,81.400000000000006,86.5,136.69999999999999,1567,63.4,null,null,0.21]
[38,331.6,124,7.65,"2009-01-08T14:20:59",63.2,331.6,12.4,765,6.38,1.2E-2,81.099999999999994,86.1,142.9,1858,63.2,null,null,0.21]
[38.5,335,126,8.3000000000000007,"2009-01-08T14:21:29",63.8,335,12.6,830,6.22,1.3299999999999999E-2,80.599999999999994,85.6,149.1,2068,63.8,null,null,0.31]
[39,340.9,127,8.4,"2009-01-08T14:21:59",63.7,340.9,12.7,840,6.16,1.3599999999999999E-2,80.2,85.1,151.69999999999999,2115,63.7,null,null,0.32]
[39.5,333.5,129,9.35,"2009-01-08T14:22:29",64.2,333.5,12.9,935,5.96,1.5699999999999999E-2,80,85,160,2431,64.2,null,null,0.33]
[40,334.9,131,10.46,"2009-01-08T14:22:59",64.5,334.9,13.1,1046,5.87,1.78E-2,79.7,84.6,164.3,2764,64.5,null,null,0.32]
[40.5,337,133,10.63,"2009-01-08T14:23:29",64.099999999999994,337,13.3,1063,5.7,1.8599999999999998E-2,79.2,84.1,171.8,2889,64.099999999999994,null,null,0.32]
[41,333.2,134,11.07,"2009-01-08T14:23:59",64.3,333.2,13.4,1107,5.6,1.9800000000000002E-2,79.099999999999994,84,176.9,3065,64.3,null,null,0.32]
[41.5,308.8,133,9.18,"2009-01-08T14:24:29",64.599999999999994,308.8,13.3,918,5.69,1.61E-2,80.7,85.7,172.6,2502,64.599999999999994,null,null,0.31]
[42,308.39999999999998,135,8.6999999999999993,"2009-01-08T14:24:59",64.8,308.39999999999998,13.5,870,5.52,1.5800000000000002E-2,80.400000000000006,85.4,180.8,2443,64.8,null,null,0.31]
[42.5,301.7,135,7.82,"2009-01-08T14:25:29",64.599999999999994,301.7,13.5,782,5.54,1.41E-2,80.900000000000006,85.9,179.6,2187,64.599999999999994,null,null,0.31]
[43,302.60000000000002,135,7.54,"2009-01-08T14:25:59",64.8,302.60000000000002,13.5,754,5.53,1.3599999999999999E-2,80.8,85.8,180.2,2113,64.8,null,null,0.31]
[43.5,303.5,136,7.76,"2009-01-08T14:26:29",65.2,303.5,13.6,776,5.44,1.43E-2,80.599999999999994,85.6,184.8,2210,65.2,null,null,0.3]
[44,301.39999999999998,138,9.1,"2009-01-08T14:26:59",64.8,301.39999999999998,13.8,910,5.3,1.72E-2,80.2,85.2,192.6,2663,64.8,null,null,0.3]
[44.5,301.89999999999998,142,10.88,"2009-01-08T14:27:29",65.8,301.89999999999998,14.2,1088,5.03,2.1600000000000001E-2,79.400000000000006,84.3,207.9,3349,65.8,null,null,0.3]
[45,293.39999999999998,143,12.09,"2009-01-08T14:27:59",65.2,293.39999999999998,14.3,1209,4.97,2.4299999999999999E-2,79.5,84.4,211.9,3771,65.2,null,null,0.3]
[45.5,303.5,144,13.05,"2009-01-08T14:28:29",65.099999999999994,303.5,14.4,1305,4.88,2.6700000000000002E-2,78.599999999999994,83.5,217.3,4141,65.099999999999994,null,null,0.3]
[46,299.39999999999998,144,12.83,"2009-01-08T14:28:59",65.900000000000006,299.39999999999998,14.4,1283,4.9000000000000004,2.6200000000000001E-2,79,83.8,216.4,4059,65.900000000000006,null,null,0.3]
[46.5,299.60000000000002,144,13.64,"2009-01-08T14:29:29",66.8,299.60000000000002,14.4,1364,4.88,2.8000000000000001E-2,78.900000000000006,83.7,217.6,4332,66.8,null,null,0.3]
[47,299.89999999999998,146,14.31,"2009-01-08T14:29:59",65.8,299.89999999999998,14.6,1431,4.72,3.0300000000000001E-2,78.2,83.1,228.4,4700,65.8,null,null,0.28999999999999998]
[47.5,293.8,146,14.17,"2009-01-08T14:30:29",66.400000000000006,293.8,14.6,1417,4.7,3.0200000000000001E-2,78.599999999999994,83.4,229.9,4675,66.400000000000006,null,null,0.28999999999999998]
[48,298.39999999999998,146,14.09,"2009-01-08T14:30:59",66.099999999999994,298.39999999999998,14.6,1409,4.7300000000000004,2.98E-2,78.400000000000006,83.3,227.4,4613,66.099999999999994,null,null,0.28999999999999998]
[48.5,298.60000000000002,146,14.21,"2009-01-08T14:31:29",66.400000000000006,298.60000000000002,14.6,1421,4.6900000000000004,3.0300000000000001E-2,78.3,83.1,230.6,4697,66.400000000000006,null,null,0.28999999999999998]
[49,290.60000000000002,147,14.04,"2009-01-08T14:31:59",65.8,290.60000000000002,14.7,1404,4.66,3.0099999999999998E-2,78.599999999999994,83.5,232.8,4673,65.8,null,null,0.28999999999999998]
[49.5,300.10000000000002,148,13.89,"2009-01-08T14:32:29",66.3,300.10000000000002,14.8,1389,4.57,3.04E-2,77.8,82.6,238.8,4707,66.3,null,null,0.28999999999999998]
[50,298.10000000000002,149,14.85,"2009-01-08T14:32:59",65.8,298.10000000000002,14.9,1485,4.51,3.2899999999999999E-2,77.599999999999994,82.4,243.6,5102,65.8,null,null,0.28999999999999998]
[50.5,299.39999999999998,150,14.62,"2009-01-08T14:33:29",66,299.39999999999998,15,1462,4.46,3.2800000000000003E-2,77.400000000000006,82.2,247.5,5081,66,null,null,0.28999999999999998]
[51,294.5,149,14.61,"2009-01-08T14:33:59",66.599999999999994,294.5,14.9,1461,4.4800000000000004,3.2599999999999997E-2,77.8,82.6,246.1,5056,66.599999999999994,null,null,0.28999999999999998]
[51.5,293.2,150,14.15,"2009-01-08T14:34:29",66.099999999999994,293.2,15,1415,4.46,3.1699999999999999E-2,77.8,82.6,247.7,4920,66.099999999999994,null,null,0.28999999999999998]
[52,300.60000000000002,149,14.16,"2009-01-08T14:34:59",66.2,300.60000000000002,14.9,1416,4.5,3.1399999999999997E-2,77.5,82.3,244.2,4874,66.2,null,null,0.28999999999999998]
[52.5,299.60000000000002,150,14.44,"2009-01-08T14:35:29",66.099999999999994,299.60000000000002,15,1444,4.46,3.2399999999999998E-2,77.400000000000006,82.2,247.7,5021,66.099999999999994,null,null,0.28999999999999998]
[53,295.5,149,14.97,"2009-01-08T14:35:59",65.900000000000006,295.5,14.9,1497,4.49,3.3300000000000003E-2,77.7,82.5,245.3,5169,65.900000000000006,null,null,0.28999999999999998]
[53.5,298.39999999999998,151,14.78,"2009-01-08T14:36:29",66.400000000000006,298.39999999999998,15.1,1478,4.3499999999999996,3.4000000000000002E-2,77.099999999999994,81.8,256.5,5268,66.400000000000006,null,null,0.28999999999999998]
[54,301.10000000000002,152,15.32,"2009-01-08T14:36:59",66.3,301.10000000000002,15.2,1532,4.29,3.5700000000000003E-2,76.599999999999994,81.3,261.7,5541,66.3,null,null,0.28999999999999998]
[54.5,298.8,153,16.34,"2009-01-08T14:37:29",66.099999999999994,298.8,15.3,1634,4.2,3.8899999999999997E-2,76.3,81,269.10000000000002,6031,66.099999999999994,null,null,0.28999999999999998]
[55,293,153,16.34,"2009-01-08T14:37:59",66.2,293,15.3,1634,4.21,3.8800000000000001E-2,76.7,81.5,267.89999999999998,6012,66.2,null,null,0.28999999999999998]
[55.5,297.5,153,16.88,"2009-01-08T14:38:29",66.3,297.5,15.3,1688,4.21,4.0099999999999997E-2,76.3,81.099999999999994,268.3,6216,66.3,null,null,0.28999999999999998]
[56,301.39999999999998,153,16.920000000000002,"2009-01-08T14:38:59",66.2,301.39999999999998,15.3,1692,4.2,4.0300000000000002E-2,76,80.7,268.89999999999998,6241,66.2,null,null,0.28999999999999998]
[56.5,300.2,153,17.29,"2009-01-08T14:39:29",65.900000000000006,300.2,15.3,1729,4.22,4.1000000000000002E-2,76.099999999999994,80.8,267.2,6349,65.900000000000006,null,null,0.28999999999999998]
[57,299.3,153,17.04,"2009-01-08T14:39:59",64,299.3,15.3,1704,4.21,4.0399999999999998E-2,76.099999999999994,80.8,267.89999999999998,6269,64,null,null,0.28000000000000003]
[57.5,320.5,154,17.72,"2009-01-08T14:40:29",64.2,320.5,15.4,1772,4.0999999999999996,4.3200000000000002E-2,74.099999999999994,78.7,278.10000000000002,6701,64.2,null,null,0.27]
[58,298.8,150,14.12,"2009-01-08T14:40:59",62.8,298.8,15,1412,4.4000000000000004,3.2099999999999997E-2,77.099999999999994,81.8,251.9,4969,62.8,null,null,0.26]
[58.5,305.2,136,12.03,"2009-01-08T14:41:29",62.9,305.2,13.6,1203,5.48,2.1999999999999999E-2,80.099999999999994,85,182.8,3403,62.9,null,null,0.25]
[59,307,134,11.69,"2009-01-08T14:41:59",60.2,307,13.4,1169,5.61,2.0899999999999998E-2,80.099999999999994,85.1,176.5,3232,60.2,null,null,0.25]
[59.5,305.60000000000002,135,10.029999999999999,"2009-01-08T14:42:29",59.3,305.60000000000002,13.5,1003,5.56,1.7999999999999999E-2,80.2,85.2,178.9,2797,59.3,null,null,0.24]
[60,298.8,134,9.1199999999999992,"2009-01-08T14:42:59",63.5,298.8,13.4,912,5.57,1.6400000000000001E-2,80.900000000000006,85.9,178.1,2536,63.5,null,null,0.24]
[60.5,298.8,137,8.35,"2009-01-08T14:43:29",64.7,298.8,13.7,835,5.37,1.5599999999999999E-2,80.599999999999994,85.6,188.9,2412,64.7,null,null,0.24]
[61,305.2,139,8.19,"2009-01-08T14:43:59",64.599999999999994,305.2,13.9,819,5.25,1.5599999999999999E-2,80,84.9,195.3,2419,64.599999999999994,null,null,0.23]
[61.5,301.60000000000002,141,8.2799999999999994,"2009-01-08T14:44:29",62.9,301.60000000000002,14.1,828,5.0999999999999996,1.6199999999999999E-2,79.7,84.6,203.9,2516,62.9,null,null,0.23]
[62,305.39999999999998,142,8.42,"2009-01-08T14:44:59",64.3,305.39999999999998,14.2,842,5.03,1.67E-2,79.400000000000006,84.3,207.9,2593,64.3,null,null,0.23]
[62.5,301,144,8.57,"2009-01-08T14:45:29",65,301,14.4,857,4.84,1.77E-2,79.099999999999994,84,220.4,2746,65,null,null,0.22]
[63,301.3,145,8.65,"2009-01-08T14:45:59",64.099999999999994,301.3,14.5,865,4.8,1.7999999999999999E-2,78.900000000000006,83.8,222.9,2793,64.099999999999994,null,null,0.23]
[63.5,300.60000000000002,147,8.48,"2009-01-08T14:46:29",64.900000000000006,300.60000000000002,14.7,848,4.6500000000000004,1.8200000000000001E-2,78.5,83.4,233.2,2826,64.900000000000006,null,null,0.22]
[64,{"$f":"FT","v":298.10000000000002},{"$f":"Oxy*10","v":147},{"$f":"CO/100","v":8.3699999999999992},"2009-01-08T14:46:59",65.400000000000006,298.10000000000002,14.7,837,4.62,1.8100000000000002E-2,78.7,83.5,235.3,2807,65.400000000000006,null,null,0.22]
[64.5,299.5,147,8.61,"2009-01-08T14:47:29",66,299.5,14.7,861,4.67,1.84E-2,78.7,83.6,232,2859,66,null,null,0.23]
[65,302.8,149,9,"2009-01-08T14:47:59",66.599999999999994,302.8,14.9,900,4.54,1.9800000000000002E-2,78.099999999999994,82.9,241.5,3073,66.599999999999994,null,null,0.23]
[65.5,302.7,151,9.15,"2009-01-08T14:48:29",66.099999999999994,302.7,15.1,915,4.3600000000000003,2.1000000000000001E-2,77.5,82.3,255.3,3251,66.099999999999994,null,null,0.23]
[66,303.8,149,9.31,"2009-01-08T14:48:59",66,303.8,14.9,931,4.5199999999999996,2.06E-2,77.900000000000006,82.7,243.1,3194,66,null,null,0.23]
[66.5,302.10000000000002,151,9.1999999999999993,"2009-01-08T14:49:29",64.8,302.10000000000002,15.1,920,4.38,2.1000000000000001E-2,77.5,82.3,253.8,3255,64.8,null,null,0.23]
[67,306.3,151,9.39,"2009-01-08T14:49:59",66,306.3,15.1,939,4.3899999999999997,2.1399999999999999E-2,77.3,82.1,253.2,3317,66,null,null,0.22]
[67.5,306.2,151,9.59,"2009-01-08T14:50:29",66.2,306.2,15.1,959,4.3499999999999996,2.1999999999999999E-2,77.2,81.900000000000006,255.9,3413,66.2,null,null,0.22]
[68,299.60000000000002,150,9.67,"2009-01-08T14:50:59",66.5,299.60000000000002,15,967,4.43,2.18E-2,77.900000000000006,82.7,249.5,3380,66.5,null,null,0.22]
[68.5,298.39999999999998,151,9.5399999999999991,"2009-01-08T14:51:29",65.7,298.39999999999998,15.1,954,4.37,2.18E-2,77.7,82.5,254.7,3384,65.7,null,null,0.22]
[69,299.60000000000002,151,9.3800000000000008,"2009-01-08T14:51:59",66.5,299.60000000000002,15.1,938,4.34,2.1600000000000001E-2,77.599999999999994,82.4,257.5,3354,66.5,null,null,0.22]
[69.5,301.39999999999998,152,10.17,"2009-01-08T14:52:29",66,301.39999999999998,15.2,1017,4.26,2.3900000000000001E-2,77,81.8,263.8,3700,66,null,null,0.22]
[70,296.7,152,10.039999999999999,"2009-01-08T14:52:59",64.3,296.7,15.2,1004,4.3099999999999996,2.3300000000000001E-2,77.400000000000006,82.2,260,3614,64.3,null,null,0.22]
[70.5,300.39999999999998,152,9.81,"2009-01-08T14:53:29",64.8,300.39999999999998,15.2,981,4.24,2.3099999999999999E-2,77,81.8,265.2,3583,64.8,null,null,0.22]
[71,302.60000000000002,153,9.99,"2009-01-08T14:53:59",64,302.60000000000002,15.3,999,4.17,2.3900000000000001E-2,76.5,81.3,271.3,3710,64,null,null,0.22]
[71.5,304.8,153,10.11,"2009-01-08T14:54:29",63.7,304.8,15.3,1011,4.2,2.41E-2,76.400000000000006,81.2,269.10000000000002,3731,63.7,null,null,0.22]
[72,332.4,153,9.75,"2009-01-08T14:54:59",64,332.4,15.3,975,4.18,2.3300000000000001E-2,74.599999999999994,79.2,270.60000000000002,3613,64,null,null,0.22]
[72.5,306.8,164,11.43,"2009-01-08T14:55:29",63.8,306.8,16.399999999999999,1143,3.39,3.3700000000000001E-2,72.2,76.599999999999994,356.7,5220,63.8,null,null,0.22]
[73,314.39999999999998,139,8.9499999999999993,"2009-01-08T14:55:59",63.4,314.39999999999998,13.9,895,5.26,1.7000000000000001E-2,79.3,84.3,194.9,2639,63.4,null,null,0.22]
[73.5,307.3,131,7.09,"2009-01-08T14:56:29",63.9,307.3,13.1,709,5.85,1.21E-2,81.3,86.3,165,1879,63.9,null,null,0.22]
[74,311,130,6,"2009-01-08T14:56:59",64.8,311,13,600,5.88,1.0200000000000001E-2,81.3,86.3,163.80000000000001,1583,64.8,null,null,0.21]
[74.5,308.10000000000002,129,5.25,"2009-01-08T14:57:29",64.3,308.10000000000002,12.9,525,5.96,8.8000000000000005E-3,81.599999999999994,86.7,160.19999999999999,1366,64.3,null,null,0.21]
[75,313.89999999999998,131,4.1900000000000004,"2009-01-08T14:57:59",65.5,313.89999999999998,13.1,419,5.85,7.1999999999999998E-3,81.3,86.3,164.7,1109,65.5,null,null,0.21]
[75.5,313.89999999999998,130,4.04,"2009-01-08T14:58:29",64.2,313.89999999999998,13,404,5.91,6.7999999999999996E-3,81.3,86.4,162.30000000000001,1060,64.2,null,null,0.21]
[76,310.7,131,3.5,"2009-01-08T14:58:59",64.599999999999994,310.7,13.1,350,5.85,6.0000000000000001E-3,81.400000000000006,86.5,165,927,64.599999999999994,null,null,0.21]
[76.5,316.5,131,2.86,"2009-01-08T14:59:29",64.8,316.5,13.1,286,5.8,4.8999999999999998E-3,81.099999999999994,86.2,167.4,765,64.8,null,null,0.22]
[77,316.10000000000002,133,2.79,"2009-01-08T14:59:59",64.599999999999994,316.10000000000002,13.3,279,5.71,4.8999999999999998E-3,81,86,171.6,758,64.599999999999994,null,null,0.22]
[77.5,313,133,2.5299999999999998,"2009-01-08T15:00:29",64,313,13.3,253,5.66,4.4999999999999997E-3,81,86,173.7,692,64,null,null,0.22]
[78,325.39999999999998,136,2.4900000000000002,"2009-01-08T15:00:59",64.400000000000006,325.39999999999998,13.6,249,5.5,4.4999999999999997E-3,80,85,182.1,702,64.400000000000006,null,null,0.22]
[78.5,315,136,2.4500000000000002,"2009-01-08T15:01:29",63.7,315,13.6,245,5.49,4.4999999999999997E-3,80.5,85.5,182.1,691,63.7,null,null,0.22]
[79,320.60000000000002,137,2.68,"2009-01-08T15:01:59",63.5,320.60000000000002,13.7,268,5.38,5.0000000000000001E-3,79.900000000000006,84.9,188.3,773,63.5,null,null,0.22]
[79.5,315,138,2.62,"2009-01-08T15:02:29",64.599999999999994,315,13.8,262,5.31,4.8999999999999998E-3,80.099999999999994,85.1,191.9,765,64.599999999999994,null,null,0.22]
[80,311.39999999999998,140,2.77,"2009-01-08T15:02:59",63.3,311.39999999999998,14,277,5.13,5.4000000000000003E-3,79.8,84.7,202.1,837,63.3,null,null,0.22]
[80.5,315.10000000000002,139,2.85,"2009-01-08T15:03:29",63.8,315.10000000000002,13.9,285,5.23,5.4999999999999997E-3,79.900000000000006,84.8,196.4,845,63.8,null,null,0.22]
[81,326.39999999999998,140,2.97,"2009-01-08T15:03:59",64,326.39999999999998,14,297,5.15,5.7999999999999996E-3,79,83.9,200.8,893,64,null,null,0.22]
[81.5,314,141,3.08,"2009-01-08T15:04:29",64.5,314,14.1,308,5.1100000000000003,6.0000000000000001E-3,79.599999999999994,84.6,203.3,934,64.5,null,null,0.22]
[82,327.3,142,2.98,"2009-01-08T15:04:59",64.099999999999994,327.3,14.2,298,5.05,5.8999999999999999E-3,78.7,83.6,207.1,915,64.099999999999994,null,null,0.22]
[82.5,320.60000000000002,143,2.97,"2009-01-08T15:05:29",64.099999999999994,320.60000000000002,14.3,297,4.97,6.0000000000000001E-3,78.900000000000006,83.8,211.7,926,64.099999999999994,null,null,0.22]
[83,318.39999999999998,145,3.02,"2009-01-08T15:05:59",64.599999999999994,318.39999999999998,14.5,302,4.82,6.3E-3,78.599999999999994,83.5,221.4,971,64.599999999999994,null,null,0.22]
[83.5,323.89999999999998,145,3.09,"2009-01-08T15:06:29",63.7,323.89999999999998,14.5,309,4.7699999999999996,6.4999999999999997E-3,78,82.9,224.9,1004,63.7,null,null,0.21]
[84,318.3,145,3.17,"2009-01-08T15:06:59",64.3,318.3,14.5,317,4.79,6.6E-3,78.5,83.3,223.4,1025,64.3,null,null,0.22]
[84.5,316.7,146,3.15,"2009-01-08T15:07:29",64.400000000000006,316.7,14.6,315,4.75,6.6E-3,78.400000000000006,83.3,226.4,1028,64.400000000000006,null,null,0.22]
[85,326.60000000000002,146,3.12,"2009-01-08T15:07:59",64.900000000000006,326.60000000000002,14.6,312,4.74,6.6E-3,77.900000000000006,82.7,227.1,1021,64.900000000000006,null,null,0.22]
[85.5,322.2,146,3.35,"2009-01-08T15:08:29",65.3,322.2,14.6,335,4.71,7.1000000000000004E-3,78,82.9,229.2,1103,65.3,null,null,0.22]
[86,321.60000000000002,148,3.41,"2009-01-08T15:08:59",65,321.60000000000002,14.8,341,4.5599999999999996,7.4999999999999997E-3,77.5,82.3,240.1,1160,65,null,null,0.22]
[86.5,322.89999999999998,148,3.63,"2009-01-08T15:09:29",65.3,322.89999999999998,14.8,363,4.6100000000000003,7.9000000000000008E-3,77.599999999999994,82.4,236.3,1221,65.3,null,null,0.22]
[87,328.7,151,3.61,"2009-01-08T15:09:59",64.900000000000006,328.7,15.1,361,4.38,8.2000000000000007E-3,76.400000000000006,81.2,253.8,1277,64.900000000000006,null,null,0.22]
[87.5,312.89999999999998,149,3.38,"2009-01-08T15:10:29",64.7,312.89999999999998,14.9,338,4.5199999999999996,7.4999999999999997E-3,77.900000000000006,82.8,242.9,1159,64.7,null,null,0.23]
[88,318.89999999999998,148,3.31,"2009-01-08T15:10:59",65.3,318.89999999999998,14.8,331,4.5999999999999996,7.1999999999999998E-3,77.900000000000006,82.7,236.8,1115,65.3,null,null,0.23]
[88.5,328.1,147,3.3,"2009-01-08T15:11:29",64.8,328.1,14.7,330,4.6399999999999997,7.1000000000000004E-3,77.400000000000006,82.2,234.1,1103,64.8,null,null,0.23]
[89,316.10000000000002,147,3.36,"2009-01-08T15:11:59",65.8,316.10000000000002,14.7,336,4.62,7.3000000000000001E-3,78.2,83,235.2,1126,65.8,null,null,0.23]
[89.5,321.5,148,3.23,"2009-01-08T15:12:29",65.3,321.5,14.8,323,4.5599999999999996,7.1000000000000004E-3,77.599999999999994,82.4,240.2,1099,65.3,null,null,0.22]
[90,324.89999999999998,148,3.72,"2009-01-08T15:12:59",64.2,324.89999999999998,14.8,372,4.55,8.2000000000000007E-3,77.2,82,240.4,1266,64.2,null,null,0.22]
[90.5,321.7,148,3.85,"2009-01-08T15:13:29",65.099999999999994,321.7,14.8,385,4.57,8.3999999999999995E-3,77.5,82.3,239.4,1307,65.099999999999994,null,null,0.22]
[91,320.60000000000002,148,3.83,"2009-01-08T15:13:59",64.7,320.60000000000002,14.8,383,4.57,8.3999999999999995E-3,77.599999999999994,82.4,239.5,1300,64.7,null,null,0.22]
[91.5,321.10000000000002,150,3.51,"2009-01-08T15:14:29",65.2,321.10000000000002,15,351,4.46,7.9000000000000008E-3,77.2,82,247.7,1220,65.2,null,null,0.22]
[92,316.8,151,3.66,"2009-01-08T15:14:59",65.2,316.8,15.1,366,4.3499999999999996,8.3999999999999995E-3,77.099999999999994,81.900000000000006,256.39999999999998,1304,65.2,null,null,0.22]
[92.5,309,152,3.67,"2009-01-08T15:15:29",66,309,15.2,367,4.3,8.5000000000000006E-3,77.5,82.3,260.60000000000002,1324,66,null,null,0.22]
[93,322.10000000000002,154,3.76,"2009-01-08T15:15:59",65.599999999999994,322.10000000000002,15.4,376,4.17,8.9999999999999993E-3,76.099999999999994,80.8,271.8,1398,65.599999999999994,null,null,0.22]
[93.5,313.2,154,4.1500000000000004,"2009-01-08T15:16:29",64.8,313.2,15.4,415,4.1500000000000004,0.01,76.5,81.2,273.39999999999998,1549,64.8,null,null,0.22]
[94,319.2,154,4.0999999999999996,"2009-01-08T15:16:59",65.7,319.2,15.4,410,4.1500000000000004,9.9000000000000008E-3,76.099999999999994,80.900000000000006,273.60000000000002,1532,65.7,null,null,0.22]
[94.5,316,155,4.4400000000000004,"2009-01-08T15:17:29",66,316,15.5,444,4.07,1.09E-2,76,80.7,280.7,1690,66,null,null,0.22]
[95,324.7,154,4.8600000000000003,"2009-01-08T15:17:59",63.9,324.7,15.4,486,4.12,1.18E-2,75.400000000000006,80.099999999999994,276.3,1829,63.9,null,null,0.22]
[95.5,324.2,155,4.78,"2009-01-08T15:18:29",64.099999999999994,324.2,15.5,478,4.0599999999999996,1.18E-2,75.3,79.900000000000006,281.5,1823,64.099999999999994,null,null,0.22]
[96,{"$f":"FT","v":352},{"$f":"Oxy*10","v":155},{"$f":"CO/100","v":5.18},"2009-01-08T15:18:59",65.8,352,15.5,518,4.09,1.2699999999999999E-2,73.599999999999994,78.099999999999994,278.5,1961,65.8,null,null,0.22]
[96.5,328.5,177,4.22,"2009-01-08T15:19:29",65.5,328.5,17.7,422,2.4300000000000002,1.7399999999999999E-2,63.2,67.099999999999994,537.70000000000005,2691,65.5,null,null,0.21]
[97,333.4,146,1.52,"2009-01-08T15:19:59",64.3,333.4,14.6,152,4.7300000000000004,3.2000000000000002E-3,77.599999999999994,82.4,228,499,64.3,null,null,0.21]
[97.5,319.2,140,0.61,"2009-01-08T15:20:29",64.5,319.2,14,61,5.14,1.1999999999999999E-3,79.7,84.6,201.4,184,64.5,null,null,0.21]
[98,331,140,0.49,"2009-01-08T15:20:59",64.3,331,14,49,5.17,8.9999999999999998E-4,79.099999999999994,84,200,147,64.3,null,null,0.2]
[98.5,334.4,141,0.56000000000000005,"2009-01-08T15:21:29",63.4,334.4,14.1,56,5.07,1.1000000000000001E-3,78.599999999999994,83.4,206,171,63.4,null,null,0.19]
[99,334.2,142,0.67,"2009-01-08T15:21:59",64,334.2,14.2,67,5,1.2999999999999999E-3,78.400000000000006,83.3,209.8,208,64,null,null,0.18]
[99.5,329.5,144,0.81,"2009-01-08T15:22:29",63,329.5,14.4,81,4.9000000000000004,1.6999999999999999E-3,78.3,83.2,216.2,256,63,null,null,0.17]
[100,333,145,0.98,"2009-01-08T15:22:59",64.900000000000006,333,14.5,98,4.79,2E-3,77.900000000000006,82.7,223.5,317,64.900000000000006,null,null,0.16]
[100.5,336.8,147,1.1299999999999999,"2009-01-08T15:23:29",65.3,336.8,14.7,113,4.67,2.3999999999999998E-3,77.3,82.1,232,375,65.3,null,null,0.15]
[101,334.5,147,1.29,"2009-01-08T15:23:59",65.099999999999994,334.5,14.7,129,4.63,2.8E-3,77.3,82,234.5,432,65.099999999999994,null,null,0.15]
[101.5,338.5,148,1.4,"2009-01-08T15:24:29",65.5,338.5,14.8,140,4.58,3.0999999999999999E-3,76.8,81.599999999999994,238.7,474,65.5,null,null,0.14000000000000001]
[102,333.2,149,1.44,"2009-01-08T15:24:59",64.7,333.2,14.9,144,4.4800000000000004,3.2000000000000002E-3,76.8,81.5,245.6,498,64.7,null,null,0.14000000000000001]
[102.5,319.39999999999998,150,1.42,"2009-01-08T15:25:29",65.599999999999994,319.39999999999998,15,142,4.4400000000000004,3.2000000000000002E-3,77.5,82.3,249.1,496,65.599999999999994,null,null,0.13]
[103,334.5,150,1.48,"2009-01-08T15:25:59",66.2,334.5,15,148,4.41,3.3999999999999998E-3,76.5,81.3,251.2,520,66.2,null,null,0.13]
[103.5,329.9,151,1.71,"2009-01-08T15:26:29",66.3,329.9,15.1,171,4.34,3.8999999999999998E-3,76.5,81.3,256.8,610,66.3,null,null,0.13]
[104,331.5,153,1.85,"2009-01-08T15:26:59",65,331.5,15.3,185,4.22,4.4000000000000003E-3,75.8,80.5,267.2,679,65,null,null,0.12]
[104.5,325.3,154,1.99,"2009-01-08T15:27:29",65.599999999999994,325.3,15.4,199,4.1500000000000004,4.7999999999999996E-3,76,80.7,273.60000000000002,743,65.599999999999994,null,null,0.12]
[105,327.10000000000002,155,2.12,"2009-01-08T15:27:59",64.400000000000006,327.10000000000002,15.5,212,4.0599999999999996,5.1999999999999998E-3,75.400000000000006,80.099999999999994,281.8,809,64.400000000000006,null,null,0.12]
[105.5,336.4,155,2.21,"2009-01-08T15:28:29",65.599999999999994,336.4,15.5,221,4.05,5.4999999999999997E-3,74.8,79.400000000000006,283,846,65.599999999999994,null,null,0.11]
[106,329.3,155,2.4300000000000002,"2009-01-08T15:28:59",65.5,329.3,15.5,243,4.0599999999999996,6.0000000000000001E-3,75.3,79.900000000000006,281.89999999999998,928,65.5,null,null,0.11]
[106.5,327.7,157,2.5299999999999998,"2009-01-08T15:29:29",65.7,327.7,15.7,253,3.91,6.4999999999999997E-3,74.7,79.400000000000006,296,1002,65.7,null,null,0.11]
[107,325.3,157,2.59,"2009-01-08T15:29:59",65.7,325.3,15.7,259,3.89,6.7000000000000002E-3,74.8,79.400000000000006,298.8,1033,65.7,null,null,0.11]
[107.5,323.39999999999998,158,2.79,"2009-01-08T15:30:29",63.7,323.39999999999998,15.8,279,3.87,7.1999999999999998E-3,74.7,79.3,300.5,1117,63.7,null,null,0.11]
[108,360.4,157,3.14,"2009-01-08T15:30:59",65,360.4,15.7,314,3.89,8.0999999999999996E-3,72.2,76.599999999999994,298.5,1251,65,null,null,0.11]
[108.5,338.7,176,4.41,"2009-01-08T15:31:29",64.8,338.7,17.600000000000001,441,2.48,1.78E-2,62.5,66.400000000000006,525.1,2757,64.8,null,null,0.11]
[109,324.7,162,3.43,"2009-01-08T15:31:59",63.3,324.7,16.2,343,3.55,9.7000000000000003E-3,72.8,77.3,336.3,1496,63.3,null,null,0.11]
[109.5,322.5,160,2.98,"2009-01-08T15:32:29",65.599999999999994,322.5,16,298,3.7,8.0999999999999996E-3,74,78.599999999999994,319.2,1249,65.599999999999994,null,null,0.11]
[110,329.5,167,2.2599999999999998,"2009-01-08T15:32:59",65.8,329.5,16.7,226,3.14,7.1999999999999998E-3,70.099999999999994,74.5,393.7,1116,65.8,null,null,0.51]
[110.5,337.7,159,3.24,"2009-01-08T15:33:29",65.599999999999994,337.7,15.9,324,3.79,8.6E-3,73.3,77.8,309.39999999999998,1327,65.599999999999994,null,null,0.5]
[111,329.2,160,3.31,"2009-01-08T15:33:59",64.099999999999994,329.2,16,331,3.69,8.9999999999999993E-3,73.3,77.8,320,1390,64.099999999999994,null,null,0.49]
[111.5,333,160,3.51,"2009-01-08T15:34:29",64,333,16,351,3.71,9.4999999999999998E-3,73.099999999999994,77.599999999999994,317.3,1465,64,null,null,0.49]
[112,333,161,3.34,"2009-01-08T15:34:59",64.3,333,16.100000000000001,334,3.6,9.2999999999999992E-3,72.5,77,330.9,1439,64.3,null,null,0.49]
[112.5,337,162,3.56,"2009-01-08T15:35:29",63.8,337,16.2,356,3.53,1.01E-2,71.7,76.2,339.3,1564,63.8,null,null,0.49]
[113,336.8,164,3.66,"2009-01-08T15:35:59",64.400000000000006,336.8,16.399999999999999,366,3.39,1.0800000000000001E-2,70.900000000000006,75.3,356.9,1672,64.400000000000006,null,null,0.49]
[113.5,336,163,3.66,"2009-01-08T15:36:29",64.5,336,16.3,366,3.47,1.06E-2,71.5,75.900000000000006,347.1,1636,64.5,null,null,0.48]
[114,331.3,165,3.83,"2009-01-08T15:36:59",64.2,331.3,16.5,383,3.36,1.14E-2,71.099999999999994,75.5,361.7,1768,64.2,null,null,0.48]
[114.5,331.3,165,3.81,"2009-01-08T15:37:29",64,331.3,16.5,381,3.35,1.14E-2,71,75.400000000000006,362.6,1763,64,null,null,0.48]
[115,336.5,165,3.95,"2009-01-08T15:37:59",64.3,336.5,16.5,395,3.32,1.1900000000000001E-2,70.400000000000006,74.8,366.7,1843,64.3,null,null,0.49]
[115.5,340.5,165,4.0599999999999996,"2009-01-08T15:38:29",62.6,340.5,16.5,406,3.32,1.2200000000000001E-2,69.900000000000006,74.3,366.5,1894,62.6,null,null,0.48]
[116,337.1,164,4.29,"2009-01-08T15:38:59",63,337.1,16.399999999999999,429,3.38,1.2699999999999999E-2,70.599999999999994,75,358.8,1968,63,null,null,0.48]
[116.5,332.1,166,4.51,"2009-01-08T15:39:29",63,332.1,16.600000000000001,451,3.28,1.37E-2,70.3,74.7,372.2,2130,63,null,null,0.48]
[117,337.6,165,4.4400000000000004,"2009-01-08T15:39:59",63.8,337.6,16.5,444,3.29,1.35E-2,70,74.400000000000006,370.6,2089,63.8,null,null,0.48]
[117.5,336.6,166,4.78,"2009-01-08T15:40:29",63.8,336.6,16.600000000000001,478,3.28,1.46E-2,69.900000000000006,74.3,373,2261,63.8,null,null,0.48]
[118,334.4,167,5.14,"2009-01-08T15:40:59",63.9,334.4,16.7,514,3.16,1.6299999999999999E-2,69.2,73.5,391.1,2524,63.9,null,null,0.48]
[118.5,339.6,167,6.03,"2009-01-08T15:41:29",63.3,339.6,16.7,603,3.17,1.9E-2,68.7,72.900000000000006,388.7,2947,63.3,null,null,0.48]
[119,329.6,168,6.56,"2009-01-08T15:41:59",63.4,329.6,16.8,656,3.13,2.1000000000000001E-2,69.099999999999994,73.400000000000006,395.6,3251,63.4,null,null,0.48]
[119.5,331.1,168,6.9,"2009-01-08T15:42:29",62.3,331.1,16.8,690,3.11,2.2200000000000001E-2,68.7,72.900000000000006,398.7,3441,62.3,null,null,0.47]
[120,335,169,7.32,"2009-01-08T15:42:59",63,335,16.899999999999999,732,3.06,2.3900000000000001E-2,68,72.2,406.3,3706,63,null,null,0.47]
[120.5,333.1,169,7.7,"2009-01-08T15:43:29",63.1,333.1,16.899999999999999,770,3,2.5600000000000001E-2,67.599999999999994,71.8,415.9,3972,63.1,null,null,0.46]
[121,344.6,183,7.06,"2009-01-08T15:43:59",64.599999999999994,344.6,18.3,706,1.97,3.5700000000000003E-2,53.2,56.5,684.8,5541,64.599999999999994,null,null,0.46]
[121.5,324.2,181,5.09,"2009-01-08T15:44:29",64.400000000000006,324.2,18.100000000000001,509,2.11,2.41E-2,58.9,62.5,633.9,3735,64.400000000000006,null,null,0.46]
[122,325.39999999999998,177,5.19,"2009-01-08T15:44:59",63.4,325.39999999999998,17.7,519,2.42,2.1499999999999998E-2,62.9,66.8,541.70000000000005,3330,63.4,null,null,0.45]
[122.5,322.10000000000002,177,5.0199999999999996,"2009-01-08T15:45:29",64.5,322.10000000000002,17.7,502,2.4700000000000002,2.0299999999999999E-2,64.099999999999994,68,527.79999999999995,3152,64.5,null,null,0.45]
[123,327.10000000000002,176,4.95,"2009-01-08T15:45:59",63.9,327.10000000000002,17.600000000000001,495,2.54,1.95E-2,64.3,68.3,509.8,3018,63.9,null,null,0.45]
[123.5,331.7,175,4.82,"2009-01-08T15:46:29",63.4,331.7,17.5,482,2.58,1.8700000000000001E-2,64.2,68.2,500.5,2894,63.4,null,null,0.44]
[124,325.3,176,4.7300000000000004,"2009-01-08T15:46:59",63.1,325.3,17.600000000000001,473,2.54,1.8599999999999998E-2,64.5,68.5,509.3,2882,63.1,null,null,0.43]
[124.5,327.2,175,4.76,"2009-01-08T15:47:29",62.7,327.2,17.5,476,2.57,1.8599999999999998E-2,64.5,68.400000000000006,504.3,2876,62.7,null,null,0.43]
[125,329.6,176,4.8899999999999997,"2009-01-08T15:47:59",62.9,329.6,17.600000000000001,489,2.5299999999999998,1.9300000000000001E-2,63.8,67.8,512.20000000000005,2994,62.9,null,null,0.42]
[125.5,331.2,175,5.03,"2009-01-08T15:48:29",62.8,331.2,17.5,503,2.56,1.9599999999999999E-2,64,67.900000000000006,504.8,3042,62.8,null,null,0.41]
[126,322.2,176,4.96,"2009-01-08T15:48:59",64,322.2,17.600000000000001,496,2.54,1.95E-2,64.8,68.8,510.3,3027,64,null,null,0.41]
[126.5,319.5,176,4.84,"2009-01-08T15:49:29",63.6,319.5,17.600000000000001,484,2.4900000000000002,1.95E-2,64.5,68.5,523.29999999999995,3017,63.6,null,null,0.4]
[127,326.5,176,5.08,"2009-01-08T15:49:59",63.8,326.5,17.600000000000001,508,2.48,2.0500000000000001E-2,63.6,67.599999999999994,524.6,3173,63.8,null,null,0.39]
[127.5,281.60000000000002,184,4.58,"2009-01-08T15:50:29",62.3,281.60000000000002,18.399999999999999,458,1.93,2.3800000000000002E-2,61.4,65.2,705.2,3688,62.3,null,null,0.39]
[128,{"$f":"FT","v":275.2},{"$f":"Oxy*10","v":187},{"$f":"CO/100","v":4.41},"2009-01-08T15:50:59",63.4,275.2,18.7,441,1.67,2.64E-2,57.9,61.4,829,4097,63.4,null,null,0.38]
[128.5,280.3,188,5.01,"2009-01-08T15:51:29",63.9,280.3,18.8,501,1.6,3.1300000000000001E-2,55.4,58.8,868.9,4854,63.9,null,null,0.37]
[129,273,189,5.34,"2009-01-08T15:51:59",63,273,18.899999999999999,534,1.53,3.4799999999999998E-2,54.7,58.1,911.5,5401,63,null,null,0.37]
[129.5,275.60000000000002,190,5.9,"2009-01-08T15:52:29",62.9,275.60000000000002,19,590,1.51,3.9100000000000003E-2,53.5,56.8,927.5,6062,62.9,null,null,0.37]
[130,268.8,189,6.19,"2009-01-08T15:52:59",63.9,268.8,18.899999999999999,619,1.52,4.0800000000000003E-2,55,58.4,920.8,6319,63.9,null,null,0.37]
[130.5,267.2,190,6.7,"2009-01-08T15:53:29",63.3,267.2,19,670,1.48,4.5199999999999997E-2,54.1,57.5,945,7002,63.3,null,null,0.36]
[131,268,190,7.14,"2009-01-08T15:53:59",63.4,268,19,714,1.48,4.8300000000000003E-2,53.7,57,949,7490,63.4,null,null,0.36]
[131.5,264.5,190,7.69,"2009-01-08T15:54:29",63.6,264.5,19,769,1.45,5.3100000000000001E-2,53.5,56.8,969.3,8223,63.6,null,null,0.36]
[132,265.5,191,8.06,"2009-01-08T15:54:59",64.7,265.5,19.100000000000001,806,1.41,5.7099999999999998E-2,52.3,55.5,998.1,8851,64.7,null,null,0.36]
[132.5,267.60000000000002,190,8.18,"2009-01-08T15:55:29",63.8,267.60000000000002,19,818,1.46,5.6099999999999997E-2,53,56.3,963.2,8697,63.8,null,null,0.36]
[133,262.2,191,7.94,"2009-01-08T15:55:59",62.4,262.2,19.100000000000001,794,1.42,5.6000000000000001E-2,52.7,55.9,993.8,8685,62.4,null,null,0.36]
[133.5,260.89999999999998,191,8.25,"2009-01-08T15:56:29",63.1,260.89999999999998,19.100000000000001,825,1.42,5.8000000000000003E-2,53.1,56.4,989.5,8988,63.1,null,null,0.36]
[134,265.3,191,8.8699999999999992,"2009-01-08T15:56:59",62.8,265.3,19.100000000000001,887,1.43,6.1899999999999997E-2,52.4,55.6,980.9,9588,62.8,null,null,0.36]
[134.5,264.5,191,9.2799999999999994,"2009-01-08T15:57:29",62.4,264.5,19.100000000000001,928,1.42,6.54E-2,51.9,55.1,991.7,10131,62.4,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]