{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":148,"n_cols":19,"rows_kept":148,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":377.42534246575326},{"$f":"AVERAGE(Oxy)","v":12.043150684931506},{"$f":"AVERAGE(CO)","v":1306.8630136986301}]
[0,{"$f":"FT","v":109.3},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":0.01},"2009-02-04T11:12:00",65,109.3,21,1,null,null,null,null,null,null,65,null,null,0.53]
[0.5,122.1,205,1.57,"2009-02-04T11:12:30",65.099999999999994,122.1,20.5,157,null,null,null,null,null,null,65.099999999999994,null,null,0.33]
[1,136.69999999999999,190,6.11,"2009-02-04T11:13:00",64.8,136.69999999999999,19,611,1.5,4.0800000000000003E-2,78.599999999999994,83.5,934,6318,64.8,null,null,0.17]
[1.5,152.69999999999999,187,9.1300000000000008,"2009-02-04T11:13:30",64,152.69999999999999,18.7,913,1.69,5.3900000000000003E-2,76.8,81.5,814.6,8350,64,null,null,7.0000000000000007E-2]
[2,159.1,183,15.59,"2009-02-04T11:14:00",64,159.1,18.3,1559,1.99,7.85E-2,76.8,81.599999999999994,680.1,12162,64,null,null,0]
[2.5,166.6,183,15.56,"2009-02-04T11:14:30",64.099999999999994,166.6,18.3,1556,2.02,7.7200000000000005E-2,76,80.7,668.7,11961,64.099999999999994,null,null,0]
[3,193,183,15.45,"2009-02-04T11:15:00",63.9,193,18.3,1545,2.02,7.6700000000000004E-2,72.5,76.900000000000006,669,11881,63.9,null,null,0]
[3.5,215.2,183,16.28,"2009-02-04T11:15:30",64.2,215.2,18.3,1628,2.0099999999999998,8.09E-2,69.3,73.599999999999994,670.5,12543,64.2,null,null,0]
[4,233.3,182,16.91,"2009-02-04T11:16:00",64,233.3,18.2,1691,2.04,8.3000000000000004E-2,67,71.099999999999994,661,12868,64,null,null,0]
[4.5,250.3,181,16.55,"2009-02-04T11:16:30",64.2,250.3,18.100000000000001,1655,2.13,7.7700000000000005E-2,66,70.099999999999994,628,12048,64.2,null,null,0.46]
[5,262.3,126,20.2,"2009-02-04T11:17:00",64.099999999999994,262.3,12.6,2020,6.2,3.2599999999999997E-2,82.9,88.1,149.9,5047,64.099999999999994,null,null,0.57999999999999996]
[5.5,277.60000000000002,114,25.56,"2009-02-04T11:17:30",63.8,277.60000000000002,11.4,2556,7.12,3.5900000000000001E-2,83.2,88.4,117.8,5568,63.8,null,null,0.57999999999999996]
[6,283.39999999999998,98,18.96,"2009-02-04T11:18:00",63.6,283.39999999999998,9.8000000000000007,1896,8.2799999999999994,2.29E-2,84.8,90,87.3,3551,63.6,null,null,0.57999999999999996]
[6.5,293.7,94,16,"2009-02-04T11:18:30",63.1,293.7,9.4,1600,8.5500000000000007,1.8700000000000001E-2,84.9,90.1,81.2,2899,63.1,null,null,0.57999999999999996]
[7,302.7,86,25.87,"2009-02-04T11:19:00",63.5,302.7,8.6,2587,9.1199999999999992,2.8400000000000002E-2,84.5,89.8,70,4399,63.5,null,null,0.56999999999999995]
[7.5,311.5,81,42.96,"2009-02-04T11:19:30",64.2,311.5,8.1,4296,9.5500000000000007,4.4999999999999998E-2,83.8,89,62.3,6972,64.2,null,null,0.56999999999999995]
[8,310.60000000000002,78,145,"2009-02-04T11:20:00",64,310.60000000000002,7.8,14500,9.74,0.1489,79.400000000000006,84.2,59.2,23077,64,null,null,0.6]
[8.5,309,73,80,"2009-02-04T11:20:30",63.7,309,7.3,8000,10.130000000000001,7.9000000000000001E-2,82.6,87.8,53,12238,63.7,null,null,0.6]
[9,313.5,74,75,"2009-02-04T11:21:00",64.099999999999994,313.5,7.4,7500,10.050000000000001,7.46E-2,82.7,87.8,54.2,11566,64.099999999999994,null,null,0.6]
[9.5,319.60000000000002,77,65,"2009-02-04T11:21:30",64.3,319.60000000000002,7.7,6500,9.85,6.6000000000000003E-2,82.8,87.9,57.3,10228,64.3,null,null,0.59]
[10,314.8,78,60,"2009-02-04T11:22:00",64.2,314.8,7.8,6000,9.76,6.1499999999999999E-2,83,88.2,58.8,9528,64.2,null,null,0.59]
[10.5,309.10000000000002,79,60,"2009-02-04T11:22:30",64,309.10000000000002,7.9,6000,9.69,6.1899999999999997E-2,83.1,88.3,60,9601,64,null,null,0.59]
[11,311.8,78,55,"2009-02-04T11:23:00",64.3,311.8,7.8,5500,9.76,5.6399999999999999E-2,83.4,88.5,58.9,8737,64.3,null,null,0.59]
[11.5,320.89999999999998,81,50,"2009-02-04T11:23:30",64.5,320.89999999999998,8.1,5000,9.5299999999999994,5.2499999999999998E-2,83.1,88.3,62.7,8135,64.5,null,null,0.57999999999999996]
[12,320.3,76,70,"2009-02-04T11:24:00",62.3,320.3,7.6,7000,9.91,7.0599999999999996E-2,82.5,87.6,56.3,10943,62.3,null,null,0.56999999999999995]
[12.5,329.7,77,60,"2009-02-04T11:24:30",62.1,329.7,7.7,6000,9.7899999999999991,6.13E-2,82.6,87.7,58.3,9498,62.1,null,null,0.56999999999999995]
[13,322.10000000000002,76,50,"2009-02-04T11:25:00",62.7,322.10000000000002,7.6,5000,9.93,5.04E-2,83.4,88.6,56.1,7807,62.7,null,null,0.56000000000000005]
[13.5,334.1,77,50,"2009-02-04T11:25:30",63.2,334.1,7.7,5000,9.84,5.0799999999999998E-2,83,88.1,57.5,7877,63.2,null,null,0.55000000000000004]
[14,343,83,26.58,"2009-02-04T11:26:00",63.5,343,8.3000000000000007,2658,9.41,2.8299999999999999E-2,83.5,88.7,64.8,4380,63.5,null,null,0.51]
[14.5,338.4,82,39.479999999999997,"2009-02-04T11:26:30",64,338.4,8.1999999999999993,3948,9.44,4.1799999999999997E-2,83,88.2,64.099999999999994,6479,64,null,null,0.49]
[15,337.7,84,31.1,"2009-02-04T11:27:00",64.099999999999994,337.7,8.4,3110,9.33,3.3300000000000003E-2,83.4,88.5,66.099999999999994,5164,64.099999999999994,null,null,0.48]
[15.5,345,82,29.18,"2009-02-04T11:27:30",64.2,345,8.1999999999999993,2918,9.4700000000000006,3.0800000000000001E-2,83.4,88.5,63.6,4775,64.2,null,null,0.48]
[16,347.6,79,32.44,"2009-02-04T11:28:00",63.9,347.6,7.9,3244,9.68,3.3500000000000002E-2,83.3,88.5,60.1,5195,63.9,null,null,0.47]
[16.5,355.9,79,37.07,"2009-02-04T11:28:30",63.6,355.9,7.9,3707,9.68,3.8300000000000001E-2,82.8,88,60.2,5939,63.6,null,null,0.47]
[17,358.3,82,20.14,"2009-02-04T11:29:00",64.2,358.3,8.1999999999999993,2014,9.48,2.12E-2,83.5,88.6,63.4,3292,64.2,null,null,0.46]
[17.5,360.6,80,18.7,"2009-02-04T11:29:30",63.9,360.6,8,1870,9.58,1.95E-2,83.5,88.7,61.8,3026,63.9,null,null,0.45]
[18,362.4,81,29.16,"2009-02-04T11:30:00",64.400000000000006,362.4,8.1,2916,9.51,3.0599999999999999E-2,82.9,88,62.9,4750,64.400000000000006,null,null,0.44]
[18.5,363.7,79,28.81,"2009-02-04T11:30:30",64,363.7,7.9,2881,9.64,2.9899999999999999E-2,83,88.1,60.7,4630,64,null,null,0.43]
[19,362.4,83,12.99,"2009-02-04T11:31:00",65,362.4,8.3000000000000007,1299,9.39,1.38E-2,83.7,88.8,65,2143,65,null,null,0.43]
[19.5,372.2,91,6.18,"2009-02-04T11:31:30",65.7,372.2,9.1,618,8.7799999999999994,7.0000000000000001E-3,83.1,88.3,76.599999999999994,1092,65.7,null,null,0.42]
[20,370.4,91,5.84,"2009-02-04T11:32:00",66.599999999999994,370.4,9.1,584,8.77,6.7000000000000002E-3,83.2,88.4,76.8,1033,66.599999999999994,null,null,0.42]
[20.5,375.4,91,6.79,"2009-02-04T11:32:30",67.3,375.4,9.1,679,8.77,7.7000000000000002E-3,83,88.2,76.8,1201,67.3,null,null,0.42]
[21,378,92,5.54,"2009-02-04T11:33:00",60.4,378,9.1999999999999993,554,8.7100000000000009,6.4000000000000003E-3,82.7,87.8,77.900000000000006,986,60.4,null,null,0.41]
[21.5,376.8,94,5.29,"2009-02-04T11:33:30",59.4,376.8,9.4,529,8.57,6.1999999999999998E-3,82.5,87.7,80.8,957,59.4,null,null,0.41]
[22,370.6,97,5.19,"2009-02-04T11:34:00",58.8,370.6,9.6999999999999993,519,8.35,6.1999999999999998E-3,82.5,87.6,85.6,963,58.8,null,null,0.41]
[22.5,373.2,99,3.25,"2009-02-04T11:34:30",59,373.2,9.9,325,8.1999999999999993,4.0000000000000001E-3,82.3,87.4,89.1,615,59,null,null,0.41]
[23,381.8,95,3.11,"2009-02-04T11:35:00",60.3,381.8,9.5,311,8.4499999999999993,3.7000000000000002E-3,82.4,87.5,83.3,570,60.3,null,null,0.4]
[23.5,377.3,99,3.06,"2009-02-04T11:35:30",60.1,377.3,9.9,306,8.18,3.7000000000000002E-3,82.2,87.3,89.4,580,60.1,null,null,0.39]
[24,378.9,100,2.96,"2009-02-04T11:36:00",59.6,378.9,10,296,8.1300000000000008,3.5999999999999999E-3,82.1,87.2,90.6,564,59.6,null,null,0.38]
[24.5,376.2,103,2.59,"2009-02-04T11:36:30",60.3,376.2,10.3,259,7.87,3.3E-3,81.900000000000006,87,96.9,510,60.3,null,null,0.37]
[25,382.3,104,2.16,"2009-02-04T11:37:00",61.6,382.3,10.4,216,7.83,2.8E-3,81.7,86.7,98.1,428,61.6,null,null,0.36]
[25.5,388.2,107,1.79,"2009-02-04T11:37:30",60.7,388.2,10.7,179,7.6,2.3999999999999998E-3,81.099999999999994,86.1,103.9,365,60.7,null,null,0.36]
[26,378.9,104,1.67,"2009-02-04T11:38:00",60.3,378.9,10.4,167,7.82,2.0999999999999999E-3,81.8,86.8,98.1,331,60.3,null,null,0.35]
[26.5,381.9,107,1.61,"2009-02-04T11:38:30",60.9,381.9,10.7,161,7.61,2.0999999999999999E-3,81.400000000000006,86.4,103.8,328,60.9,null,null,0.35]
[27,377.4,106,1.48,"2009-02-04T11:39:00",60.9,377.4,10.6,148,7.69,1.9E-3,81.7,86.7,101.5,298,60.9,null,null,0.34]
[27.5,381.4,108,1.52,"2009-02-04T11:39:30",62.1,381.4,10.8,152,7.53,2E-3,81.3,86.4,105.7,313,62.1,null,null,0.34]
[28,386.8,108,1.81,"2009-02-04T11:40:00",60.6,386.8,10.8,181,7.54,2.3999999999999998E-3,81.099999999999994,86.1,105.5,372,60.6,null,null,0.34]
[28.5,391.8,104,1.61,"2009-02-04T11:40:30",61.5,391.8,10.4,161,7.85,2.0999999999999999E-3,81.400000000000006,86.4,97.6,318,61.5,null,null,0.33]
[29,394,104,1.39,"2009-02-04T11:41:00",62.4,394,10.4,139,7.85,1.8E-3,81.400000000000006,86.4,97.4,274,62.4,null,null,0.32]
[29.5,393.2,108,1.1399999999999999,"2009-02-04T11:41:30",61.6,393.2,10.8,114,7.54,1.5E-3,80.900000000000006,85.9,105.5,234,61.6,null,null,0.32]
[30,384.5,112,1.02,"2009-02-04T11:42:00",61.2,384.5,11.2,102,7.2,1.4E-3,80.7,85.7,115.4,220,61.2,null,null,0.32]
[30.5,389.8,113,1.1000000000000001,"2009-02-04T11:42:30",61.3,389.8,11.3,110,7.18,1.5E-3,80.400000000000006,85.4,116,238,61.3,null,null,0.31]
[31,390.5,115,1.27,"2009-02-04T11:43:00",60.8,390.5,11.5,127,7.05,1.8E-3,80.099999999999994,85.1,119.9,279,60.8,null,null,0.31]
[31.5,394.8,116,1.23,"2009-02-04T11:43:30",60.4,394.8,11.6,123,6.95,1.8E-3,79.8,84.7,123,274,60.4,null,null,0.3]
[32,{"$f":"FT","v":399.1},{"$f":"Oxy*10","v":117},{"$f":"CO/100","v":1.1399999999999999},"2009-02-04T11:44:00",60.4,399.1,11.7,114,6.86,1.6999999999999999E-3,79.400000000000006,84.4,125.9,258,60.4,null,null,0.3]
[32.5,395.8,118,0.88,"2009-02-04T11:44:30",60.7,395.8,11.8,88,6.79,1.2999999999999999E-3,79.5,84.4,128.30000000000001,201,60.7,null,null,0.3]
[33,399.7,120,0.66,"2009-02-04T11:45:00",60.6,399.7,12,66,6.61,1E-3,79,83.8,134.4,155,60.6,null,null,0.3]
[33.5,396.1,124,0.76,"2009-02-04T11:45:30",62.3,396.1,12.4,76,6.33,1.1999999999999999E-3,78.599999999999994,83.5,144.69999999999999,186,62.3,null,null,0.3]
[34,398.6,124,0.93,"2009-02-04T11:46:00",61.1,398.6,12.4,93,6.35,1.5E-3,78.400000000000006,83.3,144.1,227,61.1,null,null,0.3]
[34.5,398.2,125,1.02,"2009-02-04T11:46:30",61.4,398.2,12.5,102,6.29,1.6000000000000001E-3,78.3,83.2,146.30000000000001,251,61.4,null,null,0.3]
[35,403.5,124,1.06,"2009-02-04T11:47:00",62,403.5,12.4,106,6.34,1.6999999999999999E-3,78.2,83.1,144.6,259,62,null,null,0.3]
[35.5,400.2,127,1.1100000000000001,"2009-02-04T11:47:30",62.9,400.2,12.7,111,6.15,1.8E-3,78,82.8,151.80000000000001,280,62.9,null,null,0.3]
[36,399,127,1.22,"2009-02-04T11:48:00",63.4,399,12.7,122,6.13,2E-3,78,82.8,153,309,63.4,null,null,0.3]
[36.5,401.7,130,1.2,"2009-02-04T11:48:30",64.7,401.7,13,120,5.92,2E-3,77.400000000000006,82.2,161.9,314,64.7,null,null,0.3]
[37,403.2,129,1.1599999999999999,"2009-02-04T11:49:00",65.900000000000006,403.2,12.9,116,5.96,1.9E-3,77.5,82.3,160.1,302,65.900000000000006,null,null,0.3]
[37.5,397.1,130,1.02,"2009-02-04T11:49:30",65.900000000000006,397.1,13,102,5.9,1.6999999999999999E-3,77.7,82.5,162.6,268,65.900000000000006,null,null,0.28999999999999998]
[38,405.2,130,1.1100000000000001,"2009-02-04T11:50:00",66,405.2,13,111,5.88,1.9E-3,77.2,82,163.80000000000001,293,66,null,null,0.28999999999999998]
[38.5,402.1,132,1.1299999999999999,"2009-02-04T11:50:30",66,402.1,13.2,113,5.76,2E-3,77.099999999999994,81.8,169,304,66,null,null,0.28999999999999998]
[39,402.1,132,1.24,"2009-02-04T11:51:00",66.2,402.1,13.2,124,5.73,2.2000000000000001E-3,77,81.7,170.3,335,66.2,null,null,0.28999999999999998]
[39.5,403.7,134,1.29,"2009-02-04T11:51:30",66,403.7,13.4,129,5.6,2.3E-3,76.5,81.2,176.9,357,66,null,null,0.28999999999999998]
[40,404.5,135,1.36,"2009-02-04T11:52:00",66.400000000000006,404.5,13.5,136,5.5,2.5000000000000001E-3,76.2,80.900000000000006,181.8,383,66.400000000000006,null,null,0.28999999999999998]
[40.5,409.7,137,1.58,"2009-02-04T11:52:30",69.900000000000006,409.7,13.7,158,5.36,2.8999999999999998E-3,75.7,80.3,189.1,457,69.900000000000006,null,null,0.28999999999999998]
[41,403.5,139,1.78,"2009-02-04T11:53:00",72,403.5,13.9,178,5.21,3.3999999999999998E-3,75.599999999999994,80.3,197.3,529,72,null,null,0.3]
[41.5,409.4,138,1.97,"2009-02-04T11:53:30",70.7,409.4,13.8,197,5.29,3.7000000000000002E-3,75.400000000000006,80.099999999999994,193.1,577,70.7,null,null,0.3]
[42,403.4,139,1.98,"2009-02-04T11:54:00",71.599999999999994,403.4,13.9,198,5.21,3.8E-3,75.599999999999994,80.3,197.3,589,71.599999999999994,null,null,0.3]
[42.5,414.5,146,4.6100000000000003,"2009-02-04T11:54:30",72.099999999999994,414.5,14.6,461,4.75,9.7000000000000003E-3,73,77.5,226.6,1506,72.099999999999994,null,null,0.3]
[43,397,113,12.5,"2009-02-04T11:55:00",72.900000000000006,397,11.3,1250,7.14,1.7500000000000002E-2,79.7,84.7,117.2,2715,72.900000000000006,null,null,0.28999999999999998]
[43.5,398.6,103,30.74,"2009-02-04T11:55:30",64,398.6,10.3,3074,7.87,3.9100000000000003E-2,79.400000000000006,84.3,97.1,6058,64,null,null,0.27]
[44,410.6,103,27.17,"2009-02-04T11:56:00",63.9,410.6,10.3,2717,7.87,3.4500000000000003E-2,79.099999999999994,84,97.1,5355,63.9,null,null,0.26]
[44.5,411.3,104,20.440000000000001,"2009-02-04T11:56:30",61.6,411.3,10.4,2044,7.83,2.6100000000000002E-2,79.400000000000006,84.3,98,4046,61.6,null,null,0.25]
[45,413.1,105,21.33,"2009-02-04T11:57:00",67.2,413.1,10.5,2133,7.78,2.7400000000000001E-2,79.400000000000006,84.3,99.1,4247,67.2,null,null,0.24]
[45.5,419.9,108,12.72,"2009-02-04T11:57:30",71,419.9,10.8,1272,7.56,1.6799999999999999E-2,79.5,84.4,104.9,2607,71,null,null,0.23]
[46,420.9,107,10.54,"2009-02-04T11:58:00",72.7,420.9,10.7,1054,7.61,1.38E-2,79.8,84.7,103.7,2147,72.7,null,null,0.22]
[46.5,418.4,109,10.210000000000001,"2009-02-04T11:58:30",74.099999999999994,418.4,10.9,1021,7.48,1.37E-2,79.7,84.6,107.3,2117,74.099999999999994,null,null,0.22]
[47,419.3,111,8.4600000000000009,"2009-02-04T11:59:00",75.099999999999994,419.3,11.1,846,7.28,1.1599999999999999E-2,79.5,84.4,113,1802,75.099999999999994,null,null,0.21]
[47.5,421.5,111,9.17,"2009-02-04T11:59:30",75.8,421.5,11.1,917,7.34,1.2500000000000001E-2,79.5,84.4,111.2,1937,75.8,null,null,0.2]
[48,426.7,114,7.84,"2009-02-04T12:00:00",76.099999999999994,426.7,11.4,784,7.09,1.11E-2,78.900000000000006,83.8,118.5,1713,76.099999999999994,null,null,0.19]
[48.5,418.6,115,6.88,"2009-02-04T12:00:30",67.5,418.6,11.5,688,7.01,9.7999999999999997E-3,78.8,83.7,121.1,1521,67.5,null,null,0.19]
[49,421.7,117,6.2,"2009-02-04T12:01:00",66.3,421.7,11.7,620,6.86,8.9999999999999993E-3,78.400000000000006,83.2,126.1,1402,66.3,null,null,0.2]
[49.5,425.3,119,6.14,"2009-02-04T12:01:30",66.2,425.3,11.9,614,6.75,9.1000000000000004E-3,78,82.8,129.69999999999999,1410,66.2,null,null,0.2]
[50,419.2,120,5.21,"2009-02-04T12:02:00",66.099999999999994,419.2,12,521,6.67,7.7999999999999996E-3,78.099999999999994,83,132.5,1211,66.099999999999994,null,null,0.21]
[50.5,428.3,121,4.6900000000000004,"2009-02-04T12:02:30",65.7,428.3,12.1,469,6.55,7.1999999999999998E-3,77.5,82.3,136.69999999999999,1110,65.7,null,null,0.21]
[51,422.2,121,5.19,"2009-02-04T12:03:00",66.400000000000006,422.2,12.1,519,6.54,7.9000000000000008E-3,77.7,82.6,136.9,1229,66.400000000000006,null,null,0.27]
[51.5,425.5,122,5.59,"2009-02-04T12:03:30",66.3,425.5,12.2,559,6.49,8.6E-3,77.400000000000006,82.2,139,1336,66.3,null,null,0.27]
[52,424.6,122,4.5199999999999996,"2009-02-04T12:04:00",66.3,424.6,12.2,452,6.5,7.0000000000000001E-3,77.599999999999994,82.4,138.5,1078,66.3,null,null,0.27]
[52.5,432.2,124,4.3,"2009-02-04T12:04:30",69.3,432.2,12.4,430,6.37,6.7000000000000002E-3,77.099999999999994,81.900000000000006,143.1,1046,69.3,null,null,0.27]
[53,430.7,125,3.64,"2009-02-04T12:05:00",66.099999999999994,430.7,12.5,364,6.27,5.7999999999999996E-3,76.8,81.599999999999994,147.19999999999999,900,66.099999999999994,null,null,0.27]
[53.5,432.9,127,2.91,"2009-02-04T12:05:30",65.900000000000006,432.9,12.7,291,6.16,4.7000000000000002E-3,76.5,81.2,151.6,732,65.900000000000006,null,null,0.27]
[54,426,126,2.88,"2009-02-04T12:06:00",67,426,12.6,288,6.19,4.5999999999999999E-3,76.900000000000006,81.7,150.30000000000001,721,67,null,null,0.28000000000000003]
[54.5,431.2,127,3.05,"2009-02-04T12:06:30",66.2,431.2,12.7,305,6.13,5.0000000000000001E-3,76.5,81.2,152.69999999999999,771,66.2,null,null,0.28000000000000003]
[55,429.4,126,3.52,"2009-02-04T12:07:00",67.8,429.4,12.6,352,6.18,5.7000000000000002E-3,76.7,81.5,150.6,882,67.8,null,null,0.28000000000000003]
[55.5,430,129,3.68,"2009-02-04T12:07:30",67.400000000000006,430,12.9,368,6.01,6.1000000000000004E-3,76.2,80.900000000000006,158,949,67.400000000000006,null,null,0.27]
[56,445.7,130,2.87,"2009-02-04T12:08:00",66.8,445.7,13,287,5.89,4.8999999999999998E-3,75.2,79.8,163.1,755,66.8,null,null,0.28000000000000003]
[56.5,428.9,131,2.77,"2009-02-04T12:08:30",67.3,428.9,13.1,277,5.82,4.7999999999999996E-3,75.8,80.5,166.4,738,67.3,null,null,0.27]
[57,428.4,133,2.73,"2009-02-04T12:09:00",66.900000000000006,428.4,13.3,273,5.68,4.7999999999999996E-3,75.400000000000006,80.099999999999994,172.8,745,66.900000000000006,null,null,0.27]
[57.5,427.5,133,3.01,"2009-02-04T12:09:30",67,427.5,13.3,301,5.67,5.3E-3,75.400000000000006,80.099999999999994,173.5,823,67,null,null,0.27]
[58,438.4,133,3.18,"2009-02-04T12:10:00",66.8,438.4,13.3,318,5.7,5.5999999999999999E-3,74.900000000000006,79.599999999999994,172,865,66.8,null,null,0.27]
[58.5,431.3,137,3.65,"2009-02-04T12:10:30",67.099999999999994,431.3,13.7,365,5.42,6.7000000000000002E-3,74.400000000000006,79,186,1044,67.099999999999994,null,null,0.27]
[59,435.5,134,2.4500000000000002,"2009-02-04T12:11:00",67.3,435.5,13.4,245,5.61,4.4000000000000003E-3,74.900000000000006,79.5,176.3,677,67.3,null,null,0.27]
[59.5,429,134,2.27,"2009-02-04T12:11:30",67.900000000000006,429,13.4,227,5.6,4.1000000000000003E-3,75.2,79.900000000000006,176.7,628,67.900000000000006,null,null,0.26]
[60,437.8,133,1.73,"2009-02-04T12:12:00",68.900000000000006,437.8,13.3,173,5.69,3.0000000000000001E-3,75.2,79.8,172.5,471,68.900000000000006,null,null,0.26]
[60.5,429.2,135,1.64,"2009-02-04T12:12:30",68.8,429.2,13.5,164,5.56,3.0000000000000001E-3,75.2,79.900000000000006,178.9,457,68.8,null,null,0.26]
[61,432.6,134,1.53,"2009-02-04T12:13:00",69.099999999999994,432.6,13.4,153,5.62,2.7000000000000001E-3,75.2,79.900000000000006,175.9,422,69.099999999999994,null,null,0.25]
[61.5,436.2,132,1.1499999999999999,"2009-02-04T12:13:30",69.5,436.2,13.2,115,5.76,2E-3,75.599999999999994,80.2,169.1,309,69.5,null,null,0.25]
[62,436.3,135,1.29,"2009-02-04T12:14:00",69.400000000000006,436.3,13.5,129,5.53,2.3E-3,74.8,79.400000000000006,180.5,362,69.400000000000006,null,null,0.25]
[62.5,425.1,135,2.16,"2009-02-04T12:14:30",69.900000000000006,425.1,13.5,216,5.56,3.8999999999999998E-3,75.400000000000006,80.099999999999994,178.9,603,69.900000000000006,null,null,0.24]
[63,437.7,134,3.31,"2009-02-04T12:15:00",69.5,437.7,13.4,331,5.64,5.8999999999999999E-3,74.900000000000006,79.599999999999994,174.7,909,69.5,null,null,0.24]
[63.5,428,135,3.53,"2009-02-04T12:15:30",69.7,428,13.5,353,5.53,6.4000000000000003E-3,75.099999999999994,79.7,180.1,989,69.7,null,null,0.24]
[64,{"$f":"FT","v":431.8},{"$f":"Oxy*10","v":136},{"$f":"CO/100","v":5.32},"2009-02-04T12:16:00",69.400000000000006,431.8,13.6,532,5.49,9.7000000000000003E-3,74.5,79.099999999999994,182.3,1502,69.400000000000006,null,null,0.23]
[64.5,427.6,138,6.8,"2009-02-04T12:16:30",68.7,427.6,13.8,680,5.34,1.2699999999999999E-2,74.099999999999994,78.7,190,1972,68.7,null,null,0.23]
[65,432.2,140,3.55,"2009-02-04T12:17:00",69.2,432.2,14,355,5.19,6.7999999999999996E-3,73.599999999999994,78.2,198.7,1060,69.2,null,null,0.23]
[65.5,435.6,141,3.97,"2009-02-04T12:17:30",70.2,435.6,14.1,397,5.1100000000000003,7.7999999999999996E-3,73.2,77.7,203.2,1204,70.2,null,null,0.22]
[66,430.4,141,5.49,"2009-02-04T12:18:00",69.599999999999994,430.4,14.1,549,5.13,1.0699999999999999E-2,73.3,77.900000000000006,202.3,1660,69.599999999999994,null,null,0.23]
[66.5,436.1,141,7.57,"2009-02-04T12:18:30",70.5,436.1,14.1,757,5.07,1.49E-2,72.599999999999994,77.099999999999994,205.6,2314,70.5,null,null,0.23]
[67,434.4,144,8.33,"2009-02-04T12:19:00",70.099999999999994,434.4,14.4,833,4.88,1.7100000000000001E-2,71.8,76.3,217.8,2647,70.099999999999994,null,null,0.23]
[67.5,436.7,144,10.5,"2009-02-04T12:19:30",69.400000000000006,436.7,14.4,1050,4.8499999999999996,2.1600000000000001E-2,71.3,75.7,219.5,3355,69.400000000000006,null,null,0.22]
[68,429.1,148,12.55,"2009-02-04T12:20:00",69.5,429.1,14.8,1255,4.57,2.7400000000000001E-2,70.3,74.599999999999994,238.8,4253,69.5,null,null,0.23]
[68.5,431.3,149,13.7,"2009-02-04T12:20:30",70.099999999999994,431.3,14.9,1370,4.51,3.04E-2,69.7,74.099999999999994,243.6,4707,70.099999999999994,null,null,0.23]
[69,423.2,151,13.17,"2009-02-04T12:21:00",69.3,423.2,15.1,1317,4.3499999999999996,3.0300000000000001E-2,69.400000000000006,73.7,256.60000000000002,4697,69.3,null,null,0.22]
[69.5,423,151,9.0299999999999994,"2009-02-04T12:21:30",69.599999999999994,423,15.1,903,4.34,2.0799999999999999E-2,69.900000000000006,74.2,256.89999999999998,3223,69.599999999999994,null,null,0.22]
[70,432.1,152,8.9,"2009-02-04T12:22:00",69.5,432.1,15.2,890,4.25,2.0899999999999998E-2,68.8,73.099999999999994,264.7,3246,69.5,null,null,0.22]
[70.5,412.7,160,9.33,"2009-02-04T12:22:30",70.2,412.7,16,933,3.67,2.5399999999999999E-2,66.5,70.599999999999994,321.8,3936,70.2,null,null,0.22]
[71,407.7,170,4.29,"2009-02-04T12:23:00",69.7,407.7,17,429,2.96,1.4500000000000001E-2,61.5,65.3,424,2248,69.7,null,null,0.22]
[71.5,411.4,162,5.18,"2009-02-04T12:23:30",69,411.4,16.2,518,3.51,1.4800000000000001E-2,65.900000000000006,70,341.4,2287,69,null,null,0.22]
[72,411.4,160,6.05,"2009-02-04T12:24:00",68.5,411.4,16,605,3.68,1.6400000000000001E-2,67,71.2,320.60000000000002,2545,68.5,null,null,0.21]
[72.5,418.1,159,6.33,"2009-02-04T12:24:30",69.400000000000006,418.1,15.9,633,3.78,1.6799999999999999E-2,67.2,71.3,310.5,2598,69.400000000000006,null,null,0.21]