{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":283,"n_cols":19,"rows_kept":283,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":356.24771784232377},{"$f":"AVERAGE(Oxy)","v":14.19585062240664},{"$f":"AVERAGE(CO)","v":1350.9751037344399}]
[0,{"$f":"FT","v":115.2},{"$f":"Oxy*10","v":208},{"$f":"CO/100","v":2.38},"2009-02-05T10:27:03",58.9,115.2,20.8,238,null,null,null,null,null,null,58.9,null,null,0.33]
[0.5,144.5,194,3.85,"2009-02-05T10:27:33",59.1,144.5,19.399999999999999,385,1.18,3.2599999999999997E-2,72.5,77,1212.9000000000001,5055,59.1,null,null,0.28999999999999998]
[1,145.9,187,2.67,"2009-02-05T10:28:03",58.9,145.9,18.7,267,1.72,1.55E-2,79.099999999999994,84,801.3,2407,58.9,null,null,0.25]
[1.5,147.30000000000001,193,2.61,"2009-02-05T10:28:33",58.9,147.30000000000001,19.3,261,1.25,2.0899999999999998E-2,73.400000000000006,78,1143.5,3245,58.9,null,null,0.23]
[2,140.30000000000001,197,1.87,"2009-02-05T10:29:03",59.2,140.30000000000001,19.7,187,0.95,1.9699999999999999E-2,69.599999999999994,73.900000000000006,1533.6,3055,59.2,null,null,0.21]
[2.5,137.4,201,2.61,"2009-02-05T10:29:33",59.5,137.4,20.100000000000001,261,null,null,null,null,null,null,59.5,null,null,0.2]
[3,138.69999999999999,200,2.88,"2009-02-05T10:30:03",59.5,138.69999999999999,20,288,null,null,null,null,null,null,59.5,null,null,0.2]
[3.5,145.30000000000001,197,2.89,"2009-02-05T10:30:33",59.3,145.30000000000001,19.7,289,0.98,2.9499999999999998E-2,68.5,72.8,1481.9,4572,59.3,null,null,0.19]
[4,149.4,196,2.6,"2009-02-05T10:31:03",59.7,149.4,19.600000000000001,260,1.06,2.4500000000000001E-2,69.7,74,1358.9,3793,59.7,null,null,0.15]
[4.5,148.1,195,2,"2009-02-05T10:31:33",59.8,148.1,19.5,200,1.08,1.8499999999999999E-2,70.7,75.099999999999994,1334.6,2869,59.8,null,null,0.12]
[5,160.1,194,1.89,"2009-02-05T10:32:03",58.3,160.1,19.399999999999999,189,1.18,1.6E-2,69.599999999999994,73.900000000000006,1211.0999999999999,2478,58.3,null,null,0.1]
[5.5,152.30000000000001,192,1.43,"2009-02-05T10:32:33",50.6,152.30000000000001,19.2,143,1.31,1.0999999999999999E-2,72,76.5,1086.9000000000001,1697,50.6,null,null,0.45]
[6,150.4,186,1.44,"2009-02-05T10:33:03",54.5,150.4,18.600000000000001,144,1.8,8.0000000000000002E-3,78.8,83.7,761.4,1240,54.5,null,null,0.45]
[6.5,149.80000000000001,183,1.58,"2009-02-05T10:33:33",56.5,149.80000000000001,18.3,158,1.99,7.9000000000000008E-3,80.5,85.5,677.5,1228,56.5,null,null,0.41]
[7,160.4,184,2.11,"2009-02-05T10:34:03",57.6,160.4,18.399999999999999,211,1.94,1.09E-2,78.7,83.6,698.3,1684,57.6,null,null,0.39]
[7.5,150.5,189,2.46,"2009-02-05T10:34:33",57.4,150.5,18.899999999999999,246,1.58,1.5599999999999999E-2,76.900000000000006,81.599999999999994,881.8,2415,57.4,null,null,0.37]
[8,150.80000000000001,186,3.2,"2009-02-05T10:35:03",57.8,150.80000000000001,18.600000000000001,320,1.75,1.83E-2,78.3,83.1,786.2,2836,57.8,null,null,0.35]
[8.5,157.5,183,3.56,"2009-02-05T10:35:33",58.4,157.5,18.3,356,2.0299999999999998,1.7600000000000001E-2,79.400000000000006,84.4,664.5,2722,58.4,null,null,0.33]
[9,166.6,172,3.06,"2009-02-05T10:36:03",58.9,166.6,17.2,306,2.81,1.09E-2,82.6,87.7,450.9,1686,58.9,null,null,0.31]
[9.5,165,167,3.56,"2009-02-05T10:36:33",59.3,165,16.7,356,3.14,1.1299999999999999E-2,83.8,89,393,1755,59.3,null,null,0.3]
[10,167.8,168,4.17,"2009-02-05T10:37:03",59.7,167.8,16.8,417,3.11,1.34E-2,83.4,88.6,397.7,2076,59.7,null,null,0.28999999999999998]
[10.5,177.4,163,5.0999999999999996,"2009-02-05T10:37:33",60,177.4,16.3,510,3.44,1.4800000000000001E-2,83.5,88.7,350,2295,60,null,null,0.31]
[11,177.9,159,9.0500000000000007,"2009-02-05T10:38:03",60.5,177.9,15.9,905,3.74,2.4199999999999999E-2,83.7,88.9,314.5,3751,60.5,null,null,0.33]
[11.5,184.7,157,10.050000000000001,"2009-02-05T10:38:33",60.6,184.7,15.7,1005,3.88,2.5899999999999999E-2,83.5,88.6,299.5,4015,60.6,null,null,0.28000000000000003]
[12,189.1,157,13.91,"2009-02-05T10:39:03",60.9,189.1,15.7,1391,3.94,3.5299999999999998E-2,82.8,88,293.60000000000002,5475,60.9,null,null,0.27]
[12.5,194,154,14.7,"2009-02-05T10:39:33",60.9,194,15.4,1470,4.17,3.5299999999999998E-2,83,88.1,272,5468,60.9,null,null,0.24]
[13,206.6,134,6.89,"2009-02-05T10:40:03",61.3,206.6,13.4,689,5.61,1.23E-2,85.7,91,176.1,1902,61.3,null,null,0.22]
[13.5,211.2,128,7.52,"2009-02-05T10:40:33",61.4,211.2,12.8,752,6.06,1.24E-2,86,91.4,155.80000000000001,1924,61.4,null,null,0.2]
[14,217.6,120,8.56,"2009-02-05T10:41:03",61.5,217.6,12,856,6.64,1.29E-2,86.3,91.6,133.6,2000,61.5,null,null,0.2]
[14.5,223.6,117,15.08,"2009-02-05T10:41:33",61.8,223.6,11.7,1508,6.88,2.1899999999999999E-2,85.8,91.1,125.4,3399,61.8,null,null,0.2]
[15,227.2,115,22.13,"2009-02-05T10:42:03",62,227.2,11.5,2213,7.02,3.15E-2,85.3,90.6,120.9,4889,62,null,null,0.19]
[15.5,237.9,110,42.75,"2009-02-05T10:42:33",62,237.9,11,4275,7.35,5.8200000000000002E-2,83.9,89.1,110.9,9016,62,null,null,0.17]
[16,230.9,111,35.28,"2009-02-05T10:43:03",62.3,230.9,11.1,3528,7.29,4.8399999999999999E-2,84.6,89.8,112.5,7498,62.3,null,null,0.15]
[16.5,233.8,111,30.95,"2009-02-05T10:43:33",62.5,233.8,11.1,3095,7.31,4.24E-2,84.8,90,112.1,6565,62.5,null,null,0.14000000000000001]
[17,236.2,105,34.799999999999997,"2009-02-05T10:44:03",62.6,236.2,10.5,3480,7.77,4.48E-2,85,90.2,99.6,6946,62.6,null,null,0.19]
[17.5,247.4,103,41.01,"2009-02-05T10:44:33",62.5,247.4,10.3,4101,7.93,5.1700000000000003E-2,84.3,89.5,95.5,8017,62.5,null,null,0.14000000000000001]
[18,246.8,100,36.36,"2009-02-05T10:45:03",62.5,246.8,10,3636,8.09,4.4900000000000002E-2,84.8,90.1,91.5,6964,62.5,null,null,0.11]
[18.5,253.3,97,38.29,"2009-02-05T10:45:33",62.8,253.3,9.6999999999999993,3829,8.32,4.5999999999999999E-2,84.7,89.9,86.3,7132,62.8,null,null,0.4]
[19,254.6,95,45.01,"2009-02-05T10:46:03",62.8,254.6,9.5,4501,8.48,5.3100000000000001E-2,84.4,89.7,82.8,8227,62.8,null,null,0.31]
[19.5,254.1,96,48.7,"2009-02-05T10:46:33",63.1,254.1,9.6,4870,8.3800000000000008,5.8099999999999999E-2,84.1,89.4,84.9,9007,63.1,null,null,0.26]
[20,260.39999999999998,96,70,"2009-02-05T10:47:03",63.1,260.39999999999998,9.6,7000,8.41,8.3199999999999996E-2,82.8,87.9,84.3,12899,63.1,null,null,0.24]
[20.5,253.1,81,70,"2009-02-05T10:47:33",63.2,253.1,8.1,7000,9.51,7.3599999999999999E-2,84.2,89.4,63,11410,63.2,null,null,0.18]
[21,253.9,90,50,"2009-02-05T10:48:03",63.4,253.9,9,5000,8.89,5.62E-2,84.6,89.8,74.400000000000006,8718,63.4,null,null,0.11]
[21.5,254.1,96,24.8,"2009-02-05T10:48:33",63.5,254.1,9.6,2480,8.42,2.9399999999999999E-2,85.6,90.9,84,4564,63.5,null,null,0.04]
[22,262.3,95,24.37,"2009-02-05T10:49:03",63.7,262.3,9.5,2437,8.51,2.86E-2,85.4,90.7,82.1,4437,63.7,null,null,0.05]
[22.5,260.5,99,21.94,"2009-02-05T10:49:33",63.7,260.5,9.9,2194,8.16,2.69E-2,85.3,90.6,89.8,4165,63.7,null,null,0.03]
[23,261.2,101,20.149999999999999,"2009-02-05T10:50:03",64.3,261.2,10.1,2015,8.0399999999999991,2.5100000000000001E-2,85.3,90.6,92.8,3885,64.3,null,null,0.05]
[23.5,264.3,101,19.86,"2009-02-05T10:50:33",64.5,264.3,10.1,1986,8.08,2.46E-2,85.3,90.5,91.8,3809,64.5,null,null,0.02]
[24,277.2,99,22.81,"2009-02-05T10:51:03",64.7,277.2,9.9,2281,8.19,2.7799999999999998E-2,84.7,90,89.2,4317,64.7,null,null,0.01]
[24.5,295,107,17.079999999999998,"2009-02-05T10:51:33",63,295,10.7,1708,7.59,2.2499999999999999E-2,83.7,88.9,104.3,3489,63,null,null,0.01]
[25,305.3,92,32.82,"2009-02-05T10:52:03",62.3,305.3,9.1999999999999993,3282,8.74,3.7600000000000001E-2,83.6,88.8,77.400000000000006,5823,62.3,null,null,0.4]
[25.5,311.2,96,22.15,"2009-02-05T10:52:33",62.4,311.2,9.6,2215,8.41,2.63E-2,83.7,88.9,84.2,4080,62.4,null,null,0.1]
[26,327.2,89,21.5,"2009-02-05T10:53:03",60.8,327.2,8.9,2150,8.91,2.41E-2,83.7,88.9,73.900000000000006,3740,60.8,null,null,0.09]
[26.5,322.39999999999998,92,10.38,"2009-02-05T10:53:33",59.7,322.39999999999998,9.1999999999999993,1038,8.74,1.1900000000000001E-2,84.3,89.5,77.3,1840,59.7,null,null,0.1]
[27,328.1,88,12.44,"2009-02-05T10:54:03",61,328.1,8.8000000000000007,1244,8.99,1.38E-2,84.3,89.5,72.3,2144,61,null,null,0.37]
[27.5,326.8,90,14.62,"2009-02-05T10:54:33",61.6,326.8,9,1462,8.83,1.6500000000000001E-2,84,89.3,75.400000000000006,2565,61.6,null,null,0.32]
[28,329,93,11.94,"2009-02-05T10:55:03",61.8,329,9.3000000000000007,1194,8.6199999999999992,1.3899999999999999E-2,83.9,89.1,79.900000000000006,2148,61.8,null,null,0.34]
[28.5,337,95,10.74,"2009-02-05T10:55:33",61,337,9.5,1074,8.4700000000000006,1.2699999999999999E-2,83.5,88.7,82.9,1965,61,null,null,0.42]
[29,340.5,96,10.11,"2009-02-05T10:56:03",62,340.5,9.6,1011,8.4,1.2E-2,83.4,88.6,84.6,1866,62,null,null,0.39]
[29.5,337.7,94,9.6300000000000008,"2009-02-05T10:56:33",62.6,337.7,9.4,963,8.5500000000000007,1.1299999999999999E-2,83.7,88.9,81.400000000000006,1746,62.6,null,null,0.4]
[30,343.8,94,9.02,"2009-02-05T10:57:03",62.6,343.8,9.4,902,8.5500000000000007,1.0500000000000001E-2,83.5,88.7,81.2,1635,62.6,null,null,0.39]
[30.5,344.9,92,37.340000000000003,"2009-02-05T10:57:33",62.6,344.9,9.1999999999999993,3734,8.68,4.2999999999999997E-2,82,87.1,78.5,6666,62.6,null,null,0.38]
[31,355.9,88,150,"2009-02-05T10:58:03",62.7,355.9,8.8000000000000007,15000,9,0.1666,76.599999999999994,81.3,72.2,25827,62.7,null,null,0.37]
[31.5,361.6,87,55,"2009-02-05T10:58:33",62,361.6,8.6999999999999993,5500,9.1,6.0400000000000002E-2,81,86,70.2,9363,62,null,null,0.37]
[32,{"$f":"FT","v":367.8},{"$f":"Oxy*10","v":87},{"$f":"CO/100","v":55},"2009-02-05T10:59:03",61.7,367.8,8.6999999999999993,5500,9.07,6.0600000000000001E-2,80.8,85.8,70.900000000000006,9398,61.7,null,null,0.52]
[32.5,360.4,89,65,"2009-02-05T10:59:33",62,360.4,8.9,6500,8.9600000000000009,7.2499999999999995E-2,80.3,85.3,73,11243,62,null,null,0.51]
[33,368.9,88,60,"2009-02-05T11:00:03",62.5,368.9,8.8000000000000007,6000,8.99,6.6799999999999998E-2,80.400000000000006,85.4,72.5,10348,62.5,null,null,0.54]
[33.5,371.2,89,55,"2009-02-05T11:00:33",62.9,371.2,8.9,5500,8.92,6.1699999999999998E-2,80.5,85.5,73.8,9561,62.9,null,null,0.54]
[34,365.4,86,55,"2009-02-05T11:01:03",62,365.4,8.6,5500,9.16,0.06,81,86,69.2,9307,62,null,null,0.53]
[34.5,370.8,91,50,"2009-02-05T11:01:33",63.3,370.8,9.1,5000,8.82,5.67E-2,80.599999999999994,85.6,75.8,8788,63.3,null,null,0.52]
[35,367.2,88,50,"2009-02-05T11:02:03",63.3,367.2,8.8000000000000007,5000,9.02,5.5500000000000001E-2,81,86,71.900000000000006,8595,63.3,null,null,0.51]
[35.5,368.3,91,10.32,"2009-02-05T11:02:33",63.6,368.3,9.1,1032,8.82,1.17E-2,83,88.1,75.8,1814,63.6,null,null,0.51]
[36,380.8,91,22.81,"2009-02-05T11:03:03",63.6,380.8,9.1,2281,8.81,2.5899999999999999E-2,81.8,86.9,76,4014,63.6,null,null,0.5]
[36.5,378.3,95,17.690000000000001,"2009-02-05T11:03:33",64.2,378.3,9.5,1769,8.49,2.0799999999999999E-2,81.8,86.9,82.7,3231,64.2,null,null,0.5]
[37,381.1,96,14.25,"2009-02-05T11:04:03",64.400000000000006,381.1,9.6,1425,8.41,1.7000000000000001E-2,81.8,86.9,84.4,2628,64.400000000000006,null,null,0.5]
[37.5,384,99,7.22,"2009-02-05T11:04:33",64.2,384,9.9,722,8.18,8.8000000000000005E-3,81.900000000000006,86.9,89.6,1369,64.2,null,null,0.5]
[38,385.6,101,4.41,"2009-02-05T11:05:03",63.5,385.6,10.1,441,8.0399999999999991,5.4999999999999997E-3,81.8,86.8,92.8,850,63.5,null,null,0.49]
[38.5,380.6,101,2.97,"2009-02-05T11:05:33",64,380.6,10.1,297,8.0299999999999994,3.7000000000000002E-3,82.1,87.1,92.9,573,64,null,null,0.49]
[39,388.5,104,2.16,"2009-02-05T11:06:03",63.8,388.5,10.4,216,7.79,2.8E-3,81.5,86.5,99,430,63.8,null,null,0.49]
[39.5,392.7,104,1.93,"2009-02-05T11:06:33",63.7,392.7,10.4,193,7.8,2.5000000000000001E-3,81.3,86.4,98.8,384,63.7,null,null,0.49]
[40,392.5,105,1.55,"2009-02-05T11:07:03",63.5,392.5,10.5,155,7.75,2E-3,81.3,86.3,100.1,310,63.5,null,null,0.49]
[40.5,386.5,106,1.61,"2009-02-05T11:07:33",63.6,386.5,10.6,161,7.71,2.0999999999999999E-3,81.5,86.5,101.1,324,63.6,null,null,0.49]
[41,388.9,108,1.54,"2009-02-05T11:08:03",63.9,388.9,10.8,154,7.52,2E-3,81.099999999999994,86.1,106.3,318,63.9,null,null,0.49]
[41.5,387.3,111,1.31,"2009-02-05T11:08:33",63.9,387.3,11.1,131,7.31,1.8E-3,80.900000000000006,85.9,111.9,278,63.9,null,null,0.49]
[42,395.1,113,1.24,"2009-02-05T11:09:03",64.400000000000006,395.1,11.3,124,7.15,1.6999999999999999E-3,80.3,85.3,116.7,269,64.400000000000006,null,null,0.45]
[42.5,395,113,1.28,"2009-02-05T11:09:33",65.599999999999994,395,11.3,128,7.18,1.8E-3,80.400000000000006,85.4,115.9,276,65.599999999999994,null,null,0.46]
[43,387.5,114,1.41,"2009-02-05T11:10:03",65.599999999999994,387.5,11.4,141,7.08,2E-3,80.5,85.5,119.1,309,65.599999999999994,null,null,0.46]
[43.5,397.1,116,1.52,"2009-02-05T11:10:33",66.599999999999994,397.1,11.6,152,6.97,2.2000000000000001E-3,80,84.9,122.3,338,66.599999999999994,null,null,0.46]
[44,390.6,116,1.53,"2009-02-05T11:11:03",66.900000000000006,390.6,11.6,153,6.94,2.2000000000000001E-3,80.2,85.2,123.4,342,66.900000000000006,null,null,0.46]
[44.5,390.4,119,1.62,"2009-02-05T11:11:33",66.7,390.4,11.9,162,6.72,2.3999999999999998E-3,79.8,84.7,130.6,374,66.7,null,null,0.46]
[45,395.5,119,1.61,"2009-02-05T11:12:03",67.2,395.5,11.9,161,6.69,2.3999999999999998E-3,79.5,84.5,131.69999999999999,373,67.2,null,null,0.46]
[45.5,404.5,119,1.61,"2009-02-05T11:12:33",67,404.5,11.9,161,6.69,2.3999999999999998E-3,79.099999999999994,84,131.6,373,67,null,null,0.46]
[46,397.7,119,1.7,"2009-02-05T11:13:03",66.599999999999994,397.7,11.9,170,6.69,2.5000000000000001E-3,79.400000000000006,84.3,131.6,394,66.599999999999994,null,null,0.45]
[46.5,397.7,119,1.66,"2009-02-05T11:13:33",64.599999999999994,397.7,11.9,166,6.68,2.5000000000000001E-3,79.3,84.2,131.9,385,64.599999999999994,null,null,0.45]
[47,409.3,120,1.54,"2009-02-05T11:14:03",65.099999999999994,409.3,12,154,6.61,2.3E-3,78.7,83.5,134.6,361,65.099999999999994,null,null,0.45]
[47.5,405.7,120,1.66,"2009-02-05T11:14:33",64.8,405.7,12,166,6.63,2.5000000000000001E-3,78.8,83.7,133.9,388,64.8,null,null,0.45]
[48,407.6,122,1.81,"2009-02-05T11:15:03",65.7,407.6,12.2,181,6.5,2.8E-3,78.5,83.4,138.6,432,65.7,null,null,0.45]
[48.5,408.7,122,1.84,"2009-02-05T11:15:33",65.099999999999994,408.7,12.2,184,6.46,2.8E-3,78.400000000000006,83.2,139.9,441,65.099999999999994,null,null,0.46]
[49,403.1,124,1.85,"2009-02-05T11:16:03",65.3,403.1,12.4,185,6.34,2.8999999999999998E-3,78.3,83.2,144.4,452,65.3,null,null,0.45]
[49.5,410.8,123,1.81,"2009-02-05T11:16:33",66.2,410.8,12.3,181,6.39,2.8E-3,78.2,83,142.6,439,66.2,null,null,0.45]
[50,405.5,125,1.75,"2009-02-05T11:17:03",66.8,405.5,12.5,175,6.29,2.8E-3,78.2,83,146.6,432,66.8,null,null,0.45]
[50.5,410.4,124,1.65,"2009-02-05T11:17:33",67,410.4,12.4,165,6.34,2.5999999999999999E-3,78.099999999999994,83,144.4,403,67,null,null,0.45]
[51,410,126,1.67,"2009-02-05T11:18:03",67.599999999999994,410,12.6,167,6.17,2.7000000000000001E-3,77.8,82.6,151.1,419,67.599999999999994,null,null,0.45]
[51.5,401.3,126,1.64,"2009-02-05T11:18:33",68.5,401.3,12.6,164,6.18,2.7000000000000001E-3,78.2,83.1,150.9,411,68.5,null,null,0.46]
[52,402.8,127,1.58,"2009-02-05T11:19:03",68.8,402.8,12.7,158,6.13,2.5999999999999999E-3,78.099999999999994,82.9,152.80000000000001,399,68.8,null,null,0.46]
[52.5,405.8,125,1.44,"2009-02-05T11:19:33",69,405.8,12.5,144,6.26,2.3E-3,78.2,83.1,147.80000000000001,357,69,null,null,0.46]
[53,414.9,124,1.27,"2009-02-05T11:20:03",68.099999999999994,414.9,12.4,127,6.37,2E-3,78.099999999999994,82.9,143.5,309,68.099999999999994,null,null,0.48]
[53.5,407.9,124,1.28,"2009-02-05T11:20:33",65.900000000000006,407.9,12.4,128,6.35,2E-3,78.2,83.1,144.19999999999999,313,65.900000000000006,null,null,0.45]
[54,405.4,126,1.32,"2009-02-05T11:21:03",66.099999999999994,405.4,12.6,132,6.23,2.0999999999999999E-3,78.099999999999994,82.9,148.6,328,66.099999999999994,null,null,0.43]
[54.5,409,126,1.45,"2009-02-05T11:21:33",67.3,409,12.6,145,6.18,2.3E-3,77.8,82.7,150.6,363,67.3,null,null,0.42]
[55,415.8,126,1.57,"2009-02-05T11:22:03",68.2,415.8,12.6,157,6.2,2.5000000000000001E-3,77.599999999999994,82.4,150,392,68.2,null,null,0.42]
[55.5,414.2,128,1.48,"2009-02-05T11:22:33",69.400000000000006,414.2,12.8,148,6.02,2.5000000000000001E-3,77.3,82.1,157.6,381,69.400000000000006,null,null,0.42]
[56,411.7,130,1.82,"2009-02-05T11:23:03",69.099999999999994,411.7,13,182,5.9,3.0999999999999999E-3,77,81.8,162.80000000000001,478,69.099999999999994,null,null,0.42]
[56.5,414.8,130,1.89,"2009-02-05T11:23:33",69.900000000000006,414.8,13,189,5.89,3.2000000000000002E-3,76.900000000000006,81.7,163.4,498,69.900000000000006,null,null,0.42]
[57,403.7,132,1.9,"2009-02-05T11:24:03",69.3,403.7,13.2,190,5.73,3.3E-3,77,81.8,170.3,514,69.3,null,null,0.42]
[57.5,408.5,132,2.02,"2009-02-05T11:24:33",69.400000000000006,408.5,13.2,202,5.75,3.5000000000000001E-3,76.8,81.599999999999994,169.5,544,69.400000000000006,null,null,0.42]
[58,415.2,133,2.29,"2009-02-05T11:25:03",67.7,415.2,13.3,229,5.67,4.0000000000000001E-3,76.099999999999994,80.900000000000006,173.2,626,67.7,null,null,0.41]
[58.5,434.3,135,2.48,"2009-02-05T11:25:33",68.099999999999994,434.3,13.5,248,5.57,4.4999999999999997E-3,74.900000000000006,79.5,178.3,690,68.099999999999994,null,null,0.41]
[59,411.9,143,4.4400000000000004,"2009-02-05T11:26:03",70.400000000000006,411.9,14.3,444,4.95,8.9999999999999993E-3,73.8,78.400000000000006,213.4,1392,70.400000000000006,null,null,0.41]
[59.5,411.7,107,24.73,"2009-02-05T11:26:33",69.400000000000006,411.7,10.7,2473,7.59,3.2599999999999997E-2,79,83.9,104.3,5053,69.400000000000006,null,null,0.42]
[60,408.6,102,28.69,"2009-02-05T11:27:03",69,408.6,10.199999999999999,2869,7.96,3.61E-2,79.5,84.4,94.8,5589,69,null,null,0.41]
[60.5,407.4,101,19.649999999999999,"2009-02-05T11:27:33",68.900000000000006,407.4,10.1,1965,8.08,2.4299999999999999E-2,80.3,85.2,91.9,3770,68.900000000000006,null,null,0.41]
[61,413.5,103,17.670000000000002,"2009-02-05T11:28:03",69.5,413.5,10.3,1767,7.91,2.23E-2,79.900000000000006,84.9,95.9,3461,69.5,null,null,0.4]
[61.5,416.8,105,25.55,"2009-02-05T11:28:33",69.400000000000006,416.8,10.5,2555,7.77,3.2899999999999999E-2,79.099999999999994,84,99.5,5098,69.400000000000006,null,null,0.41]
[62,419,106,26.68,"2009-02-05T11:29:03",70.2,419,10.6,2668,7.71,3.4599999999999999E-2,78.8,83.7,101.1,5365,70.2,null,null,0.4]
[62.5,429.1,108,16.329999999999998,"2009-02-05T11:29:33",70.599999999999994,429.1,10.8,1633,7.51,2.1700000000000001E-2,78.8,83.7,106.4,3371,70.599999999999994,null,null,0.41]
[63,426.2,108,10.84,"2009-02-05T11:30:03",70.400000000000006,426.2,10.8,1084,7.52,1.44E-2,79.3,84.2,106,2234,70.400000000000006,null,null,0.41]
[63.5,421.3,112,8.76,"2009-02-05T11:30:33",71.5,421.3,11.2,876,7.27,1.21E-2,79.2,84.1,113.3,1868,71.5,null,null,0.41]
[64,{"$f":"FT","v":420.3},{"$f":"Oxy*10","v":111},{"$f":"CO/100","v":7.12},"2009-02-05T11:31:03",71.599999999999994,420.3,11.1,712,7.32,9.7000000000000003E-3,79.5,84.4,111.6,1507,71.599999999999994,null,null,0.41]
[64.5,434.4,112,6.83,"2009-02-05T11:31:33",71.7,434.4,11.2,683,7.21,9.4999999999999998E-3,78.7,83.6,114.9,1468,71.7,null,null,0.41]
[65,426.2,110,5.39,"2009-02-05T11:32:03",72.2,426.2,11,539,7.35,7.3000000000000001E-3,79.400000000000006,84.4,110.9,1137,72.2,null,null,0.41]
[65.5,432.6,114,2.96,"2009-02-05T11:32:33",71.8,432.6,11.4,296,7.1,4.1999999999999997E-3,78.900000000000006,83.8,118.4,646,71.8,null,null,0.41]
[66,420.6,115,1.85,"2009-02-05T11:33:03",71.8,420.6,11.5,185,7.01,2.5999999999999999E-3,79.3,84.2,121,409,71.8,null,null,0.41]
[66.5,434,117,1.54,"2009-02-05T11:33:33",72.599999999999994,434,11.7,154,6.9,2.2000000000000001E-3,78.599999999999994,83.4,124.7,346,72.599999999999994,null,null,0.41]
[67,429.8,117,1.71,"2009-02-05T11:34:03",72.3,429.8,11.7,171,6.83,2.5000000000000001E-3,78.599999999999994,83.4,126.9,388,72.3,null,null,0.42]
[67.5,441.3,119,1.99,"2009-02-05T11:34:33",68.599999999999994,441.3,11.9,199,6.74,3.0000000000000001E-3,77.7,82.5,129.9,458,68.599999999999994,null,null,0.41]
[68,435.9,118,1.89,"2009-02-05T11:35:03",67.7,435.9,11.8,189,6.77,2.8E-3,78,82.8,129,433,67.7,null,null,0.41]
[68.5,432.2,120,1.3,"2009-02-05T11:35:33",67.8,432.2,12,130,6.64,2E-3,77.900000000000006,82.7,133.5,304,67.8,null,null,0.41]
[69,431.9,121,1.05,"2009-02-05T11:36:03",71.3,431.9,12.1,105,6.55,1.6000000000000001E-3,77.900000000000006,82.7,136.69999999999999,248,71.3,null,null,0.41]
[69.5,435.1,122,1.3,"2009-02-05T11:36:33",71.7,435.1,12.2,130,6.46,2E-3,77.599999999999994,82.4,139.80000000000001,312,71.7,null,null,0.41]
[70,431.5,127,0.99,"2009-02-05T11:37:03",72.8,431.5,12.7,99,6.14,1.6000000000000001E-3,77,81.8,152.5,250,72.8,null,null,0.41]
[70.5,435.2,127,1.2,"2009-02-05T11:37:33",70.3,435.2,12.7,120,6.12,2E-3,76.599999999999994,81.400000000000006,153.4,304,70.3,null,null,0.41]
[71,439.3,124,3.15,"2009-02-05T11:38:03",67.900000000000006,439.3,12.4,315,6.33,5.0000000000000001E-3,76.7,81.5,144.69999999999999,771,67.900000000000006,null,null,0.4]
[71.5,435.9,125,2.23,"2009-02-05T11:38:33",69.099999999999994,435.9,12.5,223,6.29,3.5000000000000001E-3,76.900000000000006,81.599999999999994,146.6,550,69.099999999999994,null,null,0.4]
[72,439.9,128,2.39,"2009-02-05T11:39:03",70.099999999999994,439.9,12.8,239,6.07,3.8999999999999998E-3,76.2,80.900000000000006,155.30000000000001,610,70.099999999999994,null,null,0.4]
[72.5,445,128,2.2400000000000002,"2009-02-05T11:39:33",70.2,445,12.8,224,6.02,3.7000000000000002E-3,75.8,80.5,157.69999999999999,577,70.2,null,null,0.4]
[73,447.4,131,2.27,"2009-02-05T11:40:03",69,447.4,13.1,227,5.81,3.8999999999999998E-3,75,79.7,166.6,605,69,null,null,0.4]
[73.5,442.7,133,3.05,"2009-02-05T11:40:33",68.3,442.7,13.3,305,5.71,5.3E-3,74.8,79.5,171.4,828,68.3,null,null,0.4]
[74,440.4,135,2.2000000000000002,"2009-02-05T11:41:03",70.599999999999994,440.4,13.5,220,5.52,4.0000000000000001E-3,74.599999999999994,79.2,180.8,618,70.599999999999994,null,null,0.39]
[74.5,439,137,2.5499999999999998,"2009-02-05T11:41:33",71.3,439,13.7,255,5.36,4.7999999999999996E-3,74.099999999999994,78.7,189,737,71.3,null,null,0.39]
[75,444.2,141,3.45,"2009-02-05T11:42:03",71.8,444.2,14.1,345,5.0999999999999996,6.7999999999999996E-3,72.8,77.3,203.8,1048,71.8,null,null,0.4]
[75.5,436.5,141,3.21,"2009-02-05T11:42:33",71.8,436.5,14.1,321,5.08,6.3E-3,73.2,77.7,204.9,979,71.8,null,null,0.4]
[76,436.4,143,5.0199999999999996,"2009-02-05T11:43:03",71.599999999999994,436.4,14.3,502,4.96,1.01E-2,72.5,77,212.5,1569,71.599999999999994,null,null,0.39]
[76.5,435.7,143,4.75,"2009-02-05T11:43:33",71.900000000000006,435.7,14.3,475,4.91,9.7000000000000003E-3,72.400000000000006,76.900000000000006,215.5,1499,71.900000000000006,null,null,0.39]
[77,442,145,5.14,"2009-02-05T11:44:03",68.400000000000006,442,14.5,514,4.82,1.0699999999999999E-2,71.400000000000006,75.8,221.6,1653,68.400000000000006,null,null,0.39]
[77.5,440.5,144,5.5,"2009-02-05T11:44:33",69,440.5,14.4,550,4.88,1.1299999999999999E-2,71.7,76.2,217.6,1747,69,null,null,0.39]
[78,430.2,145,6,"2009-02-05T11:45:03",68.8,430.2,14.5,600,4.8099999999999996,1.2500000000000001E-2,72,76.400000000000006,222.2,1933,68.8,null,null,0.39]
[78.5,428.8,147,7.25,"2009-02-05T11:45:33",67.599999999999994,428.8,14.7,725,4.67,1.55E-2,71.2,75.599999999999994,232.1,2408,67.599999999999994,null,null,0.39]
[79,430.4,148,8.33,"2009-02-05T11:46:03",69,430.4,14.8,833,4.5599999999999996,1.83E-2,70.599999999999994,74.900000000000006,239.7,2830,69,null,null,0.39]
[79.5,423.4,151,7.56,"2009-02-05T11:46:33",71.099999999999994,423.4,15.1,756,4.33,1.7500000000000002E-2,70.099999999999994,74.400000000000006,258.10000000000002,2708,71.099999999999994,null,null,0.39]
[80,417.2,167,6.93,"2009-02-05T11:47:03",72.2,417.2,16.7,693,3.16,2.1899999999999999E-2,62.5,66.3,390.4,3398,72.2,null,null,0.38]
[80.5,401.8,158,3.42,"2009-02-05T11:47:33",72.400000000000006,401.8,15.8,342,3.84,8.8999999999999999E-3,69.400000000000006,73.7,303.2,1379,72.400000000000006,null,null,0.38]
[81,411.2,152,2.9,"2009-02-05T11:48:03",68.900000000000006,411.2,15.2,290,4.26,6.7999999999999996E-3,70.900000000000006,75.3,263.8,1055,68.900000000000006,null,null,0.38]
[81.5,411.3,150,2.91,"2009-02-05T11:48:33",66.5,411.3,15,291,4.42,6.6E-3,71.599999999999994,76,250.3,1019,66.5,null,null,0.39]
[82,420.2,150,3.43,"2009-02-05T11:49:03",71.3,420.2,15,343,4.4400000000000004,7.7000000000000002E-3,71.3,75.7,249.3,1198,71.3,null,null,0.39]
[82.5,415.5,148,4.2300000000000004,"2009-02-05T11:49:33",72.3,415.5,14.8,423,4.57,9.1999999999999998E-3,72.2,76.7,238.9,1434,72.3,null,null,0.38]
[83,420.5,148,4.8899999999999997,"2009-02-05T11:50:03",72.7,420.5,14.8,489,4.55,1.0699999999999999E-2,71.8,76.2,240.3,1664,72.7,null,null,0.38]
[83.5,417.4,148,5.43,"2009-02-05T11:50:33",73,417.4,14.8,543,4.5999999999999996,1.18E-2,72.099999999999994,76.599999999999994,236.8,1829,73,null,null,0.38]
[84,421.8,150,5.25,"2009-02-05T11:51:03",67.900000000000006,421.8,15,525,4.45,1.18E-2,70.8,75.2,248.1,1828,67.900000000000006,null,null,0.38]
[84.5,424.1,150,7.19,"2009-02-05T11:51:33",70.5,424.1,15,719,4.41,1.6299999999999999E-2,70.400000000000006,74.8,251.7,2528,70.5,null,null,0.38]
[85,416.9,153,7.9,"2009-02-05T11:52:03",70.599999999999994,416.9,15.3,790,4.2,1.8800000000000001E-2,69.7,74,269.3,2917,70.599999999999994,null,null,0.38]
[85.5,416.8,154,9.06,"2009-02-05T11:52:33",69.8,416.8,15.4,906,4.16,2.18E-2,69.3,73.599999999999994,272.60000000000002,3375,69.8,null,null,0.38]
[86,429.7,155,7.42,"2009-02-05T11:53:03",72.099999999999994,429.7,15.5,742,4.0599999999999996,1.83E-2,68.2,72.400000000000006,282.10000000000002,2835,72.099999999999994,null,null,0.38]
[86.5,415.9,157,9.5299999999999994,"2009-02-05T11:53:33",72.5,415.9,15.7,953,3.93,2.4299999999999999E-2,68.099999999999994,72.3,294.60000000000002,3761,72.5,null,null,0.38]
[87,419.8,157,10.34,"2009-02-05T11:54:03",69.5,419.8,15.7,1034,3.93,2.63E-2,67.599999999999994,71.8,294,4074,69.5,null,null,0.37]
[87.5,414.5,160,12.59,"2009-02-05T11:54:33",71.900000000000006,414.5,16,1259,3.7,3.4000000000000002E-2,66.3,70.400000000000006,319,5275,71.900000000000006,null,null,0.37]
[88,425.2,159,15.71,"2009-02-05T11:55:03",73.099999999999994,425.2,15.9,1571,3.73,4.2099999999999999E-2,65.400000000000006,69.400000000000006,315.10000000000002,6520,73.099999999999994,null,null,0.38]
[88.5,435.2,160,16.760000000000002,"2009-02-05T11:55:33",72.5,435.2,16,1676,3.67,4.5600000000000002E-2,64,68,322,7073,72.5,null,null,0.38]
[89,423,163,17.739999999999998,"2009-02-05T11:56:03",74.599999999999994,423,16.3,1774,3.47,5.11E-2,63.3,67.3,346.7,7924,74.599999999999994,null,null,0.38]
[89.5,424.3,163,16.809999999999999,"2009-02-05T11:56:33",73,424.3,16.3,1681,3.47,4.8399999999999999E-2,63.3,67.2,346.2,7500,73,null,null,0.38]
[90,419.9,163,13.99,"2009-02-05T11:57:03",70.5,419.9,16.3,1399,3.47,4.0300000000000002E-2,63.8,67.8,346.1,6242,70.5,null,null,0.38]
[90.5,427.6,164,14.89,"2009-02-05T11:57:33",68.7,427.6,16.399999999999999,1489,3.37,4.4200000000000003E-2,62,65.8,360.5,6857,68.7,null,null,0.37]
[91,402.9,166,14.63,"2009-02-05T11:58:03",65.5,402.9,16.600000000000001,1463,3.22,4.5400000000000003E-2,62.5,66.3,381.4,7042,65.5,null,null,0.38]
[91.5,413.6,167,13.58,"2009-02-05T11:58:33",65.900000000000006,413.6,16.7,1358,3.2,4.24E-2,61.6,65.400000000000006,383.6,6568,65.900000000000006,null,null,0.37]
[92,410.5,167,13.37,"2009-02-05T11:59:03",68.599999999999994,410.5,16.7,1337,3.15,4.2500000000000003E-2,61.6,65.400000000000006,392.7,6587,68.599999999999994,null,null,0.37]
[92.5,419.5,169,15.6,"2009-02-05T11:59:33",69,419.5,16.899999999999999,1560,3.03,5.1400000000000001E-2,59.3,62.9,411,7972,69,null,null,0.37]
[93,418.2,171,16.77,"2009-02-05T12:00:03",70.3,418.2,17.100000000000001,1677,2.87,5.8299999999999998E-2,57.5,61,439.2,9043,70.3,null,null,0.37]
[93.5,409.5,172,16.98,"2009-02-05T12:00:33",70,409.5,17.2,1698,2.81,6.0400000000000002E-2,57.5,61,451.1,9358,70,null,null,0.37]
[94,405.6,173,18.68,"2009-02-05T12:01:03",69.400000000000006,405.6,17.3,1868,2.72,6.8699999999999997E-2,56.3,59.8,470.4,10655,69.400000000000006,null,null,0.37]
[94.5,415.1,174,18.68,"2009-02-05T12:01:33",69.900000000000006,415.1,17.399999999999999,1868,2.63,7.0900000000000005E-2,54.2,57.6,488.4,10992,69.900000000000006,null,null,0.36]
[95,396.9,175,20.309999999999999,"2009-02-05T12:02:03",68.900000000000006,396.9,17.5,2031,2.56,7.9200000000000007E-2,54.7,58.1,504.5,12278,68.900000000000006,null,null,0.36]
[95.5,395.3,176,22.1,"2009-02-05T12:02:33",68.7,395.3,17.600000000000001,2210,2.5,8.8400000000000006E-2,53.6,56.9,519.70000000000005,13695,68.7,null,null,0.37]
[96,{"$f":"FT","v":398.7},{"$f":"Oxy*10","v":177},{"$f":"CO/100","v":21.9},"2009-02-05T12:03:03",70.099999999999994,398.7,17.7,2190,2.44,8.9599999999999999E-2,52.5,55.8,534.20000000000005,13888,70.099999999999994,null,null,0.36]
[96.5,398.5,178,21.86,"2009-02-05T12:03:33",70.3,398.5,17.8,2186,2.38,9.1899999999999996E-2,51.5,54.7,551.4,14241,70.3,null,null,0.37]
[97,402.8,178,22.27,"2009-02-05T12:04:03",69.2,402.8,17.8,2227,2.35,9.4700000000000006E-2,50.3,53.4,559.4,14686,69.2,null,null,0.37]
[97.5,398.3,179,21.57,"2009-02-05T12:04:33",69.099999999999994,398.3,17.899999999999999,2157,2.2799999999999998,9.4600000000000004E-2,49.6,52.7,580,14667,69.099999999999994,null,null,0.36]
[98,406.3,181,21.47,"2009-02-05T12:05:03",69,406.3,18.100000000000001,2147,2.17,9.8900000000000002E-2,46.5,49.4,613.79999999999995,15326,69,null,null,0.37]
[98.5,386.2,181,23,"2009-02-05T12:05:33",69.099999999999994,386.2,18.100000000000001,2300,2.12,0.1086,47.6,50.6,632.1,16837,69.099999999999994,null,null,0.37]
[99,400.2,182,23.83,"2009-02-05T12:06:03",71.400000000000006,400.2,18.2,2383,2.04,0.1166,44.3,47,658.3,18070,71.400000000000006,null,null,0.37]
[99.5,382.9,189,9.33,"2009-02-05T12:06:33",70.2,382.9,18.899999999999999,933,1.57,5.9299999999999999E-2,36.799999999999997,39.1,885.5,9195,70.2,null,null,0.37]
[100,389,181,7.88,"2009-02-05T12:07:03",69.2,389,18.100000000000001,788,2.17,3.6400000000000002E-2,51.5,54.7,615.4,5638,69.2,null,null,0.37]
[100.5,400.6,177,7.15,"2009-02-05T12:07:33",70.8,400.6,17.7,715,2.41,2.9600000000000001E-2,54.8,58.2,542,4590,70.8,null,null,0.37]
[101,392,176,8.24,"2009-02-05T12:08:03",71.8,392,17.600000000000001,824,2.5299999999999998,3.2599999999999997E-2,57.3,60.8,513.79999999999995,5058,71.8,null,null,0.37]
[101.5,394.4,176,9.31,"2009-02-05T12:08:33",69.599999999999994,394.4,17.600000000000001,931,2.5099999999999998,3.7199999999999997E-2,56.3,59.8,518.6,5760,69.599999999999994,null,null,0.37]
[102,398.2,176,9.7200000000000006,"2009-02-05T12:09:03",64.900000000000006,398.2,17.600000000000001,972,2.4900000000000002,3.9E-2,55,58.4,522.29999999999995,6049,64.900000000000006,null,null,0.37]
[102.5,401.4,177,10.31,"2009-02-05T12:09:33",48.4,401.4,17.7,1031,2.46,4.2000000000000003E-2,52.2,55.4,530.9,6504,48.4,null,null,0.37]
[103,402.5,178,11.21,"2009-02-05T12:10:03",62.1,402.5,17.8,1121,2.37,4.7199999999999999E-2,52.1,55.3,553,7321,62.1,null,null,0.37]
[103.5,396.9,179,12.31,"2009-02-05T12:10:33",63.8,396.9,17.899999999999999,1231,2.2799999999999998,5.3999999999999999E-2,51,54.2,579.79999999999995,8369,63.8,null,null,0.37]
[104,398.5,180,14.12,"2009-02-05T12:11:03",66.900000000000006,398.5,18,1412,2.2200000000000002,6.3500000000000001E-2,49.8,52.8,597.5,9849,66.900000000000006,null,null,0.38]
[104.5,385.8,182,16.23,"2009-02-05T12:11:33",69.099999999999994,385.8,18.2,1623,2.06,7.8799999999999995E-2,47.9,50.8,652.5,12213,69.099999999999994,null,null,0.38]
[105,391.1,183,16.46,"2009-02-05T12:12:03",69.599999999999994,391.1,18.3,1646,2.02,8.14E-2,46.4,49.2,666.4,12615,69.599999999999994,null,null,0.38]
[105.5,385.5,183,15.38,"2009-02-05T12:12:33",69.8,385.5,18.3,1538,2,7.6999999999999999E-2,46.8,49.7,676.3,11939,69.8,null,null,0.38]
[106,391.8,184,15.77,"2009-02-05T12:13:03",71,391.8,18.399999999999999,1577,1.93,8.1600000000000006E-2,44.5,47.2,702,12647,71,null,null,0.38]
[106.5,390.3,184,16.329999999999998,"2009-02-05T12:13:33",70.599999999999994,390.3,18.399999999999999,1633,1.9,8.6199999999999999E-2,43.6,46.2,717.8,13355,70.599999999999994,null,null,0.38]
[107,387.3,186,17.21,"2009-02-05T12:14:03",71.099999999999994,387.3,18.600000000000001,1721,1.8,9.5600000000000004E-2,41.3,43.9,760.7,14813,71.099999999999994,null,null,0.38]
[107.5,377.8,186,16.59,"2009-02-05T12:14:33",71,377.8,18.600000000000001,1659,1.79,9.2700000000000005E-2,42.6,45.2,765.9,14365,71,null,null,0.38]
[108,384.4,187,16.989999999999998,"2009-02-05T12:15:03",71.400000000000006,384.4,18.7,1699,1.72,9.8500000000000004E-2,39.6,42.1,798.6,15267,71.400000000000006,null,null,0.37]
[108.5,378.7,188,18.23,"2009-02-05T12:15:33",71.099999999999994,378.7,18.8,1823,1.65,0.1105,37.799999999999997,40.1,839.6,17128,71.099999999999994,null,null,0.37]
[109,375.3,188,19.87,"2009-02-05T12:16:03",71.7,375.3,18.8,1987,1.62,0.12280000000000001,37,39.200000000000003,858.2,19039,71.7,null,null,0.37]
[109.5,389.1,188,20,"2009-02-05T12:16:33",71.599999999999994,389.1,18.8,2000,1.59,0.126,33.5,35.5,876.7,19534,71.599999999999994,null,null,0.37]
[110,372.3,189,17.440000000000001,"2009-02-05T12:17:03",60.7,372.3,18.899999999999999,1744,1.53,0.11360000000000001,33.200000000000003,35.200000000000003,910,17614,60.7,null,null,0.37]
[110.5,368.3,190,18.66,"2009-02-05T12:17:33",58.5,368.3,19,1866,1.45,0.1285,29.8,31.6,967.5,19919,58.5,null,null,0.37]
[111,369.6,191,20.079999999999998,"2009-02-05T12:18:03",63.3,369.6,19.100000000000001,2008,1.4,0.14360000000000001,27.7,29.4,1008.2,22253,63.3,null,null,0.37]
[111.5,370.1,191,20.149999999999999,"2009-02-05T12:18:33",66.099999999999994,370.1,19.100000000000001,2015,1.38,0.14630000000000001,27.2,28.8,1025.7,22682,66.099999999999994,null,null,0.36]
[112,366.3,192,18.68,"2009-02-05T12:19:03",68.900000000000006,366.3,19.2,1868,1.35,0.13819999999999999,27.7,29.4,1046.8,21423,68.900000000000006,null,null,0.36]
[112.5,361.1,192,17.41,"2009-02-05T12:19:33",68.7,361.1,19.2,1741,1.32,0.13139999999999999,27.8,29.5,1069.9000000000001,20368,68.7,null,null,0.36]
[113,361.7,193,17.55,"2009-02-05T12:20:03",68.3,361.7,19.3,1755,1.27,0.13769999999999999,25,26.5,1116.4000000000001,21349,68.3,null,null,0.37]
[113.5,361.2,193,16.98,"2009-02-05T12:20:33",69.8,361.2,19.3,1698,1.27,0.1341,25.2,26.7,1123.8,20780,69.8,null,null,0.37]
[114,356.1,193,16.98,"2009-02-05T12:21:03",68.400000000000006,356.1,19.3,1698,1.22,0.13919999999999999,23.5,24.9,1170.8,21578,68.400000000000006,null,null,0.37]
[114.5,349.2,194,17.899999999999999,"2009-02-05T12:21:33",66.8,349.2,19.399999999999999,1790,1.1599999999999999,0.15440000000000001,20.8,22,1237.4000000000001,23939,66.8,null,null,0.37]
[115,357.3,195,18.38,"2009-02-05T12:22:03",67.3,357.3,19.5,1838,1.1399999999999999,0.16089999999999999,17.8,18.899999999999999,1256.7,24935,67.3,null,null,0.37]
[115.5,349.8,194,15.76,"2009-02-05T12:22:33",69.5,349.8,19.399999999999999,1576,1.1499999999999999,0.13700000000000001,21.5,22.8,1247.7,21241,69.5,null,null,0.37]
[116,355.3,195,14.07,"2009-02-05T12:23:03",69,355.3,19.5,1407,1.1100000000000001,0.12670000000000001,18.2,19.3,1295.3,19632,69,null,null,0.37]
[116.5,353.4,196,14.18,"2009-02-05T12:23:33",43.7,353.4,19.600000000000001,1418,1.07,0.1328,9.1999999999999993,9.6999999999999993,1351.4,20581,43.7,null,null,0.37]
[117,347.9,196,14.01,"2009-02-05T12:24:03",41,347.9,19.600000000000001,1401,1.04,0.1353,7.3,7.7,1397.4,20979,41,null,null,0.37]
[117.5,351.8,196,14.08,"2009-02-05T12:24:33",45.5,351.8,19.600000000000001,1408,1.02,0.1384,6,6.3,1423.4,21450,45.5,null,null,0.37]
[118,348.9,196,13.6,"2009-02-05T12:25:03",55.9,348.9,19.600000000000001,1360,1.02,0.13350000000000001,9.9,10.4,1421.5,20693,55.9,null,null,0.37]
[118.5,341.6,196,13.24,"2009-02-05T12:25:33",57.2,341.6,19.600000000000001,1324,1,0.1326,10.7,11.3,1452.3,20553,57.2,null,null,0.37]
[119,333.4,197,13.23,"2009-02-05T12:26:03",56.3,333.4,19.7,1323,0.97,0.13589999999999999,10.6,11.2,1492.7,21071,56.3,null,null,0.37]
[119.5,342,197,13.35,"2009-02-05T12:26:33",57.5,342,19.7,1335,0.98,0.1358,9.3000000000000007,9.9,1476.4,21044,57.5,null,null,0.37]
[120,337.5,197,13.19,"2009-02-05T12:27:03",58.6,337.5,19.7,1319,0.97,0.13569999999999999,10,10.6,1494.9,21037,58.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]