{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":257,"n_cols":20,"rows_kept":257,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":339.75589743589757},{"$f":"AVERAGE(Oxy)","v":14.267692307692302},{"$f":"AVERAGE(CO)","v":734.2},{"$f":"AVERAGE(Effg)","v":80.115544041450818}]
[1.5,{"$f":"FT","v":79},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":0.45},{"$f":"Effg","v":0},"2009-02-07T12:08:58",53.1,79,21,45,null,null,null,null,null,null,53.1,null,null,0.23]
[2,110.1,209,5.35,{"$f":"Effg","v":0},"2009-02-07T12:09:30",52.9,110.1,20.9,535,null,null,null,null,null,null,52.9,null,null,0.21]
[2.5,145.19999999999999,200,10.25,{"$f":"Effg","v":63.3},"2009-02-07T12:10:02",53.1,145.19999999999999,20,1025,0.98,0.1047,63.3,67.2,1942.2,20932,53.1,null,null,0.2]
[3,156.30000000000001,182,6.45,{"$f":"Effg","v":81.599999999999994},"2009-02-07T12:10:34",52.3,156.30000000000001,18.2,645,2.64,2.4400000000000002E-2,81.599999999999994,86.7,656.6,4880,52.3,null,null,0.2]
[3.5,192.9,167,16.53,{"$f":"Effg","v":82.1},"2009-02-07T12:11:06",53.7,192.9,16.7,1653,4.09,4.0399999999999998E-2,82.1,87.2,389.1,8085,53.7,null,null,0.19]
[4,186.5,160,10.82,{"$f":"Effg","v":84.7},"2009-02-07T12:11:38",52.8,186.5,16,1082,4.79,2.2599999999999999E-2,84.7,89.9,317.5,4517,52.8,null,null,0.15]
[4.5,196.3,156,10.16,{"$f":"Effg","v":84.8},"2009-02-07T12:12:10",52.8,196.3,15.6,1016,5.19,1.9599999999999999E-2,84.8,90.1,285.7,3918,52.8,null,null,0.12]
[5,199.8,151,10.29,{"$f":"Effg","v":85.3},"2009-02-07T12:12:42",53.5,199.8,15.1,1029,5.57,1.8499999999999999E-2,85.3,90.6,258.89999999999998,3693,53.5,null,null,0.1]
[5.5,205.7,148,8.43,{"$f":"Effg","v":85.6},"2009-02-07T12:13:14",53.6,205.7,14.8,843,5.9,1.43E-2,85.6,90.9,239.1,2858,53.6,null,null,0.45]
[6,204.8,146,5.24,{"$f":"Effg","v":86.1},"2009-02-07T12:13:46",52.7,204.8,14.6,524,6.06,8.6999999999999994E-3,86.1,91.4,230.2,1730,52.7,null,null,0.45]
[6.5,213.7,145,4.9800000000000004,{"$f":"Effg","v":85.9},"2009-02-07T12:14:18",53.3,213.7,14.5,498,6.2,8.0000000000000002E-3,85.9,91.2,222.5,1606,53.3,null,null,0.41]
[7,215.6,143,7.49,{"$f":"Effg","v":85.7},"2009-02-07T12:14:50",52.1,215.6,14.3,749,6.38,1.17E-2,85.7,91,213.6,2349,52.1,null,null,0.39]
[7.5,215.5,141,8.7799999999999994,{"$f":"Effg","v":85.9},"2009-02-07T12:15:22",52.6,215.5,14.1,878,6.58,1.3299999999999999E-2,85.9,91.2,203.9,2668,52.6,null,null,0.37]
[8,218.7,139,8.74,{"$f":"Effg","v":86},"2009-02-07T12:15:54",53.3,218.7,13.9,874,6.74,1.2999999999999999E-2,86,91.3,196.9,2595,53.3,null,null,0.35]
[8.5,223.1,138,8.5399999999999991,{"$f":"Effg","v":85.9},"2009-02-07T12:16:26",53,223.1,13.8,854,6.81,1.2500000000000001E-2,85.9,91.2,193.7,2508,53,null,null,0.33]
[9,227.1,139,7.31,{"$f":"Effg","v":85.8},"2009-02-07T12:16:58",53.4,227.1,13.9,731,6.8,1.0800000000000001E-2,85.8,91.1,194.2,2150,53.4,null,null,0.31]
[9.5,223.1,140,6,{"$f":"Effg","v":85.9},"2009-02-07T12:17:30",53.5,223.1,14,600,6.69,8.9999999999999993E-3,85.9,91.3,198.8,1793,53.5,null,null,0.3]
[10,223.9,140,5.88,{"$f":"Effg","v":85.9},"2009-02-07T12:18:02",53.4,223.9,14,588,6.63,8.8999999999999999E-3,85.9,91.2,201.5,1773,53.4,null,null,0.28999999999999998]
[10.5,221.9,141,6.47,{"$f":"Effg","v":85.8},"2009-02-07T12:18:34",53.3,221.9,14.1,647,6.6,9.7999999999999997E-3,85.8,91.2,203.2,1962,53.3,null,null,0.31]
[11,221.6,142,6.41,{"$f":"Effg","v":85.8},"2009-02-07T12:19:06",53.8,221.6,14.2,641,6.49,9.9000000000000008E-3,85.8,91.1,208,1974,53.8,null,null,0.33]
[11.5,218.3,143,5.63,{"$f":"Effg","v":85.9},"2009-02-07T12:19:38",53.9,218.3,14.3,563,6.39,8.8000000000000005E-3,85.9,91.2,213,1762,53.9,null,null,0.28000000000000003]
[12,223.4,144,5.83,{"$f":"Effg","v":85.5},"2009-02-07T12:20:10",54,223.4,14.4,583,6.26,9.2999999999999992E-3,85.5,90.8,219.5,1863,54,null,null,0.27]
[12.5,223.6,146,5.47,{"$f":"Effg","v":85.3},"2009-02-07T12:20:42",54.3,223.6,14.6,547,6.09,8.9999999999999993E-3,85.3,90.6,228.5,1797,54.3,null,null,0.24]
[13,227.1,148,5.22,{"$f":"Effg","v":85},"2009-02-07T12:21:14",54.5,227.1,14.8,522,5.95,8.8000000000000005E-3,85,90.2,236,1754,54.5,null,null,0.22]
[13.5,229,149,5.69,{"$f":"Effg","v":84.6},"2009-02-07T12:21:46",53.8,229,14.9,569,5.83,9.7999999999999997E-3,84.6,89.9,243.2,1953,53.8,null,null,0.2]
[14,224.1,150,6.23,{"$f":"Effg","v":84.7},"2009-02-07T12:22:18",54.1,224.1,15,623,5.73,1.09E-2,84.7,89.9,249.3,2176,54.1,null,null,0.2]
[14.5,229.1,151,6.95,{"$f":"Effg","v":84.2},"2009-02-07T12:22:50",54.5,229.1,15.1,695,5.63,1.23E-2,84.2,89.5,255.4,2470,54.5,null,null,0.2]
[15,225,151,6.01,{"$f":"Effg","v":84.5},"2009-02-07T12:23:22",54.5,225,15.1,601,5.58,1.0800000000000001E-2,84.5,89.7,258.2,2153,54.5,null,null,0.19]
[15.5,234.8,151,5.94,{"$f":"Effg","v":84},"2009-02-07T12:23:54",54.3,234.8,15.1,594,5.58,1.06E-2,84,89.2,258.5,2130,54.3,null,null,0.17]
[16,233.6,151,5.84,{"$f":"Effg","v":84},"2009-02-07T12:24:26",54.2,233.6,15.1,584,5.58,1.0500000000000001E-2,84,89.2,258.5,2094,54.2,null,null,0.15]
[16.5,239.1,151,5.48,{"$f":"Effg","v":83.8},"2009-02-07T12:24:58",53.6,239.1,15.1,548,5.59,9.7999999999999997E-3,83.8,89,257.60000000000002,1959,53.6,null,null,0.14000000000000001]
[17,236.2,151,5.6,{"$f":"Effg","v":83.9},"2009-02-07T12:25:30",53.4,236.2,15.1,560,5.62,0.01,83.9,89.1,256,1994,53.4,null,null,0.19]
[17.5,242.3,151,5.64,{"$f":"Effg","v":83.7},"2009-02-07T12:26:02",54,242.3,15.1,564,5.63,0.01,83.7,88.9,255.3,2004,54,null,null,0.14000000000000001]
[18,248.1,151,5.32,{"$f":"Effg","v":83.5},"2009-02-07T12:26:34",54.1,248.1,15.1,532,5.65,9.4000000000000004E-3,83.5,88.6,253.7,1882,54.1,null,null,0.11]
[18.5,250.4,150,5.8,{"$f":"Effg","v":83.4},"2009-02-07T12:27:06",53.8,250.4,15,580,5.7,1.0200000000000001E-2,83.4,88.5,250.8,2035,53.8,null,null,0.4]
[19,247.7,149,5.68,{"$f":"Effg","v":83.7},"2009-02-07T12:27:38",54.1,247.7,14.9,568,5.82,9.7999999999999997E-3,83.7,88.9,243.4,1951,54.1,null,null,0.31]
[19.5,255.7,148,4.7699999999999996,{"$f":"Effg","v":83.6},"2009-02-07T12:28:10",53.6,255.7,14.8,477,5.92,8.0999999999999996E-3,83.6,88.7,237.7,1611,53.6,null,null,0.26]
[20,273.7,146,4.41,{"$f":"Effg","v":83.1},"2009-02-07T12:28:42",53.7,273.7,14.6,441,6.12,7.1999999999999998E-3,83.1,88.2,226.6,1440,53.7,null,null,0.24]
[20.5,273.10000000000002,144,4.74,{"$f":"Effg","v":83.3},"2009-02-07T12:29:14",53.7,273.10000000000002,14.4,474,6.31,7.4999999999999997E-3,83.3,88.5,217.2,1503,53.7,null,null,0.18]
[21,271.89999999999998,142,5.08,{"$f":"Effg","v":83.6},"2009-02-07T12:29:46",54.2,271.89999999999998,14.2,508,6.44,7.9000000000000008E-3,83.6,88.8,210.4,1577,54.2,null,null,0.11]
[21.5,271.7,142,6.52,{"$f":"Effg","v":83.5},"2009-02-07T12:30:18",53.7,271.7,14.2,652,6.46,1.01E-2,83.5,88.7,209.7,2020,53.7,null,null,0.04]
[22,276.89999999999998,141,6.78,{"$f":"Effg","v":83.4},"2009-02-07T12:30:50",53.9,276.89999999999998,14.1,678,6.53,1.04E-2,83.4,88.5,206.4,2078,53.9,null,null,0.05]
[22.5,280.2,141,7.55,{"$f":"Effg","v":83.2},"2009-02-07T12:31:22",53.8,280.2,14.1,755,6.57,1.15E-2,83.2,88.4,204.2,2297,53.8,null,null,0.03]
[23,283.7,141,9.1300000000000008,{"$f":"Effg","v":83},"2009-02-07T12:31:54",53.8,283.7,14.1,913,6.6,1.38E-2,83,88.1,202.8,2765,53.8,null,null,0.05]
[23.5,280.89999999999998,140,8.4600000000000009,{"$f":"Effg","v":83.2},"2009-02-07T12:32:26",53.9,280.89999999999998,14,846,6.63,1.2800000000000001E-2,83.2,88.4,201.6,2552,53.9,null,null,0.02]
[24,290.10000000000002,140,6.62,{"$f":"Effg","v":83},"2009-02-07T12:32:58",54.1,290.10000000000002,14,662,6.67,9.9000000000000008E-3,83,88.2,199.8,1984,54.1,null,null,0.01]
[24.5,292.8,138,5.69,{"$f":"Effg","v":83.2},"2009-02-07T12:33:30",54,292.8,13.8,569,6.83,8.3000000000000001E-3,83.2,88.4,192.7,1665,54,null,null,0.01]
[25,296.89999999999998,136,5.08,{"$f":"Effg","v":83.4},"2009-02-07T12:34:02",54.1,296.89999999999998,13.6,508,7.03,7.1999999999999998E-3,83.4,88.5,184.5,1445,54.1,null,null,0.4]
[25.5,301,134,5.57,{"$f":"Effg","v":83.5},"2009-02-07T12:34:34",54.1,301,13.4,557,7.27,7.7000000000000002E-3,83.5,88.7,175.2,1533,54.1,null,null,0.1]
[26,299.8,132,5.03,{"$f":"Effg","v":83.7},"2009-02-07T12:35:06",53.2,299.8,13.2,503,7.44,6.7999999999999996E-3,83.7,88.9,168.8,1352,53.2,null,null,0.09]
[26.5,305.3,131,4.97,{"$f":"Effg","v":83.7},"2009-02-07T12:35:38",53.9,305.3,13.1,497,7.55,6.6E-3,83.7,88.9,164.9,1317,53.9,null,null,0.1]
[27,301.39999999999998,130,4.5,{"$f":"Effg","v":84},"2009-02-07T12:36:10",54.1,301.39999999999998,13,450,7.63,5.8999999999999999E-3,84,89.2,162,1179,54.1,null,null,0.37]
[27.5,307.39999999999998,130,4.37,{"$f":"Effg","v":83.8},"2009-02-07T12:36:42",53.8,307.39999999999998,13,437,7.65,5.7000000000000002E-3,83.8,89,161.5,1143,53.8,null,null,0.32]
[28,310,129,4.05,{"$f":"Effg","v":83.7},"2009-02-07T12:37:14",53.8,310,12.9,405,7.67,5.3E-3,83.7,88.9,160.69999999999999,1056,53.8,null,null,0.34]
[28.5,303,129,4.42,{"$f":"Effg","v":83.9},"2009-02-07T12:37:46",53.1,303,12.9,442,7.67,5.7999999999999996E-3,83.9,89.1,160.80000000000001,1153,53.1,null,null,0.42]
[29,304.3,130,4.67,{"$f":"Effg","v":83.9},"2009-02-07T12:38:18",54.2,304.3,13,467,7.62,6.1000000000000004E-3,83.9,89.1,162.6,1226,54.2,null,null,0.39]
[29.5,313.10000000000002,131,4.4800000000000004,{"$f":"Effg","v":83.5},"2009-02-07T12:38:50",54.4,313.10000000000002,13.1,448,7.56,5.8999999999999999E-3,83.5,88.7,164.4,1184,54.4,null,null,0.4]
[30,318.10000000000002,131,4.32,{"$f":"Effg","v":83.3},"2009-02-07T12:39:22",54.7,318.10000000000002,13.1,432,7.54,5.7000000000000002E-3,83.3,88.4,165.1,1145,54.7,null,null,0.39]
[30.5,321.8,131,4.21,{"$f":"Effg","v":83.1},"2009-02-07T12:39:54",54.2,321.8,13.1,421,7.55,5.5999999999999999E-3,83.1,88.3,164.8,1115,54.2,null,null,0.38]
[31,322.89999999999998,131,3.59,{"$f":"Effg","v":83.1},"2009-02-07T12:40:26",54.3,322.89999999999998,13.1,359,7.55,4.7999999999999996E-3,83.1,88.3,164.9,951,54.3,null,null,0.37]
[31.5,323.10000000000002,130,3.68,{"$f":"Effg","v":83.2},"2009-02-07T12:40:58",54.3,323.10000000000002,13,368,7.58,4.8999999999999998E-3,83.2,88.3,164,971,54.3,null,null,0.37]
[32,{"$f":"FT","v":319.10000000000002},{"$f":"Oxy*10","v":131},{"$f":"CO/100","v":3.77},{"$f":"Effg","v":83.3},"2009-02-07T12:41:30",54.1,319.10000000000002,13.1,377,7.57,5.0000000000000001E-3,83.3,88.5,164.2,996,54.1,null,null,0.52]
[32.5,327.8,131,3.92,{"$f":"Effg","v":82.9},"2009-02-07T12:42:02",54.3,327.8,13.1,392,7.53,5.1999999999999998E-3,82.9,88,165.7,1042,54.3,null,null,0.51]
[33,334.2,131,3.87,{"$f":"Effg","v":82.6},"2009-02-07T12:42:34",54,334.2,13.1,387,7.52,5.1000000000000004E-3,82.6,87.8,165.9,1029,54,null,null,0.54]
[33.5,329.6,131,3.99,{"$f":"Effg","v":82.9},"2009-02-07T12:43:06",54.8,329.6,13.1,399,7.55,5.3E-3,82.9,88,165,1057,54.8,null,null,0.54]
[34,333.4,131,4.74,{"$f":"Effg","v":82.7},"2009-02-07T12:43:38",54.4,333.4,13.1,474,7.56,6.3E-3,82.7,87.8,164.5,1254,54.4,null,null,0.53]
[34.5,334.6,130,5.04,{"$f":"Effg","v":82.7},"2009-02-07T12:44:10",55.3,334.6,13,504,7.58,6.6E-3,82.7,87.8,163.80000000000001,1329,55.3,null,null,0.52]
[35,332.1,131,4.87,{"$f":"Effg","v":82.8},"2009-02-07T12:44:42",55.7,332.1,13.1,487,7.56,6.4000000000000003E-3,82.8,87.9,164.5,1288,55.7,null,null,0.51]
[35.5,331.3,131,4.34,{"$f":"Effg","v":82.7},"2009-02-07T12:45:14",54.4,331.3,13.1,434,7.53,5.7999999999999996E-3,82.7,87.9,165.8,1153,54.4,null,null,0.51]
[36,336.1,131,4.6900000000000004,{"$f":"Effg","v":82.5},"2009-02-07T12:45:46",55.6,336.1,13.1,469,7.49,6.3E-3,82.5,87.6,167,1252,55.6,null,null,0.5]
[36.5,339.2,132,4.53,{"$f":"Effg","v":82.4},"2009-02-07T12:46:18",54.8,339.2,13.2,453,7.47,6.1000000000000004E-3,82.4,87.5,167.8,1213,54.8,null,null,0.5]
[37,335.4,132,4.29,{"$f":"Effg","v":82.4},"2009-02-07T12:46:50",52.8,335.4,13.2,429,7.45,5.7999999999999996E-3,82.4,87.5,168.5,1152,52.8,null,null,0.5]
[37.5,331.4,132,4.12,{"$f":"Effg","v":82.6},"2009-02-07T12:47:22",52.5,331.4,13.2,412,7.44,5.4999999999999997E-3,82.6,87.7,168.6,1107,52.5,null,null,0.5]
[38,340.7,132,4.2,{"$f":"Effg","v":82.1},"2009-02-07T12:47:54",51.6,340.7,13.2,420,7.42,5.7000000000000002E-3,82.1,87.2,169.5,1132,51.6,null,null,0.49]
[38.5,341.2,132,3.97,{"$f":"Effg","v":82.2},"2009-02-07T12:48:26",54.2,341.2,13.2,397,7.41,5.4000000000000003E-3,82.2,87.3,169.8,1071,54.2,null,null,0.49]
[39,341.6,132,3.85,{"$f":"Effg","v":82.2},"2009-02-07T12:48:58",53.4,341.6,13.2,385,7.4,5.1999999999999998E-3,82.2,87.3,170.1,1040,53.4,null,null,0.49]
[39.5,342.3,132,3.8,{"$f":"Effg","v":82.3},"2009-02-07T12:49:30",54.7,342.3,13.2,380,7.45,5.1000000000000004E-3,82.3,87.3,168.6,1021,54.7,null,null,0.49]
[40,336.4,132,3.91,{"$f":"Effg","v":82.5},"2009-02-07T12:50:02",55.4,336.4,13.2,391,7.47,5.1999999999999998E-3,82.5,87.7,167.8,1047,55.4,null,null,0.49]
[40.5,344.8,132,3.87,{"$f":"Effg","v":82.2},"2009-02-07T12:50:34",55.3,344.8,13.2,387,7.46,5.1999999999999998E-3,82.2,87.3,168,1037,55.3,null,null,0.49]
[41,342.6,132,4.41,{"$f":"Effg","v":82.3},"2009-02-07T12:51:06",55.6,342.6,13.2,441,7.46,5.8999999999999999E-3,82.3,87.4,168.1,1182,55.6,null,null,0.49]
[41.5,346.1,132,4.42,{"$f":"Effg","v":82.1},"2009-02-07T12:51:38",55.5,346.1,13.2,442,7.45,5.8999999999999999E-3,82.1,87.2,168.3,1186,55.5,null,null,0.49]
[42,354,132,4.16,{"$f":"Effg","v":81.8},"2009-02-07T12:52:10",56,354,13.2,416,7.42,5.5999999999999999E-3,81.8,86.9,169.6,1121,56,null,null,0.45]
[42.5,349.2,132,4.24,{"$f":"Effg","v":82},"2009-02-07T12:52:42",56.2,349.2,13.2,424,7.41,5.7000000000000002E-3,82,87,170,1145,56.2,null,null,0.46]
[43,351.5,132,4.25,{"$f":"Effg","v":81.900000000000006},"2009-02-07T12:53:14",55.6,351.5,13.2,425,7.41,5.7000000000000002E-3,81.900000000000006,86.9,169.9,1147,55.6,null,null,0.46]
[43.5,356.5,132,4.21,{"$f":"Effg","v":81.599999999999994},"2009-02-07T12:53:46",55.2,356.5,13.2,421,7.4,5.7000000000000002E-3,81.599999999999994,86.7,170.2,1137,55.2,null,null,0.46]
[44,350.3,132,4.3600000000000003,{"$f":"Effg","v":81.8},"2009-02-07T12:54:18",55.1,350.3,13.2,436,7.38,5.8999999999999999E-3,81.8,86.9,170.9,1181,55.1,null,null,0.46]
[44.5,352.9,133,4.75,{"$f":"Effg","v":81.7},"2009-02-07T12:54:50",55.6,352.9,13.3,475,7.38,6.4000000000000003E-3,81.7,86.8,171,1287,55.6,null,null,0.46]
[45,351.4,132,5.14,{"$f":"Effg","v":81.8},"2009-02-07T12:55:22",55,351.4,13.2,514,7.4,6.8999999999999999E-3,81.8,86.8,170.1,1388,55,null,null,0.46]
[45.5,352,132,5.46,{"$f":"Effg","v":81.7},"2009-02-07T12:55:54",55,352,13.2,546,7.41,7.4000000000000003E-3,81.7,86.8,169.8,1473,55,null,null,0.46]
[46,351,132,5.66,{"$f":"Effg","v":81.7},"2009-02-07T12:56:26",55.3,351,13.2,566,7.39,7.7000000000000002E-3,81.7,86.8,170.5,1531,55.3,null,null,0.45]
[46.5,357.4,133,5.73,{"$f":"Effg","v":81.5},"2009-02-07T12:56:58",56.2,357.4,13.3,573,7.37,7.7999999999999996E-3,81.5,86.5,171.3,1555,56.2,null,null,0.45]
[47,360.7,132,5.36,{"$f":"Effg","v":81.400000000000006},"2009-02-07T12:57:30",56.6,360.7,13.2,536,7.4,7.1999999999999998E-3,81.400000000000006,86.5,170.4,1449,56.6,null,null,0.45]
[47.5,364.2,132,5.0999999999999996,{"$f":"Effg","v":81.400000000000006},"2009-02-07T12:58:02",56.2,364.2,13.2,510,7.46,6.7999999999999996E-3,81.400000000000006,86.4,168.2,1368,56.2,null,null,0.45]
[48,364.3,131,5.28,{"$f":"Effg","v":81.400000000000006},"2009-02-07T12:58:34",55.7,364.3,13.1,528,7.49,7.0000000000000001E-3,81.400000000000006,86.5,166.9,1409,55.7,null,null,0.45]
[48.5,365.8,132,5.41,{"$f":"Effg","v":81.3},"2009-02-07T12:59:06",54.9,365.8,13.2,541,7.47,7.1999999999999998E-3,81.3,86.3,167.6,1448,54.9,null,null,0.46]
[49,367.2,132,5.33,{"$f":"Effg","v":81.2},"2009-02-07T12:59:38",55.5,367.2,13.2,533,7.45,7.1999999999999998E-3,81.2,86.3,168.5,1431,55.5,null,null,0.45]
[49.5,364.6,131,5.8,{"$f":"Effg","v":81.400000000000006},"2009-02-07T13:00:10",55.1,364.6,13.1,580,7.5,7.7000000000000002E-3,81.400000000000006,86.4,166.7,1547,55.1,null,null,0.45]
[50,368.7,131,4.8600000000000003,{"$f":"Effg","v":81.400000000000006},"2009-02-07T13:00:42",55.1,368.7,13.1,486,7.56,6.4000000000000003E-3,81.400000000000006,86.4,164.4,1285,55.1,null,null,0.45]
[50.5,364.8,130,3.89,{"$f":"Effg","v":81.599999999999994},"2009-02-07T13:01:14",54.5,364.8,13,389,7.6,5.1000000000000004E-3,81.599999999999994,86.7,163,1023,54.5,null,null,0.45]
[51,366.7,130,3.9,{"$f":"Effg","v":81.5},"2009-02-07T13:01:46",54.9,366.7,13,390,7.58,5.1000000000000004E-3,81.5,86.6,163.80000000000001,1029,54.9,null,null,0.45]
[51.5,368,135,1.8,{"$f":"Effg","v":80.900000000000006},"2009-02-07T13:02:18",55.3,368,13.5,180,7.13,2.5000000000000001E-3,80.900000000000006,85.9,180.5,505,55.3,null,null,0.46]
[52,375.5,137,4.29,{"$f":"Effg","v":80.2},"2009-02-07T13:02:50",55.5,375.5,13.7,429,6.98,6.1000000000000004E-3,80.2,85.1,186.6,1230,55.5,null,null,0.46]
[52.5,367,135,4.58,{"$f":"Effg","v":80.8},"2009-02-07T13:03:22",54.4,367,13.5,458,7.17,6.4000000000000003E-3,80.8,85.8,179,1278,54.4,null,null,0.46]
[53,370.1,134,4.32,{"$f":"Effg","v":80.8},"2009-02-07T13:03:54",55.7,370.1,13.4,432,7.23,6.0000000000000001E-3,80.8,85.8,176.6,1195,55.7,null,null,0.48]
[53.5,372.9,134,6.42,{"$f":"Effg","v":80.599999999999994},"2009-02-07T13:04:26",55.7,372.9,13.4,642,7.25,8.8999999999999999E-3,80.599999999999994,85.6,175.7,1770,55.7,null,null,0.45]
[54,379.1,134,6.78,{"$f":"Effg","v":80.400000000000006},"2009-02-07T13:04:58",55.6,379.1,13.4,678,7.26,9.2999999999999992E-3,80.400000000000006,85.3,175.4,1867,55.6,null,null,0.43]
[54.5,380.2,134,7.46,{"$f":"Effg","v":80.2},"2009-02-07T13:05:30",55.5,380.2,13.4,746,7.22,1.03E-2,80.2,85.1,177,2066,55.5,null,null,0.42]
[55,378.4,135,7.57,{"$f":"Effg","v":80.099999999999994},"2009-02-07T13:06:02",55.8,378.4,13.5,757,7.14,1.06E-2,80.099999999999994,85.1,180.1,2121,55.8,null,null,0.42]
[55.5,387.4,136,7.67,{"$f":"Effg","v":79.599999999999994},"2009-02-07T13:06:34",56.7,387.4,13.6,767,7.02,1.09E-2,79.599999999999994,84.5,184.9,2185,56.7,null,null,0.42]
[56,378.9,137,8.36,{"$f":"Effg","v":79.7},"2009-02-07T13:07:06",56.3,378.9,13.7,836,6.94,1.2E-2,79.7,84.6,188.1,2409,56.3,null,null,0.42]
[56.5,374.5,138,8.5299999999999994,{"$f":"Effg","v":79.7},"2009-02-07T13:07:38",55.9,374.5,13.8,853,6.86,1.24E-2,79.7,84.6,191.4,2485,55.9,null,null,0.42]
[57,378.1,138,8.99,{"$f":"Effg","v":79.400000000000006},"2009-02-07T13:08:10",54.8,378.1,13.8,899,6.83,1.32E-2,79.400000000000006,84.3,193,2634,54.8,null,null,0.42]
[57.5,379.2,139,7.99,{"$f":"Effg","v":79.400000000000006},"2009-02-07T13:08:42",54.7,379.2,13.9,799,6.8,1.17E-2,79.400000000000006,84.3,194,2349,54.7,null,null,0.42]
[58,393.5,139,7.24,{"$f":"Effg","v":78.8},"2009-02-07T13:09:14",56.4,393.5,13.9,724,6.74,1.0699999999999999E-2,78.8,83.7,196.6,2148,56.4,null,null,0.41]
[58.5,393,140,18.010000000000002,{"$f":"Effg","v":77.7},"2009-02-07T13:09:46",56.5,393,14,1801,6.62,2.7199999999999998E-2,77.7,82.5,202,5439,56.5,null,null,0.41]
[59,394.6,136,20.6,{"$f":"Effg","v":78.3},"2009-02-07T13:10:18",55.7,394.6,13.6,2060,7.01,2.9399999999999999E-2,78.3,83.1,185.5,5881,55.7,null,null,0.41]
[59.5,390.6,133,20.49,{"$f":"Effg","v":79},"2009-02-07T13:10:50",55.6,390.6,13.3,2049,7.3,2.81E-2,79,83.9,174,5614,55.6,null,null,0.42]
[60,400.3,132,16.48,{"$f":"Effg","v":79.099999999999994},"2009-02-07T13:11:22",55,400.3,13.2,1648,7.45,2.2100000000000002E-2,79.099999999999994,84,168.5,4425,55,null,null,0.41]
[60.5,398.5,131,12.09,{"$f":"Effg","v":79.7},"2009-02-07T13:11:54",55.1,398.5,13.1,1209,7.54,1.6E-2,79.7,84.6,165.2,3206,55.1,null,null,0.41]
[61,400.5,130,11.43,{"$f":"Effg","v":79.7},"2009-02-07T13:12:26",54.2,400.5,13,1143,7.58,1.5100000000000001E-2,79.7,84.6,164,3017,54.2,null,null,0.4]
[61.5,404.3,131,11.15,{"$f":"Effg","v":79.5},"2009-02-07T13:12:58",55.1,404.3,13.1,1115,7.56,1.4800000000000001E-2,79.5,84.5,164.7,2952,55.1,null,null,0.41]
[62,398.1,131,11.66,{"$f":"Effg","v":79.7},"2009-02-07T13:13:30",56.4,398.1,13.1,1166,7.49,1.5599999999999999E-2,79.7,84.6,166.9,3112,56.4,null,null,0.4]
[62.5,398.2,132,10.16,{"$f":"Effg","v":79.5},"2009-02-07T13:14:02",55.1,398.2,13.2,1016,7.38,1.38E-2,79.5,84.5,170.8,2752,55.1,null,null,0.41]
[63,401.6,133,8.66,{"$f":"Effg","v":79.400000000000006},"2009-02-07T13:14:34",56.1,401.6,13.3,866,7.29,1.1900000000000001E-2,79.400000000000006,84.3,174.5,2377,56.1,null,null,0.41]
[63.5,394.7,134,7.61,{"$f":"Effg","v":79.599999999999994},"2009-02-07T13:15:06",55.6,394.7,13.4,761,7.21,1.06E-2,79.599999999999994,84.5,177.4,2111,55.6,null,null,0.41]
[64,{"$f":"FT","v":403.7},{"$f":"Oxy*10","v":135},{"$f":"CO/100","v":6.98},{"$f":"Effg","v":79.099999999999994},"2009-02-07T13:15:38",56.4,403.7,13.5,698,7.1,9.7999999999999997E-3,79.099999999999994,84,181.7,1966,56.4,null,null,0.41]
[64.5,398.1,136,6.39,{"$f":"Effg","v":79.2},"2009-02-07T13:16:10",56,398.1,13.6,639,7.03,9.1000000000000004E-3,79.2,84.1,184.4,1817,56,null,null,0.41]
[65,405.1,137,6.15,{"$f":"Effg","v":78.900000000000006},"2009-02-07T13:16:42",56.3,405.1,13.7,615,6.98,8.8000000000000005E-3,78.900000000000006,83.7,186.6,1763,56.3,null,null,0.41]
[65.5,402.3,137,5.84,{"$f":"Effg","v":78.900000000000006},"2009-02-07T13:17:14",56.4,402.3,13.7,584,6.92,8.3999999999999995E-3,78.900000000000006,83.8,188.9,1687,56.4,null,null,0.41]
[66,396.3,138,5.86,{"$f":"Effg","v":79},"2009-02-07T13:17:46",56.1,396.3,13.8,586,6.84,8.6E-3,79,83.9,192.2,1712,56.1,null,null,0.41]
[66.5,395.6,139,5.99,{"$f":"Effg","v":78.8},"2009-02-07T13:18:18",56.8,395.6,13.9,599,6.75,8.8999999999999999E-3,78.8,83.7,196.1,1774,56.8,null,null,0.41]
[67,400.9,140,5.94,{"$f":"Effg","v":78.5},"2009-02-07T13:18:50",56.7,400.9,14,594,6.68,8.8999999999999999E-3,78.5,83.3,199.4,1778,56.7,null,null,0.42]
[67.5,398.3,141,6.36,{"$f":"Effg","v":78.400000000000006},"2009-02-07T13:19:22",56.6,398.3,14.1,636,6.61,9.5999999999999992E-3,78.400000000000006,83.2,202.5,1924,56.6,null,null,0.41]
[68,398,142,6.44,{"$f":"Effg","v":78},"2009-02-07T13:19:54",55.2,398,14.2,644,6.47,0.01,78,82.8,209.2,1991,55.2,null,null,0.41]
[68.5,392.8,144,6.4,{"$f":"Effg","v":77.900000000000006},"2009-02-07T13:20:26",55.9,392.8,14.4,640,6.31,1.01E-2,77.900000000000006,82.7,216.8,2027,55.9,null,null,0.41]
[69,394.3,145,6.78,{"$f":"Effg","v":77.5},"2009-02-07T13:20:58",56.8,394.3,14.5,678,6.16,1.0999999999999999E-2,77.5,82.3,224.5,2200,56.8,null,null,0.41]
[69.5,392,147,6.9,{"$f":"Effg","v":77.2},"2009-02-07T13:21:30",56.7,392,14.7,690,6.02,1.15E-2,77.2,82,232,2291,56.7,null,null,0.41]
[70,391,148,7.11,{"$f":"Effg","v":77},"2009-02-07T13:22:02",56.4,391,14.8,711,5.92,1.2E-2,77,81.8,237.7,2401,56.4,null,null,0.41]
[70.5,392.8,149,7.19,{"$f":"Effg","v":76.599999999999994},"2009-02-07T13:22:34",57.2,392.8,14.9,719,5.81,1.24E-2,76.599999999999994,81.400000000000006,244.4,2476,57.2,null,null,0.41]
[71,390.6,150,7.39,{"$f":"Effg","v":76.5},"2009-02-07T13:23:06",57.3,390.6,15,739,5.72,1.29E-2,76.5,81.2,249.5,2583,57.3,null,null,0.4]
[71.5,384.7,150,7.09,{"$f":"Effg","v":76.7},"2009-02-07T13:23:38",56.5,384.7,15,709,5.71,1.24E-2,76.7,81.5,250.5,2485,56.5,null,null,0.4]
[72,393.5,150,6.89,{"$f":"Effg","v":76.2},"2009-02-07T13:24:10",56.2,393.5,15,689,5.69,1.21E-2,76.2,81,251.4,2421,56.2,null,null,0.4]
[72.5,393,150,6.91,{"$f":"Effg","v":76.2},"2009-02-07T13:24:42",56.8,393,15,691,5.67,1.2200000000000001E-2,76.2,80.900000000000006,252.8,2438,56.8,null,null,0.4]
[73,396.2,151,6.72,{"$f":"Effg","v":76.099999999999994},"2009-02-07T13:25:14",56.6,396.2,15.1,672,5.66,1.1900000000000001E-2,76.099999999999994,80.8,253.2,2373,56.6,null,null,0.4]
[73.5,403.3,151,6.56,{"$f":"Effg","v":75.7},"2009-02-07T13:25:46",56.3,403.3,15.1,656,5.66,1.1599999999999999E-2,75.7,80.400000000000006,253.4,2318,56.3,null,null,0.4]
[74,396.9,151,7.56,{"$f":"Effg","v":75.900000000000006},"2009-02-07T13:26:18",56.6,396.9,15.1,756,5.63,1.34E-2,75.900000000000006,80.599999999999994,255,2684,56.6,null,null,0.39]
[74.5,386.7,152,7.27,{"$f":"Effg","v":76.2},"2009-02-07T13:26:50",56.4,386.7,15.2,727,5.56,1.3100000000000001E-2,76.2,80.900000000000006,259.5,2613,56.4,null,null,0.39]
[75,397.5,153,7.26,{"$f":"Effg","v":75.400000000000006},"2009-02-07T13:27:22",57.5,397.5,15.3,726,5.47,1.3299999999999999E-2,75.400000000000006,80.099999999999994,265.39999999999998,2653,57.5,null,null,0.4]
[75.5,389.8,153,6.96,{"$f":"Effg","v":75.599999999999994},"2009-02-07T13:27:54",56.6,389.8,15.3,696,5.4,1.29E-2,75.599999999999994,80.2,270.5,2578,56.6,null,null,0.4]
[76,395.2,154,6.92,{"$f":"Effg","v":75.099999999999994},"2009-02-07T13:28:26",58.4,395.2,15.4,692,5.31,1.2999999999999999E-2,75.099999999999994,79.7,276.7,2607,58.4,null,null,0.39]
[76.5,394.5,155,6.82,{"$f":"Effg","v":75},"2009-02-07T13:28:58",59.6,394.5,15.5,682,5.24,1.2999999999999999E-2,75,79.599999999999994,281.8,2604,59.6,null,null,0.39]
[77,386.7,156,6.9,{"$f":"Effg","v":75},"2009-02-07T13:29:30",58,386.7,15.6,690,5.17,1.34E-2,75,79.7,287,2670,58,null,null,0.39]
[77.5,393.4,156,6.95,{"$f":"Effg","v":74.5},"2009-02-07T13:30:02",57,393.4,15.6,695,5.12,1.3599999999999999E-2,74.5,79.099999999999994,290.5,2714,57,null,null,0.39]
[78,404.1,156,6.7,{"$f":"Effg","v":73.900000000000006},"2009-02-07T13:30:34",58.7,404.1,15.6,670,5.0999999999999996,1.3100000000000001E-2,73.900000000000006,78.5,292.5,2630,58.7,null,null,0.39]
[78.5,401.4,156,6.5,{"$f":"Effg","v":74},"2009-02-07T13:31:06",57.6,401.4,15.6,650,5.0999999999999996,1.2699999999999999E-2,74,78.599999999999994,292.10000000000002,2549,57.6,null,null,0.39]
[79,393.9,156,6.32,{"$f":"Effg","v":74.3},"2009-02-07T13:31:38",55.5,393.9,15.6,632,5.0999999999999996,1.24E-2,74.3,78.900000000000006,292.3,2480,55.5,null,null,0.39]
[79.5,392.5,157,6.32,{"$f":"Effg","v":74.2},"2009-02-07T13:32:10",53.1,392.5,15.7,632,5.07,1.2500000000000001E-2,74.2,78.8,294.2,2491,53.1,null,null,0.39]
[80,402.5,157,6.6,{"$f":"Effg","v":73.7},"2009-02-07T13:32:42",55.4,402.5,15.7,660,5.07,1.2999999999999999E-2,73.7,78.3,294.39999999999998,2603,55.4,null,null,0.38]
[80.5,396.5,156,6.03,{"$f":"Effg","v":74.599999999999994},"2009-02-07T13:33:14",57.5,396.5,15.6,603,5.17,1.17E-2,74.599999999999994,79.2,286.8,2332,57.5,null,null,0.38]
[81,405.4,155,5.95,{"$f":"Effg","v":74.5},"2009-02-07T13:33:46",59.4,405.4,15.5,595,5.24,1.1299999999999999E-2,74.5,79.099999999999994,281.5,2270,59.4,null,null,0.38]
[81.5,399.3,154,5.53,{"$f":"Effg","v":75.2},"2009-02-07T13:34:18",60.4,399.3,15.4,553,5.34,1.03E-2,75.2,79.900000000000006,274.3,2070,60.4,null,null,0.39]
[82,410.9,153,5.8,{"$f":"Effg","v":74.900000000000006},"2009-02-07T13:34:50",61.2,410.9,15.3,580,5.42,1.0699999999999999E-2,74.900000000000006,79.5,268.8,2139,61.2,null,null,0.39]
[82.5,415.7,152,6.33,{"$f":"Effg","v":74.8},"2009-02-07T13:35:22",61.4,415.7,15.2,633,5.48,1.15E-2,74.8,79.400000000000006,264.8,2309,61.4,null,null,0.38]
[83,407.7,152,6.65,{"$f":"Effg","v":75.3},"2009-02-07T13:35:54",61.3,407.7,15.2,665,5.51,1.21E-2,75.3,79.900000000000006,262.60000000000002,2412,61.3,null,null,0.38]
[83.5,408.4,152,6.96,{"$f":"Effg","v":75.3},"2009-02-07T13:36:26",60.8,408.4,15.2,696,5.54,1.26E-2,75.3,79.900000000000006,261,2513,60.8,null,null,0.38]
[84,400.9,152,6.51,{"$f":"Effg","v":75.7},"2009-02-07T13:36:58",60.4,400.9,15.2,651,5.55,1.17E-2,75.7,80.400000000000006,260.39999999999998,2346,60.4,null,null,0.38]
[84.5,405.8,152,6.65,{"$f":"Effg","v":75.400000000000006},"2009-02-07T13:37:30",60.8,405.8,15.2,665,5.54,1.2E-2,75.400000000000006,80.099999999999994,260.89999999999998,2400,60.8,null,null,0.38]
[85,408.4,151,5.91,{"$f":"Effg","v":75.599999999999994},"2009-02-07T13:38:02",61.8,408.4,15.1,591,5.58,1.06E-2,75.599999999999994,80.2,258.3,2117,61.8,null,null,0.38]
[85.5,413.5,151,6.2,{"$f":"Effg","v":75.400000000000006},"2009-02-07T13:38:34",61.3,413.5,15.1,620,5.62,1.0999999999999999E-2,75.400000000000006,80,255.7,2205,61.3,null,null,0.38]
[86,411,151,6.33,{"$f":"Effg","v":75.400000000000006},"2009-02-07T13:39:06",60.2,411,15.1,633,5.62,1.1299999999999999E-2,75.400000000000006,80.099999999999994,256.10000000000002,2254,60.2,null,null,0.38]
[86.5,412.3,151,7.49,{"$f":"Effg","v":75.099999999999994},"2009-02-07T13:39:38",57.7,412.3,15.1,749,5.61,1.34E-2,75.099999999999994,79.7,256.60000000000002,2671,57.7,null,null,0.38]
[87,407.9,151,7.65,{"$f":"Effg","v":75.2},"2009-02-07T13:40:10",57.4,407.9,15.1,765,5.58,1.37E-2,75.2,79.8,258.10000000000002,2740,57.4,null,null,0.37]
[87.5,404,151,5.62,{"$f":"Effg","v":75.900000000000006},"2009-02-07T13:40:42",58.2,404,15.1,562,5.66,9.9000000000000008E-3,75.900000000000006,80.599999999999994,253.1,1984,58.2,null,null,0.37]
[88,406.3,150,6.37,{"$f":"Effg","v":75.900000000000006},"2009-02-07T13:41:14",57.7,406.3,15,637,5.75,1.11E-2,75.900000000000006,80.599999999999994,247.8,2216,57.7,null,null,0.38]
[88.5,404.3,150,7.26,{"$f":"Effg","v":75.900000000000006},"2009-02-07T13:41:46",57.6,404.3,15,726,5.74,1.26E-2,75.900000000000006,80.599999999999994,248.3,2529,57.6,null,null,0.38]
[89,398.4,151,9.5500000000000007,{"$f":"Effg","v":75.7},"2009-02-07T13:42:18",56.8,398.4,15.1,955,5.66,1.6899999999999998E-2,75.7,80.400000000000006,253.1,3372,56.8,null,null,0.38]
[89.5,394.6,147,10.99,{"$f":"Effg","v":76.7},"2009-02-07T13:42:50",57.4,394.6,14.7,1099,5.98,1.84E-2,76.7,81.400000000000006,234.7,3678,57.4,null,null,0.38]
[90,412.5,144,9.49,{"$f":"Effg","v":76.8},"2009-02-07T13:43:22",56.5,412.5,14.4,949,6.3,1.5100000000000001E-2,76.8,81.5,217.6,3014,56.5,null,null,0.38]
[90.5,406.9,141,9.6,{"$f":"Effg","v":77.7},"2009-02-07T13:43:54",59.2,406.9,14.1,960,6.53,1.47E-2,77.7,82.5,206.4,2941,59.2,null,null,0.37]
[91,410.7,139,5.51,{"$f":"Effg","v":78.400000000000006},"2009-02-07T13:44:26",60,410.7,13.9,551,6.76,8.2000000000000007E-3,78.400000000000006,83.2,196.1,1631,60,null,null,0.38]
[91.5,414.4,137,5.72,{"$f":"Effg","v":78.7},"2009-02-07T13:44:58",61.7,414.4,13.7,572,6.95,8.2000000000000007E-3,78.7,83.5,187.9,1647,61.7,null,null,0.37]
[92,412.8,137,7.67,{"$f":"Effg","v":78.7},"2009-02-07T13:45:30",61.9,412.8,13.7,767,7,1.0999999999999999E-2,78.7,83.6,185.8,2192,61.9,null,null,0.37]
[92.5,418,137,14.1,{"$f":"Effg","v":77.8},"2009-02-07T13:46:02",58.9,418,13.7,1410,6.96,2.0199999999999999E-2,77.8,82.6,187.2,4049,58.9,null,null,0.37]
[93,405,138,12.1,{"$f":"Effg","v":78.099999999999994},"2009-02-07T13:46:34",54.7,405,13.8,1210,6.85,1.77E-2,78.099999999999994,82.9,191.9,3532,54.7,null,null,0.37]
[93.5,409.3,140,12.62,{"$f":"Effg","v":77.599999999999994},"2009-02-07T13:47:06",57.1,409.3,14,1262,6.68,1.89E-2,77.599999999999994,82.4,199.4,3778,57.1,null,null,0.37]
[94,395.7,142,16.579999999999998,{"$f":"Effg","v":77.400000000000006},"2009-02-07T13:47:38",56.6,395.7,14.2,1658,6.49,2.5499999999999998E-2,77.400000000000006,82.2,207.9,5106,56.6,null,null,0.37]
[94.5,391.4,144,18.2,{"$f":"Effg","v":76.900000000000006},"2009-02-07T13:48:10",56.6,391.4,14.4,1820,6.25,2.9100000000000001E-2,76.900000000000006,81.7,220,5824,56.6,null,null,0.36]
[95,393.9,147,18.21,{"$f":"Effg","v":76.2},"2009-02-07T13:48:42",57.3,393.9,14.7,1821,6,3.04E-2,76.2,80.900000000000006,233.4,6071,57.3,null,null,0.36]
[95.5,404.7,149,19.27,{"$f":"Effg","v":75},"2009-02-07T13:49:14",58.2,404.7,14.9,1927,5.8,3.32E-2,75,79.7,244.9,6646,58.2,null,null,0.37]
[96,{"$f":"FT","v":408.5},{"$f":"Oxy*10","v":149},{"$f":"CO/100","v":15.75},{"$f":"Effg","v":75.2},"2009-02-07T13:49:46",56.8,408.5,14.9,1575,5.84,2.7E-2,75.2,79.8,242.7,5397,56.8,null,null,0.36]
[96.5,402.5,155,13.06,{"$f":"Effg","v":73.8},"2009-02-07T13:50:18",56.1,402.5,15.5,1306,5.25,2.4899999999999999E-2,73.8,78.3,281.2,4978,56.1,null,null,0.37]
[97,405.6,155,20.059999999999999,{"$f":"Effg","v":73},"2009-02-07T13:50:50",54.6,405.6,15.5,2006,5.28,3.7999999999999999E-2,73,77.5,278.8,7598,54.6,null,null,0.37]
[97.5,405.3,155,23.36,{"$f":"Effg","v":72.3},"2009-02-07T13:51:22",52,405.3,15.5,2336,5.23,4.4699999999999997E-2,72.3,76.8,282.5,8935,52,null,null,0.36]
[98,407.1,157,29.18,{"$f":"Effg","v":70.900000000000006},"2009-02-07T13:51:54",52.3,407.1,15.7,2918,5.04,5.79E-2,70.900000000000006,75.3,297.10000000000002,11587,52.3,null,null,0.37]
[98.5,397.5,159,33.04,{"$f":"Effg","v":70.099999999999994},"2009-02-07T13:52:26",52.8,397.5,15.9,3304,4.8099999999999996,6.8699999999999997E-2,70.099999999999994,74.5,315.60000000000002,13731,52.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]