{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":166,"n_cols":20,"rows_kept":166,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":353.94634146341474},{"$f":"AVERAGE(Oxy)","v":12.289024390243899},{"$f":"AVERAGE(CO)","v":905.18902439024396},{"$f":"AVERAGE(Effg)","v":82.491358024691351}]
[1,{"$f":"FT","v":103.5},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":1.1100000000000001},{"$f":"Effg","v":0},"2009-02-08T11:20:36",56.1,103.5,21,111,null,null,null,null,null,null,56.1,null,null,0.56000000000000005]
[1.5,143.80000000000001,206,5.3,0,"2009-02-08T11:21:08",56.6,143.80000000000001,20.6,530,null,null,null,null,null,null,56.6,null,null,0.42]
[2,157.30000000000001,193,8.49,73.8,"2009-02-08T11:21:40",56.8,157.30000000000001,19.3,849,1.59,5.3400000000000003E-2,73.8,78.400000000000006,1157.9000000000001,10680,56.8,null,null,0.28999999999999998]
[2.5,167.1,181,18.440000000000001,79.599999999999994,"2009-02-08T11:22:12",57.4,167.1,18.100000000000001,1844,2.79,6.6100000000000006E-2,79.599999999999994,84.5,616.4,13211,57.4,null,null,0.28000000000000003]
[3,169.3,172,12.82,83.4,"2009-02-08T11:22:44",57.4,169.3,17.2,1282,3.64,3.5200000000000002E-2,83.4,88.5,449.4,7043,57.4,null,null,0.28000000000000003]
[3.5,184.2,165,13.32,83.9,"2009-02-08T11:23:16",58,184.2,16.5,1332,4.29,3.1E-2,83.9,89.1,366,6207,58,null,null,0.28000000000000003]
[4,183.6,160,11.96,85.1,"2009-02-08T11:23:48",58.2,183.6,16,1196,4.8,2.4899999999999999E-2,85.1,90.3,316.7,4984,58.2,null,null,0.28000000000000003]
[4.5,195.1,156,8,85.3,"2009-02-08T11:24:20",58.5,195.1,15.6,800,5.1100000000000003,1.5699999999999999E-2,85.3,90.6,291.7,3134,58.5,null,null,0.28000000000000003]
[5,198.5,155,5.49,85.6,"2009-02-08T11:24:52",58.6,198.5,15.5,549,5.23,1.0500000000000001E-2,85.6,90.9,282,2097,58.6,null,null,0.28000000000000003]
[5.5,188.9,156,3.67,86.2,"2009-02-08T11:25:24",58.7,188.9,15.6,367,5.13,7.1999999999999998E-3,86.2,91.5,290.10000000000002,1432,58.7,null,null,0.28000000000000003]
[6,201.5,156,3.89,85.5,"2009-02-08T11:25:56",58.7,201.5,15.6,389,5.18,7.4999999999999997E-3,85.5,90.8,286.5,1503,58.7,null,null,0.27]
[6.5,210.7,156,3.26,85,"2009-02-08T11:26:28",58.8,210.7,15.6,326,5.15,6.3E-3,85,90.3,288.2,1266,58.8,null,null,0.27]
[7,203.6,156,3.31,85.4,"2009-02-08T11:27:00",58.9,203.6,15.6,331,5.1100000000000003,6.4999999999999997E-3,85.4,90.7,291.8,1297,58.9,null,null,0.28000000000000003]
[7.5,198.3,158,3.91,85.4,"2009-02-08T11:27:32",59,198.3,15.8,391,5,7.7999999999999996E-3,85.4,90.7,300.2,1565,59,null,null,0.28000000000000003]
[8,194.5,159,4.3499999999999996,85.4,"2009-02-08T11:28:04",58.9,194.5,15.9,435,4.9000000000000004,8.8999999999999999E-3,85.4,90.7,308.3,1776,58.9,null,null,0.28000000000000003]
[8.5,210,160,5.96,84.1,"2009-02-08T11:28:36",59.1,210,16,596,4.72,1.26E-2,84.1,89.3,323.3,2523,59.1,null,null,0.28000000000000003]
[9,201.6,162,7.11,84.1,"2009-02-08T11:29:08",59.1,201.6,16.2,711,4.5599999999999996,1.5599999999999999E-2,84.1,89.3,339,3121,59.1,null,null,0.28000000000000003]
[9.5,199.8,164,7.06,83.9,"2009-02-08T11:29:40",59.3,199.8,16.399999999999999,706,4.4000000000000004,1.6E-2,83.9,89.1,354.6,3209,59.3,null,null,0.28000000000000003]
[10,206.5,164,7.53,83.4,"2009-02-08T11:30:12",59.3,206.5,16.399999999999999,753,4.37,1.72E-2,83.4,88.5,357.6,3446,59.3,null,null,0.28000000000000003]
[10.5,209.9,164,9.11,82.9,"2009-02-08T11:30:44",59.6,209.9,16.399999999999999,911,4.3499999999999996,2.1000000000000001E-2,82.9,88.1,360.1,4191,59.6,null,null,0.28000000000000003]
[11,218,163,10.28,82.5,"2009-02-08T11:31:16",59.7,218,16.3,1028,4.45,2.3099999999999999E-2,82.5,87.7,349.6,4622,59.7,null,null,0.28000000000000003]
[11.5,212.7,160,12.1,83.3,"2009-02-08T11:31:48",59.8,212.7,16,1210,4.72,2.5700000000000001E-2,83.3,88.4,324.10000000000002,5132,59.8,null,null,0.27]
[12,222.7,159,11.33,83.1,"2009-02-08T11:32:20",59.7,222.7,15.9,1133,4.8600000000000003,2.3300000000000001E-2,83.1,88.2,311.5,4662,59.7,null,null,0.26]
[12.5,231.4,156,9.3699999999999992,83.4,"2009-02-08T11:32:52",59.8,231.4,15.6,937,5.15,1.8200000000000001E-2,83.4,88.5,288.10000000000002,3637,59.8,null,null,0.26]
[13,236.8,152,6.9,84,"2009-02-08T11:33:24",59.7,236.8,15.2,690,5.57,1.24E-2,84,89.2,259,2477,59.7,null,null,0.26]
[13.5,246,146,6.53,84.4,"2009-02-08T11:33:56",60,246,14.6,653,6.05,1.0800000000000001E-2,84.4,89.6,230.6,2159,60,null,null,0.25]
[14,246.1,141,7.53,85,"2009-02-08T11:34:28",59.8,246.1,14.1,753,6.59,1.14E-2,85,90.3,203.4,2285,59.8,null,null,0.25]
[14.5,254,136,9.9,85.1,"2009-02-08T11:35:00",60.1,254,13.6,990,7.09,1.4E-2,85.1,90.4,182.3,2794,60.1,null,null,0.22]
[15,248.9,131,14.31,85.5,"2009-02-08T11:35:32",60.1,248.9,13.1,1431,7.56,1.89E-2,85.5,90.8,164.5,3784,60.1,null,null,0.16]
[15.5,269.39999999999998,126,18.86,84.8,"2009-02-08T11:36:04",60.2,269.39999999999998,12.6,1886,7.96,2.3699999999999999E-2,84.8,90.1,151.19999999999999,4737,60.2,null,null,0.11]
[16,266.8,123,20.71,85.1,"2009-02-08T11:36:36",60.3,266.8,12.3,2071,8.25,2.5100000000000001E-2,85.1,90.4,142.4,5021,60.3,null,null,0.08]
[16.5,264.7,120,27.74,85,"2009-02-08T11:37:08",60.2,264.7,12,2774,8.52,3.2500000000000001E-2,85,90.3,134.6,6509,60.2,null,null,0.06]
[17,281.8,118,35.14,84.3,"2009-02-08T11:37:40",60.5,281.8,11.8,3514,8.8000000000000007,3.9899999999999998E-2,84.3,89.5,127.3,7988,60.5,null,null,0.05]
[17.5,273.7,115,44.24,84.3,"2009-02-08T11:38:12",60.7,273.7,11.5,4424,9.02,4.9099999999999998E-2,84.3,89.5,121.8,9810,60.7,null,null,0.05]
[18,278,113,48.02,84.1,"2009-02-08T11:38:44",60.9,278,11.3,4802,9.2100000000000009,5.21E-2,84.1,89.3,117.2,10430,60.9,null,null,0.65]
[18.5,285.39999999999998,120,44.09,83.4,"2009-02-08T11:39:16",61,285.39999999999998,12,4409,8.5500000000000007,5.16E-2,83.4,88.6,133.9,10312,61,null,null,0.6]
[19,290.89999999999998,113,46.26,83.8,"2009-02-08T11:39:48",61.1,290.89999999999998,11.3,4626,9.1999999999999993,5.0299999999999997E-2,83.8,89,117.5,10060,61.1,null,null,0.57999999999999996]
[19.5,296.3,108,70,83,"2009-02-08T11:40:20",61.1,296.3,10.8,7000,9.74,7.1800000000000003E-2,83,88.1,105.3,14368,61.1,null,null,0.6]
[20,301.60000000000002,103,26.75,85.3,"2009-02-08T11:40:52",61,301.60000000000002,10.3,2675,10.17,2.63E-2,85.3,90.6,96.7,5262,61,null,null,0.56999999999999995]
[20.5,301.5,100,30.28,85.4,"2009-02-08T11:41:24",61.2,301.5,10,3028,10.47,2.8899999999999999E-2,85.4,90.7,91,5783,61.2,null,null,0.56999999999999995]
[21,308.5,98,16.66,86,"2009-02-08T11:41:56",61.3,308.5,9.8000000000000007,1666,10.66,1.5599999999999999E-2,86,91.3,87.5,3124,61.3,null,null,0.57999999999999996]
[21.5,306,98,11.42,86.3,"2009-02-08T11:42:28",61.5,306,9.8000000000000007,1142,10.64,1.0699999999999999E-2,86.3,91.6,88,2147,61.5,null,null,0.59]
[22,305.39999999999998,99,10.93,86.3,"2009-02-08T11:43:00",61.7,305.39999999999998,9.9,1093,10.61,1.03E-2,86.3,91.7,88.6,2061,61.7,null,null,0.6]
[22.5,307.3,99,9.69,86.3,"2009-02-08T11:43:32",61.7,307.3,9.9,969,10.54,9.1999999999999998E-3,86.3,91.6,89.8,1839,61.7,null,null,0.61]
[23,317.3,100,8.6,86,"2009-02-08T11:44:04",61.8,317.3,10,860,10.46,8.2000000000000007E-3,86,91.3,91.2,1644,61.8,null,null,0.61]
[23.5,319.10000000000002,101,5.84,86,"2009-02-08T11:44:36",62.2,319.10000000000002,10.1,584,10.37,5.5999999999999999E-3,86,91.4,92.8,1126,62.2,null,null,0.57999999999999996]
[24,325.60000000000002,102,4.47,85.9,"2009-02-08T11:45:08",62.7,325.60000000000002,10.199999999999999,447,10.33,4.3E-3,85.9,91.2,93.6,865,62.7,null,null,0.55000000000000004]
[24.5,325.60000000000002,103,3.37,85.9,"2009-02-08T11:45:40",63.6,325.60000000000002,10.3,337,10.23,3.3E-3,85.9,91.3,95.4,659,63.6,null,null,0.48]
[25,336,103,2.3199999999999998,85.7,"2009-02-08T11:46:12",64,336,10.3,232,10.199999999999999,2.3E-3,85.7,91,96.1,455,64,null,null,0.46]
[25.5,331.8,104,1.87,85.8,"2009-02-08T11:46:44",63.7,331.8,10.4,187,10.14,1.8E-3,85.8,91.1,97.2,369,63.7,null,null,0.44]
[26,345.8,104,1.89,85.3,"2009-02-08T11:47:16",62.8,345.8,10.4,189,10.08,1.9E-3,85.3,90.6,98.4,375,62.8,null,null,0.43]
[26.5,343.3,105,2.5099999999999998,85.1,"2009-02-08T11:47:48",59.5,343.3,10.5,251,9.98,2.5000000000000001E-3,85.1,90.4,100.4,503,59.5,null,null,0.44]
[27,343.6,105,4.42,85,"2009-02-08T11:48:20",58.3,343.6,10.5,442,9.98,4.4000000000000003E-3,85,90.3,100.3,885,58.3,null,null,0.41]
[27.5,344.6,105,6.44,84.9,"2009-02-08T11:48:52",58.9,344.6,10.5,644,10.039999999999999,6.4000000000000003E-3,84.9,90.2,99.2,1283,58.9,null,null,0.38]
[28,343.3,104,6.08,85,"2009-02-08T11:49:24",57.2,343.3,10.4,608,10.11,6.0000000000000001E-3,85,90.2,97.8,1203,57.2,null,null,0.36]
[28.5,367.6,102,5.94,84.4,"2009-02-08T11:49:56",58.2,367.6,10.199999999999999,594,10.24,5.7999999999999996E-3,84.4,89.6,95.3,1160,58.2,null,null,0.33]
[29,355.7,101,7.02,84.8,"2009-02-08T11:50:28",59.2,355.7,10.1,702,10.35,6.7999999999999996E-3,84.8,90.1,93.3,1357,59.2,null,null,0.34]
[29.5,365.8,100,11.27,84.4,"2009-02-08T11:51:00",59.5,365.8,10,1127,10.47,1.0800000000000001E-2,84.4,89.6,91,2152,59.5,null,null,0.3]
[30,357.4,98,16.059999999999999,84.5,"2009-02-08T11:51:32",58.4,357.4,9.8000000000000007,1606,10.64,1.5100000000000001E-2,84.5,89.8,88,3020,58.4,null,null,0.27]
[30.5,356.9,97,13.6,84.7,"2009-02-08T11:52:04",57.9,356.9,9.6999999999999993,1360,10.79,1.26E-2,84.7,90,85.4,2521,57.9,null,null,0.25]
[31,352.8,96,14.92,84.9,"2009-02-08T11:52:36",58,352.8,9.6,1492,10.88,1.37E-2,84.9,90.1,83.9,2743,58,null,null,0.23]
[31.5,363.9,95,18.809999999999999,84.4,"2009-02-08T11:53:08",56.9,363.9,9.5,1881,10.95,1.72E-2,84.4,89.6,82.6,3435,56.9,null,null,0.23]
[32,{"$f":"FT","v":356.6},{"$f":"Oxy*10","v":94},{"$f":"CO/100","v":21.61},{"$f":"Effg","v":84.5},"2009-02-08T11:53:40",56.7,356.6,9.4,2161,11.06,1.95E-2,84.5,89.8,80.8,3907,56.7,null,null,0.21]
[32.5,362.1,93,20.81,84.5,"2009-02-08T11:54:12",57.2,362.1,9.3000000000000007,2081,11.17,1.8599999999999998E-2,84.5,89.8,79,3725,57.2,null,null,0.22]
[33,375.9,92,12.41,84.6,"2009-02-08T11:54:44",58.2,375.9,9.1999999999999993,1241,11.23,1.0999999999999999E-2,84.6,89.9,78,2209,58.2,null,null,0.2]
[33.5,363.9,90,17.559999999999999,84.8,"2009-02-08T11:55:16",57.6,363.9,9,1756,11.4,1.54E-2,84.8,90.1,75.5,3082,57.6,null,null,0.19]
[34,371.9,89,16.100000000000001,84.7,"2009-02-08T11:55:48",57.7,371.9,8.9,1610,11.5,1.4E-2,84.7,90,73.900000000000006,2800,57.7,null,null,0.19]
[34.5,356.7,89,11.96,85.3,"2009-02-08T11:56:20",57.8,356.7,8.9,1196,11.54,1.04E-2,85.3,90.6,73.400000000000006,2073,57.8,null,null,0.18]
[35,378.6,89,12.21,84.8,"2009-02-08T11:56:52",57.7,378.6,8.9,1221,11.53,1.06E-2,84.8,90,73.400000000000006,2118,57.7,null,null,0.18]
[35.5,377.1,88,12.73,84.8,"2009-02-08T11:57:24",58,377.1,8.8000000000000007,1273,11.6,1.0999999999999999E-2,84.8,90.1,72.400000000000006,2194,58,null,null,0.2]
[36,379.2,89,10.16,84.9,"2009-02-08T11:57:56",58,379.2,8.9,1016,11.57,8.8000000000000005E-3,84.9,90.1,72.900000000000006,1756,58,null,null,0.16]
[36.5,383,89,11.26,84.7,"2009-02-08T11:58:28",58,383,8.9,1126,11.53,9.7999999999999997E-3,84.7,89.9,73.5,1954,58,null,null,0.15]
[37,376.8,89,12.13,84.8,"2009-02-08T11:59:00",57.3,376.8,8.9,1213,11.48,1.06E-2,84.8,90,74.2,2113,57.3,null,null,0.13]
[37.5,371.9,89,13.78,84.8,"2009-02-08T11:59:32",57.8,371.9,8.9,1378,11.48,1.2E-2,84.8,90.1,74.2,2400,57.8,null,null,0.7]
[38,388.1,98,11.64,83.8,"2009-02-08T12:00:04",58.1,388.1,9.8000000000000007,1164,10.62,1.0999999999999999E-2,83.8,89,88.3,2192,58.1,null,null,0.63]
[38.5,387,96,15.73,83.9,"2009-02-08T12:00:36",58,387,9.6,1573,10.9,1.44E-2,83.9,89.1,83.5,2887,58,null,null,0.62]
[39,388.5,94,20.79,83.8,"2009-02-08T12:01:08",58.8,388.5,9.4,2079,11.09,1.8700000000000001E-2,83.8,89,80.400000000000006,3750,58.8,null,null,0.61]
[39.5,388.8,92,24.18,83.7,"2009-02-08T12:01:40",58.3,388.8,9.1999999999999993,2418,11.23,2.1499999999999998E-2,83.7,88.9,78.2,4308,58.3,null,null,0.6]
[40,398.3,91,17.170000000000002,83.8,"2009-02-08T12:02:12",57.8,398.3,9.1,1717,11.3,1.52E-2,83.8,89,77,3040,57.8,null,null,0.6]
[40.5,400,91,20.46,83.7,"2009-02-08T12:02:44",59,400,9.1,2046,11.29,1.8100000000000002E-2,83.7,88.9,77.2,3625,59,null,null,0.56000000000000005]
[41,393.9,92,12.71,84.2,"2009-02-08T12:03:16",58.1,393.9,9.1999999999999993,1271,11.28,1.1299999999999999E-2,84.2,89.4,77.3,2254,58.1,null,null,0.54]
[41.5,401.7,93,5.73,84.2,"2009-02-08T12:03:48",58.7,401.7,9.3000000000000007,573,11.18,5.1000000000000004E-3,84.2,89.4,78.8,1025,58.7,null,null,0.54]
[42,399.2,94,5.86,84.2,"2009-02-08T12:04:20",59.8,399.2,9.4,586,11.04,5.3E-3,84.2,89.4,81.2,1062,59.8,null,null,0.54]
[42.5,404.5,97,8.06,83.8,"2009-02-08T12:04:52",61.1,404.5,9.6999999999999993,806,10.77,7.4999999999999997E-3,83.8,89,85.6,1496,61.1,null,null,0.53]
[43,403.7,98,10.46,83.7,"2009-02-08T12:05:24",62.1,403.7,9.8000000000000007,1046,10.7,9.7999999999999997E-3,83.7,88.8,87,1956,62.1,null,null,0.51]
[43.5,405.2,100,8.2899999999999991,83.6,"2009-02-08T12:05:56",62.4,405.2,10,829,10.51,7.9000000000000008E-3,83.6,88.7,90.4,1578,62.4,null,null,0.5]
[44,394.4,101,7.67,83.7,"2009-02-08T12:06:28",60.8,394.4,10.1,767,10.38,7.4000000000000003E-3,83.7,88.9,92.7,1478,60.8,null,null,0.5]
[44.5,414.9,103,5.44,83.1,"2009-02-08T12:07:00",61,414.9,10.3,544,10.23,5.3E-3,83.1,88.3,95.6,1064,61,null,null,0.5]
[45,398.7,104,5.71,83.5,"2009-02-08T12:07:32",62.3,398.7,10.4,571,10.09,5.7000000000000002E-3,83.5,88.7,98.2,1132,62.3,null,null,0.5]
[45.5,400.4,105,4.82,83.4,"2009-02-08T12:08:04",62.6,400.4,10.5,482,9.9700000000000006,4.7999999999999996E-3,83.4,88.6,100.7,967,62.6,null,null,0.5]
[46,404.8,106,4.68,83.2,"2009-02-08T12:08:36",62.6,404.8,10.6,468,9.8699999999999992,4.7000000000000002E-3,83.2,88.3,102.6,948,62.6,null,null,0.51]
[46.5,404,107,5.16,83.1,"2009-02-08T12:09:08",61.8,404,10.7,516,9.85,5.1999999999999998E-3,83.1,88.3,103.1,1048,61.8,null,null,0.51]
[47,419.1,106,5.84,82.7,"2009-02-08T12:09:40",62.8,419.1,10.6,584,9.86,5.8999999999999999E-3,82.7,87.8,102.8,1185,62.8,null,null,0.51]
[47.5,413.9,107,2.81,83,"2009-02-08T12:10:12",61.7,413.9,10.7,281,9.85,2.8999999999999998E-3,83,88.1,103,570,61.7,null,null,0.5]
[48,410.8,107,2.2999999999999998,83.1,"2009-02-08T12:10:44",63,410.8,10.7,230,9.82,2.3E-3,83.1,88.3,103.6,468,63,null,null,0.5]
[48.5,407.2,107,2.15,83.2,"2009-02-08T12:11:16",63.3,407.2,10.7,215,9.7899999999999991,2.2000000000000001E-3,83.2,88.3,104.3,439,63.3,null,null,0.49]
[49,418.3,108,1.53,82.8,"2009-02-08T12:11:48",62.9,418.3,10.8,153,9.7200000000000006,1.6000000000000001E-3,82.8,87.9,105.7,315,62.9,null,null,0.49]
[49.5,414.4,108,3.55,82.8,"2009-02-08T12:12:20",62.9,414.4,10.8,355,9.75,3.5999999999999999E-3,82.8,88,105.2,729,62.9,null,null,0.49]
[50,417.1,108,3.87,82.7,"2009-02-08T12:12:52",62.7,417.1,10.8,387,9.75,4.0000000000000001E-3,82.7,87.9,105.2,794,62.7,null,null,0.48]
[50.5,411.7,108,3.05,83,"2009-02-08T12:13:24",64.099999999999994,411.7,10.8,305,9.75,3.0999999999999999E-3,83,88.1,105.1,626,64.099999999999994,null,null,0.48]
[51,414.7,108,2.2999999999999998,82.8,"2009-02-08T12:13:56",63.3,414.7,10.8,230,9.67,2.3999999999999998E-3,82.8,88,106.8,476,63.3,null,null,0.48]
[51.5,412.2,109,2.58,82.8,"2009-02-08T12:14:28",61.7,412.2,10.9,258,9.6199999999999992,2.7000000000000001E-3,82.8,87.9,107.8,536,61.7,null,null,0.47]
[52,415,110,2.2200000000000002,82.7,"2009-02-08T12:15:00",64.5,415,11,222,9.49,2.3E-3,82.7,87.8,110.7,468,64.5,null,null,0.47]
[52.5,413.8,112,2.2799999999999998,82.6,"2009-02-08T12:15:32",65.900000000000006,413.8,11.2,228,9.3000000000000007,2.5000000000000001E-3,82.6,87.7,115.1,490,65.900000000000006,null,null,0.47]
[53,425.4,114,2.2200000000000002,82.1,"2009-02-08T12:16:04",66,425.4,11.4,222,9.17,2.3999999999999998E-3,82.1,87.2,118,484,66,null,null,0.47]
[53.5,420.2,115,1.67,82.2,"2009-02-08T12:16:36",66.5,420.2,11.5,167,9.08,1.8E-3,82.2,87.3,120.3,368,66.5,null,null,0.47]
[54,416.2,116,1.28,82.2,"2009-02-08T12:17:08",66.5,416.2,11.6,128,9,1.4E-3,82.2,87.3,122.3,285,66.5,null,null,0.47]
[54.5,418.2,116,2.2200000000000002,81.900000000000006,"2009-02-08T12:17:40",64.3,418.2,11.6,222,8.92,2.5000000000000001E-3,81.900000000000006,87,124.1,498,64.3,null,null,0.47]
[55,426.3,118,1.52,81.5,"2009-02-08T12:18:12",62.7,426.3,11.8,152,8.7899999999999991,1.6999999999999999E-3,81.5,86.6,127.4,346,62.7,null,null,0.46]
[55.5,419.5,119,1.33,81.5,"2009-02-08T12:18:44",61.7,419.5,11.9,133,8.6300000000000008,1.5E-3,81.5,86.5,131.80000000000001,308,61.7,null,null,0.46]
[56,420.4,120,1.08,81.400000000000006,"2009-02-08T12:19:16",61.2,420.4,12,108,8.56,1.2999999999999999E-3,81.400000000000006,86.4,133.6,252,61.2,null,null,0.48]
[56.5,427.5,121,1.23,81,"2009-02-08T12:19:48",60.8,427.5,12.1,123,8.4600000000000009,1.5E-3,81,86,136.30000000000001,291,60.8,null,null,0.49]
[57,420.1,122,1.01,81.099999999999994,"2009-02-08T12:20:20",60.6,420.1,12.2,101,8.3800000000000008,1.1999999999999999E-3,81.099999999999994,86.1,138.80000000000001,241,60.6,null,null,0.5]
[57.5,431.7,124,0.99,80.5,"2009-02-08T12:20:52",60.2,431.7,12.4,99,8.2200000000000006,1.1999999999999999E-3,80.5,85.5,143.30000000000001,241,60.2,null,null,0.49]
[58,440.7,125,1.19,80,"2009-02-08T12:21:24",62.7,440.7,12.5,119,8.07,1.5E-3,80,85,147.69999999999999,295,62.7,null,null,0.49]
[58.5,424.5,126,1.21,80.5,"2009-02-08T12:21:56",63.3,424.5,12.6,121,8,1.5E-3,80.5,85.5,149.9,302,63.3,null,null,0.47]
[59,426.4,127,1.54,80.3,"2009-02-08T12:22:28",62.5,426.4,12.7,154,7.94,1.9E-3,80.3,85.3,151.80000000000001,388,62.5,null,null,0.47]
[59.5,425.1,127,1.63,80.400000000000006,"2009-02-08T12:23:00",64.099999999999994,425.1,12.7,163,7.91,2.0999999999999999E-3,80.400000000000006,85.3,152.9,412,64.099999999999994,null,null,0.46]
[60,416.8,127,1.48,80.599999999999994,"2009-02-08T12:23:32",63.1,416.8,12.7,148,7.88,1.9E-3,80.599999999999994,85.6,153.80000000000001,376,63.1,null,null,0.47]
[60.5,429.4,127,1.51,80.099999999999994,"2009-02-08T12:24:04",63.1,429.4,12.7,151,7.87,1.9E-3,80.099999999999994,85.1,154,384,63.1,null,null,0.47]
[61,427,127,0.86,80.3,"2009-02-08T12:24:36",62.7,427,12.7,86,7.89,1.1000000000000001E-3,80.3,85.2,153.4,218,62.7,null,null,0.48]
[61.5,429.1,127,1.05,80.2,"2009-02-08T12:25:08",62.8,429.1,12.7,105,7.9,1.2999999999999999E-3,80.2,85.1,153.1,266,62.8,null,null,0.47]
[62,423.3,128,0.92,80.400000000000006,"2009-02-08T12:25:40",64.099999999999994,423.3,12.8,92,7.84,1.1999999999999999E-3,80.400000000000006,85.3,155.19999999999999,235,64.099999999999994,null,null,0.49]
[62.5,427.9,128,0.81,80.099999999999994,"2009-02-08T12:26:12",62.8,427.9,12.8,81,7.83,1E-3,80.099999999999994,85.1,155.6,207,62.8,null,null,0.49]
[63,421,128,1.38,80.400000000000006,"2009-02-08T12:26:44",64.3,421,12.8,138,7.84,1.8E-3,80.400000000000006,85.4,155.19999999999999,352,64.3,null,null,0.48]
[63.5,431.3,126,1.05,80.3,"2009-02-08T12:27:16",64.5,431.3,12.6,105,7.96,1.2999999999999999E-3,80.3,85.2,151.19999999999999,264,64.5,null,null,0.49]
[64,{"$f":"FT","v":433.6},{"$f":"Oxy*10","v":125},{"$f":"CO/100","v":0.63},{"$f":"Effg","v":80.400000000000006},"2009-02-08T12:27:48",63.2,433.6,12.5,63,8.14,8.0000000000000004E-4,80.400000000000006,85.4,145.69999999999999,155,63.2,null,null,0.49]
[64.5,425.8,123,0.56999999999999995,80.900000000000006,"2009-02-08T12:28:20",63.5,425.8,12.3,57,8.27,6.9999999999999999E-4,80.900000000000006,85.9,142,138,63.5,null,null,0.49]
[65,427.7,123,0.85,80.8,"2009-02-08T12:28:52",63.9,427.7,12.3,85,8.24,1E-3,80.8,85.8,142.69999999999999,206,63.9,null,null,0.48]
[65.5,420.9,124,1.8,80.8,"2009-02-08T12:29:24",62.9,420.9,12.4,180,8.16,2.2000000000000001E-3,80.8,85.8,145,441,62.9,null,null,0.48]
[66,422.9,125,0.97,80.7,"2009-02-08T12:29:56",62.2,422.9,12.5,97,8.1300000000000008,1.1999999999999999E-3,80.7,85.7,146,239,62.2,null,null,0.49]
[66.5,422.4,126,1.28,80.7,"2009-02-08T12:30:28",65.400000000000006,422.4,12.6,128,8.0399999999999991,1.6000000000000001E-3,80.7,85.7,148.69999999999999,318,65.400000000000006,null,null,0.48]
[67,425.2,127,2,80.3,"2009-02-08T12:31:00",64.099999999999994,425.2,12.7,200,7.87,2.5000000000000001E-3,80.3,85.2,154,508,64.099999999999994,null,null,0.48]
[67.5,428.6,129,2.21,80,"2009-02-08T12:31:32",65.7,428.6,12.9,221,7.73,2.8999999999999998E-3,80,84.9,158.80000000000001,572,65.7,null,null,0.48]
[68,437.1,125,0.69,80.2,"2009-02-08T12:32:04",64,437.1,12.5,69,8.08,8.9999999999999998E-4,80.2,85.2,147.6,171,64,null,null,0.47]
[68.5,422,122,2.64,81,"2009-02-08T12:32:36",62.1,422,12.2,264,8.3800000000000008,3.2000000000000002E-3,81,86,138.69999999999999,630,62.1,null,null,0.46]
[69,430.3,120,1.34,81.099999999999994,"2009-02-08T12:33:08",62.7,430.3,12,134,8.57,1.6000000000000001E-3,81.099999999999994,86.1,133.4,313,62.7,null,null,0.47]
[69.5,429.2,120,0.33,81.3,"2009-02-08T12:33:40",65.400000000000006,429.2,12,33,8.58,4.0000000000000002E-4,81.3,86.3,133.1,77,65.400000000000006,null,null,0.48]
[70,440.5,121,0.55000000000000004,80.8,"2009-02-08T12:34:12",65.2,440.5,12.1,55,8.48,5.9999999999999995E-4,80.8,85.8,135.80000000000001,130,65.2,null,null,0.47]
[70.5,432.1,121,0.32,81.099999999999994,"2009-02-08T12:34:44",67.900000000000006,432.1,12.1,32,8.44,4.0000000000000002E-4,81.099999999999994,86.1,136.9,76,67.900000000000006,null,null,0.47]
[71,430,122,0.8,81,"2009-02-08T12:35:16",67.900000000000006,430,12.2,80,8.35,1E-3,81,86,139.6,192,67.900000000000006,null,null,0.48]
[71.5,424.9,123,0.51,80.900000000000006,"2009-02-08T12:35:48",62.4,424.9,12.3,51,8.24,5.9999999999999995E-4,80.900000000000006,85.9,142.6,124,62.4,null,null,0.47]
[72,436.5,125,1.1000000000000001,80.099999999999994,"2009-02-08T12:36:20",60,436.5,12.5,110,8.08,1.4E-3,80.099999999999994,85,147.4,272,60,null,null,0.47]
[72.5,423.9,127,1.45,80.2,"2009-02-08T12:36:52",59.2,423.9,12.7,145,7.91,1.8E-3,80.2,85.2,153,367,59.2,null,null,0.46]
[73,423.6,129,2.63,79.8,"2009-02-08T12:37:24",58,423.6,12.9,263,7.72,3.3999999999999998E-3,79.8,84.7,159.1,681,58,null,null,0.47]
[73.5,419.4,132,3.01,79.7,"2009-02-08T12:37:56",63.7,419.4,13.2,301,7.46,4.0000000000000001E-3,79.7,84.7,168.1,807,63.7,null,null,0.47]
[74,419.5,134,6.64,79,"2009-02-08T12:38:28",63.8,419.5,13.4,664,7.19,9.1999999999999998E-3,79,83.9,178,1846,63.8,null,null,0.47]
[74.5,426.3,138,10.45,77.8,"2009-02-08T12:39:00",63.8,426.3,13.8,1045,6.88,1.52E-2,77.8,82.6,190.7,3038,63.8,null,null,0.47]
[75,407.8,141,14.44,77.5,"2009-02-08T12:39:32",63.3,407.8,14.1,1444,6.54,2.2100000000000002E-2,77.5,82.3,205.8,4416,63.3,null,null,0.48]
[75.5,425.7,146,19.829999999999998,75.2,"2009-02-08T12:40:04",64,425.7,14.6,1983,6.13,3.2399999999999998E-2,75.2,79.900000000000006,226.4,6472,64,null,null,0.48]
[76,373.4,154,8.11,76.7,"2009-02-08T12:40:36",64.400000000000006,373.4,15.4,811,5.38,1.5100000000000001E-2,76.7,81.400000000000006,272,3017,64.400000000000006,null,null,0.49]
[76.5,367.7,156,5.3,76.599999999999994,"2009-02-08T12:41:08",64.3,367.7,15.6,530,5.15,1.03E-2,76.599999999999994,81.3,288.3,2058,64.3,null,null,0.49]
[77,379.8,152,4.63,77.099999999999994,"2009-02-08T12:41:40",63.5,379.8,15.2,463,5.54,8.3999999999999995E-3,77.099999999999994,81.900000000000006,260.7,1670,63.5,null,null,0.48]
[77.5,382.4,149,6.64,77.5,"2009-02-08T12:42:12",62,382.4,14.9,664,5.81,1.14E-2,77.5,82.2,244,2284,62,null,null,0.48]
[78,393.3,147,7.3,77.5,"2009-02-08T12:42:44",63.7,393.3,14.7,730,6.03,1.21E-2,77.5,82.3,231.9,2423,63.7,null,null,0.48]
[78.5,393.3,145,8.2799999999999994,77.900000000000006,"2009-02-08T12:43:16",65,393.3,14.5,828,6.2,1.34E-2,77.900000000000006,82.7,222.8,2673,65,null,null,0.44]
[79,389.9,144,8.24,78.2,"2009-02-08T12:43:48",65,389.9,14.4,824,6.27,1.3100000000000001E-2,78.2,83.1,218.9,2627,65,null,null,0.45]
[79.5,395,144,10.99,77.7,"2009-02-08T12:44:20",64.400000000000006,395,14.4,1099,6.24,1.7600000000000001E-2,77.7,82.5,220.4,3521,64.400000000000006,null,null,0.47]
[80,397.3,145,13.83,77.3,"2009-02-08T12:44:52",66.2,397.3,14.5,1383,6.17,2.24E-2,77.3,82,224,4481,66.2,null,null,0.47]
[80.5,411.6,146,13.62,76.3,"2009-02-08T12:45:24",65.5,411.6,14.6,1362,6.06,2.2499999999999999E-2,76.3,81,230.3,4498,65.5,null,null,0.46]
[81,407.8,148,14.61,76.099999999999994,"2009-02-08T12:45:56",66.599999999999994,407.8,14.8,1461,5.94,2.46E-2,76.099999999999994,80.8,237,4923,66.599999999999994,null,null,0.47]
[81.5,407.3,149,16.170000000000002,75.400000000000006,"2009-02-08T12:46:28",65.8,407.3,14.9,1617,5.76,2.81E-2,75.400000000000006,80.099999999999994,247.1,5612,65.8,null,null,0.48]
[82,406.6,151,17.149999999999999,74.8,"2009-02-08T12:47:00",65.400000000000006,406.6,15.1,1715,5.58,3.0700000000000002E-2,74.8,79.400000000000006,258.39999999999998,6146,65.400000000000006,null,null,0.46]
[82.5,382.2,153,13.1,76,"2009-02-08T12:47:32",65.400000000000006,382.2,15.3,1310,5.44,2.41E-2,76,80.7,267.89999999999998,4820,65.400000000000006,null,null,0.48]