{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":181,"n_cols":20,"rows_kept":181,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":348.31675977653612},{"$f":"AVERAGE(Oxy)","v":13.709497206703915},{"$f":"AVERAGE(CO)","v":613.46368715083804},{"$f":"AVERAGE(Effg)","v":80.959322033898331}]
[0,{"$f":"FT","v":99},{"$f":"Oxy*10","v":209},{"$f":"CO/100","v":6.7},{"$f":"Effg","v":0},"2009-02-09T11:43:35",57.4,99,20.9,670,null,null,null,null,null,null,57.4,null,null,0.63]
[0.5,121.2,205,13.3,0,"2009-02-09T11:44:07",57.3,121.2,20.5,1330,null,null,null,null,null,null,57.3,null,null,0.62]
[1,136.80000000000001,196,10.79,74,"2009-02-09T11:44:39",57.1,136.80000000000001,19.600000000000001,1079,1.37,7.9000000000000001E-2,74,78.599999999999994,1386.7,16042,57.1,null,null,0.6]
[1.5,151.30000000000001,187,5.31,80.599999999999994,"2009-02-09T11:45:11",57.1,151.30000000000001,18.7,531,2.1800000000000002,2.4400000000000002E-2,80.599999999999994,85.6,831.8,4948,57.1,null,null,0.61]
[2,159.80000000000001,178,6.36,83.5,"2009-02-09T11:45:43",57.4,159.80000000000001,17.8,636,3.11,2.0500000000000001E-2,83.5,88.7,553.4,4156,57.4,null,null,0.51]
[2.5,171,169,6.99,84.9,"2009-02-09T11:46:15",57.4,171,16.899999999999999,699,4.01,1.7399999999999999E-2,84.9,90.1,406.6,3541,57.4,null,null,0.42]
[3,184.5,161,6.07,85.4,"2009-02-09T11:46:47",57.3,184.5,16.100000000000001,607,4.7,1.29E-2,85.4,90.7,332.1,2623,57.3,null,null,0.39]
[3.5,195.4,153,5.62,86,"2009-02-09T11:47:19",57.3,195.4,15.3,562,5.47,1.03E-2,86,91.3,271.10000000000002,2086,57.3,null,null,0.35]
[4,206.1,144,9.7100000000000009,86.2,"2009-02-09T11:47:51",56.6,206.1,14.4,971,6.4,1.52E-2,86.2,91.6,217.2,3080,56.6,null,null,0.33]
[4.5,211.5,138,5.45,86.9,"2009-02-09T11:48:23",57.4,211.5,13.8,545,6.93,7.9000000000000008E-3,86.9,92.3,193,1597,57.4,null,null,0.33]
[5,212.8,138,4.18,86.9,"2009-02-09T11:48:55",56.6,212.8,13.8,418,6.98,6.0000000000000001E-3,86.9,92.3,190.8,1216,56.6,null,null,0.33]
[5.5,219.7,137,4.54,86.8,"2009-02-09T11:49:27",57.7,219.7,13.7,454,7.07,6.4000000000000003E-3,86.8,92.1,187.3,1304,57.7,null,null,0.32]
[6,226.6,136,4.28,86.5,"2009-02-09T11:49:59",57,226.6,13.6,428,7.11,6.0000000000000001E-3,86.5,91.9,185.6,1222,57,null,null,0.31]
[6.5,225.1,136,3.55,86.7,"2009-02-09T11:50:31",57.4,225.1,13.6,355,7.13,5.0000000000000001E-3,86.7,92,184.6,1010,57.4,null,null,0.31]
[7,227.9,137,4.16,86.4,"2009-02-09T11:51:03",57.8,227.9,13.7,416,7.02,5.8999999999999999E-3,86.4,91.8,189,1202,57.8,null,null,0.3]
[7.5,231.6,137,4.6100000000000003,86.2,"2009-02-09T11:51:35",57.7,231.6,13.7,461,7.01,6.6E-3,86.2,91.6,189.6,1335,57.7,null,null,0.28999999999999998]
[8,233.2,137,4.21,86.2,"2009-02-09T11:52:07",57.6,233.2,13.7,421,7.08,5.8999999999999999E-3,86.2,91.6,186.8,1207,57.6,null,null,0.28000000000000003]
[8.5,238.7,137,3.87,86.1,"2009-02-09T11:52:39",58,238.7,13.7,387,7.1,5.4000000000000003E-3,86.1,91.4,185.8,1106,58,null,null,0.28000000000000003]
[9,239.3,137,3.7,86,"2009-02-09T11:53:11",57.8,239.3,13.7,370,7.05,5.1999999999999998E-3,86,91.3,188,1066,57.8,null,null,0.27]
[9.5,240,137,3.04,86,"2009-02-09T11:53:43",58.1,240,13.7,304,7.02,4.3E-3,86,91.3,189.2,879,58.1,null,null,0.26]
[10,238.7,137,3.37,86.1,"2009-02-09T11:54:15",58.2,238.7,13.7,337,7.03,4.7999999999999996E-3,86.1,91.4,188.7,973,58.2,null,null,0.26]
[10.5,241.9,138,3.94,85.8,"2009-02-09T11:54:47",57.8,241.9,13.8,394,6.95,5.7000000000000002E-3,85.8,91.1,192.1,1151,57.8,null,null,0.24]
[11,241.9,140,4.6500000000000004,85.6,"2009-02-09T11:55:19",57.8,241.9,14,465,6.81,6.7999999999999996E-3,85.6,90.9,197.9,1385,57.8,null,null,0.22]
[11.5,246.6,141,5.14,85.2,"2009-02-09T11:55:51",58.3,246.6,14.1,514,6.69,7.7000000000000002E-3,85.2,90.5,203.6,1560,58.3,null,null,0.21]
[12,251.7,143,5.77,84.7,"2009-02-09T11:56:23",57.6,251.7,14.3,577,6.49,8.8999999999999999E-3,84.7,89.9,212.9,1805,57.6,null,null,0.19]
[12.5,240.4,145,6.4,84.9,"2009-02-09T11:56:55",57.9,240.4,14.5,640,6.3,1.0200000000000001E-2,84.9,90.1,222.5,2064,57.9,null,null,0.19]
[13,245.1,146,6.37,84.5,"2009-02-09T11:57:27",58.4,245.1,14.6,637,6.18,1.03E-2,84.5,89.8,228.6,2093,58.4,null,null,0.18]
[13.5,250.3,147,7.34,84,"2009-02-09T11:57:59",58.1,250.3,14.7,734,6.07,1.21E-2,84,89.3,234.4,2455,58.1,null,null,0.16]
[14,247,148,8.59,84,"2009-02-09T11:58:31",57.8,247,14.8,859,6.03,1.43E-2,84,89.2,236.9,2894,57.8,null,null,0.14000000000000001]
[14.5,250.2,147,8.5299999999999994,84,"2009-02-09T11:59:03",58.5,250.2,14.7,853,6.12,1.3899999999999999E-2,84,89.2,231.9,2831,58.5,null,null,0.13]
[15,256.7,145,8.17,84,"2009-02-09T11:59:35",58.7,256.7,14.5,817,6.24,1.3100000000000001E-2,84,89.2,225.4,2658,58.7,null,null,0.12]
[15.5,267.2,144,7.28,83.7,"2009-02-09T12:00:07",58,267.2,14.4,728,6.33,1.15E-2,83.7,88.8,220.5,2333,58,null,null,0.12]
[16,249.9,144,7.17,84.5,"2009-02-09T12:00:39",57.7,249.9,14.4,717,6.39,1.12E-2,84.5,89.7,217.9,2279,57.7,null,null,0.11]
[16.5,253.2,143,7.15,84.5,"2009-02-09T12:01:11",58.5,253.2,14.3,715,6.47,1.0999999999999999E-2,84.5,89.7,213.6,2243,58.5,null,null,0.1]
[17,258.7,143,8.5500000000000007,84.2,"2009-02-09T12:01:43",58.9,258.7,14.3,855,6.47,1.32E-2,84.2,89.4,213.7,2682,58.9,null,null,0.09]
[17.5,258.2,144,10.23,84,"2009-02-09T12:02:15",59.4,258.2,14.4,1023,6.38,1.6E-2,84,89.2,218.1,3255,59.4,null,null,0.09]
[18,264,145,10.77,83.5,"2009-02-09T12:02:47",59,264,14.5,1077,6.28,1.7100000000000001E-2,83.5,88.7,223.1,3480,59,null,null,0.09]
[18.5,270.7,144,7.05,83.6,"2009-02-09T12:03:19",59,270.7,14.4,705,6.37,1.11E-2,83.6,88.8,218.5,2246,59,null,null,0.09]
[19,267.60000000000002,143,3.22,84.2,"2009-02-09T12:03:51",58.8,267.60000000000002,14.3,322,6.47,5.0000000000000001E-3,84.2,89.4,213.6,1010,58.8,null,null,0.64]
[19.5,283.39999999999998,144,6.55,83.1,"2009-02-09T12:04:23",58.6,283.39999999999998,14.4,655,6.4,1.0200000000000001E-2,83.1,88.3,217.1,2077,58.6,null,null,0.61]
[20,275.39999999999998,138,8.56,84.1,"2009-02-09T12:04:55",58.7,275.39999999999998,13.8,856,6.93,1.24E-2,84.1,89.3,192.9,2507,58.7,null,null,0.59]
[20.5,286.2,135,10.63,83.9,"2009-02-09T12:05:27",59.1,286.2,13.5,1063,7.21,1.47E-2,83.9,89,181.4,2992,59.1,null,null,0.59]
[21,289.89999999999998,133,13.98,83.8,"2009-02-09T12:05:59",59.1,289.89999999999998,13.3,1398,7.44,1.8800000000000001E-2,83.8,88.9,173,3816,59.1,null,null,0.59]
[21.5,291.5,131,10.99,84.2,"2009-02-09T12:06:31",58.9,291.5,13.1,1099,7.66,1.43E-2,84.2,89.4,165.1,2913,58.9,null,null,0.59]
[22,298.3,130,10.039999999999999,84.1,"2009-02-09T12:07:03",58.8,298.3,13,1004,7.76,1.29E-2,84.1,89.3,161.5,2626,58.8,null,null,0.57999999999999996]
[22.5,302.60000000000002,129,11.08,83.9,"2009-02-09T12:07:35",58.5,302.60000000000002,12.9,1108,7.84,1.41E-2,83.9,89.1,159,2869,58.5,null,null,0.59]
[23,301.2,128,11.45,84.1,"2009-02-09T12:08:07",58.9,301.2,12.8,1145,7.97,1.44E-2,84.1,89.3,154.69999999999999,2917,58.9,null,null,0.59]
[23.5,316.39999999999998,126,10.25,83.8,"2009-02-09T12:08:39",58.6,316.39999999999998,12.6,1025,8.1300000000000008,1.26E-2,83.8,89,149.6,2558,58.6,null,null,0.57999999999999996]
[24,318.5,124,9.49,84,"2009-02-09T12:09:11",59.4,318.5,12.4,949,8.34,1.14E-2,84,89.2,143.5,2310,59.4,null,null,0.56999999999999995]
[24.5,321.5,121,7.54,84.4,"2009-02-09T12:09:43",59.6,321.5,12.1,754,8.6199999999999992,8.6999999999999994E-3,84.4,89.6,135.4,1775,59.6,null,null,0.54]
[25,321.60000000000002,117,7.16,84.7,"2009-02-09T12:10:15",59.1,321.60000000000002,11.7,716,9,8.0000000000000002E-3,84.7,90,125.6,1615,59.1,null,null,0.49]
[25.5,324.5,112,8.4700000000000006,85,"2009-02-09T12:10:47",58.5,324.5,11.2,847,9.49,8.8999999999999999E-3,85,90.2,114,1812,58.5,null,null,0.45]
[26,329.1,109,6.94,85.1,"2009-02-09T12:11:19",59.2,329.1,10.9,694,9.76,7.1000000000000004E-3,85.1,90.4,107.9,1443,59.2,null,null,0.45]
[26.5,332.9,109,6.62,85,"2009-02-09T12:11:51",60,332.9,10.9,662,9.7200000000000006,6.7999999999999996E-3,85,90.3,109,1383,60,null,null,0.45]
[27,328.9,112,6.27,85,"2009-02-09T12:12:23",60,328.9,11.2,627,9.49,6.6E-3,85,90.3,114,1342,60,null,null,0.43]
[27.5,325.3,114,5.46,85,"2009-02-09T12:12:55",59.4,325.3,11.4,546,9.32,5.8999999999999999E-3,85,90.3,117.8,1189,59.4,null,null,0.42]
[28,336,113,5.59,84.7,"2009-02-09T12:13:27",60.2,336,11.3,559,9.33,6.0000000000000001E-3,84.7,89.9,117.5,1216,60.2,null,null,0.39]
[28.5,328.5,114,4.7699999999999996,84.9,"2009-02-09T12:13:59",59.8,328.5,11.4,477,9.25,5.1999999999999998E-3,84.9,90.1,119.4,1047,59.8,null,null,0.36]
[29,340.1,115,4.74,84.5,"2009-02-09T12:14:31",60,340.1,11.5,474,9.19,5.1999999999999998E-3,84.5,89.7,120.8,1047,60,null,null,0.31]
[29.5,352,115,4.82,84.1,"2009-02-09T12:15:03",59.8,352,11.5,482,9.1999999999999993,5.1999999999999998E-3,84.1,89.3,120.6,1063,59.8,null,null,0.27]
[30,335.8,115,4.32,84.7,"2009-02-09T12:15:35",61.1,335.8,11.5,432,9.1999999999999993,4.7000000000000002E-3,84.7,89.9,120.6,953,61.1,null,null,0.25]
[30.5,340.4,116,3.21,84.5,"2009-02-09T12:16:07",61.3,340.4,11.6,321,9.08,3.5000000000000001E-3,84.5,89.7,123.5,718,61.3,null,null,0.23]
[31,342.2,118,3.21,84.3,"2009-02-09T12:16:39",62,342.2,11.8,321,8.9,3.5999999999999999E-3,84.3,89.5,128.19999999999999,733,62,null,null,0.22]
[31.5,342.3,119,2.95,84.1,"2009-02-09T12:17:11",60.6,342.3,11.9,295,8.7899999999999991,3.3999999999999998E-3,84.1,89.4,130.9,681,60.6,null,null,0.21]
[32,{"$f":"FT","v":348.3},{"$f":"Oxy*10","v":120},{"$f":"CO/100","v":2.56},{"$f":"Effg","v":83.9},"2009-02-09T12:17:43",61.4,348.3,12,256,8.73,2.8999999999999998E-3,83.9,89.1,132.5,595,61.4,null,null,0.2]
[32.5,354.4,120,2.36,83.7,"2009-02-09T12:18:15",61.8,354.4,12,236,8.67,2.7000000000000001E-3,83.7,88.9,134.30000000000001,553,61.8,null,null,0.19]
[33,359.8,121,2.31,83.4,"2009-02-09T12:18:47",62.7,359.8,12.1,231,8.57,2.7000000000000001E-3,83.4,88.6,136.80000000000001,547,62.7,null,null,0.18]
[33.5,358.8,122,2.27,83.4,"2009-02-09T12:19:19",62.5,358.8,12.2,227,8.5,2.7000000000000001E-3,83.4,88.5,138.9,542,62.5,null,null,0.18]
[34,357.4,123,2.4,83.3,"2009-02-09T12:19:51",60.9,357.4,12.3,240,8.41,2.8999999999999998E-3,83.3,88.4,141.19999999999999,579,60.9,null,null,0.18]
[34.5,357,124,2.4700000000000002,83.2,"2009-02-09T12:20:23",61.9,357,12.4,247,8.31,3.0000000000000001E-3,83.2,88.4,144.19999999999999,603,61.9,null,null,0.17]
[35,353.2,125,2.61,83.3,"2009-02-09T12:20:55",62.5,353.2,12.5,261,8.25,3.2000000000000002E-3,83.3,88.4,146,642,62.5,null,null,0.17]
[35.5,372.8,126,3.05,82.5,"2009-02-09T12:21:27",62.9,372.8,12.6,305,8.16,3.7000000000000002E-3,82.5,87.6,148.69999999999999,759,62.9,null,null,0.17]
[36,364,126,3.34,82.7,"2009-02-09T12:21:59",62.9,364,12.6,334,8.09,4.1000000000000003E-3,82.7,87.8,150.9,838,62.9,null,null,0.17]
[36.5,371.2,127,3.19,82.2,"2009-02-09T12:22:31",59.4,371.2,12.7,319,8.02,4.0000000000000001E-3,82.2,87.3,153.19999999999999,808,59.4,null,null,0.16]
[37,360,127,2.95,82.6,"2009-02-09T12:23:03",60.8,360,12.7,295,7.99,3.7000000000000002E-3,82.6,87.7,154,749,60.8,null,null,0.16]
[37.5,371.1,128,3.35,82.1,"2009-02-09T12:23:35",60.6,371.1,12.8,335,7.96,4.1999999999999997E-3,82.1,87.2,155,854,60.6,null,null,0.16]
[38,356.4,128,3.6,82.6,"2009-02-09T12:24:07",59.5,356.4,12.8,360,7.92,4.4999999999999997E-3,82.6,87.7,156.4,923,59.5,null,null,0.17]
[38.5,361.6,128,3.47,82.4,"2009-02-09T12:24:39",61.3,361.6,12.8,347,7.88,4.4000000000000003E-3,82.4,87.5,157.69999999999999,894,61.3,null,null,0.17]
[39,361.8,129,3.41,82.4,"2009-02-09T12:25:11",62.4,361.8,12.9,341,7.85,4.3E-3,82.4,87.5,158.6,882,62.4,null,null,0.15]
[39.5,383.3,129,3.33,81.7,"2009-02-09T12:25:43",62.8,383.3,12.9,333,7.86,4.1999999999999997E-3,81.7,86.7,158.19999999999999,860,62.8,null,null,0.16]
[40,386,128,2.86,81.599999999999994,"2009-02-09T12:26:15",63.4,386,12.8,286,7.89,3.5999999999999999E-3,81.599999999999994,86.7,157.4,736,63.4,null,null,0.13]
[40.5,368.4,127,1.92,82.5,"2009-02-09T12:26:47",63.8,368.4,12.7,192,8,2.3999999999999998E-3,82.5,87.6,153.6,487,63.8,null,null,0.12]
[41,374.6,125,1.6,82.5,"2009-02-09T12:27:19",62.9,374.6,12.5,160,8.17,2E-3,82.5,87.6,148.5,398,62.9,null,null,0.12]
[41.5,375.8,125,1.34,82.6,"2009-02-09T12:27:51",63.7,375.8,12.5,134,8.25,1.6000000000000001E-3,82.6,87.7,146.19999999999999,330,63.7,null,null,0.12]
[42,372.8,124,1.1299999999999999,82.8,"2009-02-09T12:28:23",63.8,372.8,12.4,113,8.32,1.4E-3,82.8,87.9,144.1,276,63.8,null,null,0.11]
[42.5,374.2,124,1.08,82.8,"2009-02-09T12:28:55",63.7,374.2,12.4,108,8.33,1.2999999999999999E-3,82.8,87.9,143.69999999999999,263,63.7,null,null,0.11]
[43,378.5,124,0.89,82.6,"2009-02-09T12:29:27",62.9,378.5,12.4,89,8.34,1.1000000000000001E-3,82.6,87.7,143.5,217,62.9,null,null,0.11]
[43.5,374.3,124,0.68,82.8,"2009-02-09T12:29:59",63.7,374.3,12.4,68,8.32,8.0000000000000004E-4,82.8,87.9,143.9,166,63.7,null,null,0.11]
[44,374.1,124,0.63,82.8,"2009-02-09T12:30:31",64.5,374.1,12.4,63,8.2799999999999994,8.0000000000000004E-4,82.8,87.9,145.19999999999999,154,64.5,null,null,0.11]
[44.5,385,125,0.65,82.3,"2009-02-09T12:31:03",63.5,385,12.5,65,8.2100000000000009,8.0000000000000004E-4,82.3,87.4,147.4,161,63.5,null,null,0.11]
[45,380.8,125,0.64,82.5,"2009-02-09T12:31:35",64.599999999999994,380.8,12.5,64,8.2200000000000006,8.0000000000000004E-4,82.5,87.6,147,158,64.599999999999994,null,null,0.09]
[45.5,383.1,124,0.56000000000000005,82.5,"2009-02-09T12:32:07",64,383.1,12.4,56,8.36,6.9999999999999999E-4,82.5,87.7,142.9,136,64,null,null,0.09]
[46,387.5,123,0.44,82.5,"2009-02-09T12:32:39",62.9,387.5,12.3,44,8.4499999999999993,5.0000000000000001E-4,82.5,87.6,140.1,106,62.9,null,null,0.1]
[46.5,390.8,122,0.37,82.5,"2009-02-09T12:33:11",64.7,390.8,12.2,37,8.49,4.0000000000000002E-4,82.5,87.6,139.1,88,64.7,null,null,0.05]
[47,382.3,122,0.39,82.8,"2009-02-09T12:33:43",65,382.3,12.2,39,8.48,5.0000000000000001E-4,82.8,87.9,139.30000000000001,93,65,null,null,0.05]
[47.5,383,122,0.46,82.7,"2009-02-09T12:34:15",64.400000000000006,383,12.2,46,8.4600000000000009,5.0000000000000001E-4,82.7,87.8,140,110,64.400000000000006,null,null,0.05]
[48,393.7,123,0.51,82.3,"2009-02-09T12:34:47",66,393.7,12.3,51,8.4,5.9999999999999995E-4,82.3,87.4,141.5,123,66,null,null,0.05]
[48.5,393,124,0.54,82.3,"2009-02-09T12:35:19",66.2,393,12.4,54,8.36,5.9999999999999995E-4,82.3,87.4,142.9,131,66.2,null,null,0.05]
[49,385.8,124,0.54,82.4,"2009-02-09T12:35:51",64.2,385.8,12.4,54,8.2899999999999991,6.9999999999999999E-4,82.4,87.5,144.69999999999999,132,64.2,null,null,0.05]
[49.5,379.5,125,0.5,82.5,"2009-02-09T12:36:23",65.7,379.5,12.5,50,8.2100000000000009,5.9999999999999995E-4,82.5,87.7,147.30000000000001,124,65.7,null,null,0.06]
[50,389.1,126,0.42,82.1,"2009-02-09T12:36:55",65.5,389.1,12.6,42,8.1,5.0000000000000001E-4,82.1,87.2,150.6,105,65.5,null,null,0.06]
[50.5,394.5,127,0.42,81.8,"2009-02-09T12:37:27",66.2,394.5,12.7,42,8.0299999999999994,5.0000000000000001E-4,81.8,86.9,152.69999999999999,106,66.2,null,null,0.11]
[51,398.6,127,0.42,81.5,"2009-02-09T12:37:59",62.9,398.6,12.7,42,8.0299999999999994,5.0000000000000001E-4,81.5,86.6,152.80000000000001,106,62.9,null,null,7.0000000000000007E-2]
[51.5,394.9,139,0.13,79.8,"2009-02-09T12:38:31",62.9,394.9,13.9,13,6.87,2.0000000000000001E-4,79.8,84.8,195.3,38,62.9,null,null,0.57999999999999996]
[52,401.8,133,0.33,80.5,"2009-02-09T12:39:03",61.2,401.8,13.3,33,7.48,4.0000000000000002E-4,80.5,85.5,171.4,90,61.2,null,null,0.55000000000000004]
[52.5,398.7,128,0.4,81.3,"2009-02-09T12:39:35",61.1,398.7,12.8,40,7.93,5.0000000000000001E-4,81.3,86.4,155.9,102,61.1,null,null,0.51]
[53,406.3,126,0.54,81.400000000000006,"2009-02-09T12:40:07",65.099999999999994,406.3,12.6,54,8.08,6.9999999999999999E-4,81.400000000000006,86.4,151.19999999999999,136,65.099999999999994,null,null,0.48]
[53.5,403.2,125,0.62,81.599999999999994,"2009-02-09T12:40:39",64.400000000000006,403.2,12.5,62,8.19,8.0000000000000004E-4,81.599999999999994,86.7,147.69999999999999,154,64.400000000000006,null,null,0.47]
[54,396.9,125,0.84,81.8,"2009-02-09T12:41:11",64.599999999999994,396.9,12.5,84,8.17,1E-3,81.8,86.9,148.4,209,64.599999999999994,null,null,0.46]
[54.5,399.1,127,0.82,81.599999999999994,"2009-02-09T12:41:43",63.9,399.1,12.7,82,8.06,1E-3,81.599999999999994,86.6,151.69999999999999,206,63.9,null,null,0.47]
[55,401.4,128,0.75,81.3,"2009-02-09T12:42:15",64.400000000000006,401.4,12.8,75,7.94,8.9999999999999998E-4,81.3,86.4,155.80000000000001,192,64.400000000000006,null,null,0.45]
[55.5,398,130,0.77,81.2,"2009-02-09T12:42:47",63.3,398,13,77,7.78,1E-3,81.2,86.2,160.9,201,63.3,null,null,0.45]
[56,400.4,130,1.21,81,"2009-02-09T12:43:19",65.7,400.4,13,121,7.69,1.6000000000000001E-3,81,86,164.1,320,65.7,null,null,0.44]
[56.5,398.8,131,1.34,80.900000000000006,"2009-02-09T12:43:51",64.5,398.8,13.1,134,7.62,1.8E-3,80.900000000000006,85.9,166.3,357,64.5,null,null,0.44]
[57,397,133,1.24,80.7,"2009-02-09T12:44:23",62.2,397,13.3,124,7.49,1.6999999999999999E-3,80.7,85.7,171,336,62.2,null,null,0.45]
[57.5,388.9,134,1.92,80.8,"2009-02-09T12:44:55",65.599999999999994,388.9,13.4,192,7.3,2.5999999999999999E-3,80.8,85.8,178,534,65.599999999999994,null,null,0.43]
[58,392.2,139,4.57,79.7,"2009-02-09T12:45:27",66.8,392.2,13.9,457,6.83,6.7000000000000002E-3,79.7,84.6,197.4,1359,66.8,null,null,0.41]
[58.5,384,138,25.31,78.599999999999994,"2009-02-09T12:45:59",66.2,384,13.8,2531,6.91,3.6600000000000001E-2,78.599999999999994,83.5,193.6,7431,66.2,null,null,0.41]
[59,392.3,124,34.89,80.099999999999994,"2009-02-09T12:46:31",65,392.3,12.4,3489,8.2799999999999994,4.2099999999999999E-2,80.099999999999994,85,145.1,8553,65,null,null,0.39]
[59.5,398.2,116,36.369999999999997,80.8,"2009-02-09T12:47:03",64.3,398.2,11.6,3637,9.0500000000000007,4.02E-2,80.8,85.8,124.3,8156,64.3,null,null,0.39]
[60,389.7,112,38.96,81.5,"2009-02-09T12:47:35",64.2,389.7,11.2,3896,9.4700000000000006,4.1200000000000001E-2,81.5,86.5,114.4,8354,64.2,null,null,0.38]
[60.5,411.5,111,27.25,81.5,"2009-02-09T12:48:07",64.099999999999994,411.5,11.1,2725,9.57,2.8500000000000001E-2,81.5,86.6,112.1,5779,64.099999999999994,null,null,0.38]
[61,407,112,16.62,82.1,"2009-02-09T12:48:39",61.5,407,11.2,1662,9.52,1.7500000000000002E-2,82.1,87.2,113.2,3544,61.5,null,null,0.37]
[61.5,407.6,114,10.73,82.3,"2009-02-09T12:49:11",66,407.6,11.4,1073,9.31,1.15E-2,82.3,87.4,118,2339,66,null,null,0.38]
[62,409.5,116,7.48,82.2,"2009-02-09T12:49:43",66.8,409.5,11.6,748,9.07,8.2000000000000007E-3,82.2,87.3,123.8,1674,66.8,null,null,0.37]
[62.5,419.3,119,6.52,81.599999999999994,"2009-02-09T12:50:15",65.599999999999994,419.3,11.9,652,8.8000000000000007,7.4000000000000003E-3,81.599999999999994,86.6,130.6,1503,65.599999999999994,null,null,0.37]
[63,412,121,4.9800000000000004,81.7,"2009-02-09T12:50:47",66.400000000000006,412,12.1,498,8.59,5.7999999999999996E-3,81.7,86.7,136.30000000000001,1177,66.400000000000006,null,null,0.36]
[63.5,405.8,124,3.69,81.599999999999994,"2009-02-09T12:51:19",66.599999999999994,405.8,12.4,369,8.32,4.4000000000000003E-3,81.599999999999994,86.7,143.9,900,66.599999999999994,null,null,0.36]
[64,{"$f":"FT","v":408.9},{"$f":"Oxy*10","v":126},{"$f":"CO/100","v":6.69},{"$f":"Effg","v":81.2},"2009-02-09T12:51:51",68.599999999999994,408.9,12.6,669,8.16,8.2000000000000007E-3,81.2,86.2,148.69999999999999,1664,68.599999999999994,null,null,0.35]
[64.5,418.2,128,6.63,80.5,"2009-02-09T12:52:23",68.099999999999994,418.2,12.8,663,7.97,8.3000000000000001E-3,80.5,85.5,154.69999999999999,1689,68.099999999999994,null,null,0.35]
[65,420.7,129,7.16,80.099999999999994,"2009-02-09T12:52:55",67.3,420.7,12.9,716,7.83,9.1000000000000004E-3,80.099999999999994,85.1,159.30000000000001,1857,67.3,null,null,0.34]
[65.5,418.7,130,7.44,80,"2009-02-09T12:53:27",66.099999999999994,418.7,13,744,7.71,9.7000000000000003E-3,80,84.9,163.4,1960,66.099999999999994,null,null,0.34]
[66,414.5,131,6.09,80,"2009-02-09T12:53:59",65,414.5,13.1,609,7.59,8.0000000000000002E-3,80,84.9,167.5,1629,65,null,null,0.34]
[66.5,414.2,134,5.9,79.599999999999994,"2009-02-09T12:54:31",66,414.2,13.4,590,7.35,8.0000000000000002E-3,79.599999999999994,84.6,176.1,1629,66,null,null,0.34]
[67,408.1,135,5.55,79.599999999999994,"2009-02-09T12:55:03",65.599999999999994,408.1,13.5,555,7.21,7.7000000000000002E-3,79.599999999999994,84.5,181.6,1563,65.599999999999994,null,null,0.34]
[67.5,422.3,137,5.65,78.8,"2009-02-09T12:55:35",67.5,422.3,13.7,565,7.06,8.0000000000000002E-3,78.8,83.7,187.6,1625,67.5,null,null,0.34]
[68,406.7,139,5.76,79.099999999999994,"2009-02-09T12:56:07",65.8,406.7,13.9,576,6.9,8.3999999999999995E-3,79.099999999999994,84,194.3,1695,65.8,null,null,0.34]
[68.5,410,140,5.46,78.7,"2009-02-09T12:56:39",67.099999999999994,410,14,546,6.73,8.0999999999999996E-3,78.7,83.6,201.5,1646,67.099999999999994,null,null,0.34]
[69,416.7,143,5.71,77.900000000000006,"2009-02-09T12:57:11",66.3,416.7,14.3,571,6.52,8.8000000000000005E-3,77.900000000000006,82.7,211.3,1778,66.3,null,null,0.34]
[69.5,419.6,144,6,77.599999999999994,"2009-02-09T12:57:43",68.099999999999994,419.6,14.4,600,6.42,9.2999999999999992E-3,77.599999999999994,82.4,216.3,1898,68.099999999999994,null,null,0.34]
[70,411.3,144,6.72,77.8,"2009-02-09T12:58:15",67.900000000000006,411.3,14.4,672,6.37,1.0500000000000001E-2,77.8,82.6,218.6,2141,67.900000000000006,null,null,0.33]
[70.5,418.2,145,6.6,77.3,"2009-02-09T12:58:47",68.8,418.2,14.5,660,6.29,1.0500000000000001E-2,77.3,82.1,222.8,2130,68.8,null,null,0.34]
[71,420.6,146,6.66,76.900000000000006,"2009-02-09T12:59:19",67.900000000000006,420.6,14.6,666,6.19,1.0800000000000001E-2,76.900000000000006,81.7,227.8,2183,67.900000000000006,null,null,0.33]
[71.5,410.6,147,6.74,77.099999999999994,"2009-02-09T12:59:51",67,410.6,14.7,674,6.1,1.0999999999999999E-2,77.099999999999994,81.900000000000006,232.7,2242,67,null,null,0.33]
[72,412.6,148,6.07,76.900000000000006,"2009-02-09T13:00:23",69,412.6,14.8,607,5.99,1.01E-2,76.900000000000006,81.599999999999994,238.7,2056,69,null,null,0.33]
[72.5,422.1,149,6.19,76,"2009-02-09T13:00:55",66.599999999999994,422.1,14.9,619,5.89,1.0500000000000001E-2,76,80.7,244.6,2133,66.599999999999994,null,null,0.34]
[73,415.8,150,6.53,76.099999999999994,"2009-02-09T13:01:27",68,415.8,15,653,5.8,1.1299999999999999E-2,76.099999999999994,80.8,250.2,2287,68,null,null,0.33]
[73.5,429.4,151,7.82,74.7,"2009-02-09T13:01:59",63.3,429.4,15.1,782,5.68,1.38E-2,74.7,79.3,257.60000000000002,2796,63.3,null,null,0.33]
[74,425.4,154,7.48,73.900000000000006,"2009-02-09T13:02:31",63,425.4,15.4,748,5.37,1.3899999999999999E-2,73.900000000000006,78.5,278.10000000000002,2828,63,null,null,0.32]
[74.5,381.6,164,5.78,72.599999999999994,"2009-02-09T13:03:03",59.8,381.6,16.399999999999999,578,4.4000000000000004,1.3100000000000001E-2,72.599999999999994,77,361,2665,59.8,null,null,0.31]
[75,402.7,163,3.95,71.900000000000006,"2009-02-09T13:03:35",53.6,402.7,16.3,395,4.58,8.6E-3,71.900000000000006,76.3,343.1,1750,53.6,null,null,0.31]
[75.5,394.2,158,4.46,73.8,"2009-02-09T13:04:07",48,394.2,15.8,446,5.0199999999999996,8.8999999999999999E-3,73.8,78.3,304.2,1803,48,null,null,0.3]
[76,393.5,154,5.12,75.2,"2009-02-09T13:04:39",50.3,393.5,15.4,512,5.38,9.4999999999999998E-3,75.2,79.8,277,1930,50.3,null,null,0.31]
[76.5,407,151,4.8099999999999996,75.2,"2009-02-09T13:05:11",48,407,15.1,481,5.66,8.5000000000000006E-3,75.2,79.900000000000006,258.8,1726,48,null,null,0.31]
[77,414.6,150,5.86,75,"2009-02-09T13:05:43",43.6,414.6,15,586,5.81,1.01E-2,75,79.599999999999994,249.1,2046,43.6,null,null,0.31]
[77.5,405,149,6.15,76,"2009-02-09T13:06:15",47.6,405,14.9,615,5.93,1.04E-2,76,80.7,242.5,2106,47.6,null,null,0.3]
[78,407.9,148,4.88,76.8,"2009-02-09T13:06:47",58.8,407.9,14.8,488,6.02,8.0999999999999996E-3,76.8,81.5,237.2,1646,58.8,null,null,0.3]
[78.5,403.1,147,5.68,77.2,"2009-02-09T13:07:19",61.4,403.1,14.7,568,6.09,9.2999999999999992E-3,77.2,82,233.1,1892,61.4,null,null,0.3]
[79,415.7,147,5.77,76.599999999999994,"2009-02-09T13:07:51",63.5,415.7,14.7,577,6.05,9.4999999999999998E-3,76.599999999999994,81.400000000000006,235.3,1935,63.5,null,null,0.3]
[79.5,424.3,148,7.4,76,"2009-02-09T13:08:23",64.5,424.3,14.8,740,6,1.23E-2,76,80.7,238.5,2505,64.5,null,null,0.3]
[80,423.1,149,7.91,75.2,"2009-02-09T13:08:55",55.5,423.1,14.9,791,5.88,1.35E-2,75.2,79.900000000000006,245.3,2731,55.5,null,null,0.28999999999999998]
[80.5,425.6,151,6.3,74.5,"2009-02-09T13:09:27",53.2,425.6,15.1,630,5.68,1.11E-2,74.5,79.099999999999994,257.10000000000002,2250,53.2,null,null,0.28999999999999998]
[81,423.3,153,6.12,73.900000000000006,"2009-02-09T13:09:59",49.8,423.3,15.3,612,5.51,1.11E-2,73.900000000000006,78.5,268.5,2255,49.8,null,null,0.28999999999999998]
[81.5,422.2,154,8.15,73.2,"2009-02-09T13:10:31",46.5,422.2,15.4,815,5.4,1.5100000000000001E-2,73.2,77.7,275.60000000000002,3061,46.5,null,null,0.28999999999999998]
[82,411.7,155,8.09,73.900000000000006,"2009-02-09T13:11:03",53.2,411.7,15.5,809,5.33,1.52E-2,73.900000000000006,78.400000000000006,280.89999999999998,3081,53.2,null,null,0.28999999999999998]
[82.5,419.9,156,10.039999999999999,73.099999999999994,"2009-02-09T13:11:35",56.8,419.9,15.6,1004,5.22,1.9199999999999998E-2,73.099999999999994,77.599999999999994,288.8,3904,56.8,null,null,0.28000000000000003]
[83,425.4,157,13.79,72,"2009-02-09T13:12:07",59.2,425.4,15.7,1379,5.08,2.7099999999999999E-2,72,76.400000000000006,299.60000000000002,5511,59.2,null,null,0.28000000000000003]
[83.5,415.3,159,11.92,72.3,"2009-02-09T13:12:39",59.7,415.3,15.9,1192,4.96,2.4E-2,72.3,76.8,309,4875,59.7,null,null,0.3]
[84,410.7,160,12.47,72.2,"2009-02-09T13:13:11",62.8,410.7,16,1247,4.84,2.58E-2,72.2,76.599999999999994,319.39999999999998,5230,62.8,null,null,0.28000000000000003]
[84.5,405.3,161,13.41,71.900000000000006,"2009-02-09T13:13:43",63.8,405.3,16.100000000000001,1341,4.71,2.8500000000000001E-2,71.900000000000006,76.400000000000006,330.7,5776,63.8,null,null,0.27]
[85,412.1,162,13.42,71.2,"2009-02-09T13:14:15",64.7,412.1,16.2,1342,4.63,2.9000000000000001E-2,71.2,75.599999999999994,338.2,5881,64.7,null,null,0.27]
[85.5,417.4,163,11.66,70.900000000000006,"2009-02-09T13:14:47",65.5,417.4,16.3,1166,4.58,2.5499999999999998E-2,70.900000000000006,75.2,343.3,5169,65.5,null,null,0.27]
[86,414.8,162,7.88,71.7,"2009-02-09T13:15:19",65.8,414.8,16.2,788,4.63,1.7000000000000001E-2,71.7,76.099999999999994,338.3,3454,65.8,null,null,0.26]
[86.5,408.3,162,7.98,71.900000000000006,"2009-02-09T13:15:51",64.3,408.3,16.2,798,4.62,1.7299999999999999E-2,71.900000000000006,76.400000000000006,339.5,3507,64.3,null,null,0.26]
[87,407.2,163,8.35,71.599999999999994,"2009-02-09T13:16:23",64.3,407.2,16.3,835,4.54,1.84E-2,71.599999999999994,76,347.2,3734,64.3,null,null,0.27]
[87.5,399,165,7.13,71.599999999999994,"2009-02-09T13:16:55",65.3,399,16.5,713,4.38,1.6299999999999999E-2,71.599999999999994,76,363.2,3302,65.3,null,null,0.27]
[88,405.1,166,6.82,70.5,"2009-02-09T13:17:27",66.599999999999994,405.1,16.600000000000001,682,4.22,1.6199999999999999E-2,70.5,74.8,380.8,3279,66.599999999999994,null,null,0.26]
[88.5,411.6,168,7.91,69,"2009-02-09T13:17:59",65.900000000000006,411.6,16.8,791,4.0599999999999996,1.95E-2,69,73.2,400.4,3958,65.900000000000006,null,null,0.26]
[89,389.5,170,8.8800000000000008,69.099999999999994,"2009-02-09T13:18:31",65.900000000000006,389.5,17,888,3.85,2.3099999999999999E-2,69.099999999999994,73.400000000000006,427.4,4683,65.900000000000006,null,null,0.25]