{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":269,"n_cols":20,"rows_kept":269,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":342.68954248366032},{"$f":"AVERAGE(Oxy)","v":12.159477124183004},{"$f":"AVERAGE(CO)","v":1658.4771241830065},{"$f":"AVERAGE(Effg)","v":83.15364238410595}]
[7,{"$f":"FT","v":99.2},{"$f":"Oxy*10","v":209},{"$f":"CO/100","v":0.41},{"$f":"Effg","v":0},"2009-02-10T09:26:08",58.6,99.2,20.9,41,null,null,null,null,null,null,58.6,null,null,0.53]
[7.5,108.2,203,10.34,0,"2009-02-10T09:26:40",58.5,108.2,20.3,1034,null,null,null,null,null,null,58.5,null,null,0.53]
[8,129.19999999999999,193,12.48,78,"2009-02-10T09:27:12",58.3,129.19999999999999,19.3,1248,1.62,7.6999999999999999E-2,78,82.8,1153.2,15640,58.3,null,null,0.56000000000000005]
[8.5,137.6,181,6.23,84.8,"2009-02-10T09:27:44",59.2,137.6,18.100000000000001,623,2.79,2.23E-2,84.8,90.1,626.70000000000005,4527,59.2,null,null,0.53]
[9,146.19999999999999,174,4.5599999999999996,86.1,"2009-02-10T09:28:16",58.3,146.19999999999999,17.399999999999999,456,3.51,1.2999999999999999E-2,86.1,91.4,478.8,2639,58.3,null,null,0.54]
[9.5,156,171,3.34,86.2,"2009-02-10T09:28:48",59.1,156,17.100000000000001,334,3.82,8.6999999999999994E-3,86.2,91.5,431.8,1776,59.1,null,null,0.5]
[10,166.2,163,1.98,86.9,"2009-02-10T09:29:20",59,166.2,16.3,198,4.54,4.4000000000000003E-3,86.9,92.2,346.7,884,59,null,null,0.41]
[10.5,173.2,155,2.12,87.4,"2009-02-10T09:29:52",58.5,173.2,15.5,212,5.3,4.0000000000000001E-3,87.4,92.8,282.89999999999998,812,58.5,null,null,0.37]
[11,180.2,149,2.64,87.6,"2009-02-10T09:30:24",59,180.2,14.9,264,5.91,4.4999999999999997E-3,87.6,93.1,243.7,907,59,null,null,0.37]
[11.5,184.1,146,3.31,87.6,"2009-02-10T09:30:56",58.7,184.1,14.6,331,6.15,5.4000000000000003E-3,87.6,93,230.3,1093,58.7,null,null,0.4]
[12,185.6,147,3.46,87.5,"2009-02-10T09:31:28",59.1,185.6,14.7,346,6.13,5.5999999999999999E-3,87.5,92.9,231.4,1147,59.1,null,null,0.39]
[12.5,190,147,3.62,87.2,"2009-02-10T09:32:00",59,190,14.7,362,6.08,6.0000000000000001E-3,87.2,92.7,233.7,1208,59,null,null,0.4]
[13,191.6,148,4.33,87,"2009-02-10T09:32:32",59,191.6,14.8,433,6,7.1999999999999998E-3,87,92.4,238.5,1466,59,null,null,0.4]
[13.5,191.3,150,5.52,86.7,"2009-02-10T09:33:04",59.3,191.3,15,552,5.81,9.4999999999999998E-3,86.7,92.1,249.3,1928,59.3,null,null,0.4]
[14,193.9,152,6.12,86.4,"2009-02-10T09:33:36",59.3,193.9,15.2,612,5.64,1.0800000000000001E-2,86.4,91.7,259.8,2202,59.3,null,null,0.4]
[14.5,196.9,153,5.59,86.1,"2009-02-10T09:34:08",59.6,196.9,15.3,559,5.53,1.01E-2,86.1,91.5,267.3,2053,59.6,null,null,0.4]
[15,196,155,5.82,85.9,"2009-02-10T09:34:40",59.7,196,15.5,582,5.33,1.09E-2,85.9,91.2,280.8,2216,59.7,null,null,0.4]
[15.5,202.1,157,7.81,85.1,"2009-02-10T09:35:12",59.5,202.1,15.7,781,5.12,1.52E-2,85.1,90.3,296.2,3095,59.5,null,null,0.41]
[16,198.5,159,10.09,84.8,"2009-02-10T09:35:44",59.6,198.5,15.9,1009,4.96,2.0400000000000001E-2,84.8,90,309.60000000000002,4133,59.6,null,null,0.4]
[16.5,204.6,160,9.9499999999999993,84.2,"2009-02-10T09:36:16",59.6,204.6,16,995,4.8499999999999996,2.0500000000000001E-2,84.2,89.5,318.39999999999998,4163,59.6,null,null,0.41]
[17,209.4,159,8.26,84.3,"2009-02-10T09:36:48",59,209.4,15.9,826,4.95,1.67E-2,84.3,89.5,310.3,3389,59,null,null,0.42]
[17.5,206.2,157,8.15,84.7,"2009-02-10T09:37:20",59.4,206.2,15.7,815,5.09,1.6E-2,84.7,90,298.7,3250,59.4,null,null,0.41]
[18,210.9,157,8.64,84.5,"2009-02-10T09:37:52",59.7,210.9,15.7,864,5.15,1.6799999999999999E-2,84.5,89.8,294.2,3406,59.7,null,null,0.4]
[18.5,209.9,156,8.6,84.8,"2009-02-10T09:38:24",59.9,209.9,15.6,860,5.24,1.6400000000000001E-2,84.8,90,287.60000000000002,3333,59.9,null,null,0.4]
[19,215.3,155,8.3800000000000008,84.5,"2009-02-10T09:38:56",58.6,215.3,15.5,838,5.31,1.5800000000000002E-2,84.5,89.8,282.5,3206,58.6,null,null,0.4]
[19.5,224,154,8.18,84.3,"2009-02-10T09:39:28",58.4,224,15.4,818,5.44,1.4999999999999999E-2,84.3,89.5,273.2,3053,58.4,null,null,0.4]
[20,224.9,150,5.47,85,"2009-02-10T09:40:00",58.3,224.9,15,547,5.78,9.4999999999999998E-3,85,90.3,250.9,1920,58.3,null,null,0.4]
[20.5,229.8,146,4.08,85.5,"2009-02-10T09:40:32",59.5,229.8,14.6,408,6.23,6.6E-3,85.5,90.9,226.1,1330,59.5,null,null,0.39]
[21,239,141,2.87,85.7,"2009-02-10T09:41:04",59.8,239,14.1,287,6.64,4.3E-3,85.7,91.1,205.6,877,59.8,null,null,0.39]
[21.5,240.8,137,2.68,86.1,"2009-02-10T09:41:36",60.1,240.8,13.7,268,7.01,3.8E-3,86.1,91.4,189.5,776,60.1,null,null,0.38]
[22,239.2,135,2.9,86.4,"2009-02-10T09:42:08",60,239.2,13.5,290,7.28,4.0000000000000001E-3,86.4,91.8,178.7,808,60,null,null,0.37]
[22.5,249.5,135,3.87,85.8,"2009-02-10T09:42:40",59.7,249.5,13.5,387,7.21,5.4000000000000003E-3,85.8,91.2,181.4,1089,59.7,null,null,0.37]
[23,243.7,135,4.0199999999999996,86.1,"2009-02-10T09:43:12",60.1,243.7,13.5,402,7.28,5.4999999999999997E-3,86.1,91.5,178.9,1121,60.1,null,null,0.37]
[23.5,263.8,133,4.21,85.4,"2009-02-10T09:43:44",59.6,263.8,13.3,421,7.41,5.7000000000000002E-3,85.4,90.7,173.9,1153,59.6,null,null,0.36]
[24,259.60000000000002,128,3.44,86.2,"2009-02-10T09:44:16",59.9,259.60000000000002,12.8,344,7.96,4.3E-3,86.2,91.5,155,877,59.9,null,null,0.36]
[24.5,275,119,4.46,86.3,"2009-02-10T09:44:48",60.1,275,11.9,446,8.84,5.0000000000000001E-3,86.3,91.7,129.69999999999999,1024,60.1,null,null,0.35]
[25,280.60000000000002,109,5.86,86.7,"2009-02-10T09:45:20",60.2,280.60000000000002,10.9,586,9.76,6.0000000000000001E-3,86.7,92.1,108.1,1219,60.2,null,null,0.34]
[25.5,279.60000000000002,103,6.5,87.1,"2009-02-10T09:45:52",60.4,279.60000000000002,10.3,650,10.35,6.3E-3,87.1,92.5,96.1,1275,60.4,null,null,0.33]
[26,284.39999999999998,100,10.63,86.9,"2009-02-10T09:46:24",60.6,284.39999999999998,10,1063,10.6,0.01,86.9,92.3,91.4,2035,60.6,null,null,0.32]
[26.5,285.2,98,13.7,86.8,"2009-02-10T09:46:56",58.7,285.2,9.8000000000000007,1370,10.85,1.26E-2,86.8,92.2,87,2562,58.7,null,null,0.31]
[27,293.5,95,24.88,86.2,"2009-02-10T09:47:28",58.8,293.5,9.5,2488,11.14,2.23E-2,86.2,91.6,82.2,4533,58.8,null,null,0.31]
[27.5,309.3,90,29.5,85.9,"2009-02-10T09:48:00",60.3,309.3,9,2950,11.56,2.5499999999999998E-2,85.9,91.2,75.599999999999994,5179,60.3,null,null,0.31]
[28,301.5,86,41.08,85.8,"2009-02-10T09:48:32",59.6,301.5,8.6,4108,11.97,3.4299999999999997E-2,85.8,91.1,69.599999999999994,6968,59.6,null,null,0.31]
[28.5,302.10000000000002,82,115,83.3,"2009-02-10T09:49:04",60.8,302.10000000000002,8.1999999999999993,11500,12.37,9.2999999999999999E-2,83.3,88.4,64.099999999999994,18876,60.8,null,null,0.34]
[29,320.10000000000002,81,50,85.3,"2009-02-10T09:49:36",60.1,320.10000000000002,8.1,5000,12.5,0.04,85.3,90.6,62.4,8120,60.1,null,null,0.34]
[29.5,311.39999999999998,81,3.2,87.5,"2009-02-10T09:50:08",60.2,311.39999999999998,8.1,320,12.51,2.5999999999999999E-3,87.5,92.9,62.3,519,60.2,null,null,0.34]
[30,325.60000000000002,81,40.04,85.6,"2009-02-10T09:50:40",59.9,325.60000000000002,8.1,4004,12.47,3.2099999999999997E-2,85.6,90.9,62.8,6520,59.9,null,null,0.32]
[30.5,322.5,78,175,81,"2009-02-10T09:51:12",60.2,322.5,7.8,17500,12.71,0.1376,81,86,59.7,27942,60.2,null,null,0.35]
[31,322,76,60,85.2,"2009-02-10T09:51:44",60.2,322,7.6,6000,12.95,4.6300000000000001E-2,85.2,90.5,56.8,9406,60.2,null,null,0.28000000000000003]
[31.5,328.8,75,60,85.1,"2009-02-10T09:52:16",60.3,328.8,7.5,6000,13.01,4.6100000000000002E-2,85.1,90.3,56,9359,60.3,null,null,0.24]
[32,{"$f":"FT","v":329.7},{"$f":"Oxy*10","v":75},{"$f":"CO/100","v":55},{"$f":"Effg","v":85.3},"2009-02-10T09:52:48",60.6,329.7,7.5,5500,13.04,4.2200000000000001E-2,85.3,90.5,55.7,8561,60.6,null,null,0.19]
[32.5,338.9,76,55,85,"2009-02-10T09:53:20",60.3,338.9,7.6,5500,12.98,4.24E-2,85,90.3,56.4,8603,60.3,null,null,0.16]
[33,352.1,76,50,84.9,"2009-02-10T09:53:52",60.8,352.1,7.6,5000,12.96,3.8600000000000002E-2,84.9,90.1,56.6,7830,60.8,null,null,0.15]
[33.5,349.1,76,50,84.9,"2009-02-10T09:54:24",60,349.1,7.6,5000,12.93,3.8699999999999998E-2,84.9,90.2,56.9,7847,60,null,null,0.14000000000000001]
[34,357.6,76,50,84.7,"2009-02-10T09:54:56",61.6,357.6,7.6,5000,12.92,3.8699999999999998E-2,84.7,90,57.1,7854,61.6,null,null,0.13]
[34.5,338.5,77,50,85.2,"2009-02-10T09:55:28",62.2,338.5,7.7,5000,12.87,3.8800000000000001E-2,85.2,90.4,57.7,7884,62.2,null,null,0.12]
[35,346.1,79,50,84.9,"2009-02-10T09:56:00",62.7,346.1,7.9,5000,12.62,3.9600000000000003E-2,84.9,90.1,60.8,8041,62.7,null,null,0.12]
[35.5,357.7,82,14.38,85.9,"2009-02-10T09:56:32",62.8,357.7,8.1999999999999993,1438,12.41,1.1599999999999999E-2,85.9,91.2,63.6,2353,62.8,null,null,0.09]
[36,357.1,82,440,72.5,"2009-02-10T09:57:04",63.2,357.1,8.1999999999999993,44000,12.33,0.3569,72.5,77,64.7,72451,63.2,null,null,0.11]
[36.5,363.3,84,50,84.2,"2009-02-10T09:57:36",63,363.3,8.4,5000,12.21,4.0899999999999999E-2,84.2,89.4,66.2,8311,63,null,null,0.11]
[37,366.5,85,7.52,85.8,"2009-02-10T09:58:08",62.9,366.5,8.5,752,12.07,6.1999999999999998E-3,85.8,91.1,68.099999999999994,1264,62.9,null,null,0.08]
[37.5,359.4,112,18.489999999999998,83.5,"2009-02-10T09:58:40",63.5,359.4,11.2,1849,9.4600000000000009,1.95E-2,83.5,88.6,114.5,3966,63.5,null,null,0.56999999999999995]
[38,370.5,98,21.68,84.2,"2009-02-10T09:59:12",63.3,370.5,9.8000000000000007,2168,10.8,2.01E-2,84.2,89.4,88,4077,63.3,null,null,0.57999999999999996]
[38.5,376.1,93,20.13,84.5,"2009-02-10T09:59:44",65,376.1,9.3000000000000007,2013,11.27,1.7899999999999999E-2,84.5,89.7,80.099999999999994,3625,65,null,null,0.59]
[39,382.9,92,19.55,84.5,"2009-02-10T10:00:16",65.5,382.9,9.1999999999999993,1955,11.42,1.7100000000000001E-2,84.5,89.7,77.7,3474,65.5,null,null,0.6]
[39.5,373,92,15.68,84.9,"2009-02-10T10:00:48",65,373,9.1999999999999993,1568,11.42,1.37E-2,84.9,90.1,77.8,2788,65,null,null,0.61]
[40,380.2,92,14.94,84.7,"2009-02-10T10:01:20",65,380.2,9.1999999999999993,1494,11.42,1.3100000000000001E-2,84.7,90,77.8,2656,65,null,null,0.61]
[40.5,381.9,94,11.55,84.7,"2009-02-10T10:01:52",64.900000000000006,381.9,9.4,1155,11.26,1.03E-2,84.7,90,80.3,2082,64.900000000000006,null,null,0.61]
[41,387.8,97,9.48,84.5,"2009-02-10T10:02:24",66.3,387.8,9.6999999999999993,948,10.95,8.6999999999999994E-3,84.5,89.7,85.4,1758,66.3,null,null,0.62]
[41.5,379.8,99,8.33,84.6,"2009-02-10T10:02:56",66.400000000000006,379.8,9.9,833,10.71,7.7999999999999996E-3,84.6,89.8,89.5,1579,66.400000000000006,null,null,0.62]
[42,391.1,100,8.64,84.2,"2009-02-10T10:03:28",66.7,391.1,10,864,10.63,8.0999999999999996E-3,84.2,89.4,91,1650,66.7,null,null,0.62]
[42.5,377.4,101,7.79,84.6,"2009-02-10T10:04:00",66.5,377.4,10.1,779,10.57,7.4000000000000003E-3,84.6,89.8,92,1496,66.5,null,null,0.62]
[43,377.8,103,6.35,84.4,"2009-02-10T10:04:32",64.8,377.8,10.3,635,10.38,6.1000000000000004E-3,84.4,89.6,95.5,1242,64.8,null,null,0.63]
[43.5,392.9,104,5.36,84,"2009-02-10T10:05:04",66.900000000000006,392.9,10.4,536,10.210000000000001,5.1999999999999998E-3,84,89.2,98.8,1066,66.900000000000006,null,null,0.63]
[44,392.6,105,4.53,84,"2009-02-10T10:05:36",68,392.6,10.5,453,10.11,4.4999999999999997E-3,84,89.2,100.7,909,68,null,null,0.64]
[44.5,389.9,104,5.83,84.1,"2009-02-10T10:06:08",68.5,389.9,10.4,583,10.25,5.7000000000000002E-3,84.1,89.3,98,1154,68.5,null,null,0.62]
[45,385,104,7.52,84.1,"2009-02-10T10:06:40",68.400000000000006,385,10.4,752,10.24,7.3000000000000001E-3,84.1,89.4,98.3,1491,68.400000000000006,null,null,0.63]
[45.5,381.2,105,7.66,84.2,"2009-02-10T10:07:12",68.599999999999994,381.2,10.5,766,10.14,7.6E-3,84.2,89.4,100.2,1534,68.599999999999994,null,null,0.63]
[46,394.8,106,7.48,83.8,"2009-02-10T10:07:44",68.900000000000006,394.8,10.6,748,10.1,7.4000000000000003E-3,83.8,88.9,101.1,1504,68.900000000000006,null,null,0.62]
[46.5,402.3,106,5.98,83.6,"2009-02-10T10:08:16",69.099999999999994,402.3,10.6,598,10.09,5.8999999999999999E-3,83.6,88.8,101.2,1203,69.099999999999994,null,null,0.62]
[47,392.7,105,4.87,84,"2009-02-10T10:08:48",68.400000000000006,392.7,10.5,487,10.130000000000001,4.7999999999999996E-3,84,89.2,100.3,976,68.400000000000006,null,null,0.61]
[47.5,390.7,105,4.8899999999999997,84.1,"2009-02-10T10:09:20",69.3,390.7,10.5,489,10.14,4.7999999999999996E-3,84.1,89.3,100.2,979,69.3,null,null,0.61]
[48,407.3,105,4.45,83.6,"2009-02-10T10:09:52",69.400000000000006,407.3,10.5,445,10.16,4.4000000000000003E-3,83.6,88.8,99.8,889,69.400000000000006,null,null,0.62]
[48.5,401.4,104,3.94,83.9,"2009-02-10T10:10:24",69.900000000000006,401.4,10.4,394,10.28,3.8E-3,83.9,89.1,97.4,778,69.900000000000006,null,null,0.63]
[49,403.1,103,4.92,83.9,"2009-02-10T10:10:56",69.8,403.1,10.3,492,10.31,4.7999999999999996E-3,83.9,89.1,96.9,969,69.8,null,null,0.62]
[49.5,403.8,105,5.0599999999999996,83.7,"2009-02-10T10:11:28",70,403.8,10.5,506,10.18,5.0000000000000001E-3,83.7,88.9,99.3,1009,70,null,null,0.61]
[50,411.7,105,6.36,83.4,"2009-02-10T10:12:00",68.2,411.7,10.5,636,10.17,6.3E-3,83.4,88.5,99.6,1269,68.2,null,null,0.6]
[50.5,410.2,105,6.33,83.4,"2009-02-10T10:12:32",69.599999999999994,410.2,10.5,633,10.11,6.3E-3,83.4,88.6,100.9,1271,69.599999999999994,null,null,0.61]
[51,419.5,106,6.05,83.1,"2009-02-10T10:13:04",70,419.5,10.6,605,10.050000000000001,6.0000000000000001E-3,83.1,88.2,102.1,1223,70,null,null,0.61]
[51.5,409.3,106,4.7300000000000004,83.5,"2009-02-10T10:13:36",70.599999999999994,409.3,10.6,473,10.039999999999999,4.7000000000000002E-3,83.5,88.7,102.1,956,70.599999999999994,null,null,0.62]
[52,412,108,3.41,83.3,"2009-02-10T10:14:08",71.2,412,10.8,341,9.8800000000000008,3.5000000000000001E-3,83.3,88.5,105.5,701,71.2,null,null,0.61]
[52.5,420.3,108,3.76,83,"2009-02-10T10:14:40",70.599999999999994,420.3,10.8,376,9.8699999999999992,3.8E-3,83,88.2,105.6,773,70.599999999999994,null,null,0.61]
[53,411.2,108,3.76,83.3,"2009-02-10T10:15:12",70.3,411.2,10.8,376,9.82,3.8E-3,83.3,88.4,106.7,777,70.3,null,null,0.61]
[53.5,415.2,110,3.31,83,"2009-02-10T10:15:44",71.2,415.2,11,331,9.6300000000000008,3.3999999999999998E-3,83,88.1,110.7,698,71.2,null,null,0.6]
[54,420.7,111,3.61,82.8,"2009-02-10T10:16:16",70.8,420.7,11.1,361,9.59,3.8E-3,82.8,87.9,111.6,764,70.8,null,null,0.6]
[54.5,416.9,113,2.86,82.7,"2009-02-10T10:16:48",70.8,416.9,11.3,286,9.3699999999999992,3.0999999999999999E-3,82.7,87.8,116.6,619,70.8,null,null,0.59]
[55,413.2,114,2.92,82.7,"2009-02-10T10:17:20",71.099999999999994,413.2,11.4,292,9.25,3.2000000000000002E-3,82.7,87.8,119.5,641,71.099999999999994,null,null,0.59]
[55.5,413.6,115,3.71,82.5,"2009-02-10T10:17:52",70,413.6,11.5,371,9.14,4.1000000000000003E-3,82.5,87.6,122.1,824,70,null,null,0.57999999999999996]
[56,417.1,116,4.46,82.2,"2009-02-10T10:18:24",69.099999999999994,417.1,11.6,446,9.07,4.8999999999999998E-3,82.2,87.3,123.9,999,69.099999999999994,null,null,0.56999999999999995]
[56.5,408.8,117,3.81,82.4,"2009-02-10T10:18:56",69.599999999999994,408.8,11.7,381,8.9499999999999993,4.3E-3,82.4,87.5,126.9,864,69.599999999999994,null,null,0.56999999999999995]
[57,415.4,120,3.57,81.900000000000006,"2009-02-10T10:19:28",69,415.4,12,357,8.74,4.1000000000000003E-3,81.900000000000006,87,132.30000000000001,829,69,null,null,0.56999999999999995]
[57.5,420.9,120,3.72,81.7,"2009-02-10T10:20:00",70.2,420.9,12,372,8.67,4.3E-3,81.7,86.7,134,871,70.2,null,null,0.57999999999999996]
[58,406.4,120,3.69,82.2,"2009-02-10T10:20:32",72,406.4,12,369,8.66,4.3E-3,82.2,87.3,134.4,865,72,null,null,0.56999999999999995]
[58.5,404,121,3.58,82.2,"2009-02-10T10:21:04",70.599999999999994,404,12.1,358,8.58,4.1999999999999997E-3,82.2,87.2,136.5,847,70.599999999999994,null,null,0.54]
[59,407.8,122,3.21,82,"2009-02-10T10:21:36",72.3,407.8,12.2,321,8.4700000000000006,3.8E-3,82,87.1,139.6,769,72.3,null,null,0.53]
[59.5,422.1,122,3.19,81.5,"2009-02-10T10:22:08",71.2,422.1,12.2,319,8.51,3.7000000000000002E-3,81.5,86.5,138.4,761,71.2,null,null,0.52]
[60,406.9,123,3.61,81.900000000000006,"2009-02-10T10:22:40",72,406.9,12.3,361,8.39,4.3E-3,81.900000000000006,86.9,142,873,72,null,null,0.53]
[60.5,413.2,125,4.0199999999999996,81.400000000000006,"2009-02-10T10:23:12",72.2,413.2,12.5,402,8.23,4.8999999999999998E-3,81.400000000000006,86.5,146.6,991,72.2,null,null,0.54]
[61,414.8,126,3.8,81.2,"2009-02-10T10:23:44",71.900000000000006,414.8,12.6,380,8.1199999999999992,4.7000000000000002E-3,81.2,86.2,149.9,950,71.900000000000006,null,null,0.52]
[61.5,419,125,3.14,81.3,"2009-02-10T10:24:16",73.7,419,12.5,314,8.1999999999999993,3.8E-3,81.3,86.3,147.6,777,73.7,null,null,0.53]
[62,409.9,122,2.87,82,"2009-02-10T10:24:48",73.400000000000006,409.9,12.2,287,8.49,3.3999999999999998E-3,82,87.1,139.19999999999999,687,73.400000000000006,null,null,0.53]
[62.5,412.6,122,3.89,81.900000000000006,"2009-02-10T10:25:20",73.7,412.6,12.2,389,8.5299999999999994,4.5999999999999999E-3,81.900000000000006,87,137.9,926,73.7,null,null,0.51]
[63,405.6,121,3.67,82.3,"2009-02-10T10:25:52",73.8,405.6,12.1,367,8.6300000000000008,4.3E-3,82.3,87.4,135.30000000000001,863,73.8,null,null,0.52]
[63.5,416,122,3.14,81.8,"2009-02-10T10:26:24",73.900000000000006,416,12.2,314,8.51,3.7000000000000002E-3,81.8,86.9,138.4,749,73.900000000000006,null,null,0.52]
[64,{"$f":"FT","v":419.3},{"$f":"Oxy*10","v":125},{"$f":"CO/100","v":3.52},{"$f":"Effg","v":81.3},"2009-02-10T10:26:56",73.599999999999994,419.3,12.5,352,8.24,4.3E-3,81.3,86.3,146.5,868,73.599999999999994,null,null,0.5]
[64.5,402.8,127,5.63,81.400000000000006,"2009-02-10T10:27:28",72.5,402.8,12.7,563,7.99,7.0000000000000001E-3,81.400000000000006,86.4,154,1430,72.5,null,null,0.5]
[65,416.1,131,5.85,80.400000000000006,"2009-02-10T10:28:00",72.3,416.1,13.1,585,7.67,7.6E-3,80.400000000000006,85.3,164.6,1548,72.3,null,null,0.52]
[65.5,411.8,133,7.48,80.099999999999994,"2009-02-10T10:28:32",72.7,411.8,13.3,748,7.48,0.01,80.099999999999994,85.1,171.4,2030,72.7,null,null,0.53]
[66,429,136,7.78,78.3,"2009-02-10T10:29:04",58.6,429,13.6,778,7.2,1.0800000000000001E-2,78.3,83.1,182,2194,58.6,null,null,0.51]
[66.5,420.6,138,8.65,78.400000000000006,"2009-02-10T10:29:36",66.3,420.6,13.8,865,6.96,1.24E-2,78.400000000000006,83.3,191.5,2522,66.3,null,null,0.5]
[67,418.3,141,9.18,77.599999999999994,"2009-02-10T10:30:08",58.9,418.3,14.1,918,6.68,1.37E-2,77.599999999999994,82.4,203.7,2788,58.9,null,null,0.49]
[67.5,403.5,142,10.45,78.099999999999994,"2009-02-10T10:30:40",65.5,403.5,14.2,1045,6.56,1.5900000000000001E-2,78.099999999999994,83,209.6,3235,65.5,null,null,0.5]
[68,411.9,143,9.7799999999999994,77.599999999999994,"2009-02-10T10:31:12",66.3,411.9,14.3,978,6.46,1.5100000000000001E-2,77.599999999999994,82.4,214.3,3074,66.3,null,null,0.48]
[68.5,440.6,144,9.42,76.5,"2009-02-10T10:31:44",71.099999999999994,440.6,14.4,942,6.41,1.47E-2,76.5,81.2,216.9,2985,71.099999999999994,null,null,0.49]
[69,384.9,152,7.78,77.2,"2009-02-10T10:32:16",72.400000000000006,384.9,15.2,778,5.61,1.3899999999999999E-2,77.2,82,261.5,2813,72.400000000000006,null,null,0.48]
[69.5,409.7,125,37.22,79.5,"2009-02-10T10:32:48",72,409.7,12.5,3722,8.25,4.5100000000000001E-2,79.5,84.4,146.1,9161,72,null,null,0.47]
[70,397.7,112,29.91,81.900000000000006,"2009-02-10T10:33:20",71,397.7,11.2,2991,9.4700000000000006,3.1600000000000003E-2,81.900000000000006,87,114.4,6413,71,null,null,0.48]
[70.5,401.6,108,16.96,82.9,"2009-02-10T10:33:52",71.8,401.6,10.8,1696,9.82,1.7299999999999999E-2,82.9,88,106.8,3507,71.8,null,null,0.48]
[71,415.8,109,24.12,82.1,"2009-02-10T10:34:24",72.400000000000006,415.8,10.9,2412,9.7799999999999994,2.47E-2,82.1,87.2,107.5,5004,72.400000000000006,null,null,0.49]
[71.5,409.4,112,18.93,82.2,"2009-02-10T10:34:56",72.5,409.4,11.2,1893,9.4700000000000006,0.02,82.2,87.3,114.3,4056,72.5,null,null,0.48]
[72,415.3,115,10.35,82.2,"2009-02-10T10:35:28",73.2,415.3,11.5,1035,9.16,1.1299999999999999E-2,82.2,87.3,121.5,2293,73.2,null,null,0.48]
[72.5,420.6,117,9.85,81.900000000000006,"2009-02-10T10:36:00",74.400000000000006,420.6,11.7,985,9.01,1.09E-2,81.900000000000006,87,125.2,2219,74.400000000000006,null,null,0.47]
[73,415.9,119,7.62,81.900000000000006,"2009-02-10T10:36:32",74.8,415.9,11.9,762,8.76,8.6999999999999994E-3,81.900000000000006,87,131.80000000000001,1766,74.8,null,null,0.47]
[73.5,411.9,122,8.18,81.7,"2009-02-10T10:37:04",73.5,411.9,12.2,818,8.5500000000000007,9.5999999999999992E-3,81.7,86.7,137.6,1943,73.5,null,null,0.47]
[74,422.6,124,8.3800000000000008,81,"2009-02-10T10:37:36",73.900000000000006,422.6,12.4,838,8.32,1.01E-2,81,86,144.1,2046,73.900000000000006,null,null,0.46]
[74.5,404.1,126,6.21,81.5,"2009-02-10T10:38:08",74.2,404.1,12.6,621,8.11,7.7000000000000002E-3,81.5,86.5,150.4,1555,74.2,null,null,0.46]
[75,406.8,130,6.1,80.900000000000006,"2009-02-10T10:38:40",74.2,406.8,13,610,7.78,7.7999999999999996E-3,80.900000000000006,85.9,160.9,1591,74.2,null,null,0.46]
[75.5,419.4,132,7.92,80,"2009-02-10T10:39:12",75.5,419.4,13.2,792,7.55,1.0500000000000001E-2,80,85,169,2131,75.5,null,null,0.45]
[76,414.5,134,7.8,79.8,"2009-02-10T10:39:44",75.599999999999994,414.5,13.4,780,7.31,1.0699999999999999E-2,79.8,84.8,177.7,2166,75.599999999999994,null,null,0.47]
[76.5,420.1,136,8.1300000000000008,79.2,"2009-02-10T10:40:16",75.099999999999994,420.1,13.6,813,7.13,1.14E-2,79.2,84.1,184.7,2315,75.099999999999994,null,null,0.43]
[77,416.8,139,8.65,78.7,"2009-02-10T10:40:48",74.7,416.8,13.9,865,6.84,1.26E-2,78.7,83.6,196.6,2566,74.7,null,null,0.43]
[77.5,402.9,141,11.72,78.7,"2009-02-10T10:41:20",75.2,402.9,14.1,1172,6.66,1.7600000000000001E-2,78.7,83.6,204.7,3571,75.2,null,null,0.43]
[78,399.9,138,13.94,79.2,"2009-02-10T10:41:52",73.3,399.9,13.8,1394,6.94,2.01E-2,79.2,84.1,192.4,4076,73.3,null,null,0.43]
[78.5,406.2,137,14.92,79,"2009-02-10T10:42:24",72.099999999999994,406.2,13.7,1492,7.03,2.12E-2,79,83.8,188.9,4311,72.099999999999994,null,null,0.42]
[79,408.2,138,13.55,79,"2009-02-10T10:42:56",74.3,408.2,13.8,1355,6.99,1.9400000000000001E-2,79,83.9,190.6,3938,74.3,null,null,0.43]
[79.5,409.3,149,8.98,76.900000000000006,"2009-02-10T10:43:28",75.900000000000006,409.3,14.9,898,5.9,1.52E-2,76.900000000000006,81.7,244,3089,75.900000000000006,null,null,0.46]
[80,375.8,157,8.26,76.400000000000006,"2009-02-10T10:44:00",76.400000000000006,375.8,15.7,826,5.12,1.61E-2,76.400000000000006,81.099999999999994,296.89999999999998,3278,76.400000000000006,null,null,0.46]
[80.5,373.7,140,14.92,79.900000000000006,"2009-02-10T10:44:32",75.3,373.7,14,1492,6.73,2.2200000000000001E-2,79.900000000000006,84.8,201.8,4503,75.3,null,null,0.46]
[81,388.1,135,18.46,80,"2009-02-10T10:45:04",76.3,388.1,13.5,1846,7.22,2.5600000000000001E-2,80,84.9,181.1,5188,76.3,null,null,0.46]
[81.5,389.8,132,20.059999999999999,80.2,"2009-02-10T10:45:36",74,389.8,13.2,2006,7.53,2.6599999999999999E-2,80.2,85.2,169.7,5409,74,null,null,0.47]
[82,391.3,133,20.39,80,"2009-02-10T10:46:08",73,391.3,13.3,2039,7.46,2.7400000000000001E-2,80,84.9,172.3,5552,73,null,null,0.45]
[82.5,387.7,135,21.35,79.8,"2009-02-10T10:46:40",74.400000000000006,387.7,13.5,2135,7.28,2.93E-2,79.8,84.8,178.8,5952,74.400000000000006,null,null,0.44]
[83,392.9,138,20.57,79.099999999999994,"2009-02-10T10:47:12",74.8,392.9,13.8,2057,6.95,2.9600000000000001E-2,79.099999999999994,84,192.1,6008,74.8,null,null,0.43]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.1,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]