{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":173,"n_cols":20,"rows_kept":173,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":330.12631578947361},{"$f":"AVERAGE(Oxy)","v":12.308771929824562},{"$f":"AVERAGE(CO)","v":1856.7836257309941},{"$f":"AVERAGE(Effg)","v":83.038235294117598}]
[8,{"$f":"FT","v":86.7},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":0.23},{"$f":"Effg","v":0},"2009-02-12T13:52:00",61.7,86.7,21,23,null,null,null,null,null,null,61.7,null,null,0.49]
[8.5,97.6,191,16.670000000000002,84.1,"2009-02-12T13:52:32",61.8,97.6,19.100000000000001,1667,1.86,8.9700000000000002E-2,84.1,89.3,992.3,18208,61.8,null,null,0.26]
[9,94.6,157,26.76,89.3,"2009-02-12T13:53:04",62.2,94.6,15.7,2676,5.17,5.1799999999999999E-2,89.3,94.9,292.60000000000002,10506,62.2,null,null,0.1]
[9.5,92.4,136,33.479999999999997,90.1,"2009-02-12T13:53:36",62.1,92.4,13.6,3348,7.19,4.6600000000000003E-2,90.1,95.7,182.3,9453,62.1,null,null,0.03]
[10,103.9,124,37.520000000000003,89.9,"2009-02-12T13:54:08",62.3,103.9,12.4,3752,8.27,4.5400000000000003E-2,89.9,95.5,145.5,9209,62.3,null,null,0.01]
[10.5,122.4,119,38.549999999999997,89.4,"2009-02-12T13:54:40",60.7,122.4,11.9,3855,8.76,4.3999999999999997E-2,89.4,94.9,131.80000000000001,8936,60.7,null,null,0]
[11,124.7,116,40.06,89.4,"2009-02-12T13:55:12",60.8,124.7,11.6,4006,9.09,4.41E-2,89.4,94.9,123.2,8943,60.8,null,null,0]
[11.5,162.5,111,49.53,88,"2009-02-12T13:55:44",61.3,162.5,11.1,4953,9.5299999999999994,5.1999999999999998E-2,88,93.4,113,10551,61.3,null,null,0]
[12,178.4,150,320,69.2,"2009-02-12T13:56:16",61.9,178.4,15,32000,5.81,0.55120000000000002,69.2,73.400000000000006,249.7,111893,61.9,null,null,0.02]
[12.5,183.7,150,65,82.4,"2009-02-12T13:56:48",62.6,183.7,15,6500,5.76,0.1128,82.4,87.5,252.2,22891,62.6,null,null,0.03]
[13,194.5,148,185,74.900000000000006,"2009-02-12T13:57:20",63,194.5,14.8,18500,5.96,0.31069999999999998,74.900000000000006,79.5,240.9,63064,63,null,null,0.68]
[13.5,196.6,129,23.47,87.2,"2009-02-12T13:57:52",63.3,196.6,12.9,2347,7.82,0.03,87.2,92.6,159.6,6093,63.3,null,null,0.56000000000000005]
[14,202.5,126,25.98,87.1,"2009-02-12T13:58:24",63.6,202.5,12.6,2598,8.15,3.1899999999999998E-2,87.1,92.5,149,6469,63.6,null,null,0.55000000000000004]
[14.5,210.2,131,24.53,86.6,"2009-02-12T13:58:56",64,210.2,13.1,2453,7.68,3.2000000000000001E-2,86.6,91.9,164.4,6486,64,null,null,0.54]
[15,208.7,129,18.86,87,"2009-02-12T13:59:28",62.6,208.7,12.9,1886,7.79,2.4199999999999999E-2,87,92.4,160.69999999999999,4917,62.6,null,null,0.54]
[15.5,214.5,126,17.329999999999998,87.2,"2009-02-12T14:00:00",63,214.5,12.6,1733,8.17,2.12E-2,87.2,92.6,148.5,4307,63,null,null,0.55000000000000004]
[16,219.5,128,13.46,87.1,"2009-02-12T14:00:32",63.4,219.5,12.8,1346,7.89,1.7100000000000001E-2,87.1,92.5,157.30000000000001,3463,63.4,null,null,0.55000000000000004]
[16.5,216.8,130,9.11,87.3,"2009-02-12T14:01:04",63.9,216.8,13,911,7.71,1.18E-2,87.3,92.8,163.30000000000001,2399,63.9,null,null,0.55000000000000004]
[17,215.2,135,5.75,87.3,"2009-02-12T14:01:36",64.3,215.2,13.5,575,7.29,7.9000000000000008E-3,87.3,92.7,178.4,1601,64.3,null,null,0.55000000000000004]
[17.5,216.8,137,4.82,87.1,"2009-02-12T14:02:08",64.599999999999994,216.8,13.7,482,7.02,6.8999999999999999E-3,87.1,92.5,189.2,1394,64.599999999999994,null,null,0.56000000000000005]
[18,216.2,139,4.91,87,"2009-02-12T14:02:40",64.5,216.2,13.9,491,6.85,7.1999999999999998E-3,87,92.4,196.4,1456,64.5,null,null,0.55000000000000004]
[18.5,219.5,134,3.93,87.3,"2009-02-12T14:03:12",64.7,219.5,13.4,393,7.34,5.4000000000000003E-3,87.3,92.8,176.7,1088,64.7,null,null,0.55000000000000004]
[19,230.2,127,3.56,87.5,"2009-02-12T14:03:44",64.900000000000006,230.2,12.7,356,8.06,4.4000000000000003E-3,87.5,92.9,151.80000000000001,896,64.900000000000006,null,null,0.56000000000000005]
[19.5,230.2,118,4.4800000000000004,88,"2009-02-12T14:04:16",65.2,230.2,11.8,448,8.86,5.1000000000000004E-3,88,93.4,129.1,1026,65.2,null,null,0.55000000000000004]
[20,239.7,118,3.98,87.7,"2009-02-12T14:04:48",65.3,239.7,11.8,398,8.86,4.4999999999999997E-3,87.7,93.1,129.19999999999999,912,65.3,null,null,0.55000000000000004]
[20.5,240.9,120,4.13,87.5,"2009-02-12T14:05:20",65.7,240.9,12,413,8.66,4.7999999999999996E-3,87.5,93,134.5,969,65.7,null,null,0.55000000000000004]
[21,237.8,126,2.52,87.4,"2009-02-12T14:05:52",66,237.8,12.6,252,8.09,3.0999999999999999E-3,87.4,92.8,151,633,66,null,null,0.55000000000000004]
[21.5,247.3,124,2.58,87.2,"2009-02-12T14:06:24",65.599999999999994,247.3,12.4,258,8.31,3.0999999999999999E-3,87.2,92.6,144.4,631,65.599999999999994,null,null,0.55000000000000004]
[22,246.5,128,2.31,87,"2009-02-12T14:06:56",65.7,246.5,12.8,231,7.97,2.8999999999999998E-3,87,92.4,154.80000000000001,589,65.7,null,null,0.55000000000000004]
[22.5,246.2,132,2.66,86.6,"2009-02-12T14:07:28",65.7,246.2,13.2,266,7.54,3.5000000000000001E-3,86.6,92,169.1,716,65.7,null,null,0.55000000000000004]
[23,246.8,136,2.83,86.2,"2009-02-12T14:08:00",66,246.8,13.6,283,7.14,4.0000000000000001E-3,86.2,91.6,184.3,805,66,null,null,0.56000000000000005]
[23.5,244.6,137,3.39,86.2,"2009-02-12T14:08:32",66.099999999999994,244.6,13.7,339,7.03,4.7999999999999996E-3,86.2,91.5,188.9,979,66.099999999999994,null,null,0.56999999999999995]
[24,234.6,137,3.19,86.6,"2009-02-12T14:09:04",66.5,234.6,13.7,319,7.06,4.4999999999999997E-3,86.6,92,187.7,918,66.5,null,null,0.55000000000000004]
[24.5,244.5,138,3.57,86.1,"2009-02-12T14:09:36",66.599999999999994,244.5,13.8,357,6.94,5.1000000000000004E-3,86.1,91.4,192.6,1045,66.599999999999994,null,null,0.55000000000000004]
[25,241.1,137,4,86.3,"2009-02-12T14:10:08",66.5,241.1,13.7,400,7.02,5.7000000000000002E-3,86.3,91.6,189.2,1157,66.5,null,null,0.55000000000000004]
[25.5,242,138,3.71,86.2,"2009-02-12T14:10:40",66.5,242,13.8,371,7.01,5.3E-3,86.2,91.6,189.8,1075,66.5,null,null,0.54]
[26,241.6,137,3.17,86.4,"2009-02-12T14:11:12",66.599999999999994,241.6,13.7,317,7.09,4.4999999999999997E-3,86.4,91.7,186.2,907,66.599999999999994,null,null,0.55000000000000004]
[26.5,242.9,136,3.38,86.3,"2009-02-12T14:11:44",66.5,242.9,13.6,338,7.13,4.7000000000000002E-3,86.3,91.7,184.5,962,66.5,null,null,0.53]
[27,243.2,139,3.61,86.1,"2009-02-12T14:12:16",66.5,243.2,13.9,361,6.91,5.1999999999999998E-3,86.1,91.4,193.7,1060,66.5,null,null,0.55000000000000004]
[27.5,250,137,3.62,86,"2009-02-12T14:12:48",67,250,13.7,362,7.03,5.1000000000000004E-3,86,91.3,188.6,1045,67,null,null,0.53]
[28,251.5,134,3.31,86.3,"2009-02-12T14:13:20",67.3,251.5,13.4,331,7.36,4.4999999999999997E-3,86.3,91.6,176,913,67.3,null,null,0.52]
[28.5,253.5,136,3.25,86,"2009-02-12T14:13:52",67.5,253.5,13.6,325,7.18,4.4999999999999997E-3,86,91.3,182.8,919,67.5,null,null,0.5]
[29,253.1,123,4.6399999999999997,87,"2009-02-12T14:14:24",67.7,253.1,12.3,464,8.4499999999999993,5.4999999999999997E-3,87,92.4,140.30000000000001,1115,67.7,null,null,0.49]
[29.5,260.5,115,7.8,87.1,"2009-02-12T14:14:56",67.2,260.5,11.5,780,9.19,8.5000000000000006E-3,87.1,92.5,120.8,1723,67.2,null,null,0.47]
[30,258.3,128,3.55,86.3,"2009-02-12T14:15:28",64.599999999999994,258.3,12.8,355,7.89,4.4999999999999997E-3,86.3,91.7,157.4,914,64.599999999999994,null,null,0.44]
[30.5,259.7,130,2.54,86.1,"2009-02-12T14:16:00",61.7,259.7,13,254,7.76,3.3E-3,86.1,91.5,161.5,664,61.7,null,null,0.42]
[31,261,131,2.46,85.9,"2009-02-12T14:16:32",59.6,261,13.1,246,7.61,3.2000000000000002E-3,85.9,91.2,166.7,656,59.6,null,null,0.38]
[31.5,266.2,130,2.29,85.9,"2009-02-12T14:17:04",60.2,266.2,13,229,7.78,2.8999999999999998E-3,85.9,91.2,160.9,597,60.2,null,null,0.34]
[32,{"$f":"FT","v":269.8},{"$f":"Oxy*10","v":129},{"$f":"CO/100","v":1.96},{"$f":"Effg","v":85.7},"2009-02-12T14:17:36",57.8,269.8,12.9,196,7.79,2.5000000000000001E-3,85.7,91,160.69999999999999,511,57.8,null,null,0.3]
[32.5,272.60000000000002,128,1.65,85.8,"2009-02-12T14:18:08",58.8,272.60000000000002,12.8,165,7.95,2.0999999999999999E-3,85.8,91.1,155.5,422,58.8,null,null,0.28000000000000003]
[33,271.8,124,2.3199999999999998,86,"2009-02-12T14:18:40",58.1,271.8,12.4,232,8.3000000000000007,2.8E-3,86,91.4,144.5,567,58.1,null,null,0.24]
[33.5,272.8,112,8.76,86.5,"2009-02-12T14:19:12",56.9,272.8,11.2,876,9.49,9.1999999999999998E-3,86.5,91.9,113.9,1873,56.9,null,null,0.21]
[34,276,109,7.46,86.6,"2009-02-12T14:19:44",56.9,276,10.9,746,9.75,7.6E-3,86.6,92,108.1,1552,56.9,null,null,0.2]
[34.5,276.8,110,6.14,86.7,"2009-02-12T14:20:16",58,276.8,11,614,9.7100000000000009,6.3E-3,86.7,92.1,109,1284,58,null,null,0.19]
[35,277.7,109,5.43,86.8,"2009-02-12T14:20:48",59.1,277.7,10.9,543,9.76,5.5999999999999999E-3,86.8,92.2,108.1,1130,59.1,null,null,0.17]
[35.5,280.10000000000002,111,4.72,86.7,"2009-02-12T14:21:20",60.1,280.10000000000002,11.1,472,9.6199999999999992,4.8999999999999998E-3,86.7,92.1,111.1,996,60.1,null,null,0.16]
[36,270.8,111,4.0199999999999996,87,"2009-02-12T14:21:52",61,270.8,11.1,402,9.58,4.1999999999999997E-3,87,92.4,111.9,852,61,null,null,0.14000000000000001]
[36.5,285,112,3.32,86.6,"2009-02-12T14:22:24",61.8,285,11.2,332,9.4700000000000006,3.5000000000000001E-3,86.6,91.9,114.3,711,61.8,null,null,0.13]
[37,280.3,111,4.1399999999999997,86.8,"2009-02-12T14:22:56",63.6,280.3,11.1,414,9.57,4.3E-3,86.8,92.2,112.1,878,63.6,null,null,0.12]
[37.5,279.89999999999998,109,6.39,86.8,"2009-02-12T14:23:28",65.099999999999994,279.89999999999998,10.9,639,9.73,6.6E-3,86.8,92.2,108.7,1334,65.099999999999994,null,null,0.12]
[38,280.8,109,9.57,86.7,"2009-02-12T14:24:00",65.5,280.8,10.9,957,9.7799999999999994,9.7999999999999997E-3,86.7,92.1,107.7,1987,65.5,null,null,0.1]
[38.5,283.5,105,14.69,86.6,"2009-02-12T14:24:32",64.900000000000006,283.5,10.5,1469,10.17,1.4500000000000001E-2,86.6,91.9,99.7,2933,64.900000000000006,null,null,0.1]
[39,287.8,103,12.98,86.7,"2009-02-12T14:25:04",66,287.8,10.3,1298,10.32,1.26E-2,86.7,92,96.8,2554,66,null,null,0.04]
[39.5,293.89999999999998,107,7.87,86.5,"2009-02-12T14:25:36",66.3,293.89999999999998,10.7,787,9.93,7.9000000000000008E-3,86.5,91.9,104.3,1608,66.3,null,null,0.04]
[40,297.2,107,6.07,86.5,"2009-02-12T14:26:08",66,297.2,10.7,607,9.98,6.1000000000000004E-3,86.5,91.9,103.4,1235,66,null,null,0.04]
[40.5,312.60000000000002,104,6.21,86.2,"2009-02-12T14:26:40",65.7,312.60000000000002,10.4,621,10.24,6.1000000000000004E-3,86.2,91.6,98.3,1232,65.7,null,null,0.04]
[41,294.39999999999998,113,10.62,86,"2009-02-12T14:27:12",66.099999999999994,294.39999999999998,11.3,1062,9.3800000000000008,1.1299999999999999E-2,86,91.3,116.3,2297,66.099999999999994,null,null,0.59]
[41.5,324.60000000000002,102,15.89,85.6,"2009-02-12T14:27:44",66.3,324.60000000000002,10.199999999999999,1589,10.48,1.52E-2,85.6,90.9,93.7,3078,66.3,null,null,0.52]
[42,341.6,97,17.21,85.4,"2009-02-12T14:28:16",66.8,341.6,9.6999999999999993,1721,10.9,1.5800000000000002E-2,85.4,90.6,86.2,3204,66.8,null,null,0.51]
[42.5,342.4,98,15.9,85.3,"2009-02-12T14:28:48",66.599999999999994,342.4,9.8000000000000007,1590,10.83,1.47E-2,85.3,90.6,87.4,2980,66.599999999999994,null,null,0.51]
[43,341.9,98,27.78,84.8,"2009-02-12T14:29:20",66.7,341.9,9.8000000000000007,2778,10.84,2.5600000000000001E-2,84.8,90.1,87.3,5204,66.7,null,null,0.53]
[43.5,345.6,97,23.41,84.9,"2009-02-12T14:29:52",66.099999999999994,345.6,9.6999999999999993,2341,10.91,2.1499999999999998E-2,84.9,90.2,86.1,4357,66.099999999999994,null,null,0.54]
[44,343.6,100,34.46,84.3,"2009-02-12T14:30:24",67,343.6,10,3446,10.66,3.2300000000000002E-2,84.3,89.5,90.4,6562,67,null,null,0.54]
[44.5,345.3,101,39.130000000000003,83.9,"2009-02-12T14:30:56",67.3,345.3,10.1,3913,10.5,3.73E-2,83.9,89.1,93.4,7568,67.3,null,null,0.55000000000000004]
[45,352,104,33.840000000000003,83.8,"2009-02-12T14:31:28",67.7,352,10.4,3384,10.24,3.3000000000000002E-2,83.8,89,98.1,6705,67.7,null,null,0.55000000000000004]
[45.5,343,98,29.37,84.7,"2009-02-12T14:32:00",67.900000000000006,343,9.8000000000000007,2937,10.78,2.7199999999999998E-2,84.7,89.9,88.3,5531,67.900000000000006,null,null,0.55000000000000004]
[46,354.4,100,31.44,84.2,"2009-02-12T14:32:32",67.900000000000006,354.4,10,3144,10.62,2.9600000000000001E-2,84.2,89.4,91.1,6007,67.900000000000006,null,null,0.55000000000000004]
[46.5,354.8,100,22.28,84.6,"2009-02-12T14:33:04",68.2,354.8,10,2228,10.65,2.0899999999999998E-2,84.6,89.8,90.7,4249,68.2,null,null,0.55000000000000004]
[47,360.7,97,33.840000000000003,84.1,"2009-02-12T14:33:36",68.099999999999994,360.7,9.6999999999999993,3384,10.94,3.09E-2,84.1,89.3,85.6,6280,68.099999999999994,null,null,0.56000000000000005]
[47.5,369.1,94,43.91,83.7,"2009-02-12T14:34:08",68.7,369.1,9.4,4391,11.21,3.9199999999999999E-2,83.7,88.9,81.099999999999994,7954,68.7,null,null,0.56000000000000005]
[48,366.1,93,38.270000000000003,84.1,"2009-02-12T14:34:40",68.8,366.1,9.3000000000000007,3827,11.32,3.3799999999999997E-2,84.1,89.3,79.3,6862,68.8,null,null,0.56000000000000005]
[48.5,374.1,92,39.369999999999997,83.9,"2009-02-12T14:35:12",69,374.1,9.1999999999999993,3937,11.43,3.44E-2,83.9,89.1,77.599999999999994,6993,69,null,null,0.43]
[49,362.1,90,44.02,84.2,"2009-02-12T14:35:44",69.2,362.1,9,4402,11.62,3.7900000000000003E-2,84.2,89.4,74.7,7689,69.2,null,null,0.42]
[49.5,368.4,91,51.05,83.7,"2009-02-12T14:36:16",69.400000000000006,368.4,9.1,5105,11.55,4.4200000000000003E-2,83.7,88.9,75.7,8971,69.400000000000006,null,null,0.44]
[50,371.9,92,70,82.7,"2009-02-12T14:36:48",69.7,371.9,9.1999999999999993,7000,11.45,6.1199999999999997E-2,82.7,87.8,77.3,12414,69.7,null,null,0.43]
[50.5,369.6,94,55,83.2,"2009-02-12T14:37:20",70.2,369.6,9.4,5500,11.2,4.9099999999999998E-2,83.2,88.4,81.2,9966,70.2,null,null,0.43]
[51,383.2,96,50,83,"2009-02-12T14:37:52",71.599999999999994,383.2,9.6,5000,11.07,4.5199999999999997E-2,83,88.1,83.4,9172,71.599999999999994,null,null,0.44]
[51.5,369.3,94,50,83.5,"2009-02-12T14:38:24",71.8,369.3,9.4,5000,11.24,4.4499999999999998E-2,83.5,88.7,80.5,9027,71.8,null,null,0.43]
[52,379.2,91,50,83.5,"2009-02-12T14:38:56",72.7,379.2,9.1,5000,11.47,4.36E-2,83.5,88.6,77,8850,72.7,null,null,0.43]
[52.5,376.5,94,50,83.4,"2009-02-12T14:39:28",73.8,376.5,9.4,5000,11.2,4.4600000000000001E-2,83.4,88.5,81.2,9059,73.8,null,null,0.43]
[53,382.4,95,50,83.2,"2009-02-12T14:40:00",74,382.4,9.5,5000,11.15,4.48E-2,83.2,88.3,82,9102,74,null,null,0.42]
[53.5,385.7,96,50,83,"2009-02-12T14:40:32",73.900000000000006,385.7,9.6,5000,11.03,4.53E-2,83,88.1,84.1,9204,73.900000000000006,null,null,0.42]
[54,378.7,94,7.06,85.2,"2009-02-12T14:41:04",72.8,378.7,9.4,706,11.26,6.3E-3,85.2,90.5,80.3,1273,72.8,null,null,0.38]
[54.5,379.8,94,31.83,84,"2009-02-12T14:41:36",72.3,379.8,9.4,3183,11.17,2.8500000000000001E-2,84,89.2,81.8,5787,72.3,null,null,0.39]
[55,388.8,96,22.28,84,"2009-02-12T14:42:08",72.099999999999994,388.8,9.6,2228,10.97,2.0299999999999999E-2,84,89.2,85,4122,72.099999999999994,null,null,0.39]
[55.5,394.5,99,19.57,83.8,"2009-02-12T14:42:40",72.400000000000006,394.5,9.9,1957,10.69,1.83E-2,83.8,89,89.9,3717,72.400000000000006,null,null,0.39]
[56,390.1,97,27.13,83.8,"2009-02-12T14:43:12",72.7,390.1,9.6999999999999993,2713,10.97,2.47E-2,83.8,89,85.1,5022,72.7,null,null,0.39]
[56.5,395,97,29.02,83.5,"2009-02-12T14:43:44",74.099999999999994,395,9.6999999999999993,2902,10.88,2.6700000000000002E-2,83.5,88.7,86.6,5415,74.099999999999994,null,null,0.39]
[57,389.5,99,29.81,83.5,"2009-02-12T14:44:16",73.7,389.5,9.9,2981,10.73,2.7799999999999998E-2,83.5,88.7,89.1,5638,73.7,null,null,0.39]
[57.5,404.6,102,26.12,83,"2009-02-12T14:44:48",74.3,404.6,10.199999999999999,2612,10.4,2.5100000000000001E-2,83,88.1,95.1,5096,74.3,null,null,0.39]
[58,407.2,101,26.78,82.9,"2009-02-12T14:45:20",72.2,407.2,10.1,2678,10.51,2.5499999999999998E-2,82.9,88.1,93.1,5172,72.2,null,null,0.39]
[58.5,404.6,103,28.72,82.6,"2009-02-12T14:45:52",69.5,404.6,10.3,2872,10.3,2.7900000000000001E-2,82.6,87.7,97.1,5661,69.5,null,null,0.38]
[59,405.6,103,33.29,82.4,"2009-02-12T14:46:24",67.900000000000006,405.6,10.3,3329,10.35,3.2199999999999999E-2,82.4,87.5,96.2,6531,67.900000000000006,null,null,0.34]
[59.5,404.2,103,28.49,82.6,"2009-02-12T14:46:56",66.8,404.2,10.3,2849,10.38,2.7400000000000001E-2,82.6,87.7,95.6,5572,66.8,null,null,0.34]
[60,408.9,103,28.4,82.5,"2009-02-12T14:47:28",68.2,408.9,10.3,2840,10.3,2.76E-2,82.5,87.6,97.1,5598,68.2,null,null,0.35]
[60.5,405.1,102,26.55,82.8,"2009-02-12T14:48:00",68.3,405.1,10.199999999999999,2655,10.44,2.5399999999999999E-2,82.8,87.9,94.4,5162,68.3,null,null,0.35]
[61,415.5,102,29.29,82.4,"2009-02-12T14:48:32",67.8,415.5,10.199999999999999,2929,10.48,2.7900000000000001E-2,82.4,87.5,93.7,5672,67.8,null,null,0.35]
[61.5,417.3,102,26.59,82.5,"2009-02-12T14:49:04",68,417.3,10.199999999999999,2659,10.49,2.5399999999999999E-2,82.5,87.6,93.6,5147,68,null,null,0.36]
[62,408.3,97,32.799999999999997,82.9,"2009-02-12T14:49:36",70,408.3,9.6999999999999993,3280,10.89,3.0099999999999998E-2,82.9,88,86.5,6117,70,null,null,0.36]
[62.5,406,97,33.200000000000003,82.9,"2009-02-12T14:50:08",67.5,406,9.6999999999999993,3320,10.93,3.04E-2,82.9,88,85.8,6167,67.5,null,null,0.36]
[63,406.6,98,29.52,83,"2009-02-12T14:50:40",69.099999999999994,406.6,9.8000000000000007,2952,10.79,2.7400000000000001E-2,83,88.1,88.1,5552,69.099999999999994,null,null,0.35]
[63.5,419.2,101,20,82.8,"2009-02-12T14:51:12",68.599999999999994,419.2,10.1,2000,10.49,1.9099999999999999E-2,82.8,87.9,93.5,3871,68.599999999999994,null,null,0.36]
[64,{"$f":"FT","v":421.2},{"$f":"Oxy*10","v":103},{"$f":"CO/100","v":14.28},{"$f":"Effg","v":82.9},"2009-02-12T14:51:44",69.400000000000006,421.2,10.3,1428,10.36,1.38E-2,82.9,88,96,2799,69.400000000000006,null,null,0.36]
[64.5,416.3,104,16.16,82.8,"2009-02-12T14:52:16",69.099999999999994,416.3,10.4,1616,10.25,1.5800000000000002E-2,82.8,88,98.1,3201,69.099999999999994,null,null,0.36]
[65,416.6,105,13.04,82.8,"2009-02-12T14:52:48",68.099999999999994,416.6,10.5,1304,10.14,1.29E-2,82.8,88,100.1,2610,68.099999999999994,null,null,0.35]
[65.5,424.5,105,10.45,82.8,"2009-02-12T14:53:20",69.900000000000006,424.5,10.5,1045,10.11,1.03E-2,82.8,87.9,100.7,2097,69.900000000000006,null,null,0.35]
[66,415.7,106,6.03,83.1,"2009-02-12T14:53:52",68.2,415.7,10.6,603,10.039999999999999,6.0000000000000001E-3,83.1,88.3,102.3,1220,68.2,null,null,0.36]
[66.5,414.1,108,10.62,82.8,"2009-02-12T14:54:24",71.900000000000006,414.1,10.8,1062,9.82,1.0800000000000001E-2,82.8,88,106.8,2196,71.900000000000006,null,null,0.36]
[67,417.4,109,17.11,82.3,"2009-02-12T14:54:56",72.099999999999994,417.4,10.9,1711,9.75,1.7600000000000001E-2,82.3,87.4,108.3,3564,72.099999999999994,null,null,0.35]
[67.5,408,115,17.559999999999999,82,"2009-02-12T14:55:28",73.099999999999994,408,11.5,1756,9.19,1.9099999999999999E-2,82,87.1,120.9,3878,73.099999999999994,null,null,0.35]
[68,407.2,114,17.690000000000001,82.1,"2009-02-12T14:56:00",73.900000000000006,407.2,11.4,1769,9.25,1.9099999999999999E-2,82.1,87.2,119.6,3884,73.900000000000006,null,null,0.35]
[68.5,410.2,117,15.76,81.8,"2009-02-12T14:56:32",72,410.2,11.7,1576,9.02,1.7500000000000002E-2,81.8,86.9,125,3546,72,null,null,0.36]
[69,410.8,117,12.3,82,"2009-02-12T14:57:04",74.5,410.8,11.7,1230,8.9600000000000009,1.37E-2,82,87.1,126.5,2786,74.5,null,null,0.37]
[69.5,411.9,122,10.33,81.599999999999994,"2009-02-12T14:57:36",74.5,411.9,12.2,1033,8.5399999999999991,1.21E-2,81.599999999999994,86.6,137.80000000000001,2457,74.5,null,null,0.36]
[70,407.7,124,6.88,81.599999999999994,"2009-02-12T14:58:08",73.2,407.7,12.4,688,8.32,8.3000000000000001E-3,81.599999999999994,86.6,144.1,1679,73.2,null,null,0.35]
[70.5,414.6,125,4.9400000000000004,81.400000000000006,"2009-02-12T14:58:40",74.099999999999994,414.6,12.5,494,8.23,6.0000000000000001E-3,81.400000000000006,86.4,146.80000000000001,1219,74.099999999999994,null,null,0.36]
[71,413.7,125,6.38,81.2,"2009-02-12T14:59:12",73.2,413.7,12.5,638,8.19,7.7999999999999996E-3,81.2,86.3,147.9,1582,73.2,null,null,0.34]
[71.5,409.5,124,6.27,81.599999999999994,"2009-02-12T14:59:44",74.3,409.5,12.4,627,8.34,7.4999999999999997E-3,81.599999999999994,86.7,143.30000000000001,1526,74.3,null,null,0.35]
[72,411.4,123,5.52,81.8,"2009-02-12T15:00:16",75.2,411.4,12.3,552,8.4499999999999993,6.4999999999999997E-3,81.8,86.8,140.30000000000001,1327,75.2,null,null,0.35]
[72.5,415,126,5.86,81.2,"2009-02-12T15:00:48",74.900000000000006,415,12.6,586,8.16,7.1999999999999998E-3,81.2,86.3,148.80000000000001,1458,74.900000000000006,null,null,0.34]
[73,412.9,125,5.0999999999999996,81.400000000000006,"2009-02-12T15:01:20",75.900000000000006,412.9,12.5,510,8.17,6.1999999999999998E-3,81.400000000000006,86.5,148.4,1267,75.900000000000006,null,null,0.35]
[73.5,420.6,129,3.87,80.7,"2009-02-12T15:01:52",74.5,420.6,12.9,387,7.84,4.8999999999999998E-3,80.7,85.7,158.80000000000001,1002,74.5,null,null,0.35]
[74,416.6,130,2.69,80.599999999999994,"2009-02-12T15:02:24",69.8,416.6,13,269,7.77,3.5000000000000001E-3,80.599999999999994,85.6,161.1,702,69.8,null,null,0.34]
[74.5,430.3,130,3.34,80,"2009-02-12T15:02:56",70.3,430.3,13,334,7.73,4.3E-3,80,85,162.6,877,70.3,null,null,0.34]
[75,421.7,132,4.2,80,"2009-02-12T15:03:28",73.5,421.7,13.2,420,7.49,5.5999999999999999E-3,80,85,170.9,1138,73.5,null,null,0.34]
[75.5,428.6,134,6.64,79.099999999999994,"2009-02-12T15:04:00",71.099999999999994,428.6,13.4,664,7.3,9.1000000000000004E-3,79.099999999999994,84,178.1,1847,71.099999999999994,null,null,0.34]
[76,416.9,138,4.57,79.2,"2009-02-12T15:04:32",72.400000000000006,416.9,13.8,457,6.98,6.4999999999999997E-3,79.2,84.1,190.8,1329,72.400000000000006,null,null,0.35]
[76.5,421.3,142,4.59,78.099999999999994,"2009-02-12T15:05:04",71.2,421.3,14.2,459,6.56,7.0000000000000001E-3,78.099999999999994,82.9,209.5,1420,71.2,null,null,0.35]
[77,419.7,143,5.34,77.8,"2009-02-12T15:05:36",69.7,419.7,14.3,534,6.48,8.2000000000000007E-3,77.8,82.7,213.2,1673,69.7,null,null,0.35]
[77.5,437.4,144,6.32,76.900000000000006,"2009-02-12T15:06:08",74.5,437.4,14.4,632,6.34,0.01,76.900000000000006,81.599999999999994,220.3,2024,74.5,null,null,0.35]
[78,385.5,165,5.97,73,"2009-02-12T15:06:40",76.3,385.5,16.5,597,4.3099999999999996,1.3899999999999999E-2,73,77.5,371.2,2813,76.3,null,null,0.33]
[78.5,374.1,142,2.17,80.400000000000006,"2009-02-12T15:07:12",74.2,374.1,14.2,217,6.53,3.3E-3,80.400000000000006,85.4,210.9,675,74.2,null,null,0.33]
[79,375.3,143,2.2400000000000002,80.099999999999994,"2009-02-12T15:07:44",71.400000000000006,375.3,14.3,224,6.46,3.5000000000000001E-3,80.099999999999994,85,214.5,704,71.400000000000006,null,null,0.34]
[79.5,371.1,141,3.08,80.599999999999994,"2009-02-12T15:08:16",72.8,371.1,14.1,308,6.62,4.7000000000000002E-3,80.599999999999994,85.6,206.6,944,72.8,null,null,0.34]
[80,378.6,141,4.34,80.099999999999994,"2009-02-12T15:08:48",70.8,378.6,14.1,434,6.64,6.4999999999999997E-3,80.099999999999994,85.1,205.5,1326,70.8,null,null,0.34]
[80.5,384.4,143,5.75,79.5,"2009-02-12T15:09:20",75,384.4,14.3,575,6.44,8.8999999999999999E-3,79.5,84.5,215.4,1814,75,null,null,0.34]
[81,387.9,143,4.43,79.5,"2009-02-12T15:09:52",73.599999999999994,387.9,14.3,443,6.46,6.8999999999999999E-3,79.5,84.4,214.2,1392,73.599999999999994,null,null,0.35]
[81.5,389,143,4.59,79.3,"2009-02-12T15:10:24",71.5,389,14.3,459,6.46,7.1000000000000004E-3,79.3,84.2,214.2,1442,71.5,null,null,0.34]
[82,401.6,144,4,78.599999999999994,"2009-02-12T15:10:56",70.3,401.6,14.4,400,6.42,6.1999999999999998E-3,78.599999999999994,83.5,216.3,1265,70.3,null,null,0.34]
[82.5,397.2,145,4.59,78.7,"2009-02-12T15:11:28",73.3,397.2,14.5,459,6.31,7.3000000000000001E-3,78.7,83.6,221.5,1476,73.3,null,null,0.35]
[83,392,144,4.1100000000000003,78.900000000000006,"2009-02-12T15:12:00",69.5,392,14.4,411,6.34,6.4999999999999997E-3,78.900000000000006,83.7,220.3,1317,69.5,null,null,0.35]
[83.5,396.9,145,4.57,78.599999999999994,"2009-02-12T15:12:32",71.400000000000006,396.9,14.5,457,6.3,7.3000000000000001E-3,78.599999999999994,83.5,222.3,1473,71.400000000000006,null,null,0.35]
[84,399.3,145,5.83,78.3,"2009-02-12T15:13:04",72.400000000000006,399.3,14.5,583,6.24,9.2999999999999992E-3,78.3,83.1,225.4,1897,72.400000000000006,null,null,0.34]
[84.5,390.5,147,5.42,78.400000000000006,"2009-02-12T15:13:36",73.099999999999994,390.5,14.7,542,6.09,8.8999999999999999E-3,78.400000000000006,83.3,233.3,1807,73.099999999999994,null,null,0.34]
[85,410.7,150,6.43,76.7,"2009-02-12T15:14:08",72.2,410.7,15,643,5.83,1.0999999999999999E-2,76.7,81.400000000000006,248.4,2240,72.2,null,null,0.34]
[85.5,397.1,147,7.38,77.8,"2009-02-12T15:14:40",71,397.1,14.7,738,6.08,1.21E-2,77.8,82.6,233.6,2462,71,null,null,0.35]
[86,397.4,149,7.13,77.5,"2009-02-12T15:15:12",71.599999999999994,397.4,14.9,713,5.92,1.2E-2,77.5,82.2,242.9,2445,71.599999999999994,null,null,0.34]
[86.5,403.3,148,10,77.099999999999994,"2009-02-12T15:15:44",73.599999999999994,403.3,14.8,1000,5.96,1.6799999999999999E-2,77.099999999999994,81.900000000000006,240.4,3404,73.599999999999994,null,null,0.36]
[87,397.3,149,9.58,77.099999999999994,"2009-02-12T15:16:16",72.2,397.3,14.9,958,5.85,1.6400000000000001E-2,77.099999999999994,81.900000000000006,246.9,3323,72.2,null,null,0.32]
[87.5,401.8,151,8.4,76.400000000000006,"2009-02-12T15:16:48",70.599999999999994,401.8,15.1,840,5.68,1.4800000000000001E-2,76.400000000000006,81.2,257.39999999999998,3002,70.599999999999994,null,null,0.32]
[88,403.4,151,9.4700000000000006,76.400000000000006,"2009-02-12T15:17:20",71.599999999999994,403.4,15.1,947,5.73,1.6500000000000001E-2,76.400000000000006,81.2,254.2,3354,71.599999999999994,null,null,0.32]
[88.5,397.2,154,8.32,75.7,"2009-02-12T15:17:52",70.599999999999994,397.2,15.4,832,5.37,1.55E-2,75.7,80.400000000000006,277.7,3142,70.599999999999994,null,null,0.33]
[89,402.8,153,7.63,75.8,"2009-02-12T15:18:24",70.400000000000006,402.8,15.3,763,5.48,1.3899999999999999E-2,75.8,80.5,270.5,2827,70.400000000000006,null,null,0.34]
[89.5,404.9,155,8.65,75.3,"2009-02-12T15:18:56",75.599999999999994,404.9,15.5,865,5.28,1.6400000000000001E-2,75.3,79.900000000000006,284.7,3328,75.599999999999994,null,null,0.31]
[90,402.6,156,11.41,74.7,"2009-02-12T15:19:28",74,402.6,15.6,1141,5.19,2.1999999999999999E-2,74.7,79.3,291.5,4467,74,null,null,0.33]
[90.5,395.1,157,13.51,74.400000000000006,"2009-02-12T15:20:00",71.400000000000006,395.1,15.7,1351,5.08,2.6599999999999999E-2,74.400000000000006,79,299.60000000000002,5398,71.400000000000006,null,null,0.33]
[91,409.6,159,12.52,73.2,"2009-02-12T15:20:32",72.3,409.6,15.9,1252,4.93,2.5399999999999999E-2,73.2,77.7,311.8,5155,72.3,null,null,0.31]
[91.5,394.6,160,15.42,73.400000000000006,"2009-02-12T15:21:04",74,394.6,16,1542,4.82,3.2000000000000001E-2,73.400000000000006,77.900000000000006,321.5,6500,74,null,null,0.34]
[92,397,161,18.48,72.3,"2009-02-12T15:21:36",73.099999999999994,397,16.100000000000001,1848,4.6900000000000004,3.9399999999999998E-2,72.3,76.8,332.9,7999,73.099999999999994,null,null,0.33]
[92.5,396,162,21.17,71.900000000000006,"2009-02-12T15:22:08",74.900000000000006,396,16.2,2117,4.6100000000000003,4.5900000000000003E-2,71.900000000000006,76.3,340.6,9327,74.900000000000006,null,null,0.33]
[93,353,171,12.25,71.400000000000006,"2009-02-12T15:22:40",75.099999999999994,353,17.100000000000001,1225,3.74,3.27E-2,71.400000000000006,75.900000000000006,442.4,6644,75.099999999999994,null,null,0.32]