{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":171,"n_cols":20,"rows_kept":171,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":354.79408284023674},{"$f":"AVERAGE(Oxy)","v":11.880473372781065},{"$f":"AVERAGE(CO)","v":2967.6272189349111},{"$f":"AVERAGE(Effg)","v":82.198809523809501}]
[19,{"$f":"FT","v":97.9},{"$f":"Oxy*10","v":209},{"$f":"CO/100","v":0.48},{"$f":"Effg","v":0},"2009-02-14T10:53:12",63.7,97.9,20.9,48,null,null,null,null,null,null,63.7,null,null,0.53]
[19.5,103.8,192,2.75,86.7,"2009-02-14T10:53:44",64.8,103.8,19.2,275,1.72,1.6E-2,86.7,92.1,1083.4000000000001,3254,64.8,null,null,0.53]
[20,127.8,176,8.5500000000000007,87.1,"2009-02-14T10:54:16",65.7,127.8,17.600000000000001,855,3.28,2.6100000000000002E-2,87.1,92.5,518.70000000000005,5290,65.7,null,null,0.53]
[20.5,138.19999999999999,169,14.7,86.8,"2009-02-14T10:54:48",66.3,138.19999999999999,16.899999999999999,1470,3.96,3.7100000000000001E-2,86.8,92.1,413,7541,66.3,null,null,0.52]
[21,150.9,159,8.59,88.1,"2009-02-14T10:55:20",66.900000000000006,150.9,15.9,859,4.97,1.7299999999999999E-2,88.1,93.5,308.3,3507,66.900000000000006,null,null,0.52]
[21.5,173.3,138,4.93,89,"2009-02-14T10:55:52",67.099999999999994,173.3,13.8,493,6.96,7.1000000000000004E-3,89,94.5,191.7,1438,67.099999999999994,null,null,0.52]
[22,185.4,118,5.72,89.5,"2009-02-14T10:56:24",67.599999999999994,185.4,11.8,572,8.9,6.4000000000000003E-3,89.5,95.1,128,1304,67.599999999999994,null,null,0.51]
[22.5,197.9,107,10.51,89.3,"2009-02-14T10:56:56",68,197.9,10.7,1051,9.94,1.06E-2,89.3,94.8,104.1,2146,68,null,null,0.5]
[23,218.8,109,7.94,88.7,"2009-02-14T10:57:28",68.099999999999994,218.8,10.9,794,9.75,8.0999999999999996E-3,88.7,94.2,108.1,1653,68.099999999999994,null,null,0.5]
[23.5,223.5,109,5.14,88.7,"2009-02-14T10:58:00",68.2,223.5,10.9,514,9.75,5.3E-3,88.7,94.2,108.3,1071,68.2,null,null,0.5]
[24,224.8,107,6.31,88.7,"2009-02-14T10:58:32",68.400000000000006,224.8,10.7,631,9.9700000000000006,6.3E-3,88.7,94.2,103.6,1285,68.400000000000006,null,null,0.49]
[24.5,236.8,113,3.23,88.2,"2009-02-14T10:59:04",68.400000000000006,236.8,11.3,323,9.34,3.5000000000000001E-3,88.2,93.7,117.2,702,68.400000000000006,null,null,0.49]
[25,231.5,116,1.7,88.4,"2009-02-14T10:59:36",68.8,231.5,11.6,170,9.1,1.9E-3,88.4,93.9,123.2,379,68.8,null,null,0.49]
[25.5,236.9,118,2.04,88.1,"2009-02-14T11:00:08",68.900000000000006,236.9,11.8,204,8.92,2.3E-3,88.1,93.5,127.7,464,68.900000000000006,null,null,0.49]
[26,240.8,106,7.14,88.3,"2009-02-14T11:00:40",68.900000000000006,240.8,10.6,714,10.02,7.1000000000000004E-3,88.3,93.7,102.6,1447,68.900000000000006,null,null,0.48]
[26.5,250.5,101,8.5500000000000007,88.2,"2009-02-14T11:01:12",69.099999999999994,250.5,10.1,855,10.57,8.0999999999999996E-3,88.2,93.7,92,1641,69.099999999999994,null,null,0.49]
[27,263.10000000000002,100,10.44,87.7,"2009-02-14T11:01:44",69,263.10000000000002,10,1044,10.6,9.7999999999999997E-3,87.7,93.2,91.5,1999,69,null,null,0.48]
[27.5,260.60000000000002,93,15.26,87.9,"2009-02-14T11:02:16",69.099999999999994,260.60000000000002,9.3000000000000007,1526,11.27,1.35E-2,87.9,93.4,80,2748,69.099999999999994,null,null,0.48]
[28,267.39999999999998,97,15.66,87.5,"2009-02-14T11:02:48",69,267.39999999999998,9.6999999999999993,1566,10.94,1.43E-2,87.5,93,85.5,2906,69,null,null,0.48]
[28.5,271.60000000000002,93,23.01,87.3,"2009-02-14T11:03:20",69.099999999999994,271.60000000000002,9.3000000000000007,2301,11.27,2.0400000000000001E-2,87.3,92.7,80.099999999999994,4145,69.099999999999994,null,null,0.47]
[29,272.3,90,115,83.7,"2009-02-14T11:03:52",69.400000000000006,272.3,9,11500,11.61,9.9000000000000005E-2,83.7,88.9,74.8,20103,69.400000000000006,null,null,0.5]
[29.5,282.5,90,50,86,"2009-02-14T11:04:24",69.3,282.5,9,5000,11.6,4.3099999999999999E-2,86,91.3,75,8748,69.3,null,null,0.5]
[30,283.10000000000002,91,16.53,87.4,"2009-02-14T11:04:56",69.400000000000006,283.10000000000002,9.1,1653,11.53,1.43E-2,87.4,92.8,76,2910,69.400000000000006,null,null,0.46]
[30.5,290.60000000000002,86,175,81.400000000000006,"2009-02-14T11:05:28",69.5,290.60000000000002,8.6,17500,12,0.14580000000000001,81.400000000000006,86.4,69.099999999999994,29599,69.5,null,null,0.49]
[31,299.60000000000002,83,50,85.9,"2009-02-14T11:06:00",69.400000000000006,299.60000000000002,8.3000000000000007,5000,12.23,4.0899999999999999E-2,85.9,91.3,65.900000000000006,8297,69.400000000000006,null,null,0.49]
[31.5,297,85,50,85.9,"2009-02-14T11:06:32",69.599999999999994,297,8.5,5000,12.1,4.1300000000000003E-2,85.9,91.3,67.8,8388,69.599999999999994,null,null,0.49]
[32,{"$f":"FT","v":302.2},{"$f":"Oxy*10","v":81},{"$f":"CO/100","v":65},{"$f":"Effg","v":85.5},"2009-02-14T11:07:04",69.599999999999994,302.2,8.1,6500,12.5,5.1999999999999998E-2,85.5,90.7,62.4,10555,69.599999999999994,null,null,0.48]
[32.5,314.5,83,70,84.8,"2009-02-14T11:07:36",69.7,314.5,8.3000000000000007,7000,12.29,5.7000000000000002E-2,84.8,90.1,65.2,11561,69.7,null,null,0.47]
[33,315,83,75,84.6,"2009-02-14T11:08:08",70.3,315,8.3000000000000007,7500,12.24,6.13E-2,84.6,89.8,65.900000000000006,12440,70.3,null,null,0.45]
[33.5,310.10000000000002,87,70,84.7,"2009-02-14T11:08:40",70.5,310.10000000000002,8.6999999999999993,7000,11.9,5.8799999999999998E-2,84.7,89.9,70.599999999999994,11939,70.5,null,null,0.43]
[34,317.89999999999998,90,50,85.1,"2009-02-14T11:09:12",70.5,317.89999999999998,9,5000,11.62,4.2999999999999997E-2,85.1,90.4,74.7,8736,70.5,null,null,0.42]
[34.5,330.2,88,50,84.9,"2009-02-14T11:09:44",70.7,330.2,8.8000000000000007,5000,11.82,4.2299999999999997E-2,84.9,90.2,71.7,8587,70.7,null,null,0.41]
[35,322.89999999999998,89,50,85.1,"2009-02-14T11:10:16",70.7,322.89999999999998,8.9,5000,11.69,4.2799999999999998E-2,85.1,90.3,73.7,8683,70.7,null,null,0.36]
[35.5,324.5,88,60,84.7,"2009-02-14T11:10:48",70.8,324.5,8.8000000000000007,6000,11.79,5.0900000000000001E-2,84.7,89.9,72.099999999999994,10328,70.8,null,null,0.36]
[36,332.2,85,55,84.9,"2009-02-14T11:11:20",70.8,332.2,8.5,5500,12.05,4.5600000000000002E-2,84.9,90.1,68.5,9266,70.8,null,null,0.35]
[36.5,325.39999999999998,86,55,85,"2009-02-14T11:11:52",71.400000000000006,325.39999999999998,8.6,5500,12,4.58E-2,85,90.3,69.2,9305,71.400000000000006,null,null,0.34]
[37,338.4,83,70,84.3,"2009-02-14T11:12:24",72.599999999999994,338.4,8.3000000000000007,7000,12.32,5.6800000000000003E-2,84.3,89.6,64.8,11537,72.599999999999994,null,null,0.33]
[37.5,331,87,65,84.4,"2009-02-14T11:12:56",72.3,331,8.6999999999999993,6500,11.89,5.4699999999999999E-2,84.4,89.6,70.8,11101,72.3,null,null,0.32]
[38,330.2,91,60,84.4,"2009-02-14T11:13:28",72.099999999999994,330.2,9.1,6000,11.52,5.21E-2,84.4,89.6,76.099999999999994,10568,72.099999999999994,null,null,0.31]
[38.5,328.5,96,50,84.5,"2009-02-14T11:14:00",73.099999999999994,328.5,9.6,5000,11.01,4.5400000000000003E-2,84.5,89.7,84.4,9221,73.099999999999994,null,null,0.31]
[39,325.39999999999998,95,50,84.7,"2009-02-14T11:14:32",73.7,325.39999999999998,9.5,5000,11.1,4.4999999999999998E-2,84.7,89.9,82.9,9145,73.7,null,null,0.3]
[39.5,331.4,98,50,84.3,"2009-02-14T11:15:04",74.099999999999994,331.4,9.8000000000000007,5000,10.82,4.6199999999999998E-2,84.3,89.5,87.6,9379,74.099999999999994,null,null,0.3]
[40,341.9,98,50,83.8,"2009-02-14T11:15:36",67.5,341.9,9.8000000000000007,5000,10.8,4.6300000000000001E-2,83.8,89,88,9402,67.5,null,null,0.28999999999999998]
[40.5,341.1,99,50,83.8,"2009-02-14T11:16:08",68.900000000000006,341.1,9.9,5000,10.7,4.6699999999999998E-2,83.8,88.9,89.7,9485,68.900000000000006,null,null,0.28000000000000003]
[41,335.3,97,50,84.1,"2009-02-14T11:16:40",68.900000000000006,335.3,9.6999999999999993,5000,10.94,4.5699999999999998E-2,84.1,89.3,85.6,9278,68.900000000000006,null,null,0.26]
[41.5,347.4,99,50,83.6,"2009-02-14T11:17:12",69.7,347.4,9.9,5000,10.68,4.6800000000000001E-2,83.6,88.8,90,9500,69.7,null,null,0.26]
[42,348.3,101,50,83.4,"2009-02-14T11:17:44",67.900000000000006,348.3,10.1,5000,10.52,4.7500000000000001E-2,83.4,88.5,93,9649,67.900000000000006,null,null,0.25]
[42.5,338.6,105,50,83.4,"2009-02-14T11:18:16",68.099999999999994,338.6,10.5,5000,10.19,4.9099999999999998E-2,83.4,88.5,99.2,9962,68.099999999999994,null,null,0.25]
[43,336.6,106,50,83.2,"2009-02-14T11:18:48",64.2,336.6,10.6,5000,10.09,4.9500000000000002E-2,83.2,88.3,101.1,10055,64.2,null,null,0.25]
[43.5,349.9,109,37.76,83.1,"2009-02-14T11:19:20",62.6,349.9,10.9,3776,9.8000000000000007,3.85E-2,83.1,88.2,107.1,7819,62.6,null,null,0.22]
[44,331.4,110,40.659999999999997,83.4,"2009-02-14T11:19:52",62.6,331.4,11,4066,9.68,4.2000000000000003E-2,83.4,88.5,109.8,8529,62.6,null,null,0.22]
[44.5,339.8,112,39.57,82.9,"2009-02-14T11:20:24",62.1,339.8,11.2,3957,9.4700000000000006,4.1799999999999997E-2,82.9,88.1,114.5,8487,62.1,null,null,0.21]
[45,339.8,111,41.1,83,"2009-02-14T11:20:56",62.8,339.8,11.1,4110,9.59,4.2900000000000001E-2,83,88.1,111.7,8699,62.8,null,null,0.21]
[45.5,341.8,107,41.6,83.3,"2009-02-14T11:21:28",63.8,341.8,10.7,4160,9.92,4.2000000000000003E-2,83.3,88.4,104.7,8516,63.8,null,null,0.21]
[46,333.7,107,38.46,83.6,"2009-02-14T11:22:00",61.3,333.7,10.7,3846,9.91,3.8800000000000001E-2,83.6,88.8,104.8,7876,61.3,null,null,0.21]
[46.5,351.9,108,37.61,83.1,"2009-02-14T11:22:32",62.9,351.9,10.8,3761,9.8800000000000008,3.8100000000000002E-2,83.1,88.2,105.5,7727,62.9,null,null,0.21]
[47,339.1,109,37.81,83.3,"2009-02-14T11:23:04",63,339.1,10.9,3781,9.74,3.8800000000000001E-2,83.3,88.5,108.4,7880,63,null,null,0.2]
[47.5,339.3,111,35.58,83.2,"2009-02-14T11:23:36",62.2,339.3,11.1,3558,9.5500000000000007,3.73E-2,83.2,88.4,112.5,7563,62.2,null,null,0.2]
[48,337.8,111,34.69,83.3,"2009-02-14T11:24:08",61.9,337.8,11.1,3469,9.5500000000000007,3.6299999999999999E-2,83.3,88.5,112.7,7377,61.9,null,null,0.19]
[48.5,345.2,112,34.909999999999997,83.1,"2009-02-14T11:24:40",62.9,345.2,11.2,3491,9.51,3.6700000000000003E-2,83.1,88.2,113.6,7455,62.9,null,null,0.19]
[49,348.9,114,30.71,82.9,"2009-02-14T11:25:12",62.6,348.9,11.4,3071,9.23,3.3300000000000003E-2,82.9,88,119.9,6752,62.6,null,null,0.19]
[49.5,344.8,111,36.090000000000003,83,"2009-02-14T11:25:44",61.9,344.8,11.1,3609,9.5299999999999994,3.7900000000000003E-2,83,88.1,113.1,7690,61.9,null,null,0.18]
[50,344.4,112,36.619999999999997,83,"2009-02-14T11:26:16",63.7,344.4,11.2,3662,9.44,3.8800000000000001E-2,83,88.1,114.9,7871,63.7,null,null,0.18]
[50.5,348.5,114,31.81,82.8,"2009-02-14T11:26:48",60.8,348.5,11.4,3181,9.3000000000000007,3.4200000000000001E-2,82.8,88,118.2,6940,60.8,null,null,0.18]
[51,360,108,33.729999999999997,83,"2009-02-14T11:27:20",61.5,360,10.8,3373,9.8800000000000008,3.4099999999999998E-2,83,88.1,105.5,6932,61.5,null,null,0.18]
[51.5,352.8,111,27.47,83.4,"2009-02-14T11:27:52",65.7,352.8,11.1,2747,9.61,2.86E-2,83.4,88.6,111.2,5801,65.7,null,null,0.17]
[52,350.6,113,23.61,83.5,"2009-02-14T11:28:24",65.5,350.6,11.3,2361,9.4,2.5100000000000001E-2,83.5,88.6,115.9,5098,65.5,null,null,0.17]
[52.5,355.9,115,22.15,83.2,"2009-02-14T11:28:56",67.099999999999994,355.9,11.5,2215,9.16,2.4199999999999999E-2,83.2,88.3,121.6,4909,67.099999999999994,null,null,0.17]
[53,365.4,116,19.59,82.9,"2009-02-14T11:29:28",65.8,365.4,11.6,1959,9.06,2.1600000000000001E-2,82.9,88,124.1,4390,65.8,null,null,0.17]
[53.5,353.5,117,15.99,83.5,"2009-02-14T11:30:00",68.8,353.5,11.7,1599,8.94,1.7899999999999999E-2,83.5,88.6,127,3629,68.8,null,null,0.17]
[54,365.1,119,14.93,83,"2009-02-14T11:30:32",69.599999999999994,365.1,11.9,1493,8.77,1.7000000000000001E-2,83,88.1,131.4,3455,69.599999999999994,null,null,0.17]
[54.5,365.1,119,14.9,82.9,"2009-02-14T11:31:04",68.099999999999994,365.1,11.9,1490,8.77,1.7000000000000001E-2,82.9,88.1,131.4,3448,68.099999999999994,null,null,0.16]
[55,363.3,115,28.11,82.7,"2009-02-14T11:31:36",68.5,363.3,11.5,2811,9.15,3.0700000000000002E-2,82.7,87.8,121.8,6235,68.5,null,null,0.16]
[55.5,371.1,113,41.96,81.900000000000006,"2009-02-14T11:32:08",69,371.1,11.3,4196,9.35,4.4900000000000002E-2,81.900000000000006,87,117.2,9114,69,null,null,0.16]
[56,369.9,114,43.94,81.7,"2009-02-14T11:32:40",65.400000000000006,369.9,11.4,4394,9.32,4.7199999999999999E-2,81.7,86.8,117.9,9575,65.400000000000006,null,null,0.16]
[56.5,379.9,113,43.24,81.5,"2009-02-14T11:33:12",63.4,379.9,11.3,4324,9.41,4.5999999999999999E-2,81.5,86.5,115.8,9330,63.4,null,null,0.16]
[57,363.1,88,370,73.400000000000006,"2009-02-14T11:33:44",65.099999999999994,363.1,8.8000000000000007,37000,11.79,0.31369999999999998,73.400000000000006,77.900000000000006,72.099999999999994,63680,65.099999999999994,null,null,0.19]
[57.5,376.7,84,50,83.9,"2009-02-14T11:34:16",66.400000000000006,376.7,8.4,5000,12.14,4.1200000000000001E-2,83.9,89.1,67.2,8359,66.400000000000006,null,null,0.18]
[58,377.9,83,43.32,84.1,"2009-02-14T11:34:48",63.6,377.9,8.3000000000000007,4332,12.25,3.5400000000000001E-2,84.1,89.3,65.7,7178,63.6,null,null,0.15]
[58.5,387.3,85,35.54,84,"2009-02-14T11:35:20",61.2,387.3,8.5,3554,12.05,2.9499999999999998E-2,84,89.2,68.5,5987,61.2,null,null,0.15]
[59,387,94,19.48,84.1,"2009-02-14T11:35:52",62.8,387,9.4,1948,11.24,1.7299999999999999E-2,84.1,89.4,80.7,3519,62.8,null,null,0.15]
[59.5,383.5,94,12.35,84.6,"2009-02-14T11:36:24",65,383.5,9.4,1235,11.17,1.11E-2,84.6,89.8,81.8,2245,65,null,null,0.15]
[60,393.7,98,8.23,84.3,"2009-02-14T11:36:56",67.8,393.7,9.8000000000000007,823,10.8,7.6E-3,84.3,89.5,87.9,1547,67.8,null,null,0.15]
[60.5,397.2,100,5.7,84.2,"2009-02-14T11:37:28",68.8,397.2,10,570,10.62,5.4000000000000003E-3,84.2,89.4,91.2,1090,68.8,null,null,0.15]
[61,392.8,103,4.6100000000000003,84.2,"2009-02-14T11:38:00",68.900000000000006,392.8,10.3,461,10.38,4.4000000000000003E-3,84.2,89.4,95.5,901,68.900000000000006,null,null,0.14000000000000001]
[61.5,396.5,105,3.66,83.9,"2009-02-14T11:38:32",69.099999999999994,396.5,10.5,366,10.11,3.5999999999999999E-3,83.9,89.1,100.8,735,69.099999999999994,null,null,0.14000000000000001]
[62,390.1,108,2.46,84,"2009-02-14T11:39:04",70.7,390.1,10.8,246,9.8699999999999992,2.5000000000000001E-3,84,89.2,105.6,506,70.7,null,null,0.14000000000000001]
[62.5,393.9,109,2.42,83.8,"2009-02-14T11:39:36",69.3,393.9,10.9,242,9.76,2.5000000000000001E-3,83.8,88.9,108,503,69.3,null,null,0.14000000000000001]
[63,385,111,2.82,83.8,"2009-02-14T11:40:08",66.3,385,11.1,282,9.6,2.8999999999999998E-3,83.8,88.9,111.4,596,66.3,null,null,0.14000000000000001]
[63.5,413,112,3.41,82.8,"2009-02-14T11:40:40",67.8,413,11.2,341,9.49,3.5999999999999999E-3,82.8,87.9,114,730,67.8,null,null,0.13]
[64,{"$f":"FT","v":399.3},{"$f":"Oxy*10","v":115},{"$f":"CO/100","v":2.4},{"$f":"Effg","v":82.7},"2009-02-14T11:41:12",60.2,399.3,11.5,240,9.2200000000000006,2.5999999999999999E-3,82.7,87.9,120.1,528,60.2,null,null,0.13]
[64.5,398.2,113,2.5,83,"2009-02-14T11:41:44",62.9,398.2,11.3,250,9.33,2.7000000000000001E-3,83,88.1,117.6,544,62.9,null,null,0.13]
[65,402.8,114,2.66,82.6,"2009-02-14T11:42:16",58.7,402.8,11.4,266,9.25,2.8999999999999998E-3,82.6,87.7,119.5,584,58.7,null,null,0.13]
[65.5,401.8,116,1.99,82.4,"2009-02-14T11:42:48",56.2,401.8,11.6,199,9.08,2.2000000000000001E-3,82.4,87.5,123.6,445,56.2,null,null,0.13]
[66,404.7,117,1.62,82.3,"2009-02-14T11:43:20",60.1,404.7,11.7,162,8.9600000000000009,1.8E-3,82.3,87.4,126.5,367,60.1,null,null,0.13]
[66.5,404.8,119,1.57,82.3,"2009-02-14T11:43:52",65.099999999999994,404.8,11.9,157,8.8000000000000007,1.8E-3,82.3,87.4,130.80000000000001,362,65.099999999999994,null,null,0.13]
[67,401.7,119,0.92,82.2,"2009-02-14T11:44:24",58.6,401.7,11.9,92,8.82,1E-3,82.2,87.3,130.30000000000001,212,58.6,null,null,0.14000000000000001]
[67.5,401.9,119,0.57999999999999996,82.4,"2009-02-14T11:44:56",63.5,401.9,11.9,58,8.76,6.9999999999999999E-4,82.4,87.5,131.6,134,63.5,null,null,0.14000000000000001]
[68,391.1,120,0.6,82.8,"2009-02-14T11:45:28",65.8,391.1,12,60,8.7200000000000006,6.9999999999999999E-4,82.8,87.9,132.9,140,65.8,null,null,0.14000000000000001]
[68.5,404.2,122,0.6,82.1,"2009-02-14T11:46:00",66.7,404.2,12.2,60,8.51,6.9999999999999999E-4,82.1,87.2,138.6,143,66.7,null,null,0.14000000000000001]
[69,399.5,121,0.71,82.2,"2009-02-14T11:46:32",62.7,399.5,12.1,71,8.56,8.0000000000000004E-4,82.2,87.3,137.1,168,62.7,null,null,0.14000000000000001]
[69.5,392.3,124,0.84,82,"2009-02-14T11:47:04",60.1,392.3,12.4,84,8.31,1E-3,82,87.1,144.4,205,60.1,null,null,0.14000000000000001]
[70,405.2,123,0.8,81.8,"2009-02-14T11:47:36",61.2,405.2,12.3,80,8.43,8.9999999999999998E-4,81.8,86.8,140.69999999999999,193,61.2,null,null,0.14000000000000001]
[70.5,403.7,125,0.75,81.5,"2009-02-14T11:48:08",61.6,403.7,12.5,75,8.18,8.9999999999999998E-4,81.5,86.5,148.30000000000001,186,61.6,null,null,0.14000000000000001]
[71,401.7,127,0.9,81.3,"2009-02-14T11:48:40",60.5,401.7,12.7,90,8.06,1.1000000000000001E-3,81.3,86.4,151.9,227,60.5,null,null,0.14000000000000001]
[71.5,403.2,127,0.94,81.400000000000006,"2009-02-14T11:49:12",66.900000000000006,403.2,12.7,94,8,1.1999999999999999E-3,81.400000000000006,86.5,153.69999999999999,238,66.900000000000006,null,null,0.15]
[72,409.2,129,1.01,81.099999999999994,"2009-02-14T11:49:44",68.099999999999994,409.2,12.9,101,7.88,1.2999999999999999E-3,81.099999999999994,86.1,157.69999999999999,260,68.099999999999994,null,null,0.14000000000000001]
[72.5,400.2,129,1.0900000000000001,81.3,"2009-02-14T11:50:16",65.8,400.2,12.9,109,7.85,1.4E-3,81.3,86.3,158.5,282,65.8,null,null,0.16]
[73,402.1,131,1.33,80.8,"2009-02-14T11:50:48",63.3,402.1,13.1,133,7.67,1.6999999999999999E-3,80.8,85.8,164.8,352,63.3,null,null,0.16]
[73.5,402.6,132,1.45,80.599999999999994,"2009-02-14T11:51:20",64.599999999999994,402.6,13.2,145,7.53,1.9E-3,80.599999999999994,85.6,169.6,391,64.599999999999994,null,null,0.14000000000000001]
[74,410.5,132,1.85,80.400000000000006,"2009-02-14T11:51:52",63.9,410.5,13.2,185,7.59,2.3999999999999998E-3,80.400000000000006,85.3,167.5,495,63.9,null,null,0.14000000000000001]
[74.5,404.7,128,1.33,81.2,"2009-02-14T11:52:24",64.8,404.7,12.8,133,7.96,1.6999999999999999E-3,81.2,86.3,154.9,339,64.8,null,null,0.14000000000000001]
[75,411.1,126,1.19,81.2,"2009-02-14T11:52:56",65,411.1,12.6,119,8.11,1.5E-3,81.2,86.3,150.30000000000001,298,65,null,null,0.14000000000000001]
[75.5,399.3,127,1.18,81.400000000000006,"2009-02-14T11:53:28",61.4,399.3,12.7,118,8,1.5E-3,81.400000000000006,86.4,153.80000000000001,299,61.4,null,null,0.14000000000000001]
[76,408.9,129,1.39,80.7,"2009-02-14T11:54:00",58.8,408.9,12.9,139,7.86,1.8E-3,80.7,85.7,158.4,359,58.8,null,null,0.14000000000000001]
[76.5,410.8,131,1.45,80.400000000000006,"2009-02-14T11:54:32",63.6,410.8,13.1,145,7.62,1.9E-3,80.400000000000006,85.4,166.6,387,63.6,null,null,0.14000000000000001]
[77,420.3,134,1.8,79.5,"2009-02-14T11:55:04",63.7,420.3,13.4,180,7.31,2.5000000000000001E-3,79.5,84.4,177.6,500,63.7,null,null,0.14000000000000001]
[77.5,406.9,135,1.95,80.099999999999994,"2009-02-14T11:55:36",66.3,406.9,13.5,195,7.27,2.7000000000000001E-3,80.099999999999994,85,179.2,545,66.3,null,null,0.14000000000000001]
[78,408.3,136,1.86,79.7,"2009-02-14T11:56:08",66.599999999999994,408.3,13.6,186,7.11,2.5999999999999999E-3,79.7,84.7,185.4,531,66.599999999999994,null,null,0.14000000000000001]
[78.5,416.6,137,1.98,79.099999999999994,"2009-02-14T11:56:40",63.5,416.6,13.7,198,7.03,2.8E-3,79.099999999999994,84,188.6,571,63.5,null,null,0.14000000000000001]
[79,404.8,138,2.04,79.5,"2009-02-14T11:57:12",67,404.8,13.8,204,6.91,3.0000000000000001E-3,79.5,84.5,193.7,599,67,null,null,0.14000000000000001]
[79.5,409.5,140,2.41,79.099999999999994,"2009-02-14T11:57:44",69.099999999999994,409.5,14,241,6.75,3.5999999999999999E-3,79.099999999999994,84,200.9,725,69.099999999999994,null,null,0.14000000000000001]
[80,419.4,142,2.57,78.2,"2009-02-14T11:58:16",65.599999999999994,419.4,14.2,257,6.62,3.8999999999999998E-3,78.2,83,206.8,789,65.599999999999994,null,null,0.14000000000000001]
[80.5,415.8,142,2.42,78.400000000000006,"2009-02-14T11:58:48",67.400000000000006,415.8,14.2,242,6.59,3.7000000000000002E-3,78.400000000000006,83.2,207.9,745,67.400000000000006,null,null,0.14000000000000001]
[81,409.4,141,2.16,78.900000000000006,"2009-02-14T11:59:20",66.3,409.4,14.1,216,6.69,3.2000000000000002E-3,78.900000000000006,83.7,203.2,655,66.3,null,null,0.14000000000000001]
[81.5,413.5,141,2.1800000000000002,78.7,"2009-02-14T11:59:52",66.599999999999994,413.5,14.1,218,6.69,3.3E-3,78.7,83.6,203.2,661,66.599999999999994,null,null,0.14000000000000001]
[82,409.8,140,2.56,79,"2009-02-14T12:00:24",67.599999999999994,409.8,14,256,6.77,3.8E-3,79,83.9,200,768,67.599999999999994,null,null,0.14000000000000001]
[82.5,400.7,140,2.96,79.400000000000006,"2009-02-14T12:00:56",68,400.7,14,296,6.75,4.4000000000000003E-3,79.400000000000006,84.3,200.6,890,68,null,null,0.15]
[83,403.4,142,2.79,78.8,"2009-02-14T12:01:28",67.400000000000006,403.4,14.2,279,6.57,4.1999999999999997E-3,78.8,83.7,209.2,863,67.400000000000006,null,null,0.15]
[83.5,398.1,143,3.26,78.900000000000006,"2009-02-14T12:02:00",66.5,398.1,14.3,326,6.5,5.0000000000000001E-3,78.900000000000006,83.7,212.3,1018,66.5,null,null,0.15]
[84,389.9,141,3.5,79.5,"2009-02-14T12:02:32",67.8,389.9,14.1,350,6.63,5.3E-3,79.5,84.5,206.3,1072,67.8,null,null,0.15]
[84.5,431.2,140,2.95,78.2,"2009-02-14T12:03:04",69.3,431.2,14,295,6.79,4.3E-3,78.2,83.1,198.8,881,69.3,null,null,0.15]
[85,356.7,160,4.29,76.599999999999994,"2009-02-14T12:03:36",68.7,356.7,16,429,4.8499999999999996,8.8000000000000005E-3,76.599999999999994,81.3,318.3,1795,68.7,null,null,0.15]
[85.5,351.3,134,14.03,81.400000000000006,"2009-02-14T12:04:08",63.1,351.3,13.4,1403,7.33,1.9099999999999999E-2,81.400000000000006,86.4,176.9,3885,63.1,null,null,0.15]
[86,344.6,114,34.409999999999997,82.8,"2009-02-14T12:04:40",60.4,344.6,11.4,3441,9.3000000000000007,3.6999999999999998E-2,82.8,87.9,118.3,7510,60.4,null,null,0.15]
[86.5,358.3,110,1025,57.3,"2009-02-14T12:05:12",60.3,358.3,11,102500,9.67,1.0602,57.3,60.8,110,215219,60.3,null,null,0.2]
[87,359.7,108,50,82.1,"2009-02-14T12:05:44",58.7,359.7,10.8,5000,9.82,5.0900000000000001E-2,82.1,87.1,106.7,10336,58.7,null,null,0.2]
[87.5,368.8,109,50,81.900000000000006,"2009-02-14T12:06:16",65.099999999999994,368.8,10.9,5000,9.76,5.1200000000000002E-2,81.900000000000006,87,108,10399,65.099999999999994,null,null,0.2]
[88,374.1,111,2.5,84.2,"2009-02-14T12:06:48",68.7,374.1,11.1,250,9.6,2.5999999999999999E-3,84.2,89.4,111.5,529,68.7,null,null,0.15]
[88.5,382.5,111,41.79,81.7,"2009-02-14T12:07:20",62.3,382.5,11.1,4179,9.61,4.3499999999999997E-2,81.7,86.7,111.2,8827,62.3,null,null,0.15]
[89,378.7,113,31.3,82.3,"2009-02-14T12:07:52",68,378.7,11.3,3130,9.4,3.3300000000000003E-2,82.3,87.4,116,6762,68,null,null,0.16]
[89.5,388.8,117,21.22,81.900000000000006,"2009-02-14T12:08:24",62.7,388.8,11.7,2122,9.02,2.35E-2,81.900000000000006,86.9,125.1,4777,62.7,null,null,0.17]
[90,388.4,122,14.27,81.599999999999994,"2009-02-14T12:08:56",60.5,388.4,12.2,1427,8.5500000000000007,1.67E-2,81.599999999999994,86.7,137.30000000000001,3386,60.5,null,null,0.13]
[90.5,403.5,126,8.74,80.900000000000006,"2009-02-14T12:09:28",61.5,403.5,12.6,874,8.1,1.0800000000000001E-2,80.900000000000006,85.9,150.5,2189,61.5,null,null,0.24]
[91,393.8,128,9.9499999999999993,80.8,"2009-02-14T12:10:00",60.2,393.8,12.8,995,7.95,1.2500000000000001E-2,80.8,85.9,155.5,2542,60.2,null,null,0.13]
[91.5,401.9,131,11.07,80,"2009-02-14T12:10:32",60.4,401.9,13.1,1107,7.62,1.4500000000000001E-2,80,84.9,166.4,2949,60.4,null,null,0.14000000000000001]
[92,411.5,131,13.34,79.8,"2009-02-14T12:11:04",68.5,411.5,13.1,1334,7.65,1.7399999999999999E-2,79.8,84.8,165.3,3539,68.5,null,null,0.15]
[92.5,395.7,133,12.55,80.3,"2009-02-14T12:11:36",70.8,395.7,13.3,1255,7.45,1.6799999999999999E-2,80.3,85.2,172.3,3418,70.8,null,null,0.13]
[93,411,135,15.68,79.099999999999994,"2009-02-14T12:12:08",71.599999999999994,411,13.5,1568,7.24,2.1600000000000001E-2,79.099999999999994,84,180.2,4394,71.599999999999994,null,null,0.13]
[93.5,408.1,136,11.67,79.400000000000006,"2009-02-14T12:12:40",72.5,408.1,13.6,1167,7.19,1.6199999999999999E-2,79.400000000000006,84.3,182.5,3297,72.5,null,null,0.13]
[94,403.1,139,10.119999999999999,79.2,"2009-02-14T12:13:12",72.8,403.1,13.9,1012,6.89,1.47E-2,79.2,84.1,194.6,2981,72.8,null,null,0.13]
[94.5,404,141,9.5299999999999994,78.599999999999994,"2009-02-14T12:13:44",71.599999999999994,404,14.1,953,6.64,1.44E-2,78.599999999999994,83.5,205.8,2914,71.599999999999994,null,null,0.13]
[95,397.8,142,9.0299999999999994,78.8,"2009-02-14T12:14:16",73.3,397.8,14.2,903,6.54,1.38E-2,78.8,83.7,210.4,2803,73.3,null,null,0.13]
[95.5,407.6,144,10.37,78,"2009-02-14T12:14:48",73.7,407.6,14.4,1037,6.42,1.61E-2,78,82.9,216,3277,73.7,null,null,0.13]
[96,{"$f":"FT","v":416.8},{"$f":"Oxy*10","v":145},{"$f":"CO/100","v":10.28},{"$f":"Effg","v":77.400000000000006},"2009-02-14T12:15:20",74.2,416.8,14.5,1028,6.3,1.6299999999999999E-2,77.400000000000006,82.2,222.3,3313,74.2,null,null,0.14000000000000001]
[96.5,412.2,145,11.6,77.3,"2009-02-14T12:15:52",74.5,412.2,14.5,1160,6.24,1.8599999999999998E-2,77.3,82.1,225.5,3776,74.5,null,null,0.14000000000000001]
[97,398.7,146,10.65,78,"2009-02-14T12:16:24",75.099999999999994,398.7,14.6,1065,6.22,1.7100000000000001E-2,78,82.9,226.1,3473,75.099999999999994,null,null,0.14000000000000001]
[97.5,410.9,148,9.32,77,"2009-02-14T12:16:56",74.400000000000006,410.9,14.8,932,6.02,1.55E-2,77,81.8,237,3140,74.400000000000006,null,null,0.14000000000000001]
[98,409.3,149,8.85,76.8,"2009-02-14T12:17:28",74.400000000000006,409.3,14.9,885,5.9,1.4999999999999999E-2,76.8,81.599999999999994,243.9,3044,74.400000000000006,null,null,0.14000000000000001]
[98.5,407.5,149,8.5500000000000007,76.900000000000006,"2009-02-14T12:18:00",72.400000000000006,407.5,14.9,855,5.92,1.44E-2,76.900000000000006,81.599999999999994,242.9,2932,72.400000000000006,null,null,0.15]
[99,416.5,149,9.65,75.900000000000006,"2009-02-14T12:18:32",67.2,416.5,14.9,965,5.86,1.6500000000000001E-2,75.900000000000006,80.599999999999994,246.3,3341,67.2,null,null,0.15]
[99.5,402.9,149,13.06,76.400000000000006,"2009-02-14T12:19:04",67.2,402.9,14.9,1306,5.92,2.2100000000000002E-2,76.400000000000006,81.2,242.9,4479,67.2,null,null,0.3]
[100,402.3,151,12.7,76.2,"2009-02-14T12:19:36",71.099999999999994,402.3,15.1,1270,5.73,2.2200000000000001E-2,76.2,80.900000000000006,254.3,4500,71.099999999999994,null,null,0.12]
[100.5,399,151,13.09,76.2,"2009-02-14T12:20:08",73,399,15.1,1309,5.66,2.3099999999999999E-2,76.2,80.900000000000006,258.5,4693,73,null,null,0.12]
[101,408.8,152,14.56,75.5,"2009-02-14T12:20:40",74.2,408.8,15.2,1456,5.62,2.5899999999999999E-2,75.5,80.2,261.10000000000002,5258,74.2,null,null,0.13]
[101.5,399.1,154,13.54,75.599999999999994,"2009-02-14T12:21:12",74.3,399.1,15.4,1354,5.45,2.4799999999999999E-2,75.599999999999994,80.3,272.3,5041,74.3,null,null,0.13]
[102,406.1,157,11.15,74.400000000000006,"2009-02-14T12:21:44",74.099999999999994,406.1,15.7,1115,5.15,2.1700000000000001E-2,74.400000000000006,79,294.2,4396,74.099999999999994,null,null,0.13]
[102.5,406.8,158,10.68,74,"2009-02-14T12:22:16",74.599999999999994,406.8,15.8,1068,5.0199999999999996,2.1299999999999999E-2,74,78.599999999999994,304.8,4323,74.599999999999994,null,null,0.13]
[103,418.1,158,10.93,73,"2009-02-14T12:22:48",70.8,418.1,15.8,1093,4.99,2.1899999999999999E-2,73,77.5,306.89999999999998,4447,70.8,null,null,0.14000000000000001]