{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":266,"n_cols":20,"rows_kept":266,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":343.32061403508766},{"$f":"AVERAGE(Oxy)","v":14.501315789473679},{"$f":"AVERAGE(CO)","v":1404.6535087719299},{"$f":"AVERAGE(Effg)","v":79.17699115044249}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[18,{"$f":"FT","v":107.2},{"$f":"Oxy*10","v":209},{"$f":"CO/100","v":0.33},{"$f":"Effg","v":0},"2009-02-15T10:57:17",63.1,107.2,20.9,33,null,null,null,null,null,null,63.1,null,null,0.56000000000000005]
[18.5,119.3,201,3.03,0,"2009-02-15T10:57:49",63,119.3,20.100000000000001,303,null,null,null,null,null,null,63,null,null,0.56999999999999995]
[19,137.6,180,2.72,86.1,"2009-02-15T10:58:21",63.2,137.6,18,272,2.87,9.4999999999999998E-3,86.1,91.4,607.5,1924,63.2,null,null,0.56999999999999995]
[19.5,146.69999999999999,159,5.21,88.4,"2009-02-15T10:58:53",63.3,146.69999999999999,15.9,521,4.92,1.06E-2,88.4,93.9,312.7,2150,63.3,null,null,0.56999999999999995]
[20,148.9,155,9.58,88.3,"2009-02-15T10:59:25",63.5,148.9,15.5,958,5.36,1.7899999999999999E-2,88.3,93.8,278.39999999999998,3625,63.5,null,null,0.56999999999999995]
[20.5,153.6,165,12.71,86.5,"2009-02-15T10:59:57",63.6,153.6,16.5,1271,4.3899999999999997,2.8899999999999999E-2,86.5,91.8,362.3,5876,63.6,null,null,0.56999999999999995]
[21,159.69999999999999,159,14.23,86.8,"2009-02-15T11:00:29",63.7,159.69999999999999,15.9,1423,4.9400000000000004,2.8799999999999999E-2,86.8,92.1,311.3,5853,63.7,null,null,0.56999999999999995]
[21.5,164.4,152,19.87,86.8,"2009-02-15T11:01:01",63.8,164.4,15.2,1987,5.56,3.5700000000000003E-2,86.8,92.1,265.10000000000002,7255,63.8,null,null,0.56000000000000005]
[22,167.5,149,31.08,86.1,"2009-02-15T11:01:33",63.9,167.5,14.9,3108,5.93,5.2400000000000002E-2,86.1,91.4,242.1,10632,63.9,null,null,0.55000000000000004]
[22.5,170.8,150,35.1,85.5,"2009-02-15T11:02:05",64,170.8,15,3510,5.82,6.0299999999999999E-2,85.5,90.8,248.7,12240,64,null,null,0.55000000000000004]
[23,173.4,152,30.68,85.5,"2009-02-15T11:02:37",64,173.4,15.2,3068,5.65,5.4300000000000001E-2,85.5,90.8,259.5,11030,64,null,null,0.55000000000000004]
[23.5,177,152,29.71,85.3,"2009-02-15T11:03:09",64.2,177,15.2,2971,5.59,5.3100000000000001E-2,85.3,90.6,263.10000000000002,10786,64.2,null,null,0.55000000000000004]
[24,184.2,152,30.29,85,"2009-02-15T11:03:41",64.3,184.2,15.2,3029,5.62,5.3900000000000003E-2,85,90.2,261.10000000000002,10936,64.3,null,null,0.55000000000000004]
[24.5,190.1,154,25.69,84.4,"2009-02-15T11:04:13",59.2,190.1,15.4,2569,5.4,4.7600000000000003E-2,84.4,89.7,276,9660,59.2,null,null,0.55000000000000004]
[25,183.5,156,26.44,84.5,"2009-02-15T11:04:45",60.4,183.5,15.6,2644,5.21,5.0799999999999998E-2,84.5,89.7,290,10311,60.4,null,null,0.55000000000000004]
[25.5,182.1,154,29.78,84.6,"2009-02-15T11:05:17",61.7,182.1,15.4,2978,5.38,5.5300000000000002E-2,84.6,89.8,277.2,11234,61.7,null,null,0.54]
[26,186.6,154,28.97,84.6,"2009-02-15T11:05:49",62.5,186.6,15.4,2897,5.46,5.3100000000000001E-2,84.6,89.8,272.10000000000002,10779,62.5,null,null,0.55000000000000004]
[26.5,188,155,26.48,84.5,"2009-02-15T11:06:21",63.2,188,15.5,2648,5.28,5.0099999999999999E-2,84.5,89.7,284.10000000000002,10171,63.2,null,null,0.55000000000000004]
[27,184.4,156,26.85,84.6,"2009-02-15T11:06:53",63.3,184.4,15.6,2685,5.24,5.1200000000000002E-2,84.6,89.8,287.39999999999998,10401,63.3,null,null,0.55000000000000004]
[27.5,186.8,155,23.27,84.9,"2009-02-15T11:07:25",63.9,186.8,15.5,2327,5.29,4.3999999999999997E-2,84.9,90.2,283.60000000000002,8927,63.9,null,null,0.54]
[28,201,151,17,85.3,"2009-02-15T11:07:57",64.400000000000006,201,15.1,1700,5.67,0.03,85.3,90.6,258,6086,64.400000000000006,null,null,0.54]
[28.5,207.4,140,11.5,86.7,"2009-02-15T11:08:29",64.599999999999994,207.4,14,1150,6.72,1.7100000000000001E-2,86.7,92.1,202.1,3475,64.599999999999994,null,null,0.54]
[29,213.8,137,7.2,87.1,"2009-02-15T11:09:01",64.7,213.8,13.7,720,7.02,1.03E-2,87.1,92.5,189.2,2082,64.7,null,null,0.54]
[29.5,211.9,139,7.46,87,"2009-02-15T11:09:33",64.900000000000006,211.9,13.9,746,6.86,1.09E-2,87,92.4,196,2208,64.900000000000006,null,null,0.54]
[30,221,139,6.79,86.6,"2009-02-15T11:10:05",65,221,13.9,679,6.83,9.9000000000000008E-3,86.6,92,197.2,2018,65,null,null,0.54]
[30.5,214.5,141,5.65,86.9,"2009-02-15T11:10:37",65.099999999999994,214.5,14.1,565,6.68,8.5000000000000006E-3,86.9,92.2,203.7,1716,65.099999999999994,null,null,0.54]
[31,215.4,144,6.5,86.5,"2009-02-15T11:11:09",65.3,215.4,14.4,650,6.38,1.0200000000000001E-2,86.5,91.8,218.2,2068,65.3,null,null,0.54]
[31.5,216.5,150,6.79,85.8,"2009-02-15T11:11:41",65.5,216.5,15,679,5.85,1.1599999999999999E-2,85.8,91.1,247.3,2358,65.5,null,null,0.54]
[32,{"$f":"FT","v":217.4},{"$f":"Oxy*10","v":153},{"$f":"CO/100","v":6.65},{"$f":"Effg","v":85.3},"2009-02-15T11:12:13",65.5,217.4,15.3,665,5.5,1.21E-2,85.3,90.5,269.2,2455,65.5,null,null,0.54]
[32.5,214,156,6.56,85.1,"2009-02-15T11:12:45",65.7,214,15.6,656,5.25,1.2500000000000001E-2,85.1,90.4,286.7,2537,65.7,null,null,0.54]
[33,211.8,158,6.79,84.9,"2009-02-15T11:13:17",65.7,211.8,15.8,679,5.07,1.34E-2,84.9,90.2,300.8,2721,65.7,null,null,0.55000000000000004]
[33.5,213.8,157,6.32,85,"2009-02-15T11:13:49",65.900000000000006,213.8,15.7,632,5.15,1.23E-2,85,90.2,294.3,2492,65.900000000000006,null,null,0.55000000000000004]
[34,216.5,157,6.35,84.8,"2009-02-15T11:14:21",65.900000000000006,216.5,15.7,635,5.12,1.24E-2,84.8,90,296.39999999999998,2517,65.900000000000006,null,null,0.55000000000000004]
[34.5,210.6,157,6.92,85,"2009-02-15T11:14:53",65.900000000000006,210.6,15.7,692,5.08,1.3599999999999999E-2,85,90.2,299.60000000000002,2766,65.900000000000006,null,null,0.55000000000000004]
[35,210.2,162,7.88,84.1,"2009-02-15T11:15:25",66.099999999999994,210.2,16.2,788,4.63,1.7000000000000001E-2,84.1,89.3,338.6,3456,66.099999999999994,null,null,0.55000000000000004]
[35.5,205.7,168,10.02,83,"2009-02-15T11:15:57",66.2,205.7,16.8,1002,4.0999999999999996,2.4500000000000001E-2,83,88.1,395.5,4965,66.2,null,null,0.55000000000000004]
[36,210.9,169,11.01,82,"2009-02-15T11:16:29",66.3,210.9,16.899999999999999,1101,3.94,2.8000000000000001E-2,82,87.1,415.7,5678,66.3,null,null,0.55000000000000004]
[36.5,212.3,169,11.31,82.1,"2009-02-15T11:17:01",66.3,212.3,16.899999999999999,1131,3.99,2.8299999999999999E-2,82.1,87.2,408.6,5753,66.3,null,null,0.55000000000000004]
[37,207.2,170,11.16,82.2,"2009-02-15T11:17:33",66.400000000000006,207.2,17,1116,3.91,2.86E-2,82.2,87.3,419.4,5796,66.400000000000006,null,null,0.55000000000000004]
[37.5,209.9,171,11.31,81.5,"2009-02-15T11:18:05",66.2,209.9,17.100000000000001,1131,3.75,3.0200000000000001E-2,81.5,86.6,441.6,6125,66.2,null,null,0.55000000000000004]
[38,211.1,172,11.55,81.099999999999994,"2009-02-15T11:18:37",66.599999999999994,211.1,17.2,1155,3.65,3.1699999999999999E-2,81.099999999999994,86.1,456.4,6427,66.599999999999994,null,null,0.55000000000000004]
[38.5,209.3,173,12.11,80.900000000000006,"2009-02-15T11:19:09",66.099999999999994,209.3,17.3,1211,3.57,3.39E-2,80.900000000000006,85.9,468,6878,66.099999999999994,null,null,0.55000000000000004]
[39,250.9,178,11.87,74.7,"2009-02-15T11:19:41",60.9,250.9,17.8,1187,3.07,3.8600000000000002E-2,74.7,79.3,560.70000000000005,7842,60.9,null,null,0.55000000000000004]
[39.5,244.2,179,9.4600000000000009,75.099999999999994,"2009-02-15T11:20:13",58.8,244.2,17.899999999999999,946,3.01,3.1399999999999997E-2,75.099999999999994,79.8,574.20000000000005,6378,58.8,null,null,0.52]
[40,226.8,176,9.83,77.8,"2009-02-15T11:20:45",56.5,226.8,17.600000000000001,983,3.27,3.0099999999999998E-2,77.8,82.6,520.6,6100,56.5,null,null,0.51]
[40.5,224.1,176,12.22,77.7,"2009-02-15T11:21:17",58,224.1,17.600000000000001,1222,3.25,3.7499999999999999E-2,77.7,82.5,523.70000000000005,7622,58,null,null,0.51]
[41,225.5,175,15.38,77.5,"2009-02-15T11:21:49",55.7,225.5,17.5,1538,3.39,4.5400000000000003E-2,77.5,82.3,498.6,9207,55.7,null,null,0.5]
[41.5,223.7,174,19.25,77.5,"2009-02-15T11:22:21",56.9,223.7,17.399999999999999,1925,3.46,5.57E-2,77.5,82.3,487.5,11309,56.9,null,null,0.48]
[42,225.8,171,20.36,78.400000000000006,"2009-02-15T11:22:53",56.8,225.8,17.100000000000001,2036,3.75,5.4300000000000001E-2,78.400000000000006,83.3,441.5,11025,56.8,null,null,0.47]
[42.5,217.9,175,26.88,76.599999999999994,"2009-02-15T11:23:25",59.5,217.9,17.5,2688,3.34,8.0600000000000005E-2,76.599999999999994,81.3,508.5,16357,59.5,null,null,0.45]
[43,221.3,178,33.86,74,"2009-02-15T11:23:57",60.8,221.3,17.8,3386,3.07,0.1104,74,78.599999999999994,561.70000000000005,22406,60.8,null,null,0.45]
[43.5,230.7,174,34.18,75.400000000000006,"2009-02-15T11:24:29",61.9,230.7,17.399999999999999,3418,3.46,9.8699999999999996E-2,75.400000000000006,80.099999999999994,486,20028,61.9,null,null,0.44]
[44,244.5,170,30.01,76.7,"2009-02-15T11:25:01",62.6,244.5,17,3001,3.85,7.7899999999999997E-2,76.7,81.5,426.9,15813,62.6,null,null,0.43]
[44.5,261.60000000000002,160,25.35,79.5,"2009-02-15T11:25:33",62.7,261.60000000000002,16,2535,4.83,5.2400000000000002E-2,79.5,84.4,320,10646,62.7,null,null,0.42]
[45,272.7,151,20.85,81.400000000000006,"2009-02-15T11:26:05",62.1,272.7,15.1,2085,5.73,3.6400000000000002E-2,81.400000000000006,86.5,254.2,7385,62.1,null,null,0.41]
[45.5,261.3,152,18.809999999999999,82,"2009-02-15T11:26:37",62.3,261.3,15.2,1881,5.63,3.3399999999999999E-2,82,87.1,260.3,6776,62.3,null,null,0.41]
[46,270.2,149,16.690000000000001,82.3,"2009-02-15T11:27:09",62.9,270.2,14.9,1669,5.92,2.8199999999999999E-2,82.3,87.4,243,5725,62.9,null,null,0.42]
[46.5,297.60000000000002,137,11.55,83.3,"2009-02-15T11:27:41",63.2,297.60000000000002,13.7,1155,7.04,1.6400000000000001E-2,83.3,88.4,188.4,3331,63.2,null,null,0.41]
[47,296.10000000000002,129,7.61,84.5,"2009-02-15T11:28:13",63,296.10000000000002,12.9,761,7.79,9.7999999999999997E-3,84.5,89.8,160.69999999999999,1984,63,null,null,0.4]
[47.5,280.60000000000002,141,11.24,83.5,"2009-02-15T11:28:45",63.6,280.60000000000002,14.1,1124,6.67,1.6799999999999999E-2,83.5,88.7,204.2,3419,63.6,null,null,0.39]
[48,279.8,142,12.93,83.2,"2009-02-15T11:29:17",63.7,279.8,14.2,1293,6.55,1.9699999999999999E-2,83.2,88.4,209.8,4006,63.7,null,null,0.39]
[48.5,285,140,12.75,83.4,"2009-02-15T11:29:49",64,285,14,1275,6.81,1.8700000000000001E-2,83.4,88.6,198,3799,64,null,null,0.39]
[49,306.89999999999998,127,13.86,84,"2009-02-15T11:30:21",63.8,306.89999999999998,12.7,1386,8.01,1.7299999999999999E-2,84,89.2,153.4,3512,63.8,null,null,0.37]
[49.5,301.5,120,18.34,84.6,"2009-02-15T11:30:53",63.6,301.5,12,1834,8.65,2.12E-2,84.6,89.8,134.5,4302,63.6,null,null,0.37]
[50,307.8,116,20.76,84.7,"2009-02-15T11:31:25",63.9,307.8,11.6,2076,9.11,2.2800000000000001E-2,84.7,89.9,122.8,4625,63.9,null,null,0.36]
[50.5,301.10000000000002,119,16.96,84.8,"2009-02-15T11:31:57",64,301.10000000000002,11.9,1696,8.7799999999999994,1.9300000000000001E-2,84.8,90,131.30000000000001,3923,64,null,null,0.37]
[51,308.39999999999998,124,12.75,84.2,"2009-02-15T11:32:29",61,308.39999999999998,12.4,1275,8.3000000000000007,1.54E-2,84.2,89.4,144.69999999999999,3120,61,null,null,0.37]
[51.5,312.60000000000002,127,10.62,83.9,"2009-02-15T11:33:01",60.4,312.60000000000002,12.7,1062,8.0399999999999991,1.32E-2,83.9,89.1,152.4,2681,60.4,null,null,0.38]
[52,321.3,129,9.5399999999999991,83.3,"2009-02-15T11:33:33",58.7,321.3,12.9,954,7.81,1.2200000000000001E-2,83.3,88.5,160.1,2481,58.7,null,null,0.38]
[52.5,313.60000000000002,130,9.08,83.5,"2009-02-15T11:34:05",58.1,313.60000000000002,13,908,7.71,1.18E-2,83.5,88.7,163.1,2389,58.1,null,null,0.38]
[53,324.8,132,8.1199999999999992,82.9,"2009-02-15T11:34:37",58.6,324.8,13.2,812,7.5,1.0800000000000001E-2,82.9,88,170.6,2197,58.6,null,null,0.38]
[53.5,318.3,131,6.98,83.4,"2009-02-15T11:35:09",59.1,318.3,13.1,698,7.66,9.1000000000000004E-3,83.4,88.6,165,1850,59.1,null,null,0.38]
[54,322,132,6.46,83.2,"2009-02-15T11:35:41",58.5,322,13.2,646,7.57,8.5000000000000006E-3,83.2,88.3,168.1,1732,58.5,null,null,0.39]
[54.5,325.89999999999998,136,6.96,82.4,"2009-02-15T11:36:13",56.3,325.89999999999998,13.6,696,7.19,9.7000000000000003E-3,82.4,87.5,182.4,1966,56.3,null,null,0.39]
[55,327.39999999999998,137,7.48,82.1,"2009-02-15T11:36:45",57.2,327.39999999999998,13.7,748,7.05,1.06E-2,82.1,87.2,187.8,2153,57.2,null,null,0.38]
[55.5,328.9,139,8.01,81.599999999999994,"2009-02-15T11:37:17",56.4,328.9,13.9,801,6.82,1.17E-2,81.599999999999994,86.7,197.5,2383,56.4,null,null,0.38]
[56,348.4,140,9.2100000000000009,80.7,"2009-02-15T11:37:49",59.4,348.4,14,921,6.77,1.3599999999999999E-2,80.7,85.7,200,2763,59.4,null,null,0.38]
[56.5,350.1,141,10.1,80.400000000000006,"2009-02-15T11:38:21",58,350.1,14.1,1010,6.71,1.4999999999999999E-2,80.400000000000006,85.4,202.3,3054,58,null,null,0.37]
[57,346.8,142,10.62,80.3,"2009-02-15T11:38:53",57.4,346.8,14.2,1062,6.58,1.61E-2,80.3,85.2,208.4,3275,57.4,null,null,0.37]
[57.5,354.9,141,10.72,80.2,"2009-02-15T11:39:25",58.1,354.9,14.1,1072,6.7,1.6E-2,80.2,85.1,202.8,3246,58.1,null,null,0.36]
[58,349.5,140,9.93,80.5,"2009-02-15T11:39:57",58.4,349.5,14,993,6.72,1.4800000000000001E-2,80.5,85.5,202,2999,58.4,null,null,0.35]
[58.5,350.9,139,8.9600000000000009,80.8,"2009-02-15T11:40:29",58.1,350.9,13.9,896,6.88,1.2999999999999999E-2,80.8,85.8,195,2643,58.1,null,null,0.36]
[59,349.5,140,8.99,80.7,"2009-02-15T11:41:01",59.2,349.5,14,899,6.79,1.32E-2,80.7,85.7,198.9,2687,59.2,null,null,0.36]
[59.5,357,142,9.0399999999999991,80,"2009-02-15T11:41:33",58.7,357,14.2,904,6.59,1.37E-2,80,85,207.8,2783,58.7,null,null,0.35]
[60,357.7,140,8.39,80.3,"2009-02-15T11:42:05",58.7,357.7,14,839,6.72,1.2500000000000001E-2,80.3,85.3,201.9,2533,58.7,null,null,0.35]
[60.5,361.7,141,8.07,80,"2009-02-15T11:42:37",59.3,361.7,14.1,807,6.63,1.2200000000000001E-2,80,85,206,2470,59.3,null,null,0.35]
[61,359.1,142,8.24,80,"2009-02-15T11:43:09",59.5,359.1,14.2,824,6.58,1.2500000000000001E-2,80,85,208.6,2543,59.5,null,null,0.36]
[61.5,350.4,142,8.44,80.3,"2009-02-15T11:43:41",58.4,350.4,14.2,844,6.56,1.29E-2,80.3,85.2,209.5,2612,58.4,null,null,0.36]
[62,359.7,143,8.19,79.900000000000006,"2009-02-15T11:44:13",61.5,359.7,14.3,819,6.51,1.26E-2,79.900000000000006,84.9,211.8,2554,61.5,null,null,0.35]
[62.5,357.7,144,8.76,79.599999999999994,"2009-02-15T11:44:45",58.9,357.7,14.4,876,6.37,1.38E-2,79.599999999999994,84.5,218.8,2792,58.9,null,null,0.35]
[63,357.5,145,9.58,79.5,"2009-02-15T11:45:17",60,357.5,14.5,958,6.31,1.52E-2,79.5,84.4,221.5,3080,60,null,null,0.35]
[63.5,358.1,147,9.77,79.099999999999994,"2009-02-15T11:45:49",61,358.1,14.7,977,6.14,1.5900000000000001E-2,79.099999999999994,84,230.8,3232,61,null,null,0.34]
[64,{"$f":"FT","v":352.2},{"$f":"Oxy*10","v":147},{"$f":"CO/100","v":9.76},{"$f":"Effg","v":79.2},"2009-02-15T11:46:21",59.4,352.2,14.7,976,6.09,1.6E-2,79.2,84.1,233.3,3253,59.4,null,null,0.34]
[64.5,357,147,9.8000000000000007,78.900000000000006,"2009-02-15T11:46:53",59.3,357,14.7,980,6.08,1.61E-2,78.900000000000006,83.8,233.8,3271,59.3,null,null,0.34]
[65,356,147,9.7799999999999994,78.900000000000006,"2009-02-15T11:47:25",59.2,356,14.7,978,6.08,1.61E-2,78.900000000000006,83.8,234,3267,59.2,null,null,0.34]
[65.5,363.2,146,9.4700000000000006,78.900000000000006,"2009-02-15T11:47:57",59.8,363.2,14.6,947,6.2,1.5299999999999999E-2,78.900000000000006,83.8,227.7,3103,59.8,null,null,0.34]
[66,364.1,146,9.1999999999999993,79,"2009-02-15T11:48:29",61.8,364.1,14.6,920,6.17,1.49E-2,79,83.8,229.1,3028,61.8,null,null,0.33]
[66.5,366.3,146,8.82,78.900000000000006,"2009-02-15T11:49:01",61.3,366.3,14.6,882,6.17,1.43E-2,78.900000000000006,83.7,228.9,2901,61.3,null,null,0.33]
[67,361.2,145,9.07,79.400000000000006,"2009-02-15T11:49:33",62.8,361.2,14.5,907,6.27,1.4500000000000001E-2,79.400000000000006,84.3,223.9,2938,62.8,null,null,0.33]
[67.5,367.1,146,9.15,78.900000000000006,"2009-02-15T11:50:05",60.9,367.1,14.6,915,6.21,1.47E-2,78.900000000000006,83.7,227.1,2993,60.9,null,null,0.33]
[68,370.5,146,9.4600000000000009,78.599999999999994,"2009-02-15T11:50:37",62,370.5,14.6,946,6.15,1.54E-2,78.599999999999994,83.5,230.1,3123,62,null,null,0.33]
[68.5,355.7,146,9.61,79.2,"2009-02-15T11:51:09",58.3,355.7,14.6,961,6.18,1.55E-2,79.2,84.1,228.4,3156,58.3,null,null,0.32]
[69,365,148,9.43,78.3,"2009-02-15T11:51:41",58.8,365,14.8,943,6,1.5699999999999999E-2,78.3,83.2,238.3,3190,58.8,null,null,0.32]
[69.5,371.9,148,9.64,77.900000000000006,"2009-02-15T11:52:13",57.6,371.9,14.8,964,5.97,1.6199999999999999E-2,77.900000000000006,82.7,240.1,3278,57.6,null,null,0.32]
[70,364.6,147,9.56,78.400000000000006,"2009-02-15T11:52:45",57.4,364.6,14.7,956,6.05,1.5800000000000002E-2,78.400000000000006,83.3,235.5,3207,57.4,null,null,0.31]
[70.5,368.6,146,9.27,78.5,"2009-02-15T11:53:17",57.8,368.6,14.6,927,6.15,1.5100000000000001E-2,78.5,83.4,230,3059,57.8,null,null,0.31]
[71,366.7,146,8.92,78.7,"2009-02-15T11:53:49",57.4,366.7,14.6,892,6.21,1.44E-2,78.7,83.6,227,2917,57.4,null,null,0.31]
[71.5,373,145,9,78.7,"2009-02-15T11:54:21",59.8,373,14.5,900,6.26,1.44E-2,78.7,83.5,224.5,2921,59.8,null,null,0.31]
[72,370.9,147,9.51,78.400000000000006,"2009-02-15T11:54:53",59.4,370.9,14.7,951,6.11,1.5599999999999999E-2,78.400000000000006,83.2,232.1,3158,59.4,null,null,0.31]
[72.5,386.4,147,9.89,77.599999999999994,"2009-02-15T11:55:25",58,386.4,14.7,989,6.12,1.6199999999999999E-2,77.599999999999994,82.4,231.8,3281,58,null,null,0.31]
[73,366.2,148,9.9600000000000009,78.2,"2009-02-15T11:55:57",58.3,366.2,14.8,996,6,1.66E-2,78.2,83.1,238.3,3369,58.3,null,null,0.31]
[73.5,375.4,148,9.81,77.7,"2009-02-15T11:56:29",58.9,375.4,14.8,981,5.95,1.6500000000000001E-2,77.7,82.5,241.1,3346,58.9,null,null,0.31]
[74,377.6,147,9.4700000000000006,77.900000000000006,"2009-02-15T11:57:01",58.7,377.6,14.7,947,6.07,1.5599999999999999E-2,77.900000000000006,82.7,234.3,3166,58.7,null,null,0.3]
[74.5,372.8,148,9.4700000000000006,77.900000000000006,"2009-02-15T11:57:33",57.3,372.8,14.8,947,6,1.5800000000000002E-2,77.900000000000006,82.7,238.6,3206,57.3,null,null,0.3]
[75,381.9,149,9.85,77.2,"2009-02-15T11:58:05",58.6,381.9,14.9,985,5.89,1.67E-2,77.2,82,244.9,3397,58.6,null,null,0.31]
[75.5,377.8,151,10.44,76.599999999999994,"2009-02-15T11:58:37",51.8,377.8,15.1,1044,5.75,1.8200000000000001E-2,76.599999999999994,81.400000000000006,253,3685,51.8,null,null,0.3]
[76,370.4,151,10.33,77,"2009-02-15T11:59:09",51.9,370.4,15.1,1033,5.74,1.7999999999999999E-2,77,81.7,253.8,3655,51.9,null,null,0.3]
[76.5,376.1,150,10.35,77.099999999999994,"2009-02-15T11:59:41",54.4,376.1,15,1035,5.83,1.78E-2,77.099999999999994,81.900000000000006,248.3,3605,54.4,null,null,0.3]
[77,391.2,149,10.46,76.5,"2009-02-15T12:00:13",55.8,391.2,14.9,1046,5.85,1.7899999999999999E-2,76.5,81.2,247,3630,55.8,null,null,0.28999999999999998]
[77.5,373.2,137,10.74,79.900000000000006,"2009-02-15T12:00:45",56,373.2,13.7,1074,7.03,1.5299999999999999E-2,79.900000000000006,84.9,188.7,3100,56,null,null,0.23]
[78,369,98,305,73.3,"2009-02-15T12:01:17",55.8,369,9.8000000000000007,30500,10.8,0.28249999999999997,73.3,77.8,88,57339,55.8,null,null,0.24]
[78.5,388.2,97,60,81.8,"2009-02-15T12:01:49",55.3,388.2,9.6999999999999993,6000,10.88,5.5199999999999999E-2,81.8,86.8,86.6,11199,55.3,null,null,0.22]
[79,404.4,97,50,81.8,"2009-02-15T12:02:21",55,404.4,9.6999999999999993,5000,10.9,4.5900000000000003E-2,81.8,86.8,86.3,9313,55,null,null,0.21]
[79.5,406.9,101,50,81.400000000000006,"2009-02-15T12:02:53",55.4,406.9,10.1,5000,10.57,4.7300000000000002E-2,81.400000000000006,86.4,92.1,9605,55.4,null,null,0.23]
[80,399,102,26.81,82.5,"2009-02-15T12:03:25",55.3,399,10.199999999999999,2681,10.4,2.58E-2,82.5,87.6,95.1,5232,55.3,null,null,0.21]
[80.5,401.4,104,26.34,82.3,"2009-02-15T12:03:57",55,401.4,10.4,2634,10.210000000000001,2.58E-2,82.3,87.4,98.8,5238,55,null,null,0.21]
[81,400.9,105,23.96,82.4,"2009-02-15T12:04:29",56.6,400.9,10.5,2396,10.15,2.3599999999999999E-2,82.4,87.5,100,4792,56.6,null,null,0.22]
[81.5,403.8,107,19.86,82.4,"2009-02-15T12:05:01",57.7,403.8,10.7,1986,9.9600000000000009,1.9900000000000001E-2,82.4,87.5,103.8,4048,57.7,null,null,0.28999999999999998]
[82,403,108,14.2,82.6,"2009-02-15T12:05:33",59.5,403,10.8,1420,9.84,1.44E-2,82.6,87.7,106.4,2931,59.5,null,null,0.25]
[82.5,396.6,111,10.96,82.6,"2009-02-15T12:06:05",57.6,396.6,11.1,1096,9.56,1.15E-2,82.6,87.7,112.4,2328,57.6,null,null,0.24]
[83,409.3,112,8,82.3,"2009-02-15T12:06:37",59.3,409.3,11.2,800,9.4499999999999993,8.5000000000000006E-3,82.3,87.4,114.9,1719,59.3,null,null,0.24]
[83.5,405.2,113,6.46,82.5,"2009-02-15T12:07:09",60.3,405.2,11.3,646,9.3800000000000008,6.8999999999999999E-3,82.5,87.6,116.3,1397,60.3,null,null,0.26]
[84,408.7,114,5.13,82.3,"2009-02-15T12:07:41",59.1,408.7,11.4,513,9.27,5.4999999999999997E-3,82.3,87.4,118.9,1123,59.1,null,null,0.26]
[84.5,418.2,117,4.08,81.8,"2009-02-15T12:08:13",61.7,418.2,11.7,408,9.01,4.4999999999999997E-3,81.8,86.9,125.3,919,61.7,null,null,0.26]
[85,411.5,119,3.48,81.8,"2009-02-15T12:08:45",60.5,411.5,11.9,348,8.7899999999999991,4.0000000000000001E-3,81.8,86.9,131,804,60.5,null,null,0.28000000000000003]
[85.5,422.3,121,3.23,81,"2009-02-15T12:09:17",55.3,422.3,12.1,323,8.56,3.8E-3,81,86,137.19999999999999,766,55.3,null,null,0.28000000000000003]
[86,415.3,123,3.22,80.8,"2009-02-15T12:09:49",51.9,415.3,12.3,322,8.3800000000000008,3.8E-3,80.8,85.8,142.19999999999999,780,51.9,null,null,0.28000000000000003]
[86.5,413.1,124,3.07,80.900000000000006,"2009-02-15T12:10:21",53.7,413.1,12.4,307,8.31,3.7000000000000002E-3,80.900000000000006,85.9,144.4,750,53.7,null,null,0.28000000000000003]
[87,410.9,123,3.09,81.3,"2009-02-15T12:10:53",58.6,410.9,12.3,309,8.44,3.7000000000000002E-3,81.3,86.4,140.5,743,58.6,null,null,0.28000000000000003]
[87.5,416.6,124,2.94,80.900000000000006,"2009-02-15T12:11:25",57.5,416.6,12.4,294,8.2899999999999991,3.5000000000000001E-3,80.900000000000006,85.9,144.69999999999999,720,57.5,null,null,0.28000000000000003]
[88,417.9,125,3.12,80.7,"2009-02-15T12:11:57",56.6,417.9,12.5,312,8.2200000000000006,3.8E-3,80.7,85.7,146.9,770,56.6,null,null,0.28000000000000003]
[88.5,413.9,126,2.86,80.8,"2009-02-15T12:12:29",58.2,413.9,12.6,286,8.11,3.5000000000000001E-3,80.8,85.8,150.19999999999999,715,58.2,null,null,0.28000000000000003]
[89,404.7,127,2.95,80.900000000000006,"2009-02-15T12:13:01",55.6,404.7,12.7,295,8.06,3.7000000000000002E-3,80.900000000000006,85.9,152,743,55.6,null,null,0.28000000000000003]
[89.5,410.2,127,2.81,80.7,"2009-02-15T12:13:33",56,410.2,12.7,281,8.02,3.5000000000000001E-3,80.7,85.7,153.1,711,56,null,null,0.27]
[90,408.5,129,2.82,80.599999999999994,"2009-02-15T12:14:05",58.7,408.5,12.9,282,7.88,3.5999999999999999E-3,80.599999999999994,85.6,157.69999999999999,727,58.7,null,null,0.27]
[90.5,408.4,130,2.73,80.5,"2009-02-15T12:14:37",59.2,408.4,13,273,7.76,3.5000000000000001E-3,80.5,85.5,161.5,714,59.2,null,null,0.26]
[91,404.2,132,2.77,80.3,"2009-02-15T12:15:09",58.7,404.2,13.2,277,7.55,3.7000000000000002E-3,80.3,85.2,168.9,745,58.7,null,null,0.25]
[91.5,399.1,134,3.09,80.099999999999994,"2009-02-15T12:15:41",58.1,399.1,13.4,309,7.35,4.1999999999999997E-3,80.099999999999994,85,176.1,853,58.1,null,null,0.25]
[92,397.4,133,3.09,80.400000000000006,"2009-02-15T12:16:13",60,397.4,13.3,309,7.44,4.1999999999999997E-3,80.400000000000006,85.4,172.8,843,60,null,null,0.24]
[92.5,396.9,132,4.3899999999999997,80.400000000000006,"2009-02-15T12:16:45",60.3,396.9,13.2,439,7.49,5.8999999999999999E-3,80.400000000000006,85.4,171,1189,60.3,null,null,0.24]
[93,403.9,130,4.25,80.5,"2009-02-15T12:17:17",61.1,403.9,13,425,7.71,5.4999999999999997E-3,80.5,85.5,163.30000000000001,1119,61.1,null,null,0.25]
[93.5,395,132,3.78,80.599999999999994,"2009-02-15T12:17:49",60.4,395,13.2,378,7.57,5.0000000000000001E-3,80.599999999999994,85.6,168.2,1014,60.4,null,null,0.25]
[94,406.3,134,4.3099999999999996,79.900000000000006,"2009-02-15T12:18:21",60.3,406.3,13.4,431,7.38,5.7999999999999996E-3,79.900000000000006,84.8,174.9,1185,60.3,null,null,0.26]
[94.5,400.6,135,4.55,79.900000000000006,"2009-02-15T12:18:53",60.5,400.6,13.5,455,7.26,6.3E-3,79.900000000000006,84.8,179.8,1273,60.5,null,null,0.26]
[95,401,133,4.6500000000000004,80,"2009-02-15T12:19:25",59.4,401,13.3,465,7.4,6.3E-3,80,85,174.3,1276,59.4,null,null,0.26]
[95.5,403.4,136,4.8,79.5,"2009-02-15T12:19:57",58,403.4,13.6,480,7.19,6.7000000000000002E-3,79.5,84.4,182.5,1356,58,null,null,0.26]
[96,{"$f":"FT","v":409.6},{"$f":"Oxy*10","v":136},{"$f":"CO/100","v":5.22},{"$f":"Effg","v":79.3},"2009-02-15T12:20:29",61.4,409.6,13.6,522,7.15,7.3000000000000001E-3,79.3,84.2,183.8,1482,61.4,null,null,0.26]
[96.5,413.1,138,5.96,78.7,"2009-02-15T12:21:01",61.1,413.1,13.8,596,6.94,8.6E-3,78.7,83.5,192.5,1744,61.1,null,null,0.27]
[97,405.1,138,6.46,79.099999999999994,"2009-02-15T12:21:33",61.1,405.1,13.8,646,6.99,9.1999999999999998E-3,79.099999999999994,84,190.6,1877,61.1,null,null,0.27]
[97.5,410,140,7.04,78.400000000000006,"2009-02-15T12:22:05",61.9,410,14,704,6.78,1.04E-2,78.400000000000006,83.3,199.3,2107,61.9,null,null,0.26]
[98,403.7,140,7.28,78.8,"2009-02-15T12:22:37",63.2,403.7,14,728,6.79,1.0699999999999999E-2,78.8,83.6,198.8,2175,63.2,null,null,0.26]
[98.5,411.6,141,7.24,78.2,"2009-02-15T12:23:09",62.4,411.6,14.1,724,6.68,1.0800000000000001E-2,78.2,83,204,2201,62.4,null,null,0.26]
[99,416.6,140,7.37,78,"2009-02-15T12:23:41",60.8,416.6,14,737,6.75,1.09E-2,78,82.8,200.7,2216,60.8,null,null,0.26]
[99.5,424.3,142,7.74,77.400000000000006,"2009-02-15T12:24:13",62,424.3,14.2,774,6.62,1.17E-2,77.400000000000006,82.2,206.6,2373,62,null,null,0.24]
[100,418.7,160,8.56,72,"2009-02-15T12:24:45",61.2,418.7,16,856,4.84,1.77E-2,72,76.5,319.3,3589,61.2,null,null,0.24]
[100.5,412.9,127,17.190000000000001,79.7,"2009-02-15T12:25:17",58.1,412.9,12.7,1719,8.0299999999999994,2.1399999999999999E-2,79.7,84.7,152.69999999999999,4344,58.1,null,null,0.24]
[101,415.1,123,19.53,80,"2009-02-15T12:25:49",57.4,415.1,12.3,1953,8.39,2.3300000000000001E-2,80,85,142,4726,57.4,null,null,0.24]
[101.5,413.1,124,21.61,79.8,"2009-02-15T12:26:21",56.4,413.1,12.4,2161,8.32,2.5999999999999999E-2,79.8,84.8,143.9,5272,56.4,null,null,0.25]
[102,427.7,124,19.13,79.5,"2009-02-15T12:26:53",58.4,427.7,12.4,1913,8.3000000000000007,2.3099999999999999E-2,79.5,84.5,144.6,4680,58.4,null,null,0.25]
[102.5,437.9,125,19.8,79,"2009-02-15T12:27:25",57.1,437.9,12.5,1980,8.26,2.4E-2,79,83.9,145.9,4868,57.1,null,null,0.25]
[103,432.2,126,23.76,78.7,"2009-02-15T12:27:57",56.2,432.2,12.6,2376,8.1199999999999992,2.93E-2,78.7,83.6,150.1,5942,56.2,null,null,0.26]
[103.5,417.3,127,24.72,78.900000000000006,"2009-02-15T12:28:29",55.1,417.3,12.7,2472,8,3.09E-2,78.900000000000006,83.8,153.69999999999999,6271,55.1,null,null,0.27]
[104,436.4,129,27.62,77.7,"2009-02-15T12:29:01",55.2,436.4,12.9,2762,7.82,3.5299999999999998E-2,77.7,82.5,159.6,7171,55.2,null,null,0.26]
[104.5,413.1,130,27.52,78.400000000000006,"2009-02-15T12:29:33",55.4,413.1,13,2752,7.72,3.56E-2,78.400000000000006,83.3,162.9,7235,55.4,null,null,0.26]
[105,424.2,131,26.28,77.900000000000006,"2009-02-15T12:30:05",54.9,424.2,13.1,2628,7.6,3.4599999999999999E-2,77.900000000000006,82.7,167,7017,54.9,null,null,0.26]
[105.5,427.7,132,24.55,77.7,"2009-02-15T12:30:37",55.5,427.7,13.2,2455,7.54,3.2500000000000001E-2,77.7,82.6,169.1,6607,55.5,null,null,0.26]
[106,424.1,134,22.2,77.7,"2009-02-15T12:31:09",54.7,424.1,13.4,2220,7.39,0.03,77.7,82.5,174.7,6098,54.7,null,null,0.26]
[106.5,426.3,135,21.85,77.400000000000006,"2009-02-15T12:31:41",55.1,426.3,13.5,2185,7.27,0.03,77.400000000000006,82.2,179.2,6100,55.1,null,null,0.27]
[107,425.7,137,18.07,77.2,"2009-02-15T12:32:13",54.6,425.7,13.7,1807,7.03,2.5700000000000001E-2,77.2,81.900000000000006,188.7,5217,54.6,null,null,0.27]
[107.5,418,140,19.02,76.900000000000006,"2009-02-15T12:32:45",55.8,418,14,1902,6.77,2.81E-2,76.900000000000006,81.7,199.7,5700,55.8,null,null,0.26]
[108,423.9,140,19.18,76.5,"2009-02-15T12:33:17",55.8,423.9,14,1918,6.73,2.8500000000000001E-2,76.5,81.3,201.8,5789,55.8,null,null,0.26]
[108.5,428.3,141,14.29,76.5,"2009-02-15T12:33:49",55.8,428.3,14.1,1429,6.65,2.1499999999999998E-2,76.5,81.3,205.3,4362,55.8,null,null,0.26]
[109,432,144,11.17,75.900000000000006,"2009-02-15T12:34:21",55.3,432,14.4,1117,6.39,1.7500000000000002E-2,75.900000000000006,80.599999999999994,217.6,3548,55.3,null,null,0.26]
[109.5,430.3,143,10.67,76.400000000000006,"2009-02-15T12:34:53",56.1,430.3,14.3,1067,6.51,1.6400000000000001E-2,76.400000000000006,81.099999999999994,211.8,3327,56.1,null,null,0.26]
[110,428.9,145,9.11,76.099999999999994,"2009-02-15T12:35:25",55.6,428.9,14.5,911,6.33,1.44E-2,76.099999999999994,80.8,220.9,2923,55.6,null,null,0.26]
[110.5,425.1,146,9.0500000000000007,75.900000000000006,"2009-02-15T12:35:57",55.8,425.1,14.6,905,6.2,1.46E-2,75.900000000000006,80.599999999999994,227.4,2963,55.8,null,null,0.26]
[111,434,147,9.7899999999999991,75.099999999999994,"2009-02-15T12:36:29",54.4,434,14.7,979,6.08,1.61E-2,75.099999999999994,79.7,234,3270,54.4,null,null,0.26]
[111.5,430.2,146,11.08,75.400000000000006,"2009-02-15T12:37:01",56.7,430.2,14.6,1108,6.15,1.7999999999999999E-2,75.400000000000006,80.099999999999994,230,3656,56.7,null,null,0.26]
[112,443.3,146,10.199999999999999,75.099999999999994,"2009-02-15T12:37:33",56.8,443.3,14.6,1020,6.22,1.6400000000000001E-2,75.099999999999994,79.8,226.4,3329,56.8,null,null,0.26]
[112.5,431.4,147,9.2899999999999991,75.5,"2009-02-15T12:38:05",61,431.4,14.7,929,6.05,1.54E-2,75.5,80.099999999999994,235.6,3117,61,null,null,0.26]
[113,438.4,147,9.08,75.3,"2009-02-15T12:38:37",64.400000000000006,438.4,14.7,908,6.05,1.4999999999999999E-2,75.3,80,235.4,3045,64.400000000000006,null,null,0.26]
[113.5,433.1,145,10.32,76.2,"2009-02-15T12:39:09",65.400000000000006,433.1,14.5,1032,6.3,1.6400000000000001E-2,76.2,80.900000000000006,222,3323,65.400000000000006,null,null,0.26]
[114,429.5,145,8.85,76.5,"2009-02-15T12:39:41",66.7,429.5,14.5,885,6.29,1.41E-2,76.5,81.3,222.8,2857,66.7,null,null,0.26]
[114.5,427,145,8.7899999999999991,76.599999999999994,"2009-02-15T12:40:13",66.900000000000006,427,14.5,879,6.29,1.4E-2,76.599999999999994,81.400000000000006,222.8,2837,66.900000000000006,null,null,0.26]
[115,432.7,142,7.99,77.099999999999994,"2009-02-15T12:40:45",66.8,432.7,14.2,799,6.54,1.2200000000000001E-2,77.099999999999994,81.8,210.3,2480,66.8,null,null,0.26]
[115.5,420.2,145,6.71,77,"2009-02-15T12:41:17",62.2,420.2,14.5,671,6.33,1.06E-2,77,81.8,220.8,2153,62.2,null,null,0.26]
[116,438.3,145,7.22,75.900000000000006,"2009-02-15T12:41:49",59.8,438.3,14.5,722,6.28,1.15E-2,75.900000000000006,80.599999999999994,223.4,2335,59.8,null,null,0.26]
[116.5,429.1,145,7.77,76.3,"2009-02-15T12:42:21",59.6,429.1,14.5,777,6.29,1.24E-2,76.3,81,222.7,2507,59.6,null,null,0.27]
[117,418.1,146,10.29,76.099999999999994,"2009-02-15T12:42:53",57.9,418.1,14.6,1029,6.15,1.67E-2,76.099999999999994,80.8,230.1,3397,57.9,null,null,0.27]
[117.5,422.1,145,10.27,76.400000000000006,"2009-02-15T12:43:25",59.1,422.1,14.5,1027,6.3,1.6299999999999999E-2,76.400000000000006,81.099999999999994,222.5,3312,59.1,null,null,0.27]
[118,423.3,146,10.01,76.099999999999994,"2009-02-15T12:43:57",60.2,423.3,14.6,1001,6.18,1.6199999999999999E-2,76.099999999999994,80.8,228.5,3288,60.2,null,null,0.27]
[118.5,423.3,147,8.82,76.099999999999994,"2009-02-15T12:44:29",62.5,423.3,14.7,882,6.11,1.44E-2,76.099999999999994,80.8,232.3,2931,62.5,null,null,0.27]
[119,429.5,148,8.86,75.599999999999994,"2009-02-15T12:45:01",63.9,429.5,14.8,886,5.99,1.4800000000000001E-2,75.599999999999994,80.2,239.1,3005,63.9,null,null,0.27]
[119.5,432,152,8.86,74.3,"2009-02-15T12:45:33",65,432,15.2,886,5.59,1.5800000000000002E-2,74.3,78.900000000000006,263.10000000000002,3217,65,null,null,0.28000000000000003]
[120,425.8,155,9.8800000000000008,73.599999999999994,"2009-02-15T12:46:05",65,425.8,15.5,988,5.31,1.8599999999999998E-2,73.599999999999994,78.099999999999994,282,3774,65,null,null,0.27]
[120.5,425.6,156,11.31,73.099999999999994,"2009-02-15T12:46:37",65.3,425.6,15.6,1131,5.23,2.1600000000000001E-2,73.099999999999994,77.7,288.39999999999998,4392,65.3,null,null,0.28000000000000003]
[121,424,159,12.24,71.900000000000006,"2009-02-15T12:47:09",64.2,424,15.9,1224,4.9400000000000004,2.4799999999999999E-2,71.900000000000006,76.400000000000006,311.3,5034,64.2,null,null,0.28000000000000003]
[121.5,413.9,160,9.83,72.400000000000006,"2009-02-15T12:47:41",65.099999999999994,413.9,16,983,4.83,2.0400000000000001E-2,72.400000000000006,76.8,320.3,4131,65.099999999999994,null,null,0.28999999999999998]
[122,414.2,160,8.82,72.400000000000006,"2009-02-15T12:48:13",64.8,414.2,16,882,4.8099999999999996,1.83E-2,72.400000000000006,76.8,321.7,3720,64.8,null,null,0.28999999999999998]
[122.5,417.5,161,9.6999999999999993,71.900000000000006,"2009-02-15T12:48:45",65.400000000000006,417.5,16.100000000000001,970,4.76,2.0400000000000001E-2,71.900000000000006,76.3,326.10000000000002,4133,65.400000000000006,null,null,0.28999999999999998]
[123,417.6,162,10.220000000000001,71.400000000000006,"2009-02-15T12:49:17",65.7,417.6,16.2,1022,4.66,2.1899999999999999E-2,71.400000000000006,75.8,335.8,4454,65.7,null,null,0.3]
[123.5,409,162,11.98,71.5,"2009-02-15T12:49:49",65.599999999999994,409,16.2,1198,4.6100000000000003,2.5999999999999999E-2,71.5,75.900000000000006,340.1,5272,65.599999999999994,null,null,0.31]
[124,419.8,163,12.51,70.3,"2009-02-15T12:50:21",64.3,419.8,16.3,1251,4.53,2.76E-2,70.3,74.599999999999994,348.1,5606,64.3,null,null,0.28999999999999998]
[124.5,414.4,164,13.72,70.2,"2009-02-15T12:50:53",66.5,414.4,16.399999999999999,1372,4.45,3.0800000000000001E-2,70.2,74.599999999999994,356,6257,66.5,null,null,0.28999999999999998]
[125,411.1,165,14.41,69.7,"2009-02-15T12:51:25",61.5,411.1,16.5,1441,4.3899999999999997,3.2800000000000003E-2,69.7,74,362.6,6666,61.5,null,null,0.28999999999999998]
[125.5,413.7,165,16.37,68.900000000000006,"2009-02-15T12:51:57",60.8,413.7,16.5,1637,4.3099999999999996,3.7999999999999999E-2,68.900000000000006,73.099999999999994,371,7711,60.8,null,null,0.28999999999999998]
[126,415.9,167,17.68,67.7,"2009-02-15T12:52:29",62.4,415.9,16.7,1768,4.13,4.2799999999999998E-2,67.7,71.900000000000006,390.9,8680,62.4,null,null,0.28999999999999998]
[126.5,411.5,168,17.55,67.5,"2009-02-15T12:53:01",64.3,411.5,16.8,1755,4.03,4.36E-2,67.5,71.599999999999994,403.8,8841,64.3,null,null,0.28999999999999998]
[127,407.4,168,18.670000000000002,67.5,"2009-02-15T12:53:33",61.9,407.4,16.8,1867,4.03,4.6300000000000001E-2,67.5,71.599999999999994,403.8,9405,61.9,null,null,0.28999999999999998]
[127.5,410.3,169,18.53,66.599999999999994,"2009-02-15T12:54:05",61.7,410.3,16.899999999999999,1853,3.93,4.7199999999999999E-2,66.599999999999994,70.7,416.8,9576,61.7,null,null,0.28999999999999998]
[128,{"$f":"FT","v":412.9},{"$f":"Oxy*10","v":170},{"$f":"CO/100","v":16.77},{"$f":"Effg","v":65.900000000000006},"2009-02-15T12:54:37",60.6,412.9,17,1677,3.83,4.3799999999999999E-2,65.900000000000006,69.900000000000006,430.7,8899,60.6,null,null,0.3]
[128.5,407.7,173,16.350000000000001,64.7,"2009-02-15T12:55:09",60.2,407.7,17.3,1635,3.61,4.53E-2,64.7,68.7,462.1,9191,60.2,null,null,0.28999999999999998]
[129,407.8,173,16.05,64.3,"2009-02-15T12:55:41",58.8,407.8,17.3,1605,3.57,4.4999999999999998E-2,64.3,68.2,469.3,9138,58.8,null,null,0.28999999999999998]
[129.5,395.4,174,15.93,64.900000000000006,"2009-02-15T12:56:13",60.2,395.4,17.399999999999999,1593,3.5,4.5499999999999999E-2,64.900000000000006,68.900000000000006,479.6,9233,60.2,null,null,0.3]
[130,405.7,174,16.989999999999998,63.2,"2009-02-15T12:56:45",59.3,405.7,17.399999999999999,1699,3.43,4.9500000000000002E-2,63.2,67.099999999999994,491.5,10050,59.3,null,null,0.28000000000000003]
[130.5,401.1,170,16.53,67.2,"2009-02-15T12:57:17",61,401.1,17,1653,3.88,4.2500000000000003E-2,67.2,71.3,422.5,8637,61,null,null,0.28000000000000003]
[131,408,170,15.5,66.5,"2009-02-15T12:57:49",60.9,408,17,1550,3.84,4.0399999999999998E-2,66.5,70.599999999999994,428.8,8196,60.9,null,null,0.28000000000000003]
[131.5,395.9,172,13.8,66.8,"2009-02-15T12:58:21",64.400000000000006,395.9,17.2,1380,3.68,3.7499999999999999E-2,66.8,70.900000000000006,452,7618,64.400000000000006,null,null,0.28999999999999998]