{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":256,"n_cols":20,"rows_kept":256,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":374.28148148148148},{"$f":"AVERAGE(Oxy)","v":13.617460317460313},{"$f":"AVERAGE(CO)","v":1229.5079365079366},{"$f":"AVERAGE(Effg)","v":79.620855614973223}]
[13.5,{"$f":"FT","v":114.2},{"$f":"Oxy*10","v":209},{"$f":"CO/100","v":1.84},{"$f":"Effg","v":0},"2009-02-16T09:06:54",59.9,114.2,20.9,184,null,null,null,null,null,null,59.9,null,null,0.48]
[14,123.1,204,3.95,0,"2009-02-16T09:07:26",57.1,123.1,20.399999999999999,395,null,null,null,null,null,null,57.1,null,null,0.34]
[14.5,135.69999999999999,196,6.26,76.5,"2009-02-16T09:07:58",59.7,135.69999999999999,19.600000000000001,626,1.38,4.53E-2,76.5,81.2,1367.7,9188,59.7,null,null,0.22]
[15,155,188,11.53,79.099999999999994,"2009-02-16T09:08:30",60.3,155,18.8,1153,2.16,5.33E-2,79.099999999999994,84,838.8,10824,60.3,null,null,0.08]
[15.5,167.8,177,9.1300000000000008,82.8,"2009-02-16T09:09:02",59.4,167.8,17.7,913,3.18,2.87E-2,82.8,87.9,538.1,5826,59.4,null,null,7.0000000000000007E-2]
[16,178.6,167,8.9,84.5,"2009-02-16T09:09:34",58.2,178.6,16.7,890,4.1500000000000004,2.1499999999999998E-2,84.5,89.7,389.3,4355,58.2,null,null,7.0000000000000007E-2]
[16.5,205.7,156,11.52,84.6,"2009-02-16T09:10:06",59.6,205.7,15.6,1152,5.22,2.2100000000000002E-2,84.6,89.9,289.10000000000002,4483,59.6,null,null,0.08]
[17,205.5,146,12.42,86,"2009-02-16T09:10:38",59.6,205.5,14.6,1242,6.21,0.02,86,91.3,226.9,4060,59.6,null,null,0.08]
[17.5,222.5,143,7.69,85.9,"2009-02-16T09:11:10",60.6,222.5,14.3,769,6.44,1.1900000000000001E-2,85.9,91.2,215.4,2426,60.6,null,null,0.08]
[18,219.4,147,3.76,85.9,"2009-02-16T09:11:42",59,219.4,14.7,376,6.13,6.1000000000000004E-3,85.9,91.2,231.4,1246,59,null,null,0.08]
[18.5,223.2,147,2.84,85.8,"2009-02-16T09:12:14",60.2,223.2,14.7,284,6.08,4.7000000000000002E-3,85.8,91.1,234,948,60.2,null,null,0.09]
[19,233.1,149,2.88,85,"2009-02-16T09:12:46",58.4,233.1,14.9,288,5.88,4.8999999999999998E-3,85,90.3,245,994,58.4,null,null,0.09]
[19.5,239.8,148,3.09,84.9,"2009-02-16T09:13:18",59.7,239.8,14.8,309,5.99,5.1999999999999998E-3,84.9,90.1,239,1048,59.7,null,null,0.09]
[20,241.8,146,3.27,85,"2009-02-16T09:13:50",59.2,241.8,14.6,327,6.16,5.3E-3,85,90.2,229.7,1078,59.2,null,null,0.11]
[20.5,233,145,5.69,85.4,"2009-02-16T09:14:22",59.6,233,14.5,569,6.32,8.9999999999999993E-3,85.4,90.7,221.1,1827,59.6,null,null,0.16]
[21,237.4,152,8.68,83.8,"2009-02-16T09:14:54",59.6,237.4,15.2,868,5.57,1.5599999999999999E-2,83.8,89,264.2,3161,59.6,null,null,0.22]
[21.5,244.1,150,7.46,84,"2009-02-16T09:15:26",60.1,244.1,15,746,5.79,1.29E-2,84,89.2,250.6,2615,60.1,null,null,0.24]
[22,253.9,146,7.88,84.1,"2009-02-16T09:15:58",60.4,253.9,14.6,788,6.16,1.2800000000000001E-2,84.1,89.3,229.3,2595,60.4,null,null,0.24]
[22.5,258.10000000000002,141,7.42,84.6,"2009-02-16T09:16:30",60.7,258.10000000000002,14.1,742,6.67,1.11E-2,84.6,89.9,204.5,2260,60.7,null,null,0.25]
[23,267.7,126,6.95,85.9,"2009-02-16T09:17:02",60.1,267.7,12.6,695,8.16,8.5000000000000006E-3,85.9,91.2,148.69999999999999,1728,60.1,null,null,0.25]
[23.5,280,118,6.83,86.1,"2009-02-16T09:17:34",60.7,280,11.8,683,8.8800000000000008,7.7000000000000002E-3,86.1,91.4,128.69999999999999,1562,60.7,null,null,0.25]
[24,294.7,109,13.04,85.9,"2009-02-16T09:18:06",60.2,294.7,10.9,1304,9.74,1.34E-2,85.9,91.2,108.4,2718,60.2,null,null,0.25]
[24.5,289.8,101,29.89,85.7,"2009-02-16T09:18:38",59.5,289.8,10.1,2989,10.49,2.8500000000000001E-2,85.7,91,93.5,5785,59.5,null,null,0.25]
[25,312.3,100,28.36,85.2,"2009-02-16T09:19:10",60.4,312.3,10,2836,10.59,2.6800000000000001E-2,85.2,90.5,91.8,5439,60.4,null,null,0.25]
[25.5,304.3,105,18.440000000000001,85.6,"2009-02-16T09:19:42",60,304.3,10.5,1844,10.11,1.8200000000000001E-2,85.6,90.9,100.8,3702,60,null,null,0.26]
[26,306.39999999999998,109,13.02,85.6,"2009-02-16T09:20:14",61.2,306.39999999999998,10.9,1302,9.75,1.34E-2,85.6,90.9,108.2,2711,61.2,null,null,0.26]
[26.5,309.2,113,10.97,85.3,"2009-02-16T09:20:46",61.5,309.2,11.3,1097,9.42,1.1599999999999999E-2,85.3,90.6,115.5,2364,61.5,null,null,0.26]
[27,303.8,116,11.17,85.2,"2009-02-16T09:21:18",61.5,303.8,11.6,1117,9.11,1.23E-2,85.2,90.5,122.8,2488,61.5,null,null,0.26]
[27.5,313.5,118,12.11,84.7,"2009-02-16T09:21:50",61.7,313.5,11.8,1211,8.9,1.3599999999999999E-2,84.7,89.9,128.19999999999999,2764,61.7,null,null,0.26]
[28,308.8,121,9.86,84.7,"2009-02-16T09:22:22",61.7,308.8,12.1,986,8.64,1.14E-2,84.7,90,134.80000000000001,2315,61.7,null,null,0.26]
[28.5,321.5,122,8.7200000000000006,84.2,"2009-02-16T09:22:54",61.3,321.5,12.2,872,8.52,1.0200000000000001E-2,84.2,89.5,138.30000000000001,2078,61.3,null,null,0.26]
[29,322,116,12.25,84.6,"2009-02-16T09:23:26",62.2,322,11.6,1225,9.09,1.35E-2,84.6,89.8,123.3,2736,62.2,null,null,0.25]
[29.5,333.5,114,14.94,84.3,"2009-02-16T09:23:58",62.3,333.5,11.4,1494,9.32,1.6E-2,84.3,89.5,117.8,3255,62.3,null,null,0.25]
[30,322.8,115,13.25,84.6,"2009-02-16T09:24:30",62.3,322.8,11.5,1325,9.18,1.44E-2,84.6,89.8,121.1,2929,62.3,null,null,0.25]
[30.5,328.3,116,13.09,84.4,"2009-02-16T09:25:02",62.4,328.3,11.6,1309,9.09,1.44E-2,84.4,89.6,123.3,2923,62.4,null,null,0.24]
[31,328.5,110,24.41,84.3,"2009-02-16T09:25:34",62.6,328.5,11,2441,9.68,2.52E-2,84.3,89.5,109.7,5119,62.6,null,null,0.24]
[31.5,330.1,110,24.73,84.2,"2009-02-16T09:26:06",62.7,330.1,11,2473,9.67,2.5600000000000001E-2,84.2,89.4,109.9,5190,62.7,null,null,0.24]
[32,{"$f":"FT","v":330.7},{"$f":"Oxy*10","v":107},{"$f":"CO/100","v":20.8},{"$f":"Effg","v":84.6},"2009-02-16T09:26:38",62.9,330.7,10.7,2080,9.92,2.1000000000000001E-2,84.6,89.9,104.7,4257,62.9,null,null,0.24]
[32.5,326.89999999999998,104,27.95,84.6,"2009-02-16T09:27:10",62.8,326.89999999999998,10.4,2795,10.25,2.7300000000000001E-2,84.6,89.9,98.1,5538,62.8,null,null,0.23]
[33,321.89999999999998,106,27.86,84.6,"2009-02-16T09:27:42",63.1,321.89999999999998,10.6,2786,10.029999999999999,2.7799999999999998E-2,84.6,89.9,102.4,5638,63.1,null,null,0.23]
[33.5,334.5,108,18.47,84.6,"2009-02-16T09:28:14",63.2,334.5,10.8,1847,9.85,1.8700000000000001E-2,84.6,89.8,106,3805,63.2,null,null,0.23]
[34,328,105,25.01,84.7,"2009-02-16T09:28:46",63.5,328,10.5,2501,10.15,2.47E-2,84.7,89.9,100.1,5004,63.5,null,null,0.23]
[34.5,326.5,104,36.94,84.2,"2009-02-16T09:29:18",63,326.5,10.4,3694,10.26,3.5999999999999997E-2,84.2,89.4,97.8,7305,63,null,null,0.23]
[35,331.7,102,39.33,84.1,"2009-02-16T09:29:50",63.4,331.7,10.199999999999999,3933,10.4,3.78E-2,84.1,89.3,95.1,7674,63.4,null,null,0.23]
[35.5,326.7,103,34.479999999999997,84.4,"2009-02-16T09:30:22",63.6,326.7,10.3,3448,10.32,3.3399999999999999E-2,84.4,89.6,96.7,6781,63.6,null,null,0.23]
[36,326.3,102,31.12,84.7,"2009-02-16T09:30:54",63.5,326.3,10.199999999999999,3112,10.45,2.98E-2,84.7,89.9,94.2,6044,63.5,null,null,0.23]
[36.5,341.7,102,23.46,84.7,"2009-02-16T09:31:26",63.9,341.7,10.199999999999999,2346,10.48,2.24E-2,84.7,89.9,93.7,4544,63.9,null,null,0.24]
[37,358.5,98,26.43,84.3,"2009-02-16T09:31:58",63.9,358.5,9.8000000000000007,2643,10.82,2.4400000000000002E-2,84.3,89.5,87.6,4959,63.9,null,null,0.23]
[37.5,368.3,93,29.34,84.3,"2009-02-16T09:32:30",64.3,368.3,9.3000000000000007,2934,11.35,2.5899999999999999E-2,84.3,89.5,78.900000000000006,5249,64.3,null,null,0.23]
[38,365.8,94,22.66,84.6,"2009-02-16T09:33:02",64.5,365.8,9.4,2266,11.18,2.0299999999999999E-2,84.6,89.8,81.5,4114,64.5,null,null,0.23]
[38.5,386.3,96,13.72,84.3,"2009-02-16T09:33:34",64.5,386.3,9.6,1372,10.98,1.2500000000000001E-2,84.3,89.5,84.9,2537,64.5,null,null,0.22]
[39,373.9,103,8.01,84.4,"2009-02-16T09:34:06",64.400000000000006,373.9,10.3,801,10.31,7.7999999999999996E-3,84.4,89.6,96.9,1577,64.400000000000006,null,null,0.22]
[39.5,377.4,106,6.98,84.1,"2009-02-16T09:34:38",64.5,377.4,10.6,698,10.039999999999999,6.8999999999999999E-3,84.1,89.3,102.1,1411,64.5,null,null,0.21]
[40,382.2,109,6.72,83.7,"2009-02-16T09:35:10",64.7,382.2,10.9,672,9.73,6.8999999999999999E-3,83.7,88.9,108.7,1403,64.7,null,null,0.21]
[40.5,375.2,107,8.7100000000000009,84,"2009-02-16T09:35:42",64.8,375.2,10.7,871,9.9499999999999993,8.8000000000000005E-3,84,89.2,104,1777,64.8,null,null,0.2]
[41,374,101,19.190000000000001,84,"2009-02-16T09:36:14",65.7,374,10.1,1919,10.51,1.83E-2,84,89.2,93.1,3705,65.7,null,null,0.2]
[41.5,379.9,103,13.64,84,"2009-02-16T09:36:46",66.2,379.9,10.3,1364,10.33,1.32E-2,84,89.2,96.6,2681,66.2,null,null,0.19]
[42,376.3,109,7.96,83.8,"2009-02-16T09:37:18",64.599999999999994,376.3,10.9,796,9.73,8.2000000000000007E-3,83.8,89,108.6,1660,64.599999999999994,null,null,0.19]
[42.5,379.5,113,7.51,83.4,"2009-02-16T09:37:50",64.900000000000006,379.5,11.3,751,9.3699999999999992,8.0000000000000002E-3,83.4,88.6,116.6,1627,64.900000000000006,null,null,0.18]
[43,371.6,116,6.86,83.4,"2009-02-16T09:38:22",64.900000000000006,371.6,11.6,686,9.0500000000000007,7.6E-3,83.4,88.5,124.4,1540,64.900000000000006,null,null,0.18]
[43.5,375.1,118,6.49,83.1,"2009-02-16T09:38:54",66.3,375.1,11.8,649,8.86,7.3000000000000001E-3,83.1,88.3,129,1486,66.3,null,null,0.17]
[44,382.1,117,6.54,83.1,"2009-02-16T09:39:26",67.400000000000006,382.1,11.7,654,9.02,7.1999999999999998E-3,83.1,88.2,125,1472,67.400000000000006,null,null,0.18]
[44.5,376,119,6.08,83,"2009-02-16T09:39:58",67.8,376,11.9,608,8.75,6.8999999999999999E-3,83,88.2,132,1410,67.8,null,null,0.16]
[45,377.1,121,6.06,82.7,"2009-02-16T09:40:30",65,377.1,12.1,606,8.56,7.1000000000000004E-3,82.7,87.8,137.1,1437,65,null,null,0.15]
[45.5,380.8,123,5.77,82.5,"2009-02-16T09:41:02",66.400000000000006,380.8,12.3,577,8.4499999999999993,6.7999999999999996E-3,82.5,87.6,140.30000000000001,1386,66.400000000000006,null,null,0.15]
[46,386.1,124,5.87,82.1,"2009-02-16T09:41:34",67.2,386.1,12.4,587,8.2799999999999994,7.1000000000000004E-3,82.1,87.2,145.1,1438,67.2,null,null,0.14000000000000001]
[46.5,379.1,126,6.12,82.2,"2009-02-16T09:42:06",67.7,379.1,12.6,612,8.16,7.4999999999999997E-3,82.2,87.3,148.69999999999999,1522,67.7,null,null,0.13]
[47,379.6,129,6.35,81.599999999999994,"2009-02-16T09:42:38",64.900000000000006,379.6,12.9,635,7.78,8.2000000000000007E-3,81.599999999999994,86.6,160.80000000000001,1656,64.900000000000006,null,null,0.11]
[47.5,382.6,130,6.68,81.400000000000006,"2009-02-16T09:43:10",66.3,382.6,13,668,7.72,8.6E-3,81.400000000000006,86.4,162.80000000000001,1756,66.3,null,null,0.09]
[48,380.9,131,6.89,81.400000000000006,"2009-02-16T09:43:42",67.5,380.9,13.1,689,7.67,8.9999999999999993E-3,81.400000000000006,86.5,164.5,1823,67.5,null,null,0.08]
[48.5,387.1,130,7.25,80.8,"2009-02-16T09:44:14",55.6,387.1,13,725,7.76,9.2999999999999992E-3,80.8,85.8,161.6,1897,55.6,null,null,7.0000000000000007E-2]
[49,388.3,131,7.31,80.8,"2009-02-16T09:44:46",59.5,388.3,13.1,731,7.66,9.4999999999999998E-3,80.8,85.8,164.9,1937,59.5,null,null,7.0000000000000007E-2]
[49.5,396.7,131,6.56,80.599999999999994,"2009-02-16T09:45:18",62.5,396.7,13.1,656,7.66,8.6E-3,80.599999999999994,85.6,165,1739,62.5,null,null,0.06]
[50,382.6,131,6.3,81.3,"2009-02-16T09:45:50",64.599999999999994,382.6,13.1,630,7.67,8.2000000000000007E-3,81.3,86.3,164.8,1668,64.599999999999994,null,null,0.06]
[50.5,381.4,132,6.37,81.2,"2009-02-16T09:46:22",66.5,381.4,13.2,637,7.55,8.3999999999999995E-3,81.2,86.2,168.9,1713,66.5,null,null,0.05]
[51,385.9,133,6.54,80.900000000000006,"2009-02-16T09:46:54",67.400000000000006,385.9,13.3,654,7.47,8.8000000000000005E-3,80.900000000000006,86,171.7,1777,67.400000000000006,null,null,0.05]
[51.5,379.1,134,6.51,81.099999999999994,"2009-02-16T09:47:26",68.3,379.1,13.4,651,7.37,8.8000000000000005E-3,81.099999999999994,86.1,175.3,1793,68.3,null,null,0.04]
[52,385.4,134,6.52,80.8,"2009-02-16T09:47:58",68.400000000000006,385.4,13.4,652,7.37,8.8999999999999999E-3,80.8,85.8,175.6,1797,68.400000000000006,null,null,0.04]
[52.5,380.8,149,6.2,77.900000000000006,"2009-02-16T09:48:30",64.900000000000006,380.8,14.9,620,5.87,1.06E-2,77.900000000000006,82.7,245.7,2143,64.900000000000006,null,null,0.55000000000000004]
[53,389,139,7.57,79.599999999999994,"2009-02-16T09:49:02",64,389,13.9,757,6.9,1.0999999999999999E-2,79.599999999999994,84.5,194.2,2227,64,null,null,0.56000000000000005]
[53.5,389.1,138,7.67,79.8,"2009-02-16T09:49:34",64.2,389.1,13.8,767,7,1.0999999999999999E-2,79.8,84.7,189.9,2224,64.2,null,null,0.56000000000000005]
[54,390.9,137,7.34,80,"2009-02-16T09:50:06",67.2,390.9,13.7,734,7.06,1.04E-2,80,84.9,187.4,2110,67.2,null,null,0.56999999999999995]
[54.5,400.1,138,7.66,79.2,"2009-02-16T09:50:38",63.8,400.1,13.8,766,6.92,1.11E-2,79.2,84.1,193.2,2246,63.8,null,null,0.57999999999999996]
[55,400.1,138,7.75,79.3,"2009-02-16T09:51:10",65.2,400.1,13.8,775,6.95,1.12E-2,79.3,84.2,192.1,2264,65.2,null,null,0.57999999999999996]
[55.5,393.1,141,8.69,79,"2009-02-16T09:51:42",63.7,393.1,14.1,869,6.71,1.29E-2,79,83.8,202.5,2628,63.7,null,null,0.59]
[56,389,142,8.82,78.8,"2009-02-16T09:52:14",64.900000000000006,389,14.2,882,6.55,1.35E-2,78.8,83.7,210.1,2735,64.900000000000006,null,null,0.61]
[56.5,395.1,144,9.3800000000000008,78.2,"2009-02-16T09:52:46",65.900000000000006,395.1,14.4,938,6.4,1.47E-2,78.2,83.1,217.4,2977,65.900000000000006,null,null,0.61]
[57,399.4,144,9.32,78,"2009-02-16T09:53:18",64.599999999999994,399.4,14.4,932,6.4,1.46E-2,78,82.8,217,2955,64.599999999999994,null,null,0.6]
[57.5,395.4,145,9.66,77.900000000000006,"2009-02-16T09:53:50",63.9,395.4,14.5,966,6.3,1.5299999999999999E-2,77.900000000000006,82.7,222.4,3114,63.9,null,null,0.6]
[58,388.1,145,10.01,78.3,"2009-02-16T09:54:22",65.599999999999994,388.1,14.5,1001,6.29,1.5900000000000001E-2,78.3,83.1,222.7,3230,65.599999999999994,null,null,0.6]
[58.5,394.7,146,10.199999999999999,77.400000000000006,"2009-02-16T09:54:54",62.9,394.7,14.6,1020,6.14,1.66E-2,77.400000000000006,82.2,230.4,3370,62.9,null,null,0.6]
[59,392,147,10.64,77.5,"2009-02-16T09:55:26",66.400000000000006,392,14.7,1064,6.06,1.7600000000000001E-2,77.5,82.3,235,3565,66.400000000000006,null,null,0.61]
[59.5,391.2,148,10.44,77.5,"2009-02-16T09:55:58",67.8,391.2,14.8,1044,6.02,1.7299999999999999E-2,77.5,82.3,237.1,3519,67.8,null,null,0.61]
[60,406.9,147,9.6300000000000008,77.099999999999994,"2009-02-16T09:56:30",67.7,406.9,14.7,963,6.1,1.5800000000000002E-2,77.099999999999994,81.8,232.6,3203,67.7,null,null,0.6]
[60.5,401.6,147,9.3800000000000008,77.400000000000006,"2009-02-16T09:57:02",68.099999999999994,401.6,14.7,938,6.13,1.5299999999999999E-2,77.400000000000006,82.2,231.3,3108,68.099999999999994,null,null,0.61]
[61,396.3,147,9.61,77.599999999999994,"2009-02-16T09:57:34",67.8,396.3,14.7,961,6.13,1.5699999999999999E-2,77.599999999999994,82.4,231.4,3185,67.8,null,null,0.61]
[61.5,399.2,147,9.4600000000000009,77.5,"2009-02-16T09:58:06",68.599999999999994,399.2,14.7,946,6.12,1.55E-2,77.5,82.3,231.8,3139,68.599999999999994,null,null,0.61]
[62,389,146,9.6,78.099999999999994,"2009-02-16T09:58:38",67.8,389,14.6,960,6.18,1.55E-2,78.099999999999994,82.9,228.6,3154,67.8,null,null,0.61]
[62.5,403.6,145,10.15,77.5,"2009-02-16T09:59:10",67.599999999999994,403.6,14.5,1015,6.25,1.6199999999999999E-2,77.5,82.3,225,3298,67.599999999999994,null,null,0.61]
[63,393,147,10.56,77.5,"2009-02-16T09:59:42",66.599999999999994,393,14.7,1056,6.07,1.7399999999999999E-2,77.5,82.3,234.3,3530,66.599999999999994,null,null,0.61]
[63.5,400.7,147,10.25,77.3,"2009-02-16T10:00:14",67.5,400.7,14.7,1025,6.11,1.6799999999999999E-2,77.3,82.1,232.4,3407,67.5,null,null,0.61]
[64,{"$f":"FT","v":404.1},{"$f":"Oxy*10","v":148},{"$f":"CO/100","v":10.02},{"$f":"Effg","v":76.8},"2009-02-16T10:00:46",67,404.1,14.8,1002,5.97,1.6799999999999999E-2,76.8,81.5,240.1,3407,67,null,null,0.62]
[64.5,399.5,147,10.51,77.2,"2009-02-16T10:01:18",66.2,399.5,14.7,1051,6.09,1.72E-2,77.2,82,233.1,3501,66.2,null,null,0.62]
[65,406.3,146,10.28,77.2,"2009-02-16T10:01:50",67.8,406.3,14.6,1028,6.15,1.67E-2,77.2,81.900000000000006,230.3,3395,67.8,null,null,0.62]
[65.5,406,145,10.63,77.400000000000006,"2009-02-16T10:02:22",67.900000000000006,406,14.5,1063,6.24,1.7000000000000001E-2,77.400000000000006,82.2,225.3,3458,67.900000000000006,null,null,0.62]
[66,423.6,143,9.5,77.3,"2009-02-16T10:02:54",68,423.6,14.3,950,6.48,1.47E-2,77.3,82,213.4,2977,68,null,null,0.62]
[66.5,419.9,140,7.68,78,"2009-02-16T10:03:26",66.599999999999994,419.9,14,768,6.72,1.14E-2,78,82.9,202,2319,66.599999999999994,null,null,0.62]
[67,416.9,140,6.74,78.3,"2009-02-16T10:03:58",66.8,416.9,14,674,6.75,0.01,78.3,83.2,200.9,2028,66.8,null,null,0.61]
[67.5,404.9,142,6.66,78.5,"2009-02-16T10:04:30",64.8,404.9,14.2,666,6.62,1.01E-2,78.5,83.3,206.7,2043,64.8,null,null,0.6]
[68,413.7,143,8.6300000000000008,77.7,"2009-02-16T10:05:02",64.900000000000006,413.7,14.3,863,6.5,1.3299999999999999E-2,77.7,82.5,212.1,2694,64.900000000000006,null,null,0.59]
[68.5,413.8,137,7.8,78.900000000000006,"2009-02-16T10:05:34",63,413.8,13.7,780,7.07,1.0999999999999999E-2,78.900000000000006,83.7,187,2238,63,null,null,0.59]
[69,418.4,135,7.21,79.099999999999994,"2009-02-16T10:06:06",63.4,418.4,13.5,721,7.24,0.01,79.099999999999994,84,180.3,2021,63.4,null,null,0.57999999999999996]
[69.5,417.9,136,7.59,78.900000000000006,"2009-02-16T10:06:38",64,417.9,13.6,759,7.16,1.06E-2,78.900000000000006,83.8,183.6,2153,64,null,null,0.56999999999999995]
[70,420.5,137,7.64,78.599999999999994,"2009-02-16T10:07:10",64.900000000000006,420.5,13.7,764,7.04,1.0800000000000001E-2,78.599999999999994,83.5,188.2,2202,64.900000000000006,null,null,0.56999999999999995]
[70.5,410.4,140,8.11,78.5,"2009-02-16T10:07:42",64.3,410.4,14,811,6.81,1.1900000000000001E-2,78.5,83.4,198.2,2418,64.3,null,null,0.56999999999999995]
[71,418.7,141,8.1300000000000008,77.900000000000006,"2009-02-16T10:08:14",65.900000000000006,418.7,14.1,813,6.67,1.2200000000000001E-2,77.900000000000006,82.7,204.6,2476,65.900000000000006,null,null,0.56999999999999995]
[71.5,417.8,143,8.39,77.599999999999994,"2009-02-16T10:08:46",67.900000000000006,417.8,14.3,839,6.48,1.2999999999999999E-2,77.599999999999994,82.4,213.4,2629,67.900000000000006,null,null,0.56999999999999995]
[72,420.1,145,8.77,76.900000000000006,"2009-02-16T10:09:18",68.2,420.1,14.5,877,6.26,1.4E-2,76.900000000000006,81.7,224.4,2845,68.2,null,null,0.56999999999999995]
[72.5,422.6,146,9.7100000000000009,76.5,"2009-02-16T10:09:50",68.099999999999994,422.6,14.6,971,6.16,1.5800000000000002E-2,76.5,81.2,229.5,3200,68.099999999999994,null,null,0.56999999999999995]
[73,409.9,147,10.44,76.8,"2009-02-16T10:10:22",68.099999999999994,409.9,14.7,1044,6.06,1.72E-2,76.8,81.5,234.7,3495,68.099999999999994,null,null,0.56999999999999995]
[73.5,408.4,149,10.31,76.400000000000006,"2009-02-16T10:10:54",68,408.4,14.9,1031,5.88,1.7500000000000002E-2,76.400000000000006,81.099999999999994,245.1,3558,68,null,null,0.56999999999999995]
[74,414.3,150,11.08,75.8,"2009-02-16T10:11:26",68.400000000000006,414.3,15,1108,5.79,1.9099999999999999E-2,75.8,80.5,250.5,3884,68.400000000000006,null,null,0.56999999999999995]
[74.5,421,151,11.19,75.099999999999994,"2009-02-16T10:11:58",67.5,421,15.1,1119,5.7,1.9599999999999999E-2,75.099999999999994,79.7,256.3,3987,67.5,null,null,0.56999999999999995]
[75,416,151,12.07,75.3,"2009-02-16T10:12:30",68.099999999999994,416,15.1,1207,5.69,2.12E-2,75.3,79.900000000000006,257.10000000000002,4310,68.099999999999994,null,null,0.56999999999999995]
[75.5,414.9,154,12.9,74.5,"2009-02-16T10:13:02",68.7,414.9,15.4,1290,5.45,2.3699999999999999E-2,74.5,79.099999999999994,272.8,4809,68.7,null,null,0.56999999999999995]
[76,411.9,138,8.93,79,"2009-02-16T10:13:34",70,411.9,13.8,893,6.97,1.2800000000000001E-2,79,83.9,191.1,2600,70,null,null,0.47]
[76.5,418.6,136,7.49,79.099999999999994,"2009-02-16T10:14:06",69.099999999999994,418.6,13.6,749,7.16,1.0500000000000001E-2,79.099999999999994,84,183.6,2124,69.099999999999994,null,null,0.45]
[77,421.4,132,8.48,79.5,"2009-02-16T10:14:38",66.3,421.4,13.2,848,7.53,1.1299999999999999E-2,79.5,84.4,169.7,2287,66.3,null,null,0.46]
[77.5,420.5,134,9.8699999999999992,79.099999999999994,"2009-02-16T10:15:10",67.8,420.5,13.4,987,7.3,1.35E-2,79.099999999999994,84,178,2744,67.8,null,null,0.46]
[78,419,136,10.69,78.8,"2009-02-16T10:15:42",68.900000000000006,419,13.6,1069,7.12,1.4999999999999999E-2,78.8,83.6,185.3,3050,68.900000000000006,null,null,0.46]
[78.5,419.6,139,11.68,78.099999999999994,"2009-02-16T10:16:14",69.3,419.6,13.9,1168,6.84,1.7100000000000001E-2,78.099999999999994,83,196.8,3466,69.3,null,null,0.46]
[79,425.8,140,12.28,77.7,"2009-02-16T10:16:46",68.8,425.8,14,1228,6.79,1.8100000000000002E-2,77.7,82.5,199.1,3673,68.8,null,null,0.46]
[79.5,416.9,137,12.31,78.7,"2009-02-16T10:17:18",70.2,416.9,13.7,1231,7.05,1.7500000000000002E-2,78.7,83.5,188,3545,70.2,null,null,0.47]
[80,425.1,125,6.2,80.8,"2009-02-16T10:17:50",70,425.1,12.5,620,8.24,7.4999999999999997E-3,80.8,85.8,146.4,1527,70,null,null,0.47]
[80.5,433.1,125,4.97,80.5,"2009-02-16T10:18:22",68.8,433.1,12.5,497,8.23,6.0000000000000001E-3,80.5,85.5,146.69999999999999,1226,68.8,null,null,0.47]
[81,422.9,130,4.8499999999999996,80.099999999999994,"2009-02-16T10:18:54",68.400000000000006,422.9,13,485,7.74,6.3E-3,80.099999999999994,85.1,162.4,1273,68.400000000000006,null,null,0.46]
[81.5,436.1,131,5.72,79.400000000000006,"2009-02-16T10:19:26",67.900000000000006,436.1,13.1,572,7.67,7.4999999999999997E-3,79.400000000000006,84.3,164.7,1514,67.900000000000006,null,null,0.46]
[82,430.3,134,7.08,79,"2009-02-16T10:19:58",68.599999999999994,430.3,13.4,708,7.36,9.5999999999999992E-3,79,83.9,175.6,1952,68.599999999999994,null,null,0.47]
[82.5,430.6,136,8.36,78.400000000000006,"2009-02-16T10:20:30",68.2,430.6,13.6,836,7.11,1.18E-2,78.400000000000006,83.3,185.3,2385,68.2,null,null,0.47]
[83,438.1,139,10.63,77.5,"2009-02-16T10:21:02",67.900000000000006,438.1,13.9,1063,6.9,1.54E-2,77.5,82.3,194,3125,67.900000000000006,null,null,0.47]
[83.5,428.6,139,11.92,77.8,"2009-02-16T10:21:34",69.7,428.6,13.9,1192,6.85,1.7399999999999999E-2,77.8,82.6,196.3,3532,69.7,null,null,0.47]
[84,427,141,11.07,77.5,"2009-02-16T10:22:06",66.599999999999994,427,14.1,1107,6.71,1.6500000000000001E-2,77.5,82.3,202.4,3347,66.599999999999994,null,null,0.47]
[84.5,445.3,141,12.37,76.7,"2009-02-16T10:22:38",71.099999999999994,445.3,14.1,1237,6.66,1.8599999999999998E-2,76.7,81.400000000000006,204.9,3771,71.099999999999994,null,null,0.47]
[85,411.5,150,14.26,75.7,"2009-02-16T10:23:10",70.7,411.5,15,1426,5.77,2.47E-2,75.7,80.400000000000006,251.7,5015,70.7,null,null,0.48]
[85.5,404.8,128,29.02,79.5,"2009-02-16T10:23:42",67.3,404.8,12.8,2902,7.95,3.6499999999999998E-2,79.5,84.4,155.5,7413,67.3,null,null,0.46]
[86,408.8,125,25.88,79.900000000000006,"2009-02-16T10:24:14",65,408.8,12.5,2588,8.18,3.1600000000000003E-2,79.900000000000006,84.8,148.1,6421,65,null,null,0.46]
[86.5,414.9,126,27.58,79.5,"2009-02-16T10:24:46",64.8,414.9,12.6,2758,8.15,3.39E-2,79.5,84.4,149.19999999999999,6873,64.8,null,null,0.46]
[87,418.8,126,28.93,79.3,"2009-02-16T10:25:18",67,418.8,12.6,2893,8.1199999999999992,3.56E-2,79.3,84.2,149.9,7229,67,null,null,0.45]
[87.5,420.4,127,26.62,79.400000000000006,"2009-02-16T10:25:50",69.400000000000006,420.4,12.7,2662,8.07,3.3000000000000002E-2,79.400000000000006,84.3,151.6,6698,69.400000000000006,null,null,0.45]
[88,418.2,127,27.31,79.400000000000006,"2009-02-16T10:26:22",69.7,418.2,12.7,2731,8.0399999999999991,3.4000000000000002E-2,79.400000000000006,84.3,152.4,6892,69.7,null,null,0.45]
[88.5,427.7,129,21.26,79.2,"2009-02-16T10:26:54",71.599999999999994,427.7,12.9,2126,7.87,2.7E-2,79.2,84.1,158,5486,71.599999999999994,null,null,0.46]
[89,422.8,128,20.84,79.5,"2009-02-16T10:27:26",72.400000000000006,422.8,12.8,2084,7.92,2.63E-2,79.5,84.5,156.30000000000001,5341,72.400000000000006,null,null,0.45]
[89.5,423.7,131,25.44,78.8,"2009-02-16T10:27:58",71.7,423.7,13.1,2544,7.68,3.3099999999999997E-2,78.8,83.6,164.2,6720,71.7,null,null,0.47]
[90,432.9,130,19.559999999999999,78.900000000000006,"2009-02-16T10:28:30",72.400000000000006,432.9,13,1956,7.73,2.53E-2,78.900000000000006,83.8,162.80000000000001,5140,72.400000000000006,null,null,0.44]
[90.5,426.2,132,14.01,79.3,"2009-02-16T10:29:02",72.7,426.2,13.2,1401,7.57,1.8499999999999999E-2,79.3,84.2,168.3,3759,72.7,null,null,0.43]
[91,426.9,134,14.56,78.8,"2009-02-16T10:29:34",70.2,426.9,13.4,1456,7.39,1.9699999999999999E-2,78.8,83.6,174.8,4000,70.2,null,null,0.44]
[91.5,427.6,133,12.49,79.099999999999994,"2009-02-16T10:30:06",72.3,427.6,13.3,1249,7.44,1.6799999999999999E-2,79.099999999999994,84,172.8,3408,72.3,null,null,0.42]
[92,429.8,135,10.92,78.7,"2009-02-16T10:30:38",73.099999999999994,429.8,13.5,1092,7.22,1.5100000000000001E-2,78.7,83.6,181,3069,73.099999999999994,null,null,0.42]
[92.5,439.9,136,7.2,78.400000000000006,"2009-02-16T10:31:10",73.8,439.9,13.6,720,7.11,1.01E-2,78.400000000000006,83.2,185.6,2057,73.8,null,null,0.46]
[93,434.1,138,10.24,78,"2009-02-16T10:31:42",70.099999999999994,434.1,13.8,1024,6.98,1.47E-2,78,82.8,190.7,2977,70.099999999999994,null,null,0.44]
[93.5,434.6,139,8.83,77.900000000000006,"2009-02-16T10:32:14",73.3,434.6,13.9,883,6.83,1.29E-2,77.900000000000006,82.7,197.1,2624,73.3,null,null,0.42]
[94,443.3,142,8.9600000000000009,77,"2009-02-16T10:32:46",72.900000000000006,443.3,14.2,896,6.62,1.35E-2,77,81.8,206.7,2748,72.900000000000006,null,null,0.4]
[94.5,428.4,142,9.65,77.400000000000006,"2009-02-16T10:33:18",72,428.4,14.2,965,6.55,1.47E-2,77.400000000000006,82.2,210.1,2993,72,null,null,0.4]
[95,431.1,146,9.69,76.400000000000006,"2009-02-16T10:33:50",71.400000000000006,431.1,14.6,969,6.21,1.5599999999999999E-2,76.400000000000006,81.099999999999994,226.7,3166,71.400000000000006,null,null,0.4]
[95.5,433.1,146,9.8800000000000008,76.2,"2009-02-16T10:34:22",72.2,433.1,14.6,988,6.15,1.61E-2,76.2,80.900000000000006,229.9,3259,72.2,null,null,0.39]
[96,{"$f":"FT","v":428.9},{"$f":"Oxy*10","v":148},{"$f":"CO/100","v":11.3},{"$f":"Effg","v":75.900000000000006},"2009-02-16T10:34:54",71.400000000000006,428.9,14.8,1130,6.03,1.8700000000000001E-2,75.900000000000006,80.599999999999994,236.8,3806,71.400000000000006,null,null,0.39]
[96.5,427.6,148,12.6,75.7,"2009-02-16T10:35:26",71.7,427.6,14.8,1260,5.98,2.1100000000000001E-2,75.7,80.400000000000006,239.6,4279,71.7,null,null,0.4]
[97,426.6,149,10.220000000000001,75.5,"2009-02-16T10:35:58",69.7,426.6,14.9,1022,5.87,1.7399999999999999E-2,75.5,80.2,245.6,3532,69.7,null,null,0.39]
[97.5,432,150,9.91,75,"2009-02-16T10:36:30",70,432,15,991,5.77,1.72E-2,75,79.7,251.8,3486,70,null,null,0.39]
[98,435.6,151,10.86,74.7,"2009-02-16T10:37:02",69,435.6,15.1,1086,5.75,1.89E-2,74.7,79.3,253,3833,69,null,null,0.43]
[98.5,430.6,152,10.74,74.599999999999994,"2009-02-16T10:37:34",71.400000000000006,430.6,15.2,1074,5.61,1.9099999999999999E-2,74.599999999999994,79.2,261.89999999999998,3887,71.400000000000006,null,null,0.44]
[99,427.9,152,12.48,74.400000000000006,"2009-02-16T10:38:06",69.599999999999994,427.9,15.2,1248,5.6,2.23E-2,74.400000000000006,79.099999999999994,262.2,4521,69.599999999999994,null,null,0.42]
[99.5,432.7,153,11.69,73.8,"2009-02-16T10:38:38",69.599999999999994,432.7,15.3,1169,5.47,2.1399999999999999E-2,73.8,78.400000000000006,271,4337,69.599999999999994,null,null,0.43]
[100,427.6,155,12.57,73.599999999999994,"2009-02-16T10:39:10",70.900000000000006,427.6,15.5,1257,5.34,2.35E-2,73.599999999999994,78.2,279.89999999999998,4776,70.900000000000006,null,null,0.43]
[100.5,432.4,155,12.51,73.099999999999994,"2009-02-16T10:39:42",70.900000000000006,432.4,15.5,1251,5.27,2.3699999999999999E-2,73.099999999999994,77.7,285.2,4818,70.900000000000006,null,null,0.43]
[101,432.6,155,13.74,73.2,"2009-02-16T10:40:14",69.599999999999994,432.6,15.5,1374,5.34,2.5700000000000001E-2,73.2,77.7,280.3,5225,69.599999999999994,null,null,0.44]
[101.5,427.9,158,15.02,72.3,"2009-02-16T10:40:46",72.2,427.9,15.8,1502,5.04,2.98E-2,72.3,76.8,302.5,6045,72.2,null,null,0.42]
[102,423.6,159,14.04,72.2,"2009-02-16T10:41:18",71.7,423.6,15.9,1404,4.9400000000000004,2.8400000000000002E-2,72.2,76.7,310.60000000000002,5765,71.7,null,null,0.43]
[102.5,418.1,160,14.28,72.3,"2009-02-16T10:41:50",73.8,418.1,16,1428,4.8499999999999996,2.9399999999999999E-2,72.3,76.7,318.3,5973,73.8,null,null,0.42]
[103,422.7,161,15.51,71.2,"2009-02-16T10:42:22",71,422.7,16.100000000000001,1551,4.7300000000000004,3.2800000000000003E-2,71.2,75.599999999999994,329.4,6660,71,null,null,0.43]
[103.5,427.5,161,14.53,71.3,"2009-02-16T10:42:54",72.099999999999994,427.5,16.100000000000001,1453,4.78,3.04E-2,71.3,75.7,324.8,6172,72.099999999999994,null,null,0.42]
[104,420.2,163,15.98,70.8,"2009-02-16T10:43:26",73,420.2,16.3,1598,4.59,3.4799999999999998E-2,70.8,75.099999999999994,342.1,7065,73,null,null,0.42]
[104.5,423.9,165,18.16,69.3,"2009-02-16T10:43:58",74.400000000000006,423.9,16.5,1816,4.38,4.1500000000000002E-2,69.3,73.599999999999994,363.5,8417,74.400000000000006,null,null,0.43]
[105,419.6,165,18.43,69.400000000000006,"2009-02-16T10:44:30",73.900000000000006,419.6,16.5,1843,4.3600000000000003,4.2299999999999997E-2,69.400000000000006,73.7,365.8,8584,73.900000000000006,null,null,0.42]
[105.5,415.1,166,19.399999999999999,68.900000000000006,"2009-02-16T10:45:02",73.400000000000006,415.1,16.600000000000001,1940,4.25,4.5699999999999998E-2,68.900000000000006,73.2,378,9273,73.400000000000006,null,null,0.42]
[106,408.2,167,20.62,68.8,"2009-02-16T10:45:34",75,408.2,16.7,2062,4.1500000000000004,4.9700000000000001E-2,68.8,73.099999999999994,389.5,10093,75,null,null,0.43]
[106.5,418.8,169,22.3,66.599999999999994,"2009-02-16T10:46:06",73.900000000000006,418.8,16.899999999999999,2230,3.95,5.6500000000000002E-2,66.599999999999994,70.7,414.2,11466,73.900000000000006,null,null,0.43]
[107,415.2,170,25.01,65.8,"2009-02-16T10:46:38",73.8,415.2,17,2501,3.84,6.5100000000000005E-2,65.8,69.8,428.7,13223,73.8,null,null,0.43]
[107.5,396.9,171,24.26,66.599999999999994,"2009-02-16T10:47:10",73.7,396.9,17.100000000000001,2426,3.75,6.4600000000000005E-2,66.599999999999994,70.7,440.9,13123,73.7,null,null,0.43]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]