{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":240,"n_cols":20,"rows_kept":240,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":347.25888888888886},{"$f":"AVERAGE(Oxy)","v":13.166111111111107},{"$f":"AVERAGE(CO)","v":777.85555555555561},{"$f":"AVERAGE(Effg)","v":82.402234636871512}]
[14,{"$f":"FT","v":121.1},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":0.63},{"$f":"Effg","v":0},"2009-02-17T09:46:43",63.4,121.1,21,63,null,null,null,null,null,null,63.4,null,null,0.49]
[14.5,149,181,8.98,83.7,"2009-02-17T09:47:13",62.8,149,18.100000000000001,898,2.84,3.1600000000000003E-2,83.7,88.9,614.79999999999995,6419,62.8,null,null,0.44]
[15,153.9,174,4.91,85.7,"2009-02-17T09:47:43",62.9,153.9,17.399999999999999,491,3.46,1.4200000000000001E-2,85.7,91,487.3,2884,62.9,null,null,0.44]
[15.5,153.19999999999999,179,5.61,84.4,"2009-02-17T09:48:13",63.1,153.19999999999999,17.899999999999999,561,2.99,1.8800000000000001E-2,84.4,89.7,579.5,3812,63.1,null,null,0.44]
[16,153.5,180,5.44,83.9,"2009-02-17T09:48:43",62.2,153.5,18,544,2.86,1.9E-2,83.9,89.1,608.79999999999995,3856,62.2,null,null,0.42]
[16.5,163.1,178,5.0199999999999996,83.8,"2009-02-17T09:49:13",63.1,163.1,17.8,502,3.05,1.6500000000000001E-2,83.8,89,565.9,3343,63.1,null,null,0.41]
[17,166.1,176,5.13,84.1,"2009-02-17T09:49:43",63.3,166.1,17.600000000000001,513,3.25,1.5800000000000002E-2,84.1,89.4,524.5,3204,63.3,null,null,0.41]
[17.5,168.9,178,3.34,83.7,"2009-02-17T09:50:13",63.3,168.9,17.8,334,3.08,1.09E-2,83.7,88.9,559.70000000000005,2203,63.3,null,null,0.4]
[18,172.6,176,3.17,84.1,"2009-02-17T09:50:43",63.7,172.6,17.600000000000001,317,3.29,9.5999999999999992E-3,84.1,89.3,516.20000000000005,1953,63.7,null,null,0.4]
[18.5,184.1,170,3.21,84.6,"2009-02-17T09:51:13",63.9,184.1,17,321,3.86,8.3000000000000001E-3,84.6,89.9,425.8,1688,63.9,null,null,0.39]
[19,188.3,167,3.82,84.8,"2009-02-17T09:51:43",63.8,188.3,16.7,382,4.1100000000000003,9.2999999999999992E-3,84.8,90,393.9,1887,63.8,null,null,0.4]
[19.5,190.2,164,3.7,85.3,"2009-02-17T09:52:13",63.8,190.2,16.399999999999999,370,4.4400000000000004,8.3000000000000001E-3,85.3,90.6,357.1,1691,63.8,null,null,0.39]
[20,202.9,159,4.53,85.3,"2009-02-17T09:52:43",64,202.9,15.9,453,4.95,9.1000000000000004E-3,85.3,90.6,309.7,1856,64,null,null,0.4]
[20.5,214.9,155,5.9,85.1,"2009-02-17T09:53:13",63.7,214.9,15.5,590,5.33,1.11E-2,85.1,90.4,280.60000000000002,2245,63.7,null,null,0.39]
[21,224,138,13.38,86.1,"2009-02-17T09:53:43",63.3,224,13.8,1338,6.98,1.9199999999999998E-2,86.1,91.4,190.8,3890,63.3,null,null,0.38]
[21.5,227.1,131,12.83,86.7,"2009-02-17T09:54:13",63.5,227.1,13.1,1283,7.68,1.67E-2,86.7,92,164.4,3392,63.5,null,null,0.38]
[22,226.6,135,11.71,86.4,"2009-02-17T09:54:43",63.9,226.6,13.5,1171,7.22,1.6199999999999999E-2,86.4,91.7,181.2,3293,63.9,null,null,0.39]
[22.5,235.1,135,10.58,86.1,"2009-02-17T09:55:13",63.5,235.1,13.5,1058,7.26,1.46E-2,86.1,91.5,179.8,2960,63.5,null,null,0.38]
[23,227.1,139,8.68,86.2,"2009-02-17T09:55:43",64.3,227.1,13.9,868,6.85,1.2699999999999999E-2,86.2,91.6,196.5,2574,64.3,null,null,0.38]
[23.5,239.8,143,7.38,85.4,"2009-02-17T09:56:13",64,239.8,14.3,738,6.49,1.14E-2,85.4,90.7,212.6,2307,64,null,null,0.39]
[24,235.7,145,7.72,85.3,"2009-02-17T09:56:43",64.3,235.7,14.5,772,6.31,1.2200000000000001E-2,85.3,90.6,221.7,2483,64.3,null,null,0.38]
[24.5,237.7,148,7.03,84.9,"2009-02-17T09:57:13",64.099999999999994,237.7,14.8,703,6.02,1.17E-2,84.9,90.2,237,2369,64.099999999999994,null,null,0.38]
[25,243.8,147,6.69,84.7,"2009-02-17T09:57:43",64.2,243.8,14.7,669,6.08,1.0999999999999999E-2,84.7,90,234,2235,64.2,null,null,0.38]
[25.5,250.1,143,4.43,85.1,"2009-02-17T09:58:13",63.4,250.1,14.3,443,6.45,6.8999999999999999E-3,85.1,90.3,214.9,1395,63.4,null,null,0.38]
[26,244.7,137,5.0599999999999996,85.9,"2009-02-17T09:58:43",63.8,244.7,13.7,506,7.02,7.1999999999999998E-3,85.9,91.2,189.2,1463,63.8,null,null,0.38]
[26.5,249.4,141,5.85,85.3,"2009-02-17T09:59:13",63.9,249.4,14.1,585,6.68,8.8000000000000005E-3,85.3,90.6,204,1778,63.9,null,null,0.38]
[27,248.8,148,6.91,84.3,"2009-02-17T09:59:43",63.7,248.8,14.8,691,6.01,1.15E-2,84.3,89.6,237.7,2334,63.7,null,null,0.37]
[27.5,243.4,151,8.32,84,"2009-02-17T10:00:13",64.3,243.4,15.1,832,5.67,1.47E-2,84,89.2,257.7,2976,64.3,null,null,0.36]
[28,240.8,156,11.77,83.1,"2009-02-17T10:00:43",64.2,240.8,15.6,1177,5.26,2.24E-2,83.1,88.2,285.8,4541,64.2,null,null,0.36]
[28.5,238.6,160,13.66,82.1,"2009-02-17T10:01:13",64,238.6,16,1366,4.84,2.8199999999999999E-2,82.1,87.2,319.7,5733,64,null,null,0.36]
[29,245.6,160,13.68,81.599999999999994,"2009-02-17T10:01:43",64.099999999999994,245.6,16,1368,4.8099999999999996,2.8400000000000002E-2,81.599999999999994,86.7,321.8,5770,64.099999999999994,null,null,0.36]
[29.5,241.4,160,13.11,82.1,"2009-02-17T10:02:13",64.2,241.4,16,1311,4.8600000000000003,2.7E-2,82.1,87.1,317.7,5476,64.2,null,null,0.36]
[30,246.4,161,13.24,81.5,"2009-02-17T10:02:43",64.7,246.4,16.100000000000001,1324,4.76,2.7799999999999998E-2,81.5,86.6,326.8,5651,64.7,null,null,0.36]
[30.5,247.4,160,13.8,81.5,"2009-02-17T10:03:13",64.8,247.4,16,1380,4.8,2.8799999999999999E-2,81.5,86.6,323.10000000000002,5839,64.8,null,null,0.36]
[31,245.4,160,12.85,81.8,"2009-02-17T10:03:43",64.7,245.4,16,1285,4.82,2.6700000000000002E-2,81.8,86.9,321.60000000000002,5417,64.7,null,null,0.35]
[31.5,253.4,157,13.23,82,"2009-02-17T10:04:13",64.7,253.4,15.7,1323,5.1100000000000003,2.5899999999999999E-2,82,87,297.60000000000002,5260,64.7,null,null,0.36]
[32,{"$f":"FT","v":259},{"$f":"Oxy*10","v":148},{"$f":"CO/100","v":11.45},{"$f":"Effg","v":83.5},"2009-02-17T10:04:43",63.4,259,14.8,1145,6.03,1.9E-2,83.5,88.7,236.5,3853,63.4,null,null,0.35]
[32.5,274,141,8.07,84.1,"2009-02-17T10:05:13",63.7,274,14.1,807,6.71,1.2E-2,84.1,89.3,202.6,2442,63.7,null,null,0.35]
[33,276.5,139,7.58,84.3,"2009-02-17T10:05:43",63.7,276.5,13.9,758,6.88,1.0999999999999999E-2,84.3,89.5,195,2236,63.7,null,null,0.35]
[33.5,272.7,143,8.6,83.8,"2009-02-17T10:06:13",64,272.7,14.3,860,6.46,1.3299999999999999E-2,83.8,89,214,2701,64,null,null,0.35]
[34,272.39999999999998,141,7.61,84.2,"2009-02-17T10:06:43",64.099999999999994,272.39999999999998,14.1,761,6.68,1.14E-2,84.2,89.4,203.8,2312,64.099999999999994,null,null,0.35]
[34.5,281.10000000000002,142,7.59,83.7,"2009-02-17T10:07:13",63.4,281.10000000000002,14.2,759,6.6,1.15E-2,83.7,88.8,207.6,2335,63.4,null,null,0.34]
[35,278.7,140,6.98,84.1,"2009-02-17T10:07:43",63.9,278.7,14,698,6.8,1.03E-2,84.1,89.3,198.7,2085,63.9,null,null,0.34]
[35.5,280.5,140,7.07,84,"2009-02-17T10:08:13",64,280.5,14,707,6.75,1.0500000000000001E-2,84,89.2,200.6,2125,64,null,null,0.33]
[36,283.3,139,8.14,83.9,"2009-02-17T10:08:43",64,283.3,13.9,814,6.84,1.1900000000000001E-2,83.9,89.1,196.9,2417,64,null,null,0.33]
[36.5,286.60000000000002,139,7.53,83.8,"2009-02-17T10:09:13",64.099999999999994,286.60000000000002,13.9,753,6.88,1.09E-2,83.8,89,195.1,2222,64.099999999999994,null,null,0.33]
[37,287.8,139,7.33,83.8,"2009-02-17T10:09:43",63.7,287.8,13.9,733,6.87,1.0699999999999999E-2,83.8,89,195.7,2167,63.7,null,null,0.33]
[37.5,286.7,138,7.83,83.9,"2009-02-17T10:10:13",63.7,286.7,13.8,783,6.97,1.12E-2,83.9,89.1,191.3,2281,63.7,null,null,0.34]
[38,288.8,135,5.98,84.3,"2009-02-17T10:10:43",63.7,288.8,13.5,598,7.21,8.3000000000000001E-3,84.3,89.5,181.7,1685,63.7,null,null,0.32]
[38.5,291.5,138,6.11,83.8,"2009-02-17T10:11:13",64,291.5,13.8,611,6.95,8.8000000000000005E-3,83.8,89,192.2,1785,64,null,null,0.33]
[39,301.60000000000002,139,6.98,83.2,"2009-02-17T10:11:43",64.099999999999994,301.60000000000002,13.9,698,6.85,1.0200000000000001E-2,83.2,88.4,196.6,2070,64.099999999999994,null,null,0.31]
[39.5,296.39999999999998,140,6.84,83.4,"2009-02-17T10:12:13",64.400000000000006,296.39999999999998,14,684,6.79,1.01E-2,83.4,88.5,199,2045,64.400000000000006,null,null,0.32]
[40,297.2,136,5.55,84,"2009-02-17T10:12:43",64.3,297.2,13.6,555,7.2,7.7000000000000002E-3,84,89.2,182,1565,64.3,null,null,0.34]
[40.5,300.2,133,5.7,84.1,"2009-02-17T10:13:13",63.8,300.2,13.3,570,7.4,7.7000000000000002E-3,84.1,89.3,174.3,1563,63.8,null,null,0.33]
[41,303.2,134,5.96,83.9,"2009-02-17T10:13:43",64.8,303.2,13.4,596,7.33,8.0999999999999996E-3,83.9,89.1,176.9,1650,64.8,null,null,0.33]
[41.5,287.60000000000002,131,6,84.9,"2009-02-17T10:14:13",65.5,287.60000000000002,13.1,600,7.64,7.9000000000000008E-3,84.9,90.2,165.6,1594,65.5,null,null,0.33]
[42,283.2,125,6.19,85.6,"2009-02-17T10:14:43",66.2,283.2,12.5,619,8.18,7.6E-3,85.6,90.9,148.19999999999999,1536,66.2,null,null,0.33]
[42.5,280.39999999999998,126,7.15,85.6,"2009-02-17T10:15:13",67.099999999999994,280.39999999999998,12.6,715,8.1,8.8000000000000005E-3,85.6,90.9,150.6,1792,67.099999999999994,null,null,0.32]
[43,282.89999999999998,126,7.44,85.6,"2009-02-17T10:15:43",67.900000000000006,282.89999999999998,12.6,744,8.16,9.1000000000000004E-3,85.6,90.9,148.9,1852,67.900000000000006,null,null,0.32]
[43.5,289.5,127,6.55,85.3,"2009-02-17T10:16:13",68.5,289.5,12.7,655,7.99,8.2000000000000007E-3,85.3,90.5,154.1,1664,68.5,null,null,0.32]
[44,302.8,134,6.3,84,"2009-02-17T10:16:43",66.599999999999994,302.8,13.4,630,7.34,8.6E-3,84,89.2,176.7,1743,66.599999999999994,null,null,0.3]
[44.5,306.39999999999998,132,6.66,84.1,"2009-02-17T10:17:13",67.400000000000006,306.39999999999998,13.2,666,7.55,8.8000000000000005E-3,84.1,89.3,168.9,1791,67.400000000000006,null,null,0.28999999999999998]
[45,316.5,129,6.68,84.1,"2009-02-17T10:17:43",68,316.5,12.9,668,7.87,8.5000000000000006E-3,84.1,89.3,157.9,1723,68,null,null,0.28000000000000003]
[45.5,314,124,6.38,84.7,"2009-02-17T10:18:13",68.5,314,12.4,638,8.27,7.7000000000000002E-3,84.7,89.9,145.4,1566,68.5,null,null,0.25]
[46,315.89999999999998,120,5.62,85,"2009-02-17T10:18:43",68.3,315.89999999999998,12,562,8.69,6.4999999999999997E-3,85,90.3,133.6,1313,68.3,null,null,0.23]
[46.5,327.10000000000002,119,4.01,84.9,"2009-02-17T10:19:13",68.400000000000006,327.10000000000002,11.9,401,8.82,4.4999999999999997E-3,84.9,90.2,130.1,923,68.400000000000006,null,null,0.22]
[47,329.6,108,8.3000000000000007,85.4,"2009-02-17T10:19:43",68.3,329.6,10.8,830,9.84,8.3999999999999995E-3,85.4,90.7,106.2,1712,68.3,null,null,0.21]
[47.5,332.6,108,7.32,85.4,"2009-02-17T10:20:13",68.400000000000006,332.6,10.8,732,9.84,7.4000000000000003E-3,85.4,90.7,106.2,1510,68.400000000000006,null,null,0.2]
[48,337.2,108,8.82,85.2,"2009-02-17T10:20:43",68.8,337.2,10.8,882,9.86,8.8999999999999999E-3,85.2,90.5,105.8,1815,68.8,null,null,0.18]
[48.5,343.1,99,16.34,85.3,"2009-02-17T10:21:13",68.8,343.1,9.9,1634,10.71,1.5299999999999999E-2,85.3,90.6,89.6,3098,68.8,null,null,0.16]
[49,343.4,91,24.08,85.4,"2009-02-17T10:21:43",69.099999999999994,343.4,9.1,2408,11.49,2.1000000000000001E-2,85.4,90.7,76.7,4256,69.099999999999994,null,null,0.15]
[49.5,349.5,87,28.06,85.4,"2009-02-17T10:22:13",69.3,349.5,8.6999999999999993,2806,11.87,2.3599999999999999E-2,85.4,90.7,71,4797,69.3,null,null,0.13]
[50,351.2,84,29.68,85.5,"2009-02-17T10:22:43",69.599999999999994,351.2,8.4,2968,12.18,2.4400000000000002E-2,85.5,90.8,66.7,4948,69.599999999999994,null,null,0.13]
[50.5,348.7,83,28.31,85.6,"2009-02-17T10:23:13",70,348.7,8.3000000000000007,2831,12.27,2.3099999999999999E-2,85.6,90.9,65.5,4684,70,null,null,0.11]
[51,356.2,86,20.77,85.6,"2009-02-17T10:23:43",70.2,356.2,8.6,2077,12.03,1.7299999999999999E-2,85.6,90.9,68.7,3504,70.2,null,null,0.11]
[51.5,351.7,94,14.06,85.5,"2009-02-17T10:24:13",70.3,351.7,9.4,1406,11.2,1.26E-2,85.5,90.8,81.3,2548,70.3,null,null,0.11]
[52,345.6,93,13.53,85.8,"2009-02-17T10:24:43",70.5,345.6,9.3000000000000007,1353,11.32,1.2E-2,85.8,91.1,79.400000000000006,2427,70.5,null,null,0.1]
[52.5,342.2,93,13.91,85.9,"2009-02-17T10:25:13",70.7,342.2,9.3000000000000007,1391,11.32,1.23E-2,85.9,91.2,79.3,2494,70.7,null,null,0.1]
[53,338.8,93,15.84,85.9,"2009-02-17T10:25:43",70.900000000000006,338.8,9.3000000000000007,1584,11.31,1.4E-2,85.9,91.2,79.5,2844,70.900000000000006,null,null,0.1]
[53.5,359.6,136,8.2200000000000006,81.599999999999994,"2009-02-17T10:26:13",71.8,359.6,13.6,822,7.2,1.14E-2,81.599999999999994,86.7,182.1,2318,71.8,null,null,0.57999999999999996]
[54,366.8,101,9.91,84.9,"2009-02-17T10:26:43",72,366.8,10.1,991,10.53,9.4000000000000004E-3,84.9,90.2,92.8,1910,72,null,null,0.56999999999999995]
[54.5,373.7,101,8.86,84.7,"2009-02-17T10:27:13",72.8,373.7,10.1,886,10.49,8.3999999999999995E-3,84.7,90,93.5,1714,72.8,null,null,0.56999999999999995]
[55,384.8,103,7.99,84.4,"2009-02-17T10:27:43",72.2,384.8,10.3,799,10.39,7.7000000000000002E-3,84.4,89.6,95.4,1561,72.2,null,null,0.57999999999999996]
[55.5,391.1,101,6.54,84.4,"2009-02-17T10:28:13",72.5,391.1,10.1,654,10.52,6.1999999999999998E-3,84.4,89.6,93,1262,72.5,null,null,0.59]
[56,392,100,6.32,84.4,"2009-02-17T10:28:43",71.5,392,10,632,10.65,5.8999999999999999E-3,84.4,89.7,90.7,1205,71.5,null,null,0.57999999999999996]
[56.5,392.3,99,5.28,84.5,"2009-02-17T10:29:13",70.599999999999994,392.3,9.9,528,10.76,4.8999999999999998E-3,84.5,89.8,88.7,997,70.599999999999994,null,null,0.56999999999999995]
[57,390.7,104,2.8,84.4,"2009-02-17T10:29:43",72.5,390.7,10.4,280,10.27,2.7000000000000001E-3,84.4,89.6,97.6,553,72.5,null,null,0.6]
[57.5,396.4,109,2.02,83.8,"2009-02-17T10:30:13",73,396.4,10.9,202,9.73,2.0999999999999999E-3,83.8,89,108.7,422,73,null,null,0.55000000000000004]
[58,393.2,115,1.68,83.4,"2009-02-17T10:30:43",71.7,393.2,11.5,168,9.1999999999999993,1.8E-3,83.4,88.5,120.8,371,71.7,null,null,0.5]
[58.5,391.8,117,2,83.2,"2009-02-17T10:31:13",71.2,391.8,11.7,200,9,2.2000000000000001E-3,83.2,88.3,125.6,451,71.2,null,null,0.47]
[59,391.2,119,2.34,83,"2009-02-17T10:31:43",70.8,391.2,11.9,234,8.84,2.5999999999999999E-3,83,88.1,129.69999999999999,538,70.8,null,null,0.45]
[59.5,393.8,122,2.74,82.5,"2009-02-17T10:32:13",70.7,393.8,12.2,274,8.52,3.2000000000000002E-3,82.5,87.6,138.19999999999999,653,70.7,null,null,0.44]
[60,388.7,122,2.68,82.6,"2009-02-17T10:32:43",70.3,388.7,12.2,268,8.52,3.0999999999999999E-3,82.6,87.8,138.30000000000001,639,70.3,null,null,0.44]
[60.5,391.4,122,3.09,82.6,"2009-02-17T10:33:13",70.3,391.4,12.2,309,8.5399999999999991,3.5999999999999999E-3,82.6,87.7,137.69999999999999,734,70.3,null,null,0.44]
[61,390.8,119,3.2,82.9,"2009-02-17T10:33:43",70.3,390.8,11.9,320,8.84,3.5999999999999999E-3,82.9,88.1,129.5,734,70.3,null,null,0.43]
[61.5,394.5,116,3.28,83,"2009-02-17T10:34:13",69.599999999999994,394.5,11.6,328,9.0399999999999991,3.5999999999999999E-3,83,88.1,124.5,736,69.599999999999994,null,null,0.42]
[62,400.3,114,3.09,83,"2009-02-17T10:34:43",68,400.3,11.4,309,9.25,3.3E-3,83,88.1,119.5,678,68,null,null,0.41]
[62.5,400.2,117,2.93,82.8,"2009-02-17T10:35:13",70,400.2,11.7,293,9,3.3E-3,82.8,87.9,125.5,661,70,null,null,0.42]
[63,401.2,118,3.22,82.6,"2009-02-17T10:35:43",69.7,401.2,11.8,322,8.9,3.5999999999999999E-3,82.6,87.7,128.19999999999999,735,69.7,null,null,0.42]
[63.5,392,116,3.76,83,"2009-02-17T10:36:13",69.7,392,11.6,376,9.0500000000000007,4.1999999999999997E-3,83,88.2,124.3,843,69.7,null,null,0.42]
[64,{"$f":"FT","v":403.3},{"$f":"Oxy*10","v":108},{"$f":"CO/100","v":4.47},{"$f":"Effg","v":83.4},"2009-02-17T10:36:43",70.099999999999994,403.3,10.8,447,9.81,4.5999999999999999E-3,83.4,88.6,106.9,925,70.099999999999994,null,null,0.42]
[64.5,401.2,108,4.4400000000000004,83.6,"2009-02-17T10:37:13",71.900000000000006,401.2,10.8,444,9.81,4.4999999999999997E-3,83.6,88.7,106.9,918,71.900000000000006,null,null,0.41]
[65,399.5,110,3.57,83.5,"2009-02-17T10:37:43",71.599999999999994,399.5,11,357,9.66,3.7000000000000002E-3,83.5,88.7,110.1,750,71.599999999999994,null,null,0.41]
[65.5,403.2,109,2.46,83.6,"2009-02-17T10:38:13",72.2,403.2,10.9,246,9.76,2.5000000000000001E-3,83.6,88.7,108,512,72.2,null,null,0.41]
[66,413.2,111,1.72,83.1,"2009-02-17T10:38:43",72.2,413.2,11.1,172,9.58,1.8E-3,83.1,88.3,111.9,364,72.2,null,null,0.41]
[66.5,408.9,114,1.91,83,"2009-02-17T10:39:13",72.5,408.9,11.4,191,9.2899999999999991,2.0999999999999999E-3,83,88.1,118.6,418,72.5,null,null,0.4]
[67,418.2,116,2.0699999999999998,82.4,"2009-02-17T10:39:43",72.599999999999994,418.2,11.6,207,9.09,2.3E-3,82.4,87.6,123.4,462,72.599999999999994,null,null,0.4]
[67.5,411.4,117,1.98,82.6,"2009-02-17T10:40:13",74.400000000000006,411.4,11.7,198,9.01,2.2000000000000001E-3,82.6,87.8,125.3,446,74.400000000000006,null,null,0.41]
[68,412.4,120,1.98,82.2,"2009-02-17T10:40:43",73.7,412.4,12,198,8.65,2.3E-3,82.2,87.3,134.6,465,73.7,null,null,0.41]
[68.5,414.7,120,2.2400000000000002,82.1,"2009-02-17T10:41:13",73,414.7,12,224,8.6999999999999993,2.5999999999999999E-3,82.1,87.2,133.4,523,73,null,null,0.41]
[69,409.6,120,2.12,82.2,"2009-02-17T10:41:43",73.2,409.6,12,212,8.66,2.3999999999999998E-3,82.2,87.3,134.30000000000001,497,73.2,null,null,0.41]
[69.5,410.4,123,2.1,81.8,"2009-02-17T10:42:13",72.5,410.4,12.3,210,8.3699999999999992,2.5000000000000001E-3,81.8,86.9,142.5,509,72.5,null,null,0.41]
[70,415.1,123,2.34,81.7,"2009-02-17T10:42:43",72.900000000000006,415.1,12.3,234,8.39,2.8E-3,81.7,86.8,141.80000000000001,566,72.900000000000006,null,null,0.41]
[70.5,420.1,124,2.4500000000000002,81.400000000000006,"2009-02-17T10:43:13",73,420.1,12.4,245,8.2799999999999994,3.0000000000000001E-3,81.400000000000006,86.4,145.1,600,73,null,null,0.4]
[71,410.4,123,2.39,81.900000000000006,"2009-02-17T10:43:43",74.599999999999994,410.4,12.3,239,8.3800000000000008,2.8999999999999998E-3,81.900000000000006,87,142.19999999999999,579,74.599999999999994,null,null,0.41]
[71.5,416.6,122,2.08,81.900000000000006,"2009-02-17T10:44:13",74,416.6,12.2,208,8.5399999999999991,2.3999999999999998E-3,81.900000000000006,87,137.69999999999999,494,74,null,null,0.4]
[72,414.6,123,2.2000000000000002,81.7,"2009-02-17T10:44:43",73.400000000000006,414.6,12.3,220,8.4,2.5999999999999999E-3,81.7,86.8,141.69999999999999,532,73.400000000000006,null,null,0.41]
[72.5,413.4,124,2.29,81.7,"2009-02-17T10:45:13",72.7,413.4,12.4,229,8.33,2.7000000000000001E-3,81.7,86.7,143.80000000000001,558,72.7,null,null,0.4]
[73,414.5,127,2.73,81.3,"2009-02-17T10:45:43",73.099999999999994,414.5,12.7,273,8.07,3.3999999999999998E-3,81.3,86.3,151.69999999999999,687,73.099999999999994,null,null,0.4]
[73.5,415.5,130,3.24,80.7,"2009-02-17T10:46:13",73.2,415.5,13,324,7.77,4.1999999999999997E-3,80.7,85.7,161.30000000000001,847,73.2,null,null,0.4]
[74,411.4,131,3.8,80.7,"2009-02-17T10:46:43",72.900000000000006,411.4,13.1,380,7.67,5.0000000000000001E-3,80.7,85.7,164.8,1006,72.900000000000006,null,null,0.4]
[74.5,415,132,4.0999999999999996,80.400000000000006,"2009-02-17T10:47:13",72.7,415,13.2,410,7.57,5.4000000000000003E-3,80.400000000000006,85.3,168.3,1100,72.7,null,null,0.4]
[75,408.5,132,4.25,80.599999999999994,"2009-02-17T10:47:43",72.400000000000006,408.5,13.2,425,7.59,5.5999999999999999E-3,80.599999999999994,85.6,167.6,1137,72.400000000000006,null,null,0.39]
[75.5,415.9,133,4.17,80,"2009-02-17T10:48:13",72.400000000000006,415.9,13.3,417,7.41,5.5999999999999999E-3,80,85,174.1,1143,72.400000000000006,null,null,0.4]
[76,413.9,131,3.87,80.5,"2009-02-17T10:48:43",72.8,413.9,13.1,387,7.63,5.1000000000000004E-3,80.5,85.5,166,1029,72.8,null,null,0.39]
[76.5,415.4,128,5.27,80.8,"2009-02-17T10:49:13",73.099999999999994,415.4,12.8,527,7.89,6.7000000000000002E-3,80.8,85.8,157.19999999999999,1355,73.099999999999994,null,null,0.39]
[77,413.6,128,4.7699999999999996,80.900000000000006,"2009-02-17T10:49:43",73,413.6,12.8,477,7.9,6.0000000000000001E-3,80.900000000000006,85.9,156.9,1226,73,null,null,0.39]
[77.5,417.6,129,5.28,80.599999999999994,"2009-02-17T10:50:13",73,417.6,12.9,528,7.83,6.7000000000000002E-3,80.599999999999994,85.6,159.19999999999999,1369,73,null,null,0.4]
[78,429,128,4.1900000000000004,80.400000000000006,"2009-02-17T10:50:43",73.3,429,12.8,419,7.89,5.3E-3,80.400000000000006,85.3,157.30000000000001,1078,73.3,null,null,0.4]
[78.5,414.4,129,4.58,80.8,"2009-02-17T10:51:13",74.400000000000006,414.4,12.9,458,7.83,5.7999999999999996E-3,80.8,85.9,159.19999999999999,1187,74.400000000000006,null,null,0.39]
[79,416.2,132,5.19,80.2,"2009-02-17T10:51:43",73.8,416.2,13.2,519,7.54,6.8999999999999999E-3,80.2,85.2,169.2,1397,73.8,null,null,0.39]
[79.5,420.3,131,5.98,80.2,"2009-02-17T10:52:13",73,420.3,13.1,598,7.67,7.7999999999999996E-3,80.2,85.2,164.7,1583,73,null,null,0.39]
[80,422.1,131,5.6,80.2,"2009-02-17T10:52:43",74.2,422.1,13.1,560,7.66,7.3000000000000001E-3,80.2,85.2,165.2,1485,74.2,null,null,0.38]
[80.5,423.8,129,8.2799999999999994,80.3,"2009-02-17T10:53:13",75.900000000000006,423.8,12.9,828,7.82,1.06E-2,80.3,85.3,159.5,2149,75.900000000000006,null,null,0.38]
[81,423.6,131,8.82,80,"2009-02-17T10:53:43",75.8,423.6,13.1,882,7.66,1.15E-2,80,84.9,165,2337,75.8,null,null,0.38]
[81.5,425,133,7.4,79.599999999999994,"2009-02-17T10:54:13",75.2,425,13.3,740,7.44,9.9000000000000008E-3,79.599999999999994,84.6,172.8,2019,75.2,null,null,0.38]
[82,418.1,136,6.79,79.400000000000006,"2009-02-17T10:54:43",74.8,418.1,13.6,679,7.17,9.4999999999999998E-3,79.400000000000006,84.4,183.2,1923,74.8,null,null,0.37]
[82.5,425.2,137,6.79,78.7,"2009-02-17T10:55:13",71.5,425.2,13.7,679,7.02,9.7000000000000003E-3,78.7,83.6,189.3,1964,71.5,null,null,0.4]
[83,420.1,140,6.81,78.400000000000006,"2009-02-17T10:55:43",71.8,420.1,14,681,6.77,1.01E-2,78.400000000000006,83.3,200.1,2043,71.8,null,null,0.4]
[83.5,412.2,141,6.68,78.599999999999994,"2009-02-17T10:56:13",73.5,412.2,14.1,668,6.63,1.01E-2,78.599999999999994,83.4,206.3,2046,73.5,null,null,0.41]
[84,416.5,143,7.05,78.099999999999994,"2009-02-17T10:56:43",74.099999999999994,416.5,14.3,705,6.49,1.09E-2,78.099999999999994,82.9,212.6,2204,74.099999999999994,null,null,0.42]
[84.5,421.1,141,7.47,78.3,"2009-02-17T10:57:13",75.599999999999994,421.1,14.1,747,6.65,1.12E-2,78.3,83.1,205.2,2280,75.599999999999994,null,null,0.41]
[85,420.4,139,6.59,78.8,"2009-02-17T10:57:43",76,420.4,13.9,659,6.86,9.5999999999999992E-3,78.8,83.7,195.7,1949,76,null,null,0.42]
[85.5,427.2,134,5.89,79.5,"2009-02-17T10:58:13",77.599999999999994,427.2,13.4,589,7.31,8.0999999999999996E-3,79.5,84.5,177.5,1635,77.599999999999994,null,null,0.44]
[86,427.9,134,5.81,79.599999999999994,"2009-02-17T10:58:43",77.400000000000006,427.9,13.4,581,7.35,7.9000000000000008E-3,79.599999999999994,84.5,176.3,1606,77.400000000000006,null,null,0.43]
[86.5,425.6,133,5.68,79.8,"2009-02-17T10:59:13",77.7,425.6,13.3,568,7.43,7.6E-3,79.8,84.8,173.4,1553,77.7,null,null,0.44]
[87,431.6,130,3.58,80.3,"2009-02-17T10:59:43",78.3,431.6,13,358,7.76,4.5999999999999999E-3,80.3,85.3,161.6,936,78.3,null,null,0.41]
[87.5,424.9,130,3.67,80.3,"2009-02-17T11:00:13",73.900000000000006,424.9,13,367,7.69,4.7999999999999996E-3,80.3,85.2,164,969,73.900000000000006,null,null,0.41]
[88,429.9,131,3.83,80.099999999999994,"2009-02-17T11:00:43",77.3,429.9,13.1,383,7.6,5.0000000000000001E-3,80.099999999999994,85,167.1,1023,77.3,null,null,0.41]
[88.5,424.8,134,4.5,79.8,"2009-02-17T11:01:13",76.8,424.8,13.4,450,7.36,6.1000000000000004E-3,79.8,84.7,175.7,1241,76.8,null,null,0.41]
[89,435.3,136,4.59,79.099999999999994,"2009-02-17T11:01:43",77.2,435.3,13.6,459,7.19,6.4000000000000003E-3,79.099999999999994,84,182.5,1297,77.2,null,null,0.41]
[89.5,437.2,130,3.55,80,"2009-02-17T11:02:13",76.7,437.2,13,355,7.71,4.5999999999999999E-3,80,84.9,163.30000000000001,935,76.7,null,null,0.42]
[90,430.7,133,3.12,79.900000000000006,"2009-02-17T11:02:43",76.8,430.7,13.3,312,7.49,4.1999999999999997E-3,79.900000000000006,84.8,171,846,76.8,null,null,0.41]
[90.5,436.4,129,3.51,80.2,"2009-02-17T11:03:13",77,436.4,12.9,351,7.83,4.4999999999999997E-3,80.2,85.2,159.1,910,77,null,null,0.42]
[91,435.6,132,3.32,79.900000000000006,"2009-02-17T11:03:43",78,435.6,13.2,332,7.58,4.4000000000000003E-3,79.900000000000006,84.8,167.8,889,78,null,null,0.41]
[91.5,433.9,134,3.36,79.599999999999994,"2009-02-17T11:04:13",77.7,433.9,13.4,336,7.39,4.4999999999999997E-3,79.599999999999994,84.5,174.8,923,77.7,null,null,0.4]
[92,430.1,137,4.3899999999999997,79.099999999999994,"2009-02-17T11:04:43",78.5,430.1,13.7,439,7.07,6.1999999999999998E-3,79.099999999999994,84,187,1260,78.5,null,null,0.39]
[92.5,439.1,138,5.61,78.400000000000006,"2009-02-17T11:05:13",78.2,439.1,13.8,561,6.95,8.0999999999999996E-3,78.400000000000006,83.3,192.1,1638,78.2,null,null,0.38]
[93,436.1,140,6.82,78.2,"2009-02-17T11:05:43",78.5,436.1,14,682,6.81,0.01,78.2,83,198,2032,78.5,null,null,0.37]
[93.5,432.7,137,6.25,78.8,"2009-02-17T11:06:13",78.2,432.7,13.7,625,7.05,8.8999999999999999E-3,78.8,83.7,188.1,1801,78.2,null,null,0.36]
[94,446.7,135,4.9000000000000004,78.400000000000006,"2009-02-17T11:06:43",69.8,446.7,13.5,490,7.25,6.7999999999999996E-3,78.400000000000006,83.2,179.8,1371,69.8,null,null,0.37]
[94.5,396.9,166,3.88,71.599999999999994,"2009-02-17T11:07:13",65.2,396.9,16.600000000000001,388,4.28,9.1000000000000004E-3,71.599999999999994,76,374.1,1839,65.2,null,null,0.38]
[95,397.1,112,26.77,82,"2009-02-17T11:07:43",67.8,397.1,11.2,2677,9.44,2.8400000000000002E-2,82,87.1,115,5755,67.8,null,null,0.38]
[95.5,402.3,109,34.07,81.8,"2009-02-17T11:08:13",69,402.3,10.9,3407,9.75,3.5000000000000003E-2,81.8,86.9,108.3,7095,69,null,null,0.4]
[96,{"$f":"FT","v":401.5},{"$f":"Oxy*10","v":109},{"$f":"CO/100","v":31.35},{"$f":"Effg","v":82.1},"2009-02-17T11:08:43",72.5,401.5,10.9,3135,9.76,3.2099999999999997E-2,82.1,87.2,108,6521,72.5,null,null,0.39]
[96.5,401.3,112,23.57,82.2,"2009-02-17T11:09:13",74.2,401.3,11.2,2357,9.4499999999999993,2.4899999999999999E-2,82.2,87.3,114.9,5064,74.2,null,null,0.37]
[97,418.5,118,14.86,81.599999999999994,"2009-02-17T11:09:43",76.099999999999994,418.5,11.8,1486,8.93,1.66E-2,81.599999999999994,86.7,127.2,3376,76.099999999999994,null,null,0.37]
[97.5,412.8,118,13.1,81.900000000000006,"2009-02-17T11:10:13",75.7,412.8,11.8,1310,8.93,1.47E-2,81.900000000000006,87,127.3,2978,75.7,null,null,0.38]
[98,419.7,121,6.14,81.7,"2009-02-17T11:10:43",76.5,419.7,12.1,614,8.61,7.1000000000000004E-3,81.7,86.8,135.80000000000001,1448,76.5,null,null,0.4]
[98.5,422.9,123,6.89,81.3,"2009-02-17T11:11:13",74.2,422.9,12.3,689,8.4600000000000009,8.0999999999999996E-3,81.3,86.3,140,1654,74.2,null,null,0.41]
[99,417.4,125,7.15,81.099999999999994,"2009-02-17T11:11:43",72.5,417.4,12.5,715,8.23,8.6999999999999994E-3,81.099999999999994,86.1,146.5,1763,72.5,null,null,0.42]
[99.5,416.5,127,6.65,80.900000000000006,"2009-02-17T11:12:13",72.900000000000006,416.5,12.7,665,8.0500000000000007,8.3000000000000001E-3,80.900000000000006,85.9,152.19999999999999,1677,72.900000000000006,null,null,0.42]
[100,423.7,132,9.24,79.8,"2009-02-17T11:12:43",76,423.7,13.2,924,7.56,1.2200000000000001E-2,79.8,84.7,168.5,2481,76,null,null,0.41]
[100.5,414.9,135,10.76,79.599999999999994,"2009-02-17T11:13:13",77.599999999999994,414.9,13.5,1076,7.28,1.4800000000000001E-2,79.599999999999994,84.5,178.8,3000,77.599999999999994,null,null,0.4]
[101,421.1,142,11.92,77.900000000000006,"2009-02-17T11:13:43",78,421.1,14.2,1192,6.59,1.8100000000000002E-2,77.900000000000006,82.7,208.1,3673,78,null,null,0.4]
[101.5,415.1,147,16.71,76.5,"2009-02-17T11:14:13",78.099999999999994,415.1,14.7,1671,6.06,2.76E-2,76.5,81.2,235,5598,78.099999999999994,null,null,0.32]
[102,414.1,151,20.11,75.099999999999994,"2009-02-17T11:14:43",73.7,414.1,15.1,2011,5.73,3.5099999999999999E-2,75.099999999999994,79.7,254.1,7121,73.7,null,null,0.31]
[102.5,410.9,153,22.42,74.400000000000006,"2009-02-17T11:15:13",73.3,410.9,15.3,2242,5.54,4.0500000000000001E-2,74.400000000000006,79,266.5,8216,73.3,null,null,0.3]
[103,415.4,158,26.17,72,"2009-02-17T11:15:43",73,415.4,15.8,2617,5.04,5.1900000000000002E-2,72,76.400000000000006,302.89999999999998,10544,73,null,null,0.32]
[103.5,408.4,160,27.34,71.400000000000006,"2009-02-17T11:16:13",74.599999999999994,408.4,16,2734,4.8099999999999996,5.6800000000000003E-2,71.400000000000006,75.8,321.8,11532,74.599999999999994,null,null,0.35]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]