{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":263,"n_cols":20,"rows_kept":263,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":350.13846153846151},{"$f":"AVERAGE(Oxy)","v":12.829120879120879},{"$f":"AVERAGE(CO)","v":2618.9230769230771},{"$f":"AVERAGE(Effg)","v":81.267777777777766}]
[0,{"$f":"FT","v":102.2},{"$f":"Oxy*10","v":210},{"$f":"CO/100","v":0},{"$f":"Effg","v":0},"2009-02-18T11:54:37",71.8,102.2,21,0,null,null,null,null,null,null,71.8,null,null,1]
[10.5,119.2,206,1.01,0,"2009-02-18T12:05:07",71.900000000000006,119.2,20.6,101,null,null,null,null,null,null,71.900000000000006,null,null,0.54]
[11,129.1,193,6.5,82.5,"2009-02-18T12:05:37",72.2,129.1,19.3,650,1.68,3.8800000000000001E-2,82.5,87.6,1110.4000000000001,7868,72.2,null,null,0.51]
[11.5,134.1,186,11.11,83.9,"2009-02-18T12:06:07",72.099999999999994,134.1,18.600000000000001,1111,2.2999999999999998,4.8300000000000003E-2,83.9,89.1,782.4,9803,72.099999999999994,null,null,0.44]
[12,133.30000000000001,185,22.59,82.3,"2009-02-18T12:06:37",72.099999999999994,133.30000000000001,18.5,2259,2.42,9.3299999999999994E-2,82.3,87.4,738.2,18935,72.099999999999994,null,null,0.31]
[12.5,132.80000000000001,186,26.96,80.900000000000006,"2009-02-18T12:07:07",72.3,132.80000000000001,18.600000000000001,2696,2.2799999999999998,0.1182,80.900000000000006,85.9,789.6,23985,72.3,null,null,0.26]
[13,144.69999999999999,185,27.96,79.8,"2009-02-18T12:07:37",72.400000000000006,144.69999999999999,18.5,2796,2.37,0.11799999999999999,79.8,84.7,756.9,23959,72.400000000000006,null,null,0.19]
[13.5,156.80000000000001,180,21.18,82.2,"2009-02-18T12:08:07",72.5,156.80000000000001,18,2118,2.92,7.2599999999999998E-2,82.2,87.3,595.4,14728,72.5,null,null,0.26]
[14,156.9,173,11.63,85.4,"2009-02-18T12:08:37",72.5,156.9,17.3,1163,3.53,3.2899999999999999E-2,85.4,90.7,474.8,6685,72.5,null,null,0.28999999999999998]
[14.5,154.69999999999999,175,11.18,85.3,"2009-02-18T12:09:07",72.599999999999994,154.69999999999999,17.5,1118,3.37,3.32E-2,85.3,90.6,502.7,6738,72.599999999999994,null,null,0.27]
[15,161.19999999999999,176,12.26,84.3,"2009-02-18T12:09:37",72.7,161.19999999999999,17.600000000000001,1226,3.25,3.78E-2,84.3,89.5,525.4,7668,72.7,null,null,0.24]
[15.5,162.1,174,13.09,84.8,"2009-02-18T12:10:07",72.7,162.1,17.399999999999999,1309,3.5,3.7400000000000003E-2,84.8,90,480.2,7595,72.7,null,null,0.14000000000000001]
[16,169.7,171,13.06,84.9,"2009-02-18T12:10:37",72.900000000000006,169.7,17.100000000000001,1306,3.78,3.4500000000000003E-2,84.9,90.1,436.3,7004,72.900000000000006,null,null,0.06]
[16.5,173.1,168,12.82,85.2,"2009-02-18T12:11:07",73.2,173.1,16.8,1282,4.05,3.1699999999999999E-2,85.2,90.5,401.8,6433,73.2,null,null,0.05]
[17,174.9,167,9.6999999999999993,85.7,"2009-02-18T12:11:37",73.2,174.9,16.7,970,4.16,2.3300000000000001E-2,85.7,91,388.5,4738,73.2,null,null,0.08]
[17.5,183.1,169,7.49,85.1,"2009-02-18T12:12:07",73.3,183.1,16.899999999999999,749,4,1.8700000000000001E-2,85.1,90.4,407.8,3804,73.3,null,null,0.12]
[18,184.9,167,6.88,85.4,"2009-02-18T12:12:37",73.3,184.9,16.7,688,4.1500000000000004,1.66E-2,85.4,90.7,388.8,3363,73.3,null,null,0.16]
[18.5,186.1,166,6.48,85.5,"2009-02-18T12:13:07",73.400000000000006,186.1,16.600000000000001,648,4.24,1.5299999999999999E-2,85.5,90.8,378.3,3099,73.400000000000006,null,null,0.17]
[19,208,162,6.91,84.8,"2009-02-18T12:13:37",73.3,208,16.2,691,4.6100000000000003,1.4999999999999999E-2,84.8,90,340.6,3045,73.3,null,null,0.17]
[19.5,219.2,159,15.4,83.9,"2009-02-18T12:14:07",73.599999999999994,219.2,15.9,1540,4.95,3.1099999999999999E-2,83.9,89.1,310.2,6316,73.599999999999994,null,null,0.57999999999999996]
[20,226.8,117,21.51,87.5,"2009-02-18T12:14:37",73.7,226.8,11.7,2151,8.9499999999999993,2.4E-2,87.5,92.9,126.9,4881,73.7,null,null,0.56000000000000005]
[20.5,234,122,15.85,87.3,"2009-02-18T12:15:07",73.7,234,12.2,1585,8.5399999999999991,1.8499999999999999E-2,87.3,92.7,137.6,3766,73.7,null,null,0.55000000000000004]
[21,231,124,11.63,87.5,"2009-02-18T12:15:37",73.7,231,12.4,1163,8.35,1.3899999999999999E-2,87.5,92.9,143.1,2828,73.7,null,null,0.56000000000000005]
[21.5,241.1,129,9.68,86.9,"2009-02-18T12:16:07",74,241.1,12.9,968,7.8,1.24E-2,86.9,92.3,160.19999999999999,2519,74,null,null,0.56000000000000005]
[22,244,128,8.67,87,"2009-02-18T12:16:37",74,244,12.8,867,7.96,1.09E-2,87,92.4,155.1,2212,74,null,null,0.56000000000000005]
[22.5,254.6,124,8.61,86.9,"2009-02-18T12:17:07",74.099999999999994,254.6,12.4,861,8.35,1.03E-2,86.9,92.3,143.1,2093,74.099999999999994,null,null,0.56000000000000005]
[23,256.7,118,8.98,87.2,"2009-02-18T12:17:37",74.2,256.7,11.8,898,8.8800000000000008,1.01E-2,87.2,92.6,128.6,2053,74.2,null,null,0.56000000000000005]
[23.5,257.8,115,26.49,86.4,"2009-02-18T12:18:07",74.7,257.8,11.5,2649,9.15,2.8899999999999999E-2,86.4,91.7,121.8,5875,74.7,null,null,0.56000000000000005]
[24,262.3,108,22.79,86.9,"2009-02-18T12:18:37",75,262.3,10.8,2279,9.89,2.3099999999999999E-2,86.9,92.3,105.3,4680,75,null,null,0.56000000000000005]
[24.5,271.10000000000002,98,33.299999999999997,86.7,"2009-02-18T12:19:07",75,271.10000000000002,9.8000000000000007,3330,10.83,3.0800000000000001E-2,86.7,92.1,87.5,6243,75,null,null,0.55000000000000004]
[25,278.3,88,51.8,86.3,"2009-02-18T12:19:37",75.400000000000006,278.3,8.8000000000000007,5180,11.83,4.3799999999999999E-2,86.3,91.7,71.5,8886,75.400000000000006,null,null,0.56000000000000005]
[25.5,283.3,84,60,86.1,"2009-02-18T12:20:07",75.7,283.3,8.4,6000,12.21,4.9099999999999998E-2,86.1,91.4,66.3,9977,75.7,null,null,0.56999999999999995]
[26,290.3,83,60,86,"2009-02-18T12:20:37",76,290.3,8.3000000000000007,6000,12.23,4.9099999999999998E-2,86,91.3,66,9958,76,null,null,0.56999999999999995]
[26.5,291.3,80,75,85.6,"2009-02-18T12:21:07",76.400000000000006,291.3,8,7500,12.6,5.9499999999999997E-2,85.6,90.9,61.1,12084,76.400000000000006,null,null,0.56999999999999995]
[27,283.10000000000002,81,85,85.3,"2009-02-18T12:21:37",76.599999999999994,283.10000000000002,8.1,8500,12.43,6.8400000000000002E-2,85.3,90.6,63.3,13876,76.599999999999994,null,null,0.56999999999999995]
[27.5,283.2,81,90,85.1,"2009-02-18T12:22:07",76.2,283.2,8.1,9000,12.42,7.2400000000000006E-2,85.1,90.4,63.4,14705,76.2,null,null,0.56999999999999995]
[28,282.3,79,95,85.1,"2009-02-18T12:22:37",76.2,282.3,7.9,9500,12.63,7.5200000000000003E-2,85.1,90.3,60.8,15273,76.2,null,null,0.56999999999999995]
[28.5,285,83,85,85.2,"2009-02-18T12:23:07",76.099999999999994,285,8.3000000000000007,8500,12.27,6.93E-2,85.2,90.4,65.400000000000006,14059,76.099999999999994,null,null,0.56999999999999995]
[29,295.39999999999998,83,85,84.9,"2009-02-18T12:23:37",75.8,295.39999999999998,8.3000000000000007,8500,12.31,6.9000000000000006E-2,84.9,90.2,64.900000000000006,14016,75.8,null,null,0.56000000000000005]
[29.5,301.60000000000002,82,85,84.8,"2009-02-18T12:24:07",76.099999999999994,301.60000000000002,8.1999999999999993,8500,12.33,6.8900000000000003E-2,84.8,90,64.599999999999994,13994,76.099999999999994,null,null,0.56000000000000005]
[30,298.3,77,95,84.8,"2009-02-18T12:24:37",76.2,298.3,7.7,9500,12.84,7.3999999999999996E-2,84.8,90.1,58.1,15024,76.2,null,null,0.55000000000000004]
[30.5,305,76,110,84.2,"2009-02-18T12:25:07",77.2,305,7.6,11000,12.95,8.4900000000000003E-2,84.2,89.4,56.7,17242,77.2,null,null,0.54]
[31,314.3,74,140,83.1,"2009-02-18T12:25:37",76.8,314.3,7.4,14000,13.15,0.1065,83.1,88.3,54.4,21612,76.8,null,null,0.54]
[31.5,317.2,76,130,83.2,"2009-02-18T12:26:07",77.099999999999994,317.2,7.6,13000,12.92,0.10059999999999999,83.2,88.4,57.1,20427,77.099999999999994,null,null,0.54]
[32,{"$f":"FT","v":316.10000000000002},{"$f":"Oxy*10","v":76},{"$f":"CO/100","v":125},{"$f":"Effg","v":83.4},"2009-02-18T12:26:37",76.900000000000006,316.10000000000002,7.6,12500,12.91,9.6799999999999997E-2,83.4,88.6,57.2,19649,76.900000000000006,null,null,0.54]
[32.5,328.9,74,125,83.2,"2009-02-18T12:27:07",76.8,328.9,7.4,12500,13.1,9.5399999999999999E-2,83.2,88.4,54.9,19368,76.8,null,null,0.55000000000000004]
[33,330.8,71,115,83.7,"2009-02-18T12:27:37",76.900000000000006,330.8,7.1,11500,13.4,8.5800000000000001E-2,83.7,88.9,51.5,17424,76.900000000000006,null,null,0.54]
[33.5,330.8,74,110,83.8,"2009-02-18T12:28:07",77.2,330.8,7.4,11000,13.17,8.3500000000000005E-2,83.8,88.9,54.2,16958,77.2,null,null,0.55000000000000004]
[34,337,74,120,83.3,"2009-02-18T12:28:37",77.3,337,7.4,12000,13.17,9.11E-2,83.3,88.4,54.1,18494,77.3,null,null,0.54]
[34.5,340.4,75,115,83.3,"2009-02-18T12:29:07",77.5,340.4,7.5,11500,13.09,8.7800000000000003E-2,83.3,88.5,55.1,17833,77.5,null,null,0.55000000000000004]
[35,339.4,76,105,83.6,"2009-02-18T12:29:37",77.7,339.4,7.6,10500,12.96,8.1000000000000003E-2,83.6,88.8,56.6,16444,77.7,null,null,0.53]
[35.5,337.8,73,105,83.8,"2009-02-18T12:30:07",77.8,337.8,7.3,10500,13.2,7.9500000000000001E-2,83.8,89,53.8,16148,77.8,null,null,0.53]
[36,336.9,74,105,83.8,"2009-02-18T12:30:37",78,336.9,7.4,10500,13.1,8.0100000000000005E-2,83.8,89,54.9,16265,78,null,null,0.53]
[36.5,339.4,75,95,84,"2009-02-18T12:31:07",78.099999999999994,339.4,7.5,9500,13.02,7.2900000000000006E-2,84,89.2,55.9,14807,78.099999999999994,null,null,0.5]
[37,345.8,77,95,83.8,"2009-02-18T12:31:37",78.3,345.8,7.7,9500,12.89,7.3700000000000002E-2,83.8,89,57.5,14965,78.3,null,null,0.5]
[37.5,352.9,74,105,83.4,"2009-02-18T12:32:07",78.5,352.9,7.4,10500,13.13,0.08,83.4,88.6,54.7,16239,78.5,null,null,0.51]
[38,350.7,79,85,83.9,"2009-02-18T12:32:37",78.8,350.7,7.9,8500,12.71,6.6900000000000001E-2,83.9,89.1,59.8,13580,78.8,null,null,0.52]
[38.5,353.7,82,75,84,"2009-02-18T12:33:07",79.3,353.7,8.1999999999999993,7500,12.4,6.0499999999999998E-2,84,89.2,63.7,12277,79.3,null,null,0.52]
[39,352.1,83,65,84.3,"2009-02-18T12:33:37",78.599999999999994,352.1,8.3000000000000007,6500,12.28,5.2900000000000003E-2,84.3,89.6,65.3,10745,78.599999999999994,null,null,0.51]
[39.5,354.6,87,60,84.2,"2009-02-18T12:34:07",77.8,354.6,8.6999999999999993,6000,11.92,5.0299999999999997E-2,84.2,89.4,70.3,10219,77.8,null,null,0.51]
[40,359.2,87,55,84.2,"2009-02-18T12:34:37",76.7,359.2,8.6999999999999993,5500,11.91,4.6199999999999998E-2,84.2,89.5,70.5,9377,76.7,null,null,0.5]
[40.5,358,89,50,84.4,"2009-02-18T12:35:07",77.400000000000006,358,8.9,5000,11.74,4.2599999999999999E-2,84.4,89.6,73,8649,77.400000000000006,null,null,0.5]
[41,374.9,83,55,84.1,"2009-02-18T12:35:37",75.7,374.9,8.3000000000000007,5500,12.26,4.48E-2,84.1,89.3,65.5,9104,75.7,null,null,0.45]
[41.5,371.5,87,50,83.7,"2009-02-18T12:36:07",64.2,371.5,8.6999999999999993,5000,11.86,4.2200000000000001E-2,83.7,88.9,71.2,8558,64.2,null,null,0.45]
[42,379.4,89,50,83.4,"2009-02-18T12:36:37",62.8,379.4,8.9,5000,11.72,4.2700000000000002E-2,83.4,88.5,73.3,8663,62.8,null,null,0.45]
[42.5,375.2,91,30,84.2,"2009-02-18T12:37:07",61.9,375.2,9.1,3000,11.49,2.6100000000000002E-2,84.2,89.4,76.599999999999994,5299,61.9,null,null,0.43]
[43,380.1,94,23.93,84.2,"2009-02-18T12:37:37",64.400000000000006,380.1,9.4,2393,11.25,2.1299999999999999E-2,84.2,89.4,80.5,4320,64.400000000000006,null,null,0.46]
[43.5,388.5,99,18.989999999999998,83.7,"2009-02-18T12:38:07",63.9,388.5,9.9,1899,10.72,1.77E-2,83.7,88.9,89.3,3595,63.9,null,null,0.41]
[44,371.8,101,14.33,84.2,"2009-02-18T12:38:37",60.6,371.8,10.1,1433,10.5,1.3599999999999999E-2,84.2,89.4,93.2,2769,60.6,null,null,0.39]
[44.5,379.8,104,10.81,84.1,"2009-02-18T12:39:07",65.7,379.8,10.4,1081,10.28,1.0500000000000001E-2,84.1,89.3,97.5,2134,65.7,null,null,0.39]
[45,381.5,107,10.01,83.8,"2009-02-18T12:39:37",65.5,381.5,10.7,1001,9.9700000000000006,0.01,83.8,89,103.6,2038,65.5,null,null,0.39]
[45.5,379.3,106,12.11,83.9,"2009-02-18T12:40:07",68.8,379.3,10.6,1211,10.01,1.21E-2,83.9,89.1,102.8,2456,68.8,null,null,0.4]
[46,373,107,11.22,84.2,"2009-02-18T12:40:37",73.3,373,10.7,1122,9.9700000000000006,1.1299999999999999E-2,84.2,89.5,103.6,2284,73.3,null,null,0.4]
[46.5,378,110,9.6300000000000008,83.9,"2009-02-18T12:41:07",74.8,378,11,963,9.64,0.01,83.9,89.1,110.7,2029,74.8,null,null,0.39]
[47,369.8,112,7.43,84.2,"2009-02-18T12:41:37",77.099999999999994,369.8,11.2,743,9.4600000000000009,7.9000000000000008E-3,84.2,89.4,114.5,1594,77.099999999999994,null,null,0.39]
[47.5,371,114,6.49,84.2,"2009-02-18T12:42:07",79,371,11.4,649,9.32,7.0000000000000001E-3,84.2,89.4,117.8,1413,79,null,null,0.39]
[48,370.6,110,7.26,84.5,"2009-02-18T12:42:37",80.2,370.6,11,726,9.66,7.4999999999999997E-3,84.5,89.7,110.2,1526,80.2,null,null,0.39]
[48.5,372.2,109,7.27,84.6,"2009-02-18T12:43:07",81.5,372.2,10.9,727,9.7899999999999991,7.4000000000000003E-3,84.6,89.8,107.3,1507,81.5,null,null,0.38]
[49,372.5,110,7.01,84.5,"2009-02-18T12:43:37",82.2,372.5,11,701,9.66,7.3000000000000001E-3,84.5,89.7,110.1,1473,82.2,null,null,0.37]
[49.5,371.7,112,5.38,84.4,"2009-02-18T12:44:07",82.9,371.7,11.2,538,9.4499999999999993,5.7000000000000002E-3,84.4,89.7,114.9,1156,82.9,null,null,0.37]
[50,378.8,117,4.32,83.8,"2009-02-18T12:44:37",81.599999999999994,378.8,11.7,432,9.0299999999999994,4.7999999999999996E-3,83.8,89,124.8,971,81.599999999999994,null,null,0.37]
[50.5,375.4,124,4.88,82.9,"2009-02-18T12:45:07",72.7,375.4,12.4,488,8.36,5.7999999999999996E-3,82.9,88,142.9,1185,72.7,null,null,0.37]
[51,387.8,124,4.7300000000000004,82.5,"2009-02-18T12:45:37",76.099999999999994,387.8,12.4,473,8.31,5.7000000000000002E-3,82.5,87.6,144.4,1156,76.099999999999994,null,null,0.37]
[51.5,379.7,126,5.07,82.6,"2009-02-18T12:46:07",76.900000000000006,379.7,12.6,507,8.14,6.1999999999999998E-3,82.6,87.7,149.5,1265,76.900000000000006,null,null,0.37]
[52,375.9,125,5.18,82.8,"2009-02-18T12:46:37",77.7,375.9,12.5,518,8.1999999999999993,6.3E-3,82.8,88,147.5,1282,77.7,null,null,0.38]
[52.5,383.7,127,4.95,82.5,"2009-02-18T12:47:07",79.599999999999994,383.7,12.7,495,8.06,6.1000000000000004E-3,82.5,87.6,151.80000000000001,1246,79.599999999999994,null,null,0.38]
[53,382.7,127,5.13,82.4,"2009-02-18T12:47:37",79.8,382.7,12.7,513,8,6.4000000000000003E-3,82.4,87.5,153.6,1301,79.8,null,null,0.38]
[53.5,386,128,5.13,82.1,"2009-02-18T12:48:07",77.900000000000006,386,12.8,513,7.91,6.4999999999999997E-3,82.1,87.2,156.5,1316,77.900000000000006,null,null,0.38]
[54,382.9,129,5.62,82,"2009-02-18T12:48:37",76.599999999999994,382.9,12.9,562,7.8,7.1999999999999998E-3,82,87.1,160.4,1463,76.599999999999994,null,null,0.38]
[54.5,386.1,133,6.38,81.3,"2009-02-18T12:49:07",76.599999999999994,386.1,13.3,638,7.48,8.5000000000000006E-3,81.3,86.4,171.2,1730,76.599999999999994,null,null,0.39]
[55,386.5,134,6.5,80.8,"2009-02-18T12:49:37",70.7,386.5,13.4,650,7.32,8.8999999999999999E-3,80.8,85.8,177.3,1802,70.7,null,null,0.4]
[55.5,393.9,135,7.34,80,"2009-02-18T12:50:07",63.6,393.9,13.5,734,7.2,1.0200000000000001E-2,80,84.9,181.8,2068,63.6,null,null,0.4]
[56,390.8,137,7.85,79.900000000000006,"2009-02-18T12:50:37",67.099999999999994,390.8,13.7,785,7.06,1.11E-2,79.900000000000006,84.9,187.7,2259,67.099999999999994,null,null,0.4]
[56.5,394.2,138,7.82,79.3,"2009-02-18T12:51:07",61.1,394.2,13.8,782,6.92,1.1299999999999999E-2,79.3,84.2,193.4,2294,61.1,null,null,0.4]
[57,384.1,138,8.56,79.8,"2009-02-18T12:51:37",62.6,384.1,13.8,856,6.94,1.23E-2,79.8,84.7,192.3,2502,62.6,null,null,0.4]
[57.5,388.5,141,8.82,79.099999999999994,"2009-02-18T12:52:07",62.9,388.5,14.1,882,6.71,1.3100000000000001E-2,79.099999999999994,84,202.5,2668,62.9,null,null,0.41]
[58,381.5,142,8.85,79.3,"2009-02-18T12:52:37",64.099999999999994,381.5,14.2,885,6.61,1.34E-2,79.3,84.2,207.1,2718,64.099999999999994,null,null,0.42]
[58.5,384.4,142,9.31,79.099999999999994,"2009-02-18T12:53:07",64.900000000000006,384.4,14.2,931,6.58,1.4200000000000001E-2,79.099999999999994,84,208.6,2873,64.900000000000006,null,null,0.44]
[59,387.6,144,9.93,78.2,"2009-02-18T12:53:37",60.7,387.6,14.4,993,6.38,1.5599999999999999E-2,78.2,83.1,218.4,3162,60.7,null,null,0.44]
[59.5,387.7,144,10.23,78.3,"2009-02-18T12:54:07",61.5,387.7,14.4,1023,6.4,1.6E-2,78.3,83.1,217.2,3245,61.5,null,null,0.44]
[60,392.8,145,10.58,77.900000000000006,"2009-02-18T12:54:37",63.6,392.8,14.5,1058,6.27,1.6899999999999998E-2,77.900000000000006,82.7,223.5,3423,63.6,null,null,0.44]
[60.5,388,146,10.37,77.900000000000006,"2009-02-18T12:55:07",63.9,388,14.6,1037,6.18,1.6799999999999999E-2,77.900000000000006,82.7,228.6,3408,63.9,null,null,0.44]
[61,388.3,145,10.37,78.099999999999994,"2009-02-18T12:55:37",63.3,388.3,14.5,1037,6.28,1.6500000000000001E-2,78.099999999999994,82.9,223.2,3351,63.3,null,null,0.44]
[61.5,380.6,148,10.41,77.7,"2009-02-18T12:56:07",63.8,380.6,14.8,1041,5.98,1.7399999999999999E-2,77.7,82.5,239.4,3533,63.8,null,null,0.44]
[62,383.7,147,11.22,77.8,"2009-02-18T12:56:37",62.4,383.7,14.7,1122,6.11,1.84E-2,77.8,82.6,232.2,3727,62.4,null,null,0.43]
[62.5,393.4,147,10.91,77.2,"2009-02-18T12:57:07",62.4,393.4,14.7,1091,6.06,1.7999999999999999E-2,77.2,82,235,3654,62.4,null,null,0.43]
[63,387.1,148,10.89,77.400000000000006,"2009-02-18T12:57:37",62.1,387.1,14.8,1089,6.01,1.8100000000000002E-2,77.400000000000006,82.2,237.7,3678,62.1,null,null,0.43]
[63.5,388.3,148,10.75,77.400000000000006,"2009-02-18T12:58:07",62.3,388.3,14.8,1075,6.04,1.78E-2,77.400000000000006,82.2,236.2,3614,62.3,null,null,0.43]
[64,{"$f":"FT","v":392.8},{"$f":"Oxy*10","v":148},{"$f":"CO/100","v":10.71},{"$f":"Effg","v":76.8},"2009-02-18T12:58:37",56.8,392.8,14.8,1071,5.99,1.7899999999999999E-2,76.8,81.599999999999994,238.7,3628,56.8,null,null,0.42]
[64.5,388.1,149,10.64,77,"2009-02-18T12:59:07",59.8,388.1,14.9,1064,5.92,1.7999999999999999E-2,77,81.8,242.9,3648,59.8,null,null,0.42]
[65,386.8,149,10.7,77,"2009-02-18T12:59:37",60.3,386.8,14.9,1070,5.9,1.8100000000000002E-2,77,81.8,243.8,3679,60.3,null,null,0.42]
[65.5,378.3,149,10.54,77.7,"2009-02-18T13:00:07",66.7,378.3,14.9,1054,5.89,1.7899999999999999E-2,77.7,82.6,244.7,3634,66.7,null,null,0.38]
[66,380.7,149,10.24,77.8,"2009-02-18T13:00:37",67.900000000000006,380.7,14.9,1024,5.94,1.72E-2,77.8,82.7,241.7,3499,67.900000000000006,null,null,0.38]
[66.5,380.5,148,9.99,78,"2009-02-18T13:01:07",69.2,380.5,14.8,999,5.97,1.67E-2,78,82.9,239.9,3395,69.2,null,null,0.37]
[67,381.3,148,10.69,78,"2009-02-18T13:01:37",72.3,381.3,14.8,1069,5.95,1.7999999999999999E-2,78,82.9,241,3646,72.3,null,null,0.37]
[67.5,383,150,11.01,77.599999999999994,"2009-02-18T13:02:07",73.5,383,15,1101,5.82,1.89E-2,77.599999999999994,82.4,249,3843,73.5,null,null,0.37]
[68,384.1,151,11.54,77.3,"2009-02-18T13:02:37",72.8,384.1,15.1,1154,5.74,2.01E-2,77.3,82.1,253.5,4079,72.8,null,null,0.37]
[68.5,384.7,151,12.25,77,"2009-02-18T13:03:07",69,384.7,15.1,1225,5.73,2.1399999999999999E-2,77,81.8,254.1,4338,69,null,null,0.38]
[69,384.4,152,12.53,76.5,"2009-02-18T13:03:37",65.8,384.4,15.2,1253,5.61,2.23E-2,76.5,81.2,261.8,4533,65.8,null,null,0.39]
[69.5,386.7,153,12.99,75.900000000000006,"2009-02-18T13:04:07",62.8,386.7,15.3,1299,5.54,2.35E-2,75.900000000000006,80.599999999999994,266.60000000000002,4762,62.8,null,null,0.38]
[70,385.2,153,13.39,76.2,"2009-02-18T13:04:37",67.400000000000006,385.2,15.3,1339,5.52,2.4199999999999999E-2,76.2,80.900000000000006,267.39999999999998,4920,67.400000000000006,null,null,0.4]
[70.5,382.5,152,12.08,76.8,"2009-02-18T13:05:07",69.400000000000006,382.5,15.2,1208,5.62,2.1499999999999998E-2,76.8,81.599999999999994,261.5,4367,69.400000000000006,null,null,0.4]
[71,389.2,152,11.31,76.599999999999994,"2009-02-18T13:05:37",70.599999999999994,389.2,15.2,1131,5.6,2.0199999999999999E-2,76.599999999999994,81.3,262.3,4097,70.599999999999994,null,null,0.4]
[71.5,403.1,157,16.09,74.2,"2009-02-18T13:06:07",75,403.1,15.7,1609,5.17,3.1099999999999999E-2,74.2,78.8,292.60000000000002,6317,75,null,null,0.41]
[72,390.4,140,11.92,79.400000000000006,"2009-02-18T13:06:37",73.3,390.4,14,1192,6.75,1.7600000000000001E-2,79.400000000000006,84.3,200.5,3582,73.3,null,null,0.4]
[72.5,394.1,120,15.48,82,"2009-02-18T13:07:07",71.900000000000006,394.1,12,1548,8.73,1.77E-2,82,87.1,132.4,3598,71.900000000000006,null,null,0.36]
[73,398.9,117,14.72,82.3,"2009-02-18T13:07:37",73.400000000000006,398.9,11.7,1472,8.98,1.6400000000000001E-2,82.3,87.3,126,3326,73.400000000000006,null,null,0.35]
[73.5,400.2,118,12,82.2,"2009-02-18T13:08:07",73.400000000000006,400.2,11.8,1200,8.8800000000000008,1.35E-2,82.2,87.3,128.5,2742,73.400000000000006,null,null,0.34]
[74,402.4,120,11.73,81.900000000000006,"2009-02-18T13:08:37",72.2,402.4,12,1173,8.66,1.35E-2,81.900000000000006,86.9,134.4,2749,72.2,null,null,0.34]
[74.5,412,120,12.83,81.599999999999994,"2009-02-18T13:09:07",74.8,412,12,1283,8.6999999999999993,1.4800000000000001E-2,81.599999999999994,86.7,133.4,2995,74.8,null,null,0.34]
[75,413.3,123,12.96,81.2,"2009-02-18T13:09:37",76.400000000000006,413.3,12.3,1296,8.39,1.55E-2,81.2,86.3,142,3137,76.400000000000006,null,null,0.33]
[75.5,408.9,124,12.97,81.3,"2009-02-18T13:10:07",74.8,408.9,12.4,1297,8.35,1.55E-2,81.3,86.3,143.30000000000001,3155,74.8,null,null,0.33]
[76,410.1,126,12.61,80.900000000000006,"2009-02-18T13:10:37",75,410.1,12.6,1261,8.1300000000000008,1.55E-2,80.900000000000006,85.9,149.80000000000001,3150,75,null,null,0.33]
[76.5,411.9,128,11.93,80.7,"2009-02-18T13:11:07",75.900000000000006,411.9,12.8,1193,7.95,1.4999999999999999E-2,80.7,85.7,155.30000000000001,3046,75.900000000000006,null,null,0.33]
[77,412.3,128,12.18,80.599999999999994,"2009-02-18T13:11:37",76.3,412.3,12.8,1218,7.9,1.54E-2,80.599999999999994,85.6,157.1,3131,76.3,null,null,0.33]
[77.5,409.7,130,13.52,80.2,"2009-02-18T13:12:07",74.2,409.7,13,1352,7.69,1.7600000000000001E-2,80.2,85.2,164,3569,74.2,null,null,0.33]
[78,418,131,14.92,79.599999999999994,"2009-02-18T13:12:37",73.599999999999994,418,13.1,1492,7.59,1.9699999999999999E-2,79.599999999999994,84.5,167.4,3990,73.599999999999994,null,null,0.33]
[78.5,420.4,131,14.49,79.5,"2009-02-18T13:13:07",72.3,420.4,13.1,1449,7.59,1.9099999999999999E-2,79.5,84.4,167.4,3875,72.3,null,null,0.34]
[79,423.5,130,17.11,79.3,"2009-02-18T13:13:37",70.7,423.5,13,1711,7.72,2.2200000000000001E-2,79.3,84.2,163.1,4502,70.7,null,null,0.33]
[79.5,422.2,133,15.2,79.099999999999994,"2009-02-18T13:14:07",72.900000000000006,422.2,13.3,1520,7.42,2.0500000000000001E-2,79.099999999999994,84,173.4,4156,72.900000000000006,null,null,0.33]
[80,420.1,134,15.87,78.900000000000006,"2009-02-18T13:14:37",72.2,420.1,13.4,1587,7.34,2.1600000000000001E-2,78.900000000000006,83.8,176.6,4389,72.2,null,null,0.33]
[80.5,420.2,135,16.61,78.8,"2009-02-18T13:15:07",72.5,420.2,13.5,1661,7.3,2.2800000000000001E-2,78.8,83.7,178.2,4620,72.5,null,null,0.33]
[81,419.9,136,11.58,78.8,"2009-02-18T13:15:37",72.900000000000006,419.9,13.6,1158,7.11,1.6299999999999999E-2,78.8,83.7,185.4,3305,72.900000000000006,null,null,0.34]
[81.5,422,139,11.57,78.5,"2009-02-18T13:16:07",76.5,422,13.9,1157,6.88,1.6799999999999999E-2,78.5,83.3,194.9,3412,76.5,null,null,0.33]
[82,421.7,138,9.77,78.7,"2009-02-18T13:16:37",76.2,421.7,13.8,977,6.95,1.41E-2,78.7,83.6,192.1,2854,76.2,null,null,0.33]
[82.5,417.8,140,9.9499999999999993,78.5,"2009-02-18T13:17:07",75.400000000000006,417.8,14,995,6.79,1.47E-2,78.5,83.4,199.1,2976,75.400000000000006,null,null,0.33]
[83,418.5,138,10.02,78.8,"2009-02-18T13:17:37",74.599999999999994,418.5,13.8,1002,6.95,1.44E-2,78.8,83.6,192.3,2929,74.599999999999994,null,null,0.34]
[83.5,417.3,140,10.029999999999999,78.599999999999994,"2009-02-18T13:18:07",76,417.3,14,1003,6.8,1.47E-2,78.599999999999994,83.4,198.5,2994,76,null,null,0.34]
[84,418.1,141,9.8000000000000007,78.099999999999994,"2009-02-18T13:18:37",73.400000000000006,418.1,14.1,980,6.64,1.4800000000000001E-2,78.099999999999994,82.9,205.9,2998,73.400000000000006,null,null,0.36]
[84.5,411.8,140,8.7200000000000006,78.599999999999994,"2009-02-18T13:19:07",72.8,411.8,14,872,6.75,1.29E-2,78.599999999999994,83.5,200.9,2624,72.8,null,null,0.35]
[85,418.7,141,9.57,78.3,"2009-02-18T13:19:37",75.7,418.7,14.1,957,6.68,1.43E-2,78.3,83.1,204,2910,75.7,null,null,0.36]
[85.5,418.9,145,9.9600000000000009,77.400000000000006,"2009-02-18T13:20:07",76.7,418.9,14.5,996,6.3,1.5800000000000002E-2,77.400000000000006,82.2,222.3,3210,76.7,null,null,0.35]
[86,418.7,140,10.73,78.3,"2009-02-18T13:20:37",75.5,418.7,14,1073,6.72,1.6E-2,78.3,83.1,201.9,3239,75.5,null,null,0.37]
[86.5,418.6,137,11.98,78.900000000000006,"2009-02-18T13:21:07",74.400000000000006,418.6,13.7,1198,7.1,1.6899999999999998E-2,78.900000000000006,83.8,185.9,3426,74.400000000000006,null,null,0.37]
[87,417.5,138,12.21,78.599999999999994,"2009-02-18T13:21:37",75.400000000000006,417.5,13.8,1221,6.92,1.7600000000000001E-2,78.599999999999994,83.5,193.4,3582,75.400000000000006,null,null,0.35]
[87.5,412.2,136,11.45,79.400000000000006,"2009-02-18T13:22:07",75.3,412.2,13.6,1145,7.16,1.6E-2,79.400000000000006,84.3,183.5,3246,75.3,null,null,0.36]
[88,414.8,137,10.59,79.099999999999994,"2009-02-18T13:22:37",74.900000000000006,414.8,13.7,1059,7.08,1.4999999999999999E-2,79.099999999999994,84,186.7,3036,74.900000000000006,null,null,0.35]
[88.5,418,137,9.8699999999999992,78.900000000000006,"2009-02-18T13:23:07",73.900000000000006,418,13.7,987,7.01,1.41E-2,78.900000000000006,83.8,189.4,2857,73.900000000000006,null,null,0.35]
[89,424.1,138,11.89,78.3,"2009-02-18T13:23:37",73.900000000000006,424.1,13.8,1189,6.92,1.72E-2,78.3,83.1,193.4,3489,73.900000000000006,null,null,0.36]
[89.5,416.8,140,13.28,78.3,"2009-02-18T13:24:07",74.599999999999994,416.8,14,1328,6.81,1.95E-2,78.3,83.2,198.1,3958,74.599999999999994,null,null,0.37]
[90,408.5,141,10.85,78.5,"2009-02-18T13:24:37",73.099999999999994,408.5,14.1,1085,6.7,1.6199999999999999E-2,78.5,83.4,203,3287,73.099999999999994,null,null,0.36]
[90.5,416.8,141,8.9499999999999993,78.3,"2009-02-18T13:25:07",74.099999999999994,416.8,14.1,895,6.65,1.35E-2,78.3,83.1,205.3,2733,74.099999999999994,null,null,0.35]
[91,412.9,141,12.53,78.2,"2009-02-18T13:25:37",74.8,412.9,14.1,1253,6.64,1.89E-2,78.2,83,205.9,3833,74.8,null,null,0.36]
[91.5,411.2,140,13.23,78.5,"2009-02-18T13:26:07",75.5,411.2,14,1323,6.75,1.9599999999999999E-2,78.5,83.3,200.7,3978,75.5,null,null,0.35]
[92,413.3,143,11.99,78,"2009-02-18T13:26:37",76.099999999999994,413.3,14.3,1199,6.51,1.84E-2,78,82.8,211.8,3739,76.099999999999994,null,null,0.36]
[92.5,413,141,10.06,78.599999999999994,"2009-02-18T13:27:07",78.400000000000006,413,14.1,1006,6.69,1.4999999999999999E-2,78.599999999999994,83.5,203.6,3054,78.400000000000006,null,null,0.37]
[93,417.8,140,10.57,78.599999999999994,"2009-02-18T13:27:37",78.400000000000006,417.8,14,1057,6.8,1.55E-2,78.599999999999994,83.5,198.5,3155,78.400000000000006,null,null,0.36]
[93.5,414.2,141,13.97,78.2,"2009-02-18T13:28:07",78.099999999999994,414.2,14.1,1397,6.65,2.1000000000000001E-2,78.2,83,205.3,4264,78.099999999999994,null,null,0.36]
[94,411,144,11.64,77.7,"2009-02-18T13:28:37",75.8,411,14.4,1164,6.33,1.84E-2,77.7,82.5,220.5,3730,75.8,null,null,0.37]
[94.5,415.9,144,11.54,77.5,"2009-02-18T13:29:07",75.900000000000006,415.9,14.4,1154,6.35,1.8200000000000001E-2,77.5,82.3,219.6,3688,75.900000000000006,null,null,0.36]
[95,422.7,145,9.1300000000000008,77.099999999999994,"2009-02-18T13:29:37",76.3,422.7,14.5,913,6.24,1.46E-2,77.099999999999994,81.900000000000006,225.4,2971,76.3,null,null,0.37]
[95.5,414.5,146,10.16,77.2,"2009-02-18T13:30:07",75.099999999999994,414.5,14.6,1016,6.16,1.6500000000000001E-2,77.2,82,229.4,3347,75.099999999999994,null,null,0.37]
[96,{"$f":"FT","v":415.7},{"$f":"Oxy*10","v":147},{"$f":"CO/100","v":9.4},{"$f":"Effg","v":76.8},"2009-02-18T13:30:37",73.2,415.7,14.7,940,6.05,1.55E-2,76.8,81.599999999999994,235.3,3152,73.2,null,null,0.37]
[96.5,413.3,151,10.08,75.900000000000006,"2009-02-18T13:31:07",73.2,413.3,15.1,1008,5.7,1.77E-2,75.900000000000006,80.599999999999994,256.3,3592,73.2,null,null,0.37]
[97,412.7,151,9.18,76.099999999999994,"2009-02-18T13:31:37",73.099999999999994,412.7,15.1,918,5.72,1.6E-2,76.099999999999994,80.8,254.7,3256,73.099999999999994,null,null,0.37]
[97.5,413.8,148,5.47,77.2,"2009-02-18T13:32:07",74.400000000000006,413.8,14.8,547,6.02,9.1000000000000004E-3,77.2,82,237.4,1846,74.400000000000006,null,null,0.37]
[98,417,149,6.13,76.599999999999994,"2009-02-18T13:32:37",73.400000000000006,417,14.9,613,5.88,1.04E-2,76.599999999999994,81.3,245.2,2116,73.400000000000006,null,null,0.37]
[98.5,415.6,149,6.49,76.8,"2009-02-18T13:33:07",77.400000000000006,415.6,14.9,649,5.88,1.0999999999999999E-2,76.8,81.599999999999994,245.3,2241,77.400000000000006,null,null,0.37]
[99,417.1,149,7.68,76.7,"2009-02-18T13:33:37",76.8,417.1,14.9,768,5.92,1.2999999999999999E-2,76.7,81.5,242.6,2631,76.8,null,null,0.37]
[99.5,422.2,149,7.9,76.5,"2009-02-18T13:34:07",81.2,422.2,14.9,790,5.86,1.35E-2,76.5,81.3,246.6,2738,81.2,null,null,0.37]
[100,417.9,153,6.6,75.900000000000006,"2009-02-18T13:34:37",82.7,417.9,15.3,660,5.49,1.2E-2,75.900000000000006,80.599999999999994,269.60000000000002,2440,82.7,null,null,0.37]
[100.5,422.9,154,6.68,75.400000000000006,"2009-02-18T13:35:07",82.3,422.9,15.4,668,5.43,1.23E-2,75.400000000000006,80.099999999999994,273.60000000000002,2496,82.3,null,null,0.37]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]