{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":256,"n_cols":20,"rows_kept":256,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":380.8772222222222},{"$f":"AVERAGE(Oxy)","v":12.07111111111111},{"$f":"AVERAGE(CO)","v":2816.6555555555556},{"$f":"AVERAGE(Effg)","v":73.816853932584252}]
[5.5,{"$f":"FT","v":116.5},{"$f":"Oxy*10","v":207},{"$f":"CO/100","v":1.6},{"$f":"Effg","v":0},"2009-02-20T11:35:41",67.3,116.5,20.7,160,null,null,null,null,null,null,67.3,null,null,0.32]
[6,138.9,201,3.05,0,"2009-02-20T11:36:11",66.7,138.9,20.100000000000001,305,null,null,null,null,null,null,66.7,null,null,0.19]
[6.5,158.5,185,5.82,75.5,"2009-02-20T11:36:41",67.2,158.5,18.5,582,1.42,4.0800000000000003E-2,75.5,83.1,735.1,4860,67.2,null,null,0.13]
[7,172.9,167,5.87,79.900000000000006,"2009-02-20T11:37:11",67.2,172.9,16.7,587,2.41,2.4400000000000002E-2,79.900000000000006,88.1,393.9,2899,67.2,null,null,0.11]
[7.5,182.8,161,13.54,79.400000000000006,"2009-02-20T11:37:41",66.900000000000006,182.8,16.100000000000001,1354,2.76,4.9000000000000002E-2,79.400000000000006,87.5,330.4,5827,66.900000000000006,null,null,0.59]
[8,192.3,148,20.68,80.099999999999994,"2009-02-20T11:38:11",66.8,192.3,14.8,2068,3.49,5.9299999999999999E-2,80.099999999999994,88.3,241.1,7054,66.8,null,null,0.56999999999999995]
[8.5,200.2,144,17.899999999999999,80.5,"2009-02-20T11:38:41",66.400000000000006,200.2,14.4,1790,3.73,4.8000000000000001E-2,80.5,88.7,219.1,5712,66.400000000000006,null,null,0.56000000000000005]
[9,204.4,146,5.62,81.3,"2009-02-20T11:39:11",66.8,204.4,14.6,562,3.65,1.54E-2,81.3,89.7,225.7,1830,66.8,null,null,0.56000000000000005]
[9.5,216.9,137,11.29,81.099999999999994,"2009-02-20T11:39:41",66.3,216.9,13.7,1129,4.1399999999999997,2.7199999999999998E-2,81.099999999999994,89.4,187.1,3242,66.3,null,null,0.55000000000000004]
[10,222.9,135,14.51,80.7,"2009-02-20T11:40:11",66.599999999999994,222.9,13.5,1451,4.26,3.4099999999999998E-2,80.7,89,179.3,4053,66.599999999999994,null,null,0.55000000000000004]
[10.5,222.6,126,23.2,81,"2009-02-20T11:40:41",66.900000000000006,222.6,12.6,2320,4.76,4.87E-2,81,89.3,149.9,5798,66.900000000000006,null,null,0.55000000000000004]
[11,235.5,119,31.33,80.5,"2009-02-20T11:41:11",66.900000000000006,235.5,11.9,3133,5.17,6.0600000000000001E-2,80.5,88.7,130,7207,66.900000000000006,null,null,0.55000000000000004]
[11.5,239.6,117,32.85,80.400000000000006,"2009-02-20T11:41:41",67.099999999999994,239.6,11.7,3285,5.29,6.2E-2,80.400000000000006,88.7,124.8,7384,67.099999999999994,null,null,0.55000000000000004]
[12,247,112,31.22,80.599999999999994,"2009-02-20T11:42:11",67.099999999999994,247,11.2,3122,5.53,5.6500000000000002E-2,80.599999999999994,88.8,115.3,6721,67.099999999999994,null,null,0.55000000000000004]
[12.5,258.10000000000002,113,30,80.2,"2009-02-20T11:42:41",67.5,258.10000000000002,11.3,3000,5.52,5.4399999999999997E-2,80.2,88.4,115.7,6471,67.5,null,null,0.55000000000000004]
[13,253.3,115,20.88,80.900000000000006,"2009-02-20T11:43:11",67.3,253.3,11.5,2088,5.4,3.8600000000000002E-2,80.900000000000006,89.1,120.3,4599,67.3,null,null,0.55000000000000004]
[13.5,264.8,113,23.03,80.3,"2009-02-20T11:43:41",66.8,264.8,11.3,2303,5.47,4.2099999999999999E-2,80.3,88.5,117.5,5008,66.8,null,null,0.55000000000000004]
[14,268.10000000000002,113,16.03,80.8,"2009-02-20T11:44:11",67.400000000000006,268.10000000000002,11.3,1603,5.52,2.9100000000000001E-2,80.8,89,115.8,3459,67.400000000000006,null,null,0.54]
[14.5,280.89999999999998,108,15.97,80.7,"2009-02-20T11:44:41",67.599999999999994,280.89999999999998,10.8,1597,5.8,2.75E-2,80.7,88.9,105.3,3278,67.599999999999994,null,null,0.54]
[15,292.5,101,25.41,80.099999999999994,"2009-02-20T11:45:11",64.400000000000006,292.5,10.1,2541,6.18,4.1099999999999998E-2,80.099999999999994,88.3,92.5,4892,64.400000000000006,null,null,0.53]
[15.5,297.10000000000002,99,31.95,79.599999999999994,"2009-02-20T11:45:41",61.6,297.10000000000002,9.9,3195,6.3,5.0700000000000002E-2,79.599999999999994,87.7,88.9,6036,61.6,null,null,0.54]
[16,304.8,95,48.73,78.5,"2009-02-20T11:46:11",57.2,304.8,9.5,4873,6.49,7.51E-2,78.5,86.5,83.3,8935,57.2,null,null,0.54]
[16.5,305.5,102,32.909999999999997,78.7,"2009-02-20T11:46:41",55.4,305.5,10.199999999999999,3291,6.13,5.3699999999999998E-2,78.7,86.7,94.2,6390,55.4,null,null,0.54]
[17,320.3,100,30.25,78.5,"2009-02-20T11:47:11",54.6,320.3,10,3025,6.24,4.8500000000000001E-2,78.5,86.5,90.8,5771,54.6,null,null,0.53]
[17.5,313.39999999999998,97,25.17,79.099999999999994,"2009-02-20T11:47:41",51.6,313.39999999999998,9.6999999999999993,2517,6.4,3.9300000000000002E-2,79.099999999999994,87.2,85.8,4677,51.6,null,null,0.54]
[18,314.10000000000002,97,14.29,79.599999999999994,"2009-02-20T11:48:11",47.9,314.10000000000002,9.6999999999999993,1429,6.4,2.23E-2,79.599999999999994,87.7,86,2659,47.9,null,null,0.53]
[18.5,327.5,96,17.63,79.2,"2009-02-20T11:48:41",52.3,327.5,9.6,1763,6.44,2.7400000000000001E-2,79.2,87.2,84.7,3257,52.3,null,null,0.53]
[19,315.2,89,305,68.900000000000006,"2009-02-20T11:49:11",54.4,315.2,8.9,30500,6.84,0.4461,68.900000000000006,75.8,74,53085,54.4,null,null,0.56000000000000005]
[19.5,319.2,86,110,75.7,"2009-02-20T11:49:41",48.8,319.2,8.6,11000,7.03,0.15640000000000001,75.7,83.4,69.2,18608,48.8,null,null,0.56000000000000005]
[20,320.39999999999998,87,110,75.599999999999994,"2009-02-20T11:50:11",51.9,320.39999999999998,8.6999999999999993,11000,6.97,0.15770000000000001,75.599999999999994,83.3,70.7,18772,51.9,null,null,0.55000000000000004]
[20.5,314,85,115,75.400000000000006,"2009-02-20T11:50:41",41.9,314,8.5,11500,7.07,0.1628,75.400000000000006,83.1,68.400000000000006,19368,41.9,null,null,0.54]
[21,325.2,83,135,74.8,"2009-02-20T11:51:11",48.5,325.2,8.3000000000000007,13500,7.22,0.187,74.8,82.4,64.8,22252,48.5,null,null,0.55000000000000004]
[21.5,326.3,82,135,74.8,"2009-02-20T11:51:41",48.4,326.3,8.1999999999999993,13500,7.24,0.1865,74.8,82.4,64.400000000000006,22189,48.4,null,null,0.55000000000000004]
[22,321.3,82,135,75.099999999999994,"2009-02-20T11:52:11",53.1,321.3,8.1999999999999993,13500,7.27,0.18579999999999999,75.099999999999994,82.8,63.7,22106,53.1,null,null,0.53]
[22.5,325.89999999999998,84,120,75.599999999999994,"2009-02-20T11:52:41",57.1,325.89999999999998,8.4,12000,7.15,0.16769999999999999,75.599999999999994,83.2,66.3,19962,57.1,null,null,0.54]
[23,325.8,84,105,76.3,"2009-02-20T11:53:11",59.2,325.8,8.4,10500,7.17,0.14649999999999999,76.3,84,66,17433,59.2,null,null,0.53]
[23.5,328,85,100,76.400000000000006,"2009-02-20T11:53:41",60.9,328,8.5,10000,7.1,0.1409,76.400000000000006,84.1,67.7,16768,60.9,null,null,0.51]
[24,331.5,83,100,76.400000000000006,"2009-02-20T11:54:11",61.6,331.5,8.3000000000000007,10000,7.2,0.1389,76.400000000000006,84.2,65.3,16534,61.6,null,null,0.5]
[24.5,341.3,82,105,76.099999999999994,"2009-02-20T11:54:41",62.4,341.3,8.1999999999999993,10500,7.27,0.1444,76.099999999999994,83.8,63.7,17185,62.4,null,null,0.49]
[25,327.3,79,120,76.099999999999994,"2009-02-20T11:55:11",62.9,327.3,7.9,12000,7.4,0.16209999999999999,76.099999999999994,83.9,60.7,19285,62.9,null,null,0.48]
[25.5,338,80,120,75.8,"2009-02-20T11:55:41",63.1,338,8,12000,7.38,0.16259999999999999,75.8,83.5,61.2,19345,63.1,null,null,0.47]
[26,342.9,79,105,76.3,"2009-02-20T11:56:11",63.3,342.9,7.9,10500,7.45,0.1409,76.3,84.1,59.7,16771,63.3,null,null,0.46]
[26.5,348.3,81,90,76.599999999999994,"2009-02-20T11:56:41",64,348.3,8.1,9000,7.3,0.12330000000000001,76.599999999999994,84.4,63,14672,64,null,null,0.43]
[27,350.8,82,75,77.099999999999994,"2009-02-20T11:57:11",64,350.8,8.1999999999999993,7500,7.26,0.1033,77.099999999999994,85,63.8,12287,64,null,null,0.38]
[27.5,352.1,82,70,77.3,"2009-02-20T11:57:41",64.8,352.1,8.1999999999999993,7000,7.23,9.6799999999999997E-2,77.3,85.2,64.5,11517,64.8,null,null,0.34]
[28,358.3,85,70,76.900000000000006,"2009-02-20T11:58:11",65.2,358.3,8.5,7000,7.08,9.8900000000000002E-2,76.900000000000006,84.7,68.099999999999994,11768,65.2,null,null,0.28999999999999998]
[28.5,356.6,82,85,76.599999999999994,"2009-02-20T11:58:41",66.099999999999994,356.6,8.1999999999999993,8500,7.25,0.1173,76.599999999999994,84.3,64.2,13954,66.099999999999994,null,null,0.27]
[29,356,81,75,77.099999999999994,"2009-02-20T11:59:11",67.3,356,8.1,7500,7.29,0.1028,77.099999999999994,85,63.1,12236,67.3,null,null,0.25]
[29.5,362,83,60,77.5,"2009-02-20T11:59:41",67.5,362,8.3000000000000007,6000,7.19,8.3400000000000002E-2,77.5,85.4,65.5,9928,67.5,null,null,0.23]
[30,367.9,82,60,77.400000000000006,"2009-02-20T12:00:11",66.900000000000006,367.9,8.1999999999999993,6000,7.27,8.2500000000000004E-2,77.400000000000006,85.3,63.7,9820,66.900000000000006,null,null,0.21]
[30.5,364.3,85,55,77.5,"2009-02-20T12:00:41",66.7,364.3,8.5,5500,7.09,7.7600000000000002E-2,77.5,85.4,67.900000000000006,9233,66.7,null,null,0.19]
[31,369.1,85,50,77.5,"2009-02-20T12:01:11",66.599999999999994,369.1,8.5,5000,7.06,7.0800000000000002E-2,77.5,85.4,68.5,8423,66.599999999999994,null,null,0.18]
[31.5,370,84,50,77.599999999999994,"2009-02-20T12:01:41",67,370,8.4,5000,7.15,7.0000000000000007E-2,77.599999999999994,85.5,66.5,8325,67,null,null,0.17]
[32,{"$f":"FT","v":364.4},{"$f":"Oxy*10","v":88},{"$f":"CO/100","v":50},{"$f":"Effg","v":77.5},"2009-02-20T12:02:11",67.099999999999994,364.4,8.8000000000000007,5000,6.93,7.2099999999999997E-2,77.5,85.4,71.7,8583,67.099999999999994,null,null,0.16]
[32.5,373.6,89,42.63,77.400000000000006,"2009-02-20T12:02:41",66.8,373.6,8.9,4263,6.85,6.2199999999999998E-2,77.400000000000006,85.3,73.7,7405,66.8,null,null,0.12]
[33,375.9,89,45.36,77.2,"2009-02-20T12:03:11",67,375.9,8.9,4536,6.83,6.6400000000000001E-2,77.2,85,74.3,7904,67,null,null,0.12]
[33.5,376,89,41.14,77.400000000000006,"2009-02-20T12:03:41",67,376,8.9,4114,6.83,6.0199999999999997E-2,77.400000000000006,85.3,74.2,7168,67,null,null,0.12]
[34,380,92,40.53,77.099999999999994,"2009-02-20T12:04:11",67.099999999999994,380,9.1999999999999993,4053,6.69,6.0600000000000001E-2,77.099999999999994,84.9,77.8,7207,67.099999999999994,null,null,0.11]
[34.5,381.4,92,38.65,77.099999999999994,"2009-02-20T12:04:41",67.2,381.4,9.1999999999999993,3865,6.69,5.7799999999999997E-2,77.099999999999994,85,78,6879,67.2,null,null,0.11]
[35,379,93,35.380000000000003,77.3,"2009-02-20T12:05:11",67.3,379,9.3000000000000007,3538,6.63,5.33E-2,77.3,85.1,79.400000000000006,6347,67.3,null,null,0.11]
[35.5,375.1,96,27.4,77.599999999999994,"2009-02-20T12:05:41",66.5,375.1,9.6,2740,6.48,4.2299999999999997E-2,77.599999999999994,85.5,83.6,5030,66.5,null,null,0.1]
[36,380,97,23.76,77.5,"2009-02-20T12:06:11",67.400000000000006,380,9.6999999999999993,2376,6.41,3.6999999999999998E-2,77.5,85.4,85.5,4408,67.400000000000006,null,null,0.1]
[36.5,376.8,99,23.38,77.5,"2009-02-20T12:06:41",67.7,376.8,9.9,2338,6.3,3.7100000000000001E-2,77.5,85.4,88.7,4413,67.7,null,null,0.1]
[37,379.4,98,23.79,77.5,"2009-02-20T12:07:11",69.8,379.4,9.8000000000000007,2379,6.34,3.7499999999999999E-2,77.5,85.4,87.7,4466,69.8,null,null,0.1]
[37.5,376.2,174,11,57.6,"2009-02-20T12:07:41",69.2,376.2,17.399999999999999,1100,2.0699999999999998,5.3199999999999997E-2,57.6,63.2,476,6336,69.2,null,null,0.56999999999999995]
[38,383,98,25.8,77.2,"2009-02-20T12:08:11",67.8,383,9.8000000000000007,2580,6.33,4.0800000000000003E-2,77.2,85,88,4851,67.8,null,null,0.55000000000000004]
[38.5,389,100,24.96,76.900000000000006,"2009-02-20T12:08:41",67.900000000000006,389,10,2496,6.25,3.9899999999999998E-2,76.900000000000006,84.7,90.3,4750,67.900000000000006,null,null,0.56000000000000005]
[39,391.9,101,22.56,76.8,"2009-02-20T12:09:11",68.400000000000006,391.9,10.1,2256,6.19,3.6400000000000002E-2,76.8,84.6,92.1,4335,68.400000000000006,null,null,0.56999999999999995]
[39.5,405.9,102,20.190000000000001,76.400000000000006,"2009-02-20T12:09:41",68.400000000000006,405.9,10.199999999999999,2019,6.13,3.2899999999999999E-2,76.400000000000006,84.1,94.1,3918,68.400000000000006,null,null,0.57999999999999996]
[40,399,104,15.08,76.7,"2009-02-20T12:10:11",68.5,399,10.4,1508,6.02,2.5000000000000001E-2,76.7,84.5,97.6,2980,68.5,null,null,0.59]
[40.5,392.8,107,11.51,76.8,"2009-02-20T12:10:41",69.3,392.8,10.7,1151,5.84,1.9699999999999999E-2,76.8,84.6,103.9,2347,69.3,null,null,0.59]
[41,407.6,107,13.36,76.3,"2009-02-20T12:11:11",71.099999999999994,407.6,10.7,1336,5.86,2.2800000000000001E-2,76.3,84,103.2,2714,71.099999999999994,null,null,0.59]
[41.5,401.4,104,13.48,76.7,"2009-02-20T12:11:41",68.900000000000006,401.4,10.4,1348,6.02,2.24E-2,76.7,84.5,97.7,2665,68.900000000000006,null,null,0.6]
[42,409.4,103,12.82,76.5,"2009-02-20T12:12:11",67.8,409.4,10.3,1282,6.05,2.12E-2,76.5,84.3,96.5,2520,67.8,null,null,0.6]
[42.5,411.5,105,10.87,76.3,"2009-02-20T12:12:41",66.5,411.5,10.5,1087,5.95,1.83E-2,76.3,84,100.2,2176,66.5,null,null,0.61]
[43,405.4,104,10.36,76.7,"2009-02-20T12:13:11",67.3,405.4,10.4,1036,6.02,1.72E-2,76.7,84.5,97.5,2046,67.3,null,null,0.61]
[43.5,402.9,104,9.5,76.8,"2009-02-20T12:13:41",66.8,402.9,10.4,950,5.98,1.5900000000000001E-2,76.8,84.6,98.8,1889,66.8,null,null,0.61]
[44,415,104,7.95,76.5,"2009-02-20T12:14:11",65.8,415,10.4,795,6.03,1.32E-2,76.5,84.2,97.3,1569,65.8,null,null,0.62]
[44.5,413.5,107,6.69,76.2,"2009-02-20T12:14:41",66.900000000000006,413.5,10.7,669,5.81,1.15E-2,76.2,84,104.7,1370,66.900000000000006,null,null,0.63]
[45,411.3,108,5.26,76.3,"2009-02-20T12:15:11",67.900000000000006,411.3,10.8,526,5.75,9.1000000000000004E-3,76.3,84.1,106.8,1088,67.900000000000006,null,null,0.64]
[45.5,412.4,111,4.6100000000000003,76,"2009-02-20T12:15:41",68,412.4,11.1,461,5.59,8.2000000000000007E-3,76,83.7,112.9,982,68,null,null,0.64]
[46,416.4,112,3.81,75.8,"2009-02-20T12:16:11",68.2,416.4,11.2,381,5.55,6.8999999999999999E-3,75.8,83.5,114.5,817,68.2,null,null,0.64]
[46.5,409.5,116,3.57,75.7,"2009-02-20T12:16:41",69,409.5,11.6,357,5.34,6.7000000000000002E-3,75.7,83.3,122.8,795,69,null,null,0.63]
[47,413.2,115,3.22,75.7,"2009-02-20T12:17:11",70.599999999999994,413.2,11.5,322,5.38,6.0000000000000001E-3,75.7,83.4,121.1,712,70.599999999999994,null,null,0.63]
[47.5,417.4,117,2.73,75.3,"2009-02-20T12:17:41",72.099999999999994,417.4,11.7,273,5.24,5.1999999999999998E-3,75.3,82.9,126.9,619,72.099999999999994,null,null,0.63]
[48,410.9,119,2.4300000000000002,75.400000000000006,"2009-02-20T12:18:11",73.3,410.9,11.9,243,5.14,4.7000000000000002E-3,75.400000000000006,83,131.6,563,73.3,null,null,0.63]
[48.5,417.9,117,2.66,75.400000000000006,"2009-02-20T12:18:41",73.8,417.9,11.7,266,5.25,5.1000000000000004E-3,75.400000000000006,83,126.5,602,73.8,null,null,0.63]
[49,411.9,118,2.6,75.5,"2009-02-20T12:19:11",74.599999999999994,411.9,11.8,260,5.19,5.0000000000000001E-3,75.5,83.2,129.1,596,74.599999999999994,null,null,0.62]
[49.5,416.9,119,3.18,75.2,"2009-02-20T12:19:41",75.099999999999994,416.9,11.9,318,5.16,6.1999999999999998E-3,75.2,82.8,130.80000000000001,734,75.099999999999994,null,null,0.61]
[50,417,122,3.37,74.7,"2009-02-20T12:20:11",75.5,417,12.2,337,4.97,6.7999999999999996E-3,74.7,82.3,139.19999999999999,806,75.5,null,null,0.61]
[50.5,412.1,122,3.84,75,"2009-02-20T12:20:41",75.8,412.1,12.2,384,4.99,7.7000000000000002E-3,75,82.5,138.5,916,75.8,null,null,0.61]
[51,416,125,3.81,74.400000000000006,"2009-02-20T12:21:11",76,416,12.5,381,4.84,7.9000000000000008E-3,74.400000000000006,81.900000000000006,145.69999999999999,936,76,null,null,0.61]
[51.5,420.5,120,3.96,74.8,"2009-02-20T12:21:41",76,420.5,12,396,5.08,7.7999999999999996E-3,74.8,82.4,134.4,928,76,null,null,0.6]
[52,417.3,123,3.13,74.599999999999994,"2009-02-20T12:22:11",76.2,417.3,12.3,313,4.9000000000000004,6.4000000000000003E-3,74.599999999999994,82.1,142.69999999999999,760,76.2,null,null,0.59]
[52.5,414.5,123,2.99,74.8,"2009-02-20T12:22:41",76.599999999999994,414.5,12.3,299,4.9400000000000004,6.1000000000000004E-3,74.8,82.4,140.80000000000001,720,76.599999999999994,null,null,0.57999999999999996]
[53,415.4,125,3.14,74.400000000000006,"2009-02-20T12:23:11",76.8,415.4,12.5,314,4.79,6.6E-3,74.400000000000006,81.900000000000006,148.30000000000001,780,76.8,null,null,0.56999999999999995]
[53.5,419.4,128,3.38,73.7,"2009-02-20T12:23:41",76.8,419.4,12.8,338,4.6399999999999997,7.3000000000000001E-3,73.7,81.2,156.30000000000001,866,76.8,null,null,0.56999999999999995]
[54,417.3,130,3.75,73.3,"2009-02-20T12:24:11",77,417.3,13,375,4.51,8.3000000000000001E-3,73.3,80.7,164.1,990,77,null,null,0.56000000000000005]
[54.5,419.7,130,4.57,73.2,"2009-02-20T12:24:41",76.7,419.7,13,457,4.5199999999999996,1.01E-2,73.2,80.599999999999994,163.4,1204,76.7,null,null,0.56000000000000005]
[55,415.5,133,5.22,72.900000000000006,"2009-02-20T12:25:11",77,415.5,13.3,522,4.38,1.1900000000000001E-2,72.900000000000006,80.2,171.5,1417,77,null,null,0.52]
[55.5,417.3,135,6.14,72.2,"2009-02-20T12:25:41",77.8,417.3,13.5,614,4.24,1.4500000000000001E-2,72.2,79.5,180.8,1724,77.8,null,null,0.5]
[56,413.1,134,6.33,72.599999999999994,"2009-02-20T12:26:11",77.7,413.1,13.4,633,4.3,1.47E-2,72.599999999999994,79.900000000000006,177,1754,77.7,null,null,0.5]
[56.5,418.6,134,6.71,72.3,"2009-02-20T12:26:41",77.599999999999994,418.6,13.4,671,4.3,1.5599999999999999E-2,72.3,79.599999999999994,177,1859,77.599999999999994,null,null,0.49]
[57,418,135,7.17,72.099999999999994,"2009-02-20T12:27:11",77.7,418,13.5,717,4.24,1.6899999999999998E-2,72.099999999999994,79.400000000000006,180.6,2012,77.7,null,null,0.49]
[57.5,417.8,136,7,71.900000000000006,"2009-02-20T12:27:41",78.099999999999994,417.8,13.6,700,4.18,1.6799999999999999E-2,71.900000000000006,79.099999999999994,184.8,1994,78.099999999999994,null,null,0.48]
[58,422.1,138,7.75,71.2,"2009-02-20T12:28:11",78.099999999999994,422.1,13.8,775,4.09,1.9E-2,71.2,78.400000000000006,191.2,2257,78.099999999999994,null,null,0.48]
[58.5,416.8,139,8.15,71.2,"2009-02-20T12:28:41",77.7,416.8,13.9,815,4.0199999999999996,2.0299999999999999E-2,71.2,78.3,195.8,2411,77.7,null,null,0.49]
[59,416.1,140,9.01,71,"2009-02-20T12:29:11",78.400000000000006,416.1,14,901,3.99,2.2599999999999999E-2,71,78.2,198.4,2688,78.400000000000006,null,null,0.5]
[59.5,417.9,140,9.1199999999999992,70.8,"2009-02-20T12:29:41",78.2,417.9,14,912,3.96,2.3E-2,70.8,77.900000000000006,200.6,2741,78.2,null,null,0.5]
[60,417.8,141,9.6199999999999992,70.599999999999994,"2009-02-20T12:30:11",78.099999999999994,417.8,14.1,962,3.94,2.4400000000000002E-2,70.599999999999994,77.7,202.4,2909,78.099999999999994,null,null,0.48]
[60.5,416.3,140,10.15,70.7,"2009-02-20T12:30:41",78.099999999999994,416.3,14,1015,3.94,2.58E-2,70.7,77.8,202,3065,78.099999999999994,null,null,0.5]
[61,416.9,143,10.28,70,"2009-02-20T12:31:11",78.7,416.9,14.3,1028,3.8,2.7099999999999999E-2,70,77,213.1,3219,78.7,null,null,0.5]
[61.5,413.3,143,11.35,70.2,"2009-02-20T12:31:41",78.400000000000006,413.3,14.3,1135,3.82,2.9700000000000001E-2,70.2,77.2,211.3,3534,78.400000000000006,null,null,0.5]
[62,417.5,142,11.2,70,"2009-02-20T12:32:11",79.099999999999994,417.5,14.2,1120,3.83,2.93E-2,70,77.099999999999994,211,3483,79.099999999999994,null,null,0.49]
[62.5,415.9,142,10.87,70.3,"2009-02-20T12:32:41",78.5,415.9,14.2,1087,3.86,2.81E-2,70.3,77.400000000000006,208.1,3349,78.5,null,null,0.49]
[63,414.7,140,9.5399999999999991,71,"2009-02-20T12:33:11",79.400000000000006,414.7,14,954,3.96,2.41E-2,71,78.099999999999994,200.5,2867,79.400000000000006,null,null,0.51]
[63.5,418.6,138,8.76,71.400000000000006,"2009-02-20T12:33:41",78.8,418.6,13.8,876,4.1100000000000003,2.1299999999999999E-2,71.400000000000006,78.599999999999994,189.8,2538,78.8,null,null,0.5]
[64,{"$f":"FT","v":425.1},{"$f":"Oxy*10","v":140},{"$f":"CO/100","v":8.19},{"$f":"Effg","v":70.7},"2009-02-20T12:34:11",79.099999999999994,425.1,14,819,3.99,2.0500000000000001E-2,70.7,77.8,198,2440,79.099999999999994,null,null,0.5]
[64.5,415.8,141,7.79,71,"2009-02-20T12:34:41",79,415.8,14.1,779,3.93,1.9800000000000002E-2,71,78.099999999999994,202.5,2356,79,null,null,0.5]
[65,421.6,139,8.5500000000000007,70.8,"2009-02-20T12:35:11",77,421.6,13.9,855,4.01,2.1299999999999999E-2,70.8,77.900000000000006,196.5,2535,77,null,null,0.5]
[65.5,418.7,141,8.73,70.099999999999994,"2009-02-20T12:35:41",72.599999999999994,418.7,14.1,873,3.89,2.24E-2,70.099999999999994,77.2,205.7,2669,72.599999999999994,null,null,0.49]
[66,426.5,139,7.79,70.599999999999994,"2009-02-20T12:36:11",74,426.5,13.9,779,4.05,1.9300000000000001E-2,70.599999999999994,77.7,194.1,2291,74,null,null,0.49]
[66.5,431.6,140,6.75,70,"2009-02-20T12:36:41",73.599999999999994,431.6,14,675,3.96,1.7100000000000001E-2,70,77,200.8,2031,73.599999999999994,null,null,0.49]
[67,421.4,140,6.98,70.599999999999994,"2009-02-20T12:37:11",74.7,421.4,14,698,3.96,1.7600000000000001E-2,70.599999999999994,77.7,200.4,2097,74.7,null,null,0.49]
[67.5,426,140,7.35,70.3,"2009-02-20T12:37:41",74.3,426,14,735,3.96,1.8599999999999998E-2,70.3,77.400000000000006,200.4,2208,74.3,null,null,0.51]
[68,423.4,141,7.12,70.3,"2009-02-20T12:38:11",74.099999999999994,423.4,14.1,712,3.93,1.8100000000000002E-2,70.3,77.400000000000006,202.4,2153,74.099999999999994,null,null,0.5]
[68.5,416.7,142,6.45,70.5,"2009-02-20T12:38:41",77.3,416.7,14.2,645,3.83,1.6799999999999999E-2,70.5,77.599999999999994,210.6,2004,77.3,null,null,0.51]
[69,426,143,6.62,69.7,"2009-02-20T12:39:11",78,426,14.3,662,3.78,1.7500000000000002E-2,69.7,76.7,215.2,2087,78,null,null,0.5]
[69.5,421.2,144,7.56,69.5,"2009-02-20T12:39:41",76.8,421.2,14.4,756,3.72,2.0299999999999999E-2,69.5,76.5,220.1,2420,76.8,null,null,0.5]
[70,423.5,144,8.3800000000000008,69.5,"2009-02-20T12:40:11",77.599999999999994,423.5,14.4,838,3.75,2.24E-2,69.5,76.5,217.4,2660,77.599999999999994,null,null,0.5]
[70.5,427.6,145,8.74,68.8,"2009-02-20T12:40:41",75.7,427.6,14.5,874,3.69,2.3699999999999999E-2,68.8,75.7,222.2,2816,75.7,null,null,0.5]
[71,426.1,144,9.76,69.3,"2009-02-20T12:41:11",77.8,426.1,14.4,976,3.77,2.5899999999999999E-2,69.3,76.3,215.9,3084,77.8,null,null,0.5]
[71.5,442.4,145,10.63,68.099999999999994,"2009-02-20T12:41:41",79.5,442.4,14.5,1063,3.71,2.87E-2,68.099999999999994,74.900000000000006,220.8,3410,79.5,null,null,0.5]
[72,425.6,142,19.05,69.099999999999994,"2009-02-20T12:42:11",79.099999999999994,425.6,14.2,1905,3.87,4.9200000000000001E-2,69.099999999999994,76,207.2,5852,79.099999999999994,null,null,0.49]
[72.5,420.5,118,40.97,72.599999999999994,"2009-02-20T12:42:41",76.3,420.5,11.8,4097,5.21,7.8600000000000003E-2,72.599999999999994,79.900000000000006,128.4,9357,76.3,null,null,0.48]
[73,420.9,116,37.5,73.099999999999994,"2009-02-20T12:43:11",75.7,420.9,11.6,3750,5.33,7.0300000000000001E-2,73.099999999999994,80.5,123.2,8372,75.7,null,null,0.49]
[73.5,424.7,114,43.7,72.8,"2009-02-20T12:43:41",75,424.7,11.4,4370,5.42,8.0600000000000005E-2,72.8,80.099999999999994,119.4,9587,75,null,null,0.49]
[74,425,114,35.020000000000003,73.3,"2009-02-20T12:44:11",74.599999999999994,425,11.4,3502,5.43,6.4500000000000002E-2,73.3,80.7,119.3,7680,74.599999999999994,null,null,0.49]
[74.5,426.2,115,31.99,73.400000000000006,"2009-02-20T12:44:41",75.599999999999994,426.2,11.5,3199,5.37,5.96E-2,73.400000000000006,80.8,121.5,7087,75.599999999999994,null,null,0.49]
[75,435.5,118,33.369999999999997,72.5,"2009-02-20T12:45:11",76.3,435.5,11.8,3337,5.24,6.3700000000000007E-2,72.5,79.900000000000006,127.1,7580,76.3,null,null,0.48]
[75.5,434,121,38.74,71.8,"2009-02-20T12:45:41",77.900000000000006,434,12.1,3874,5.0599999999999996,7.6499999999999999E-2,71.8,79,135,9104,77.900000000000006,null,null,0.48]
[76,443.8,119,37.58,71.8,"2009-02-20T12:46:11",79.8,443.8,11.9,3758,5.15,7.2900000000000006E-2,71.8,79,131,8680,79.8,null,null,0.48]
[76.5,438.4,119,38.08,72.099999999999994,"2009-02-20T12:46:41",80.599999999999994,438.4,11.9,3808,5.18,7.3599999999999999E-2,72.099999999999994,79.400000000000006,129.9,8755,80.599999999999994,null,null,0.49]
[77,436.3,120,35.94,72.2,"2009-02-20T12:47:11",81.2,436.3,12,3594,5.12,7.0199999999999999E-2,72.2,79.5,132.5,8356,81.2,null,null,0.48]
[77.5,444.5,120,34.380000000000003,71.7,"2009-02-20T12:47:41",78,444.5,12,3438,5.09,6.7500000000000004E-2,71.7,78.900000000000006,133.80000000000001,8038,78,null,null,0.48]
[78,442.6,123,32.03,71.099999999999994,"2009-02-20T12:48:11",69.8,442.6,12.3,3203,4.9400000000000004,6.4799999999999996E-2,71.099999999999994,78.2,140.80000000000001,7713,69.8,null,null,0.48]
[78.5,444.3,125,26.46,70.7,"2009-02-20T12:48:41",65.099999999999994,444.3,12.5,2646,4.8099999999999996,5.5E-2,70.7,77.8,147.5,6550,65.099999999999994,null,null,0.48]
[79,448,126,17.02,71.400000000000006,"2009-02-20T12:49:11",71.099999999999994,448,12.6,1702,4.75,3.5799999999999998E-2,71.400000000000006,78.5,150.30000000000001,4261,71.099999999999994,null,null,0.48]
[79.5,444.4,129,15.06,71,"2009-02-20T12:49:41",68.8,444.4,12.9,1506,4.5999999999999996,3.2800000000000003E-2,71,78.099999999999994,158.9,3900,68.8,null,null,0.49]
[80,435.5,129,8.11,71.900000000000006,"2009-02-20T12:50:11",67.900000000000006,435.5,12.9,811,4.58,1.77E-2,71.900000000000006,79.099999999999994,159.69999999999999,2106,67.900000000000006,null,null,0.48]
[80.5,439.5,130,7.68,71.400000000000006,"2009-02-20T12:50:41",66,439.5,13,768,4.5199999999999996,1.7000000000000001E-2,71.400000000000006,78.599999999999994,163,2020,66,null,null,0.47]
[81,437.5,132,7.89,71.3,"2009-02-20T12:51:11",67.5,437.5,13.2,789,4.45,1.77E-2,71.3,78.5,167.6,2112,67.5,null,null,0.47]
[81.5,440.9,133,7.97,70.7,"2009-02-20T12:51:41",65.599999999999994,440.9,13.3,797,4.38,1.8200000000000001E-2,70.7,77.8,172,2168,65.599999999999994,null,null,0.49]
[82,441.6,131,8.9700000000000006,70.599999999999994,"2009-02-20T12:52:11",59.7,441.6,13.1,897,4.45,2.01E-2,70.599999999999994,77.7,167.3,2398,59.7,null,null,0.5]
[82.5,444.2,132,9.74,70.3,"2009-02-20T12:52:41",60.6,444.2,13.2,974,4.41,2.2100000000000002E-2,70.3,77.400000000000006,169.8,2628,60.6,null,null,0.47]
[83,442.7,133,11.92,69.900000000000006,"2009-02-20T12:53:11",59.7,442.7,13.3,1192,4.3600000000000003,2.7400000000000001E-2,69.900000000000006,76.900000000000006,173.2,3257,59.7,null,null,0.46]
[83.5,439.6,133,10.74,70.5,"2009-02-20T12:53:41",66.099999999999994,439.6,13.3,1074,4.3499999999999996,2.47E-2,70.5,77.599999999999994,173.6,2939,66.099999999999994,null,null,0.47]
[84,434.9,135,9.57,70.8,"2009-02-20T12:54:11",71.599999999999994,434.9,13.5,957,4.28,2.24E-2,70.8,77.900000000000006,178.2,2663,71.599999999999994,null,null,0.49]
[84.5,435.5,133,10.24,71.2,"2009-02-20T12:54:41",74.599999999999994,435.5,13.3,1024,4.34,2.3599999999999999E-2,71.2,78.3,174.1,2807,74.599999999999994,null,null,0.47]
[85,431.6,134,9.57,71.3,"2009-02-20T12:55:11",76.900000000000006,431.6,13.4,957,4.28,2.24E-2,71.3,78.5,178,2660,76.900000000000006,null,null,0.45]
[85.5,438.7,135,12.42,70.599999999999994,"2009-02-20T12:55:41",78.099999999999994,438.7,13.5,1242,4.25,2.92E-2,70.599999999999994,77.7,180,3477,78.099999999999994,null,null,0.45]
[86,430.9,140,12.53,69.900000000000006,"2009-02-20T12:56:11",79.2,430.9,14,1253,3.98,3.1399999999999997E-2,69.900000000000006,76.900000000000006,198.7,3742,79.2,null,null,0.45]
[86.5,436.5,137,9.5500000000000007,70.599999999999994,"2009-02-20T12:56:41",78.7,436.5,13.7,955,4.1500000000000004,2.3E-2,70.599999999999994,77.7,186.6,2737,78.7,null,null,0.44]
[87,430.6,142,9.1199999999999992,69.8,"2009-02-20T12:57:11",79.7,430.6,14.2,912,3.88,2.35E-2,69.8,76.8,206.7,2797,79.7,null,null,0.43]
[87.5,435.5,143,8.5299999999999994,68.3,"2009-02-20T12:57:41",63.3,435.5,14.3,853,3.81,2.24E-2,68.3,75.099999999999994,212,2661,63.3,null,null,0.44]
[88,444,143,11.09,67.8,"2009-02-20T12:58:11",68,444,14.3,1109,3.81,2.9100000000000001E-2,67.8,74.599999999999994,212.6,3467,68,null,null,0.44]
[88.5,433,144,11.7,68.3,"2009-02-20T12:58:41",71.099999999999994,433,14.4,1170,3.76,3.1099999999999999E-2,68.3,75.099999999999994,216.7,3705,71.099999999999994,null,null,0.45]
[89,432.6,146,12.5,67.099999999999994,"2009-02-20T12:59:11",64.900000000000006,432.6,14.6,1250,3.63,3.44E-2,67.099999999999994,73.8,227.8,4097,64.900000000000006,null,null,0.46]
[89.5,441.5,145,12.9,66.900000000000006,"2009-02-20T12:59:41",65.2,441.5,14.5,1290,3.69,3.5000000000000003E-2,66.900000000000006,73.599999999999994,222.8,4164,65.2,null,null,0.45]
[90,430.7,147,15.67,67.099999999999994,"2009-02-20T13:00:11",70.900000000000006,430.7,14.7,1567,3.6,4.36E-2,67.099999999999994,73.8,230.8,5184,70.900000000000006,null,null,0.45]
[90.5,424.2,148,13.65,67,"2009-02-20T13:00:41",70,424.2,14.8,1365,3.49,3.9100000000000003E-2,67,73.7,240.7,4651,70,null,null,0.43]
[91,427.5,148,15.09,66.7,"2009-02-20T13:01:11",70.7,427.5,14.8,1509,3.49,4.3200000000000002E-2,66.7,73.400000000000006,241,5145,70.7,null,null,0.43]
[91.5,425.1,150,16.93,66.099999999999994,"2009-02-20T13:01:41",71,425.1,15,1693,3.4,4.9799999999999997E-2,66.099999999999994,72.7,250,5925,71,null,null,0.43]
[92,427.2,147,13.6,67.2,"2009-02-20T13:02:11",69,427.2,14.7,1360,3.56,3.8199999999999998E-2,67.2,73.900000000000006,234.1,4543,69,null,null,0.42]
[92.5,421.1,147,15.55,67.599999999999994,"2009-02-20T13:02:41",69.599999999999994,421.1,14.7,1555,3.6,4.3200000000000002E-2,67.599999999999994,74.400000000000006,230.8,5144,69.599999999999994,null,null,0.42]
[93,426.7,147,14.95,67.099999999999994,"2009-02-20T13:03:11",71.099999999999994,426.7,14.7,1495,3.55,4.2200000000000001E-2,67.099999999999994,73.8,235.6,5017,71.099999999999994,null,null,0.42]
[93.5,430,150,16.71,66.099999999999994,"2009-02-20T13:03:41",73.3,430,15,1671,3.42,4.8800000000000003E-2,66.099999999999994,72.7,247.5,5806,73.3,null,null,0.41]
[94,424.9,149,19.36,66.099999999999994,"2009-02-20T13:04:11",70.599999999999994,424.9,14.9,1936,3.44,5.62E-2,66.099999999999994,72.7,245.6,6691,70.599999999999994,null,null,0.41]
[94.5,428.3,150,19.5,65.599999999999994,"2009-02-20T13:04:41",71.400000000000006,428.3,15,1950,3.39,5.7500000000000002E-2,65.599999999999994,72.2,250.6,6837,71.400000000000006,null,null,0.41]
[95,430.7,153,18.690000000000001,64.5,"2009-02-20T13:05:11",71.099999999999994,430.7,15.3,1869,3.25,5.7599999999999998E-2,64.5,70.900000000000006,266.60000000000002,6852,71.099999999999994,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]