{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Online"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Online","index":0,"n_rows":277,"n_cols":20,"rows_kept":277,"cut":false,"hidden":false,"merged":[]}
["Minutes","°F FT","% O2x10","% COx100","% Effg","Date / time","°F AT","°F FT","% O2","ppm CO","% CO2","ratio","% Effg","% Effn","% ExAir","ppm uCO","°F AT","ppm amCO2","ppm amCO","l/min Pump"]
[null,{"$f":"AVERAGE(FT)","v":270.20123456790111},{"$f":"AVERAGE(Oxy)","v":16.450000000000006},{"$f":"AVERAGE(CO)","v":991.42592592592598},{"$f":"AVERAGE(Effg)","v":78.017218543046354}]
[3,{"$f":"FT","v":125},{"$f":"Oxy*10","v":198},{"$f":"CO/100","v":5.17},{"$f":"Effg","v":75.5},"2009-02-21T11:52:59",59.4,125,19.8,517,1.1100000000000001,4.6399999999999997E-2,75.5,80.099999999999994,1720.9,9414,59.4,null,null,0.55000000000000004]
[3.5,123.7,200,5.38,0,"2009-02-21T11:53:29",60,123.7,20,538,null,null,null,null,null,null,60,null,null,0.55000000000000004]
[4,127.1,202,5.58,0,"2009-02-21T11:53:59",59.5,127.1,20.2,558,null,null,null,null,null,null,59.5,null,null,0.54]
[4.5,136.30000000000001,199,4.24,71.599999999999994,"2009-02-21T11:54:29",60,136.30000000000001,19.899999999999999,424,1.03,4.1099999999999998E-2,71.599999999999994,76.099999999999994,1868.8,8348,60,null,null,0.54]
[5,138.1,196,3.53,76.099999999999994,"2009-02-21T11:54:59",59.4,138.1,19.600000000000001,353,1.31,2.69E-2,76.099999999999994,80.8,1448.9,5467,59.4,null,null,0.53]
[5.5,137.5,198,3.77,73.8,"2009-02-21T11:55:29",59.7,137.5,19.8,377,1.1499999999999999,3.27E-2,73.8,78.400000000000006,1658.9,6631,59.7,null,null,0.52]
[6,129.4,201,4.18,0,"2009-02-21T11:55:59",59.9,129.4,20.100000000000001,418,null,null,null,null,null,null,59.9,null,null,0.51]
[6.5,124.3,204,5.07,0,"2009-02-21T11:56:29",59.7,124.3,20.399999999999999,507,null,null,null,null,null,null,59.7,null,null,0.5]
[7,126.1,205,6.02,0,"2009-02-21T11:56:59",59.8,126.1,20.5,602,null,null,null,null,null,null,59.8,null,null,0.48]
[7.5,120.9,206,5.79,0,"2009-02-21T11:57:29",60,120.9,20.6,579,null,null,null,null,null,null,60,null,null,0.46]
[8,118,208,5.22,0,"2009-02-21T11:57:59",60.3,118,20.8,522,null,null,null,null,null,null,60.3,null,null,0.47]
[8.5,117.8,208,4.57,0,"2009-02-21T11:58:29",58.2,117.8,20.8,457,null,null,null,null,null,null,58.2,null,null,0.46]
[9,122.8,207,4.07,0,"2009-02-21T11:58:59",58.1,122.8,20.7,407,null,null,null,null,null,null,58.1,null,null,0.46]
[9.5,123.5,206,3.93,0,"2009-02-21T11:59:29",58.2,123.5,20.6,393,null,null,null,null,null,null,58.2,null,null,0.46]
[10,128.30000000000001,205,3.56,0,"2009-02-21T11:59:59",58.7,128.30000000000001,20.5,356,null,null,null,null,null,null,58.7,null,null,0.46]
[10.5,137.19999999999999,200,3.65,70,"2009-02-21T12:00:29",58.9,137.19999999999999,20,365,0.97,3.7600000000000001E-2,70,74.400000000000006,1990.8,7631,58.9,null,null,0.45]
[11,149.30000000000001,195,4.2699999999999996,75.3,"2009-02-21T12:00:59",59.2,149.30000000000001,19.5,427,1.44,2.9600000000000001E-2,75.3,79.900000000000006,1305.7,6003,59.2,null,null,0.44]
[11.5,157.69999999999999,192,3.42,77.5,"2009-02-21T12:01:29",58.8,157.69999999999999,19.2,342,1.76,1.9400000000000001E-2,77.5,82.2,1050.4000000000001,3934,58.8,null,null,0.42]
[12,163.19999999999999,189,3.46,78.7,"2009-02-21T12:01:59",59.5,163.19999999999999,18.899999999999999,346,2.0099999999999998,1.72E-2,78.7,83.6,910.8,3497,59.5,null,null,0.4]
[12.5,172.3,187,3.09,79,"2009-02-21T12:02:29",60.1,172.3,18.7,309,2.2000000000000002,1.41E-2,79,83.9,823.2,2853,60.1,null,null,0.36]
[13,168.4,184,2.63,81.2,"2009-02-21T12:02:59",59.9,168.4,18.399999999999999,263,2.4900000000000002,1.06E-2,81.2,86.2,716.7,2148,59.9,null,null,0.33]
[13.5,179,183,2.78,80.8,"2009-02-21T12:03:29",59.4,179,18.3,278,2.65,1.0500000000000001E-2,80.8,85.8,665.2,2127,59.4,null,null,0.31]
[14,180.2,183,2.86,80.7,"2009-02-21T12:03:59",60.2,180.2,18.3,286,2.65,1.0800000000000001E-2,80.7,85.7,667,2194,60.2,null,null,0.31]
[14.5,183.2,183,3.32,80.2,"2009-02-21T12:04:29",60.3,183.2,18.3,332,2.63,1.26E-2,80.2,85.2,671.7,2562,60.3,null,null,0.28000000000000003]
[15,187.4,181,3.8,80.400000000000006,"2009-02-21T12:04:59",60.6,187.4,18.100000000000001,380,2.77,1.37E-2,80.400000000000006,85.4,633.29999999999995,2786,60.6,null,null,0.27]
[15.5,179.9,182,4.6399999999999997,80.8,"2009-02-21T12:05:29",60.2,179.9,18.2,464,2.73,1.7000000000000001E-2,80.8,85.8,642.20000000000005,3444,60.2,null,null,0.25]
[16,184.7,183,5.25,79.8,"2009-02-21T12:05:59",60.3,184.7,18.3,525,2.66,1.9800000000000002E-2,79.8,84.8,664.2,4012,60.3,null,null,0.24]
[16.5,190.6,182,5.92,79.5,"2009-02-21T12:06:29",60.7,190.6,18.2,592,2.72,2.1700000000000001E-2,79.5,84.4,645.29999999999995,4412,60.7,null,null,0.23]
[17,197.8,179,6.1,79.900000000000006,"2009-02-21T12:06:59",60.4,197.8,17.899999999999999,610,2.98,2.0500000000000001E-2,79.900000000000006,84.9,581.79999999999995,4159,60.4,null,null,0.2]
[17.5,205,175,6.4,80.900000000000006,"2009-02-21T12:07:29",60,205,17.5,640,3.38,1.89E-2,80.900000000000006,85.9,499.7,3838,60,null,null,0.19]
[18,222.4,168,6.16,81.599999999999994,"2009-02-21T12:07:59",59.7,222.4,16.8,616,4.01,1.5299999999999999E-2,81.599999999999994,86.7,405.7,3115,59.7,null,null,0.18]
[18.5,222.6,163,6.38,82.8,"2009-02-21T12:08:29",59.7,222.6,16.3,638,4.51,1.4200000000000001E-2,82.8,88,350.5,2874,59.7,null,null,0.17]
[19,222.7,163,7.08,82.9,"2009-02-21T12:08:59",59.9,222.7,16.3,708,4.58,1.54E-2,82.9,88.1,342.9,3136,59.9,null,null,0.17]
[19.5,223.5,165,8.01,82.2,"2009-02-21T12:09:29",60.3,223.5,16.5,801,4.34,1.8499999999999999E-2,82.2,87.3,368.2,3751,60.3,null,null,0.17]
[20,225.4,168,8.7100000000000009,81.400000000000006,"2009-02-21T12:09:59",60.4,225.4,16.8,871,4.0999999999999996,2.12E-2,81.400000000000006,86.4,395.2,4313,60.4,null,null,0.17]
[20.5,222.3,171,9.26,80.7,"2009-02-21T12:10:29",61.4,222.3,17.100000000000001,926,3.8,2.4299999999999999E-2,80.7,85.7,433.6,4941,61.4,null,null,0.17]
[21,222.2,169,9.7799999999999994,81,"2009-02-21T12:10:59",61.1,222.2,16.899999999999999,978,3.93,2.4899999999999999E-2,81,86,416.5,5051,61.1,null,null,0.15]
[21.5,217.6,172,10.23,80.599999999999994,"2009-02-21T12:11:29",61.5,217.6,17.2,1023,3.72,2.75E-2,80.599999999999994,85.6,445.7,5582,61.5,null,null,0.15]
[22,222.2,173,10.96,79.599999999999994,"2009-02-21T12:11:59",61,222.2,17.3,1096,3.58,3.0599999999999999E-2,79.599999999999994,84.6,467.5,6220,61,null,null,0.14000000000000001]
[22.5,216.8,174,11.59,79.7,"2009-02-21T12:12:29",61,216.8,17.399999999999999,1159,3.51,3.3000000000000002E-2,79.7,84.7,477.9,6698,61,null,null,0.14000000000000001]
[23,220.6,174,11.6,79.400000000000006,"2009-02-21T12:12:59",61.2,220.6,17.399999999999999,1160,3.5,3.32E-2,79.400000000000006,84.3,480.5,6733,61.2,null,null,0.13]
[23.5,219.7,175,11.33,78.900000000000006,"2009-02-21T12:13:29",61.7,219.7,17.5,1133,3.35,3.3799999999999997E-2,78.900000000000006,83.8,505.5,6861,61.7,null,null,0.15]
[24,214.7,175,13.13,79.2,"2009-02-21T12:13:59",60.9,214.7,17.5,1313,3.39,3.8699999999999998E-2,79.2,84.1,498.1,7853,60.9,null,null,0.17]
[24.5,222.1,178,14.45,77,"2009-02-21T12:14:29",61.7,222.1,17.8,1445,3.1,4.6699999999999998E-2,77,81.8,555.6,9473,61.7,null,null,0.17]
[25,212.6,186,12.21,73.599999999999994,"2009-02-21T12:14:59",61.6,212.6,18.600000000000001,1221,2.36,5.1700000000000003E-2,73.599999999999994,78.099999999999994,759.5,10495,61.6,null,null,0.16]
[25.5,226.4,173,12.71,78.900000000000006,"2009-02-21T12:15:29",60.5,226.4,17.3,1271,3.55,3.5799999999999998E-2,78.900000000000006,83.8,472.4,7275,60.5,null,null,0.16]
[26,233.8,161,11.24,82.1,"2009-02-21T12:15:59",61.1,233.8,16.100000000000001,1124,4.6900000000000004,2.4E-2,82.1,87.2,332.6,4862,61.1,null,null,0.18]
[26.5,238.5,149,9.6300000000000008,84.3,"2009-02-21T12:16:29",61.2,238.5,14.9,963,5.89,1.6400000000000001E-2,84.3,89.5,244.9,3321,61.2,null,null,0.19]
[27,240.4,152,9.7200000000000006,83.8,"2009-02-21T12:16:59",61.3,240.4,15.2,972,5.64,1.72E-2,83.8,89,260.2,3501,61.3,null,null,0.21]
[27.5,239.6,156,11.16,82.9,"2009-02-21T12:17:29",61.1,239.6,15.6,1116,5.22,2.1399999999999999E-2,82.9,88.1,288.7,4338,61.1,null,null,0.22]
[28,242.7,157,11.67,82.6,"2009-02-21T12:17:59",60.7,242.7,15.7,1167,5.16,2.2599999999999999E-2,82.6,87.7,293.3,4590,60.7,null,null,0.23]
[28.5,247.1,156,11.99,82.4,"2009-02-21T12:18:29",61.1,247.1,15.6,1199,5.2,2.3E-2,82.4,87.5,290.2,4679,61.1,null,null,0.23]
[29,255.8,156,11.7,82.1,"2009-02-21T12:18:59",60.8,255.8,15.6,1170,5.25,2.23E-2,82.1,87.1,286.5,4522,60.8,null,null,0.24]
[29.5,256.89999999999998,154,11.11,82.4,"2009-02-21T12:19:29",61,256.89999999999998,15.4,1111,5.41,2.0500000000000001E-2,82.4,87.5,275.39999999999998,4170,61,null,null,0.23]
[30,263.2,147,10.51,83.3,"2009-02-21T12:19:59",61.2,263.2,14.7,1051,6.05,1.7399999999999999E-2,83.3,88.5,235.6,3527,61.2,null,null,0.22]
[30.5,267.8,142,10.8,83.9,"2009-02-21T12:20:29",61,267.8,14.2,1080,6.6,1.6400000000000001E-2,83.9,89.1,207.5,3321,61,null,null,0.21]
[31,277.3,140,11.03,83.7,"2009-02-21T12:20:59",60.6,277.3,14,1103,6.76,1.6299999999999999E-2,83.7,88.8,200.5,3314,60.6,null,null,0.21]
[31.5,272.89999999999998,140,10.44,83.9,"2009-02-21T12:21:29",61.3,272.89999999999998,14,1044,6.77,1.54E-2,83.9,89.1,199.7,3129,61.3,null,null,0.2]
[32,{"$f":"FT","v":291},{"$f":"Oxy*10","v":139},{"$f":"CO/100","v":9.81},{"$f":"Effg","v":83.3},"2009-02-21T12:21:59",61.2,291,13.9,981,6.84,1.44E-2,83.3,88.5,197,2913,61.2,null,null,0.19]
[32.5,284.3,134,8.51,84.4,"2009-02-21T12:22:29",61.4,284.3,13.4,851,7.36,1.1599999999999999E-2,84.4,89.6,175.9,2348,61.4,null,null,0.18]
[33,288.89999999999998,129,7.14,84.8,"2009-02-21T12:22:59",61.4,288.89999999999998,12.9,714,7.8,9.1999999999999998E-3,84.8,90,160.19999999999999,1858,61.4,null,null,0.17]
[33.5,289,129,5.56,84.9,"2009-02-21T12:23:29",61.6,289,12.9,556,7.86,7.1000000000000004E-3,84.9,90.2,158.19999999999999,1436,61.6,null,null,0.17]
[34,295.3,127,5.0999999999999996,84.8,"2009-02-21T12:23:59",59.8,295.3,12.7,510,8,6.4000000000000003E-3,84.8,90.1,153.69999999999999,1294,59.8,null,null,0.16]
[34.5,303.3,126,4.83,84.7,"2009-02-21T12:24:29",61.2,303.3,12.6,483,8.07,6.0000000000000001E-3,84.7,89.9,151.4,1214,61.2,null,null,0.16]
[35,301,126,4.3899999999999997,84.9,"2009-02-21T12:24:59",61.3,301,12.6,439,8.16,5.4000000000000003E-3,84.9,90.1,148.80000000000001,1092,61.3,null,null,0.15]
[35.5,312.5,129,4.2699999999999996,84.1,"2009-02-21T12:25:29",61.3,312.5,12.9,427,7.8,5.4999999999999997E-3,84.1,89.3,160.4,1112,61.3,null,null,0.15]
[36,302.10000000000002,133,4.05,84.1,"2009-02-21T12:25:59",60.9,302.10000000000002,13.3,405,7.48,5.4000000000000003E-3,84.1,89.3,171.6,1100,60.9,null,null,0.14000000000000001]
[36.5,301.89999999999998,132,3.68,84.2,"2009-02-21T12:26:29",60.9,301.89999999999998,13.2,368,7.55,4.8999999999999998E-3,84.2,89.4,169,990,60.9,null,null,0.14000000000000001]
[37,305.5,132,3.77,84.1,"2009-02-21T12:26:59",60.1,305.5,13.2,377,7.59,5.0000000000000001E-3,84.1,89.3,167.5,1009,60.1,null,null,0.14000000000000001]
[37.5,304.7,130,3.5,84.3,"2009-02-21T12:27:29",60.9,304.7,13,350,7.74,4.4999999999999997E-3,84.3,89.6,162.19999999999999,918,60.9,null,null,0.13]
[38,313.89999999999998,133,3.64,83.6,"2009-02-21T12:27:59",60.9,313.89999999999998,13.3,364,7.46,4.8999999999999998E-3,83.6,88.8,172.1,990,60.9,null,null,0.14000000000000001]
[38.5,311.89999999999998,132,3.75,83.9,"2009-02-21T12:28:29",61.1,311.89999999999998,13.2,375,7.58,4.8999999999999998E-3,83.9,89.1,168,1005,61.1,null,null,0.13]
[39,311.60000000000002,133,3.89,83.7,"2009-02-21T12:28:59",61.2,311.60000000000002,13.3,389,7.4,5.3E-3,83.7,88.8,174.4,1068,61.2,null,null,0.13]
[39.5,310.5,135,4.4000000000000004,83.5,"2009-02-21T12:29:29",61.4,310.5,13.5,440,7.26,6.1000000000000004E-3,83.5,88.7,179.5,1230,61.4,null,null,0.13]
[40,313.10000000000002,137,4.87,83.1,"2009-02-21T12:29:59",61.2,313.10000000000002,13.7,487,7.09,6.8999999999999999E-3,83.1,88.3,186.3,1395,61.2,null,null,0.13]
[40.5,309.3,139,5.17,83,"2009-02-21T12:30:29",62,309.3,13.9,517,6.86,7.4999999999999997E-3,83,88.1,195.9,1530,62,null,null,0.13]
[41,311.7,140,5.58,82.6,"2009-02-21T12:30:59",61.6,311.7,14,558,6.75,8.3000000000000001E-3,82.6,87.8,200.9,1679,61.6,null,null,0.13]
[41.5,317.5,138,5.36,82.7,"2009-02-21T12:31:29",61.2,317.5,13.8,536,6.92,7.7000000000000002E-3,82.7,87.8,193.2,1571,61.2,null,null,0.12]
[42,319.39999999999998,139,5.36,82.5,"2009-02-21T12:31:59",61.8,319.39999999999998,13.9,536,6.85,7.7999999999999996E-3,82.5,87.6,196.3,1588,61.8,null,null,0.12]
[42.5,321.5,140,6.07,82.2,"2009-02-21T12:32:29",62,321.5,14,607,6.77,8.9999999999999993E-3,82.2,87.3,199.8,1820,62,null,null,0.12]
[43,315,141,7.13,82.2,"2009-02-21T12:32:59",61.3,315,14.1,713,6.64,1.0699999999999999E-2,82.2,87.3,205.8,2180,61.3,null,null,0.12]
[43.5,310.60000000000002,142,7.2,82.2,"2009-02-21T12:33:29",61.3,310.60000000000002,14.2,720,6.53,1.0999999999999999E-2,82.2,87.3,210.9,2238,61.3,null,null,0.12]
[44,311.2,143,7.88,82,"2009-02-21T12:33:59",61.8,311.2,14.3,788,6.43,1.2200000000000001E-2,82,87.1,215.5,2486,61.8,null,null,0.12]
[44.5,312.7,145,8.6,81.5,"2009-02-21T12:34:29",60.9,312.7,14.5,860,6.28,1.37E-2,81.5,86.6,223,2778,60.9,null,null,0.12]
[45,308.10000000000002,146,10.09,81.400000000000006,"2009-02-21T12:34:59",61.2,308.10000000000002,14.6,1009,6.15,1.6400000000000001E-2,81.400000000000006,86.4,229.9,3329,61.2,null,null,0.12]
[45.5,313.3,146,9.6,81.3,"2009-02-21T12:35:29",60.9,313.3,14.6,960,6.18,1.55E-2,81.3,86.3,228.3,3152,60.9,null,null,0.13]
[46,311.8,149,7.96,80.900000000000006,"2009-02-21T12:35:59",61.4,311.8,14.9,796,5.86,1.3599999999999999E-2,80.900000000000006,85.9,246.5,2758,61.4,null,null,0.64]
[46.5,319.5,150,7.53,80.400000000000006,"2009-02-21T12:36:29",61.6,319.5,15,753,5.79,1.2999999999999999E-2,80.400000000000006,85.4,250.7,2641,61.6,null,null,0.56999999999999995]
[47,314.89999999999998,147,8.36,81.2,"2009-02-21T12:36:59",61.5,314.89999999999998,14.7,836,6.12,1.37E-2,81.2,86.2,231.9,2775,61.5,null,null,0.56999999999999995]
[47.5,313.5,148,10,80.900000000000006,"2009-02-21T12:37:29",61.9,313.5,14.8,1000,6.01,1.66E-2,80.900000000000006,85.9,237.8,3378,61.9,null,null,0.56999999999999995]
[48,323.8,148,9.52,80.5,"2009-02-21T12:37:59",62,323.8,14.8,952,6.02,1.5800000000000002E-2,80.5,85.5,237.2,3210,62,null,null,0.56999999999999995]
[48.5,327.8,149,9.7100000000000009,80.099999999999994,"2009-02-21T12:38:29",61.9,327.8,14.9,971,5.93,1.6400000000000001E-2,80.099999999999994,85.1,242.2,3322,61.9,null,null,0.57999999999999996]
[49,320.39999999999998,150,10.68,80,"2009-02-21T12:38:59",61.3,320.39999999999998,15,1068,5.79,1.84E-2,80,85,250.7,3745,61.3,null,null,0.57999999999999996]
[49.5,315.5,152,11.86,79.900000000000006,"2009-02-21T12:39:29",61.7,315.5,15.2,1186,5.64,2.1000000000000001E-2,79.900000000000006,84.8,259.8,4268,61.7,null,null,0.57999999999999996]
[50,319,154,12.7,79,"2009-02-21T12:39:59",61.3,319,15.4,1270,5.42,2.3400000000000001E-2,79,83.9,274.39999999999998,4755,61.3,null,null,0.57999999999999996]
[50.5,314,156,12.74,78.900000000000006,"2009-02-21T12:40:29",61.2,314,15.6,1274,5.26,2.4199999999999999E-2,78.900000000000006,83.8,286,4917,61.2,null,null,0.59]
[51,309.3,156,12.82,78.900000000000006,"2009-02-21T12:40:59",61.3,309.3,15.6,1282,5.17,2.4799999999999999E-2,78.900000000000006,83.8,292.39999999999998,5030,61.3,null,null,0.59]
[51.5,323.3,153,15.61,78.7,"2009-02-21T12:41:29",61.3,323.3,15.3,1561,5.49,2.8400000000000002E-2,78.7,83.6,269.7,5771,61.3,null,null,0.59]
[52,331.3,153,14.63,78.5,"2009-02-21T12:41:59",62.3,331.3,15.3,1463,5.51,2.6499999999999999E-2,78.5,83.4,268.3,5389,62.3,null,null,0.59]
[52.5,323.7,151,10.78,79.8,"2009-02-21T12:42:29",61.7,323.7,15.1,1078,5.73,1.8800000000000001E-2,79.8,84.7,254,3816,61.7,null,null,0.6]
[53,327.7,152,10.75,79.3,"2009-02-21T12:42:59",61.9,327.7,15.2,1075,5.6,1.9199999999999998E-2,79.3,84.2,262.39999999999998,3896,61.9,null,null,0.6]
[53.5,321.89999999999998,155,13.54,78.5,"2009-02-21T12:43:29",62.1,321.89999999999998,15.5,1354,5.29,2.5600000000000001E-2,78.5,83.4,284,5199,62.1,null,null,0.61]
[54,323,157,15.61,77.8,"2009-02-21T12:43:59",61.8,323,15.7,1561,5.13,3.0499999999999999E-2,77.8,82.6,296,6182,61.8,null,null,0.61]
[54.5,307.10000000000002,158,15.37,78.3,"2009-02-21T12:44:29",61.8,307.10000000000002,15.8,1537,4.99,3.0800000000000001E-2,78.3,83.1,307,6255,61.8,null,null,0.61]
[55,319,154,19.97,78.400000000000006,"2009-02-21T12:44:59",61.3,319,15.4,1997,5.43,3.6799999999999999E-2,78.400000000000006,83.3,273.8,7464,61.3,null,null,0.61]
[55.5,320.8,151,17.489999999999998,79.2,"2009-02-21T12:45:29",62.2,320.8,15.1,1749,5.68,3.0800000000000001E-2,79.2,84.1,257.5,6253,62.2,null,null,0.59]
[56,333.2,151,15.35,78.8,"2009-02-21T12:45:59",61.6,333.2,15.1,1535,5.72,2.69E-2,78.8,83.7,255.1,5451,61.6,null,null,0.59]
[56.5,326.2,153,16.95,78.400000000000006,"2009-02-21T12:46:29",61.7,326.2,15.3,1695,5.47,3.1E-2,78.400000000000006,83.3,270.89999999999998,6286,61.7,null,null,0.59]
[57,329.9,155,17.14,77.8,"2009-02-21T12:46:59",61.5,329.9,15.5,1714,5.34,3.2099999999999997E-2,77.8,82.7,280.3,6518,61.5,null,null,0.59]
[57.5,332.1,165,13.67,74.5,"2009-02-21T12:47:29",62.1,332.1,16.5,1367,4.3099999999999996,3.1800000000000002E-2,74.5,79.2,371.5,6445,62.1,null,null,0.59]
[58,335.4,148,14.69,79.400000000000006,"2009-02-21T12:47:59",60.8,335.4,14.8,1469,6.01,2.4400000000000002E-2,79.400000000000006,84.4,237.5,4958,60.8,null,null,0.59]
[58.5,323.10000000000002,148,13.33,80.2,"2009-02-21T12:48:29",61.4,323.10000000000002,14.8,1333,6.02,2.2100000000000002E-2,80.2,85.1,237.1,4494,61.4,null,null,0.59]
[59,334.9,149,12.61,79.400000000000006,"2009-02-21T12:48:59",61.3,334.9,14.9,1261,5.89,2.1399999999999999E-2,79.400000000000006,84.3,244.8,4348,61.3,null,null,0.59]
[59.5,329,151,13.35,79.099999999999994,"2009-02-21T12:49:29",61.1,329,15.1,1335,5.67,2.35E-2,79.099999999999994,84,257.89999999999998,4778,61.1,null,null,0.6]
[60,333.1,154,13.73,78.3,"2009-02-21T12:49:59",62.4,333.1,15.4,1373,5.43,2.53E-2,78.3,83.1,273.8,5132,62.4,null,null,0.6]
[60.5,344,157,13.06,77,"2009-02-21T12:50:29",62.5,344,15.7,1306,5.17,2.53E-2,77,81.8,292.7,5129,62.5,null,null,0.6]
[61,319.5,157,13.89,78.099999999999994,"2009-02-21T12:50:59",61.7,319.5,15.7,1389,5.0999999999999996,2.7199999999999998E-2,78.099999999999994,82.9,297.7,5524,61.7,null,null,0.6]
[61.5,330.8,159,13.99,76.8,"2009-02-21T12:51:29",58.6,330.8,15.9,1399,4.9800000000000004,2.81E-2,76.8,81.599999999999994,308,5708,58.6,null,null,0.6]
[62,321.60000000000002,161,13.71,76.2,"2009-02-21T12:51:59",50.3,321.60000000000002,16.100000000000001,1371,4.76,2.8799999999999999E-2,76.2,80.900000000000006,326.5,5847,50.3,null,null,0.6]
[62.5,332.5,162,11.39,75.7,"2009-02-21T12:52:29",53.9,332.5,16.2,1139,4.66,2.4400000000000002E-2,75.7,80.3,335.3,4958,53.9,null,null,0.6]
[63,329.3,162,11.06,75.8,"2009-02-21T12:52:59",53.7,329.3,16.2,1106,4.6399999999999997,2.3800000000000002E-2,75.8,80.5,337.5,4838,53.7,null,null,0.6]
[63.5,331.6,164,11.48,75,"2009-02-21T12:53:29",53.7,331.6,16.399999999999999,1148,4.47,2.5700000000000001E-2,75,79.599999999999994,354,5212,53.7,null,null,0.6]
[64,{"$f":"FT","v":319.7},{"$f":"Oxy*10","v":166},{"$f":"CO/100","v":12.63},{"$f":"Effg","v":74.5},"2009-02-21T12:53:59",51.5,319.7,16.600000000000001,1263,4.24,2.98E-2,74.5,79.099999999999994,379,6049,51.5,null,null,0.6]
[64.5,332.8,168,12.76,72.8,"2009-02-21T12:54:29",52.7,332.8,16.8,1276,4.0599999999999996,3.1399999999999997E-2,72.8,77.3,400.1,6381,52.7,null,null,0.62]
[65,324.8,167,10.199999999999999,74,"2009-02-21T12:54:59",53.2,324.8,16.7,1020,4.13,2.47E-2,74,78.599999999999994,391.8,5016,53.2,null,null,0.61]
[65.5,323.2,167,9.02,74.599999999999994,"2009-02-21T12:55:29",56.5,323.2,16.7,902,4.1500000000000004,2.1700000000000001E-2,74.599999999999994,79.3,388.7,4408,56.5,null,null,0.61]
[66,319.2,168,8.83,74.400000000000006,"2009-02-21T12:55:59",57.8,319.2,16.8,883,4.01,2.1999999999999999E-2,74.400000000000006,79,405.9,4467,57.8,null,null,0.62]
[66.5,321.8,170,10.050000000000001,73,"2009-02-21T12:56:29",56,321.8,17,1005,3.82,2.63E-2,73,77.5,431.5,5342,56,null,null,0.62]
[67,316.8,172,11.46,72.3,"2009-02-21T12:56:59",57.5,316.8,17.2,1146,3.64,3.15E-2,72.3,76.8,457.6,6390,57.5,null,null,0.62]
[67.5,302.89999999999998,173,11.27,72.8,"2009-02-21T12:57:29",57.2,302.89999999999998,17.3,1127,3.54,3.1899999999999998E-2,72.8,77.3,473.7,6466,57.2,null,null,0.62]
[68,315.10000000000002,174,12.78,71.5,"2009-02-21T12:57:59",56.7,315.10000000000002,17.399999999999999,1278,3.52,3.6299999999999999E-2,71.5,75.900000000000006,477.3,7378,56.7,null,null,0.62]
[68.5,299.7,175,13.86,72,"2009-02-21T12:58:29",57.5,299.7,17.5,1386,3.42,4.0500000000000001E-2,72,76.5,493.3,8223,57.5,null,null,0.63]
[69,309.39999999999998,175,10.19,71.8,"2009-02-21T12:58:59",58.2,309.39999999999998,17.5,1019,3.42,2.98E-2,71.8,76.3,493.6,6049,58.2,null,null,0.63]
[69.5,303.8,175,11.84,71.7,"2009-02-21T12:59:29",58.8,303.8,17.5,1184,3.36,3.5200000000000002E-2,71.7,76.2,503.4,7145,58.8,null,null,0.63]
[70,302.7,176,13.68,70.7,"2009-02-21T12:59:59",58.2,302.7,17.600000000000001,1368,3.24,4.2200000000000001E-2,70.7,75.099999999999994,525.9,8562,58.2,null,null,0.63]
[70.5,306.60000000000002,177,14.45,70.3,"2009-02-21T13:00:29",58.7,306.60000000000002,17.7,1445,3.23,4.4699999999999997E-2,70.3,74.599999999999994,527.70000000000005,9070,58.7,null,null,0.63]
[71,305.89999999999998,178,16.09,68.900000000000006,"2009-02-21T13:00:59",58.7,305.89999999999998,17.8,1609,3.08,5.2200000000000003E-2,68.900000000000006,73.2,558.79999999999995,10600,58.7,null,null,0.63]
[71.5,298.60000000000002,179,18.3,68.400000000000006,"2009-02-21T13:01:29",59.2,298.60000000000002,17.899999999999999,1830,2.97,6.1600000000000002E-2,68.400000000000006,72.7,583.1,12501,59.2,null,null,0.63]
[72,298.60000000000002,181,19.809999999999999,67,"2009-02-21T13:01:59",58.9,298.60000000000002,18.100000000000001,1981,2.84,6.9800000000000001E-2,67,71.099999999999994,615.5,14173,58.9,null,null,0.63]
[72.5,295.7,182,21.13,66.3,"2009-02-21T13:02:29",59.3,295.7,18.2,2113,2.75,7.6899999999999996E-2,66.3,70.400000000000006,638.79999999999995,15610,59.3,null,null,0.62]
[73,302.2,182,21.02,65,"2009-02-21T13:02:59",59.2,302.2,18.2,2102,2.69,7.8299999999999995E-2,65,69,655.7,15885,59.2,null,null,0.62]
[73.5,294.10000000000002,189,15.03,59.3,"2009-02-21T13:03:29",60,294.10000000000002,18.899999999999999,1503,2.0699999999999998,7.2499999999999995E-2,59.3,62.9,879.8,14726,60,null,null,0.62]
[74,309.10000000000002,171,11.17,73.7,"2009-02-21T13:03:59",59.8,309.10000000000002,17.100000000000001,1117,3.75,2.98E-2,73.7,78.3,441,6043,59.8,null,null,0.62]
[74.5,312.5,164,9.52,76.7,"2009-02-21T13:04:29",59.7,312.5,16.399999999999999,952,4.46,2.1299999999999999E-2,76.7,81.5,354.9,4330,59.7,null,null,0.62]
[75,314.60000000000002,163,9.23,76.8,"2009-02-21T13:04:59",60,314.60000000000002,16.3,923,4.51,2.0500000000000001E-2,76.8,81.599999999999994,350.3,4156,60,null,null,0.62]
[75.5,317.5,164,9.58,76.3,"2009-02-21T13:05:29",59.1,317.5,16.399999999999999,958,4.45,2.1499999999999998E-2,76.3,81,356.3,4372,59.1,null,null,0.62]
[76,325.7,165,10,75.5,"2009-02-21T13:05:59",59.9,325.7,16.5,1000,4.37,2.29E-2,75.5,80.2,364.1,4641,59.9,null,null,0.62]
[76.5,314.89999999999998,166,10.57,75.7,"2009-02-21T13:06:29",59.9,314.89999999999998,16.600000000000001,1057,4.26,2.4799999999999999E-2,75.7,80.400000000000006,376.3,5035,59.9,null,null,0.61]
[77,318.39999999999998,167,10.76,74.900000000000006,"2009-02-21T13:06:59",59.9,318.39999999999998,16.7,1076,4.1399999999999997,2.5999999999999999E-2,74.900000000000006,79.599999999999994,390.5,5277,59.9,null,null,0.61]
[77.5,307.3,169,10.95,74.900000000000006,"2009-02-21T13:07:29",60.4,307.3,16.899999999999999,1095,3.95,2.7699999999999999E-2,74.900000000000006,79.5,413.4,5622,60.4,null,null,0.61]
[78,310.39999999999998,170,12.75,74,"2009-02-21T13:07:59",59.8,310.39999999999998,17,1275,3.88,3.2899999999999999E-2,74,78.599999999999994,423.1,6669,59.8,null,null,0.61]
[78.5,311.8,173,12.97,72.599999999999994,"2009-02-21T13:08:29",61.3,311.8,17.3,1297,3.61,3.5900000000000001E-2,72.599999999999994,77.099999999999994,461.8,7286,61.3,null,null,0.6]
[79,315.10000000000002,174,14.9,71.3,"2009-02-21T13:08:59",61,315.10000000000002,17.399999999999999,1490,3.47,4.2900000000000001E-2,71.3,75.7,484.4,8708,61,null,null,0.6]
[79.5,313,175,16.88,70.7,"2009-02-21T13:09:29",60.6,313,17.5,1688,3.42,4.9399999999999999E-2,70.7,75.099999999999994,494.4,10033,60.6,null,null,0.6]
[80,318.2,176,16.09,69.7,"2009-02-21T13:09:59",59.7,318.2,17.600000000000001,1609,3.32,4.8500000000000001E-2,69.7,74,512.1,9849,59.7,null,null,0.6]
[80.5,308.8,177,16.809999999999999,69.099999999999994,"2009-02-21T13:10:29",59.7,308.8,17.7,1681,3.14,5.3499999999999999E-2,69.099999999999994,73.400000000000006,546,10859,59.7,null,null,0.6]
[81,316.10000000000002,178,15.24,68.599999999999994,"2009-02-21T13:10:59",59.7,316.10000000000002,17.8,1524,3.13,4.87E-2,68.599999999999994,72.8,549.1,9892,59.7,null,null,0.6]
[81.5,300.3,178,15.61,69.7,"2009-02-21T13:11:29",59.4,300.3,17.8,1561,3.09,5.0500000000000003E-2,69.7,74,556.20000000000005,10243,59.4,null,null,0.6]
[82,309.2,178,16.3,68.599999999999994,"2009-02-21T13:11:59",59.5,309.2,17.8,1630,3.07,5.2999999999999999E-2,68.599999999999994,72.8,560.6,10767,59.5,null,null,0.61]
[82.5,303.2,179,18.329999999999998,68.099999999999994,"2009-02-21T13:12:29",59.5,303.2,17.899999999999999,1833,2.98,6.1400000000000003E-2,68.099999999999994,72.3,580.4,12472,59.5,null,null,0.6]
[83,313.5,178,19.760000000000002,68.2,"2009-02-21T13:12:59",59.7,313.5,17.8,1976,3.13,6.3E-2,68.2,72.400000000000006,547.5,12796,59.7,null,null,0.6]
[83.5,270.60000000000002,178,17.8,71.900000000000006,"2009-02-21T13:13:29",60,270.60000000000002,17.8,1780,3.07,5.79E-2,71.900000000000006,76.3,560.6,11758,60,null,null,0.59]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.1,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.6,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,59,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.3,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,60.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.5,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.400000000000006,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.8,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.2,null,null,0.37]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.099999999999994,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.2,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,61.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.1,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.900000000000006,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.8,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62.9,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63.7,null,null,0.38]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64.599999999999994,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.900000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,65.400000000000006,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66,null,null,0.39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,64,null,null,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]